TERMS & CONDITIONS

- The work comprises of running and operation of pump sets, DG set and general lighting as per the inventory attached.

- The contractor shall depute the following staff under the contract-

- Operator----1nos.

- Khallasi----2nos.

- Wireman Grade-I shall attend the site of work between 9.00 AM to 5.00 PM at cast once in a fortnight and as and when required.

The duty timings of the staff should be as per decision of Engineer-in-Charge & can be changed as & when required by the Engineer-in-Charge.

- The contractor shall employ trained and competent staff to the satisfaction of Engineer-in-Charge having two years experience on operation of pump / DG set.

- The contractor shall supply the list of staff along with experience certificates to be engaged on the installation within 7 days of award of work. Engineer-in-Charge shall have the right to reject any staff employed by the contractor.

- The staff employed by the contractor shall wear proper uniform and wear badges displaying their bane and designation. The staff shall also be given photo identity cards by the contractor displaying their name, father’s name, address, date of birth, name of the agency with address and telephone No. , site for which employed and period of validity. A copy of the identity cards shall be given to the Engineer-in-Charge within 15 days of award of work.

- The contractor shall employ staff throughout the period of contract including Saturdays, Sundays, Gazetted Holidays and National Holidays.

- Following records are to be kept at site of work.

- Printed log book for recording operation.

- Attendance register for staff deployed.

- Complaint / Inspection register.

Note : 	The contractor shall get the register authenticated from Engineer-in-Charge before use at site.

- The following minor maintenance including preventive maintenance shall be carried out by the contractor. The details of work carried out shall be recorded in the log book:

- Servicing and greasing of pumps/ motors once in 3 months.

- Replacement of rubber packing of valves and worn out nuts and bolts etc.

- Replacement of gland dori as and when required.

- Replacement of HRC fuses as and when required.

- Replacement of Fl. Tubes, incandescent lamps and starters.

- Adjustment, alignment / tightening of nuts and bolts as and when required.

- Replacement of burnt out thimbles, wire terminals etc.

- Top up of battery water.

- Daily cleaning of equipments/ pump house.

Note : 	The material required for carrying out above jobs shall be supplied by the contractor within quoted rates.

- The DG set shall be operated in case of electricity failure or as and when desired by the Engineer-in-Charge. However POL shall be supplied by the department.

- Co-ordination and follow up action with electric supply agency shall be done by the contractor in case of failure / fault in supply/ function in voltage.

- The contractor shall intimate the Engineer-in-Charge about the major breakdown or failure of electric supply in time.

- Watch and ward shall be the responsibility of the contractor. Any loss due to theft or pilferage etc. shall be born by the contractor.

- The payment to be contractor shall be made by-monthly or at other suitable intervals desired by the contractor but not less than one calendar month.

- Proper handing/ taking over of all the E & M installations shall be carried out by JE (E) in Charge of the work and the contractor in writing immediately after award of work/ before start of work.

- The Engineer-in-Charge, if so desire, may extend the contract upto 2 months or terminate the contract at any time after giving 15 days notice.

- If any staff employed by the contractor is found absent on a particular time and date, an amount proportionate to pr shift shall be recovered from the contractor’s bill.

- All allied accessories / installations shall be kept in working order and in case any damages / loss is done to the pumping installations due to the negligence of the operational staff deployed by the contractor, the contractor shall have to make good the damages / loss at his own cost. In case the contractor fails to rectify the damages/ loss within reasonable time, the same shall be got rectified / replaced by the department at the risk and cost of the contractor.

- The contractor shall keep all the necessary spares and T & P at site required for operation and maintenance to be carried under his contract.

- In case of any disobedience or misbehaviour by the opertional staff of the contractor, the Engineer-in-Charge may ask the contractor to dispense with the service of such staff with immediate effect. The contractor shall provide suitable substitute simultaneously.

- The rates quoted by the contractor shall be inclusive of all taxes, duties and Govt. Levies etc.

- Pumping installation shall be painted ( excluding control panel) once during the contract period.

- Any injury to the operational staff, in case of any mishap, during duty hours will be the liability of contractor.

- It shall be ensured by the agency that open bore holes/ bore wells are covered after pumps are lowered / removed for replacement / repair.

# Annexure –I

## FOR BOOSTER PUMP HOUSE AND 100 KVA DG SET

- Horizental spilt casing cetrifugal pump set with TEFC squiree cage induction motor.

Pump: Becom weir Ltd. capacity 29 LPS, Head-27mtrs.

Motor: Kirlosker make of 18.5 KW, RPM 1470		-6 sets

- Diesel Engine generating set with accoustic housing of 100 KVA capacity with arrmual control panel, fuel tank, battery etc.

Make Kirlosker								1 set

| 3 | CI double flange pipe ‘B’ class of 150mmdia 200mmdia, 250mmdia |  |  | -1 lot |
| --- | --- | --- | --- | --- |
| 4. | Sluice valve Kirlosker make |  | –250mmdia | 1 No. |
|  |  |  | 200mmdia | 6nos. |
|  |  |  | 150mmdia | 6nos. |
| 5. | Non return valve Kirlosker make |  | 250mmdia | 1 No. |
|  |  |  | 150mmdia | 6nos. |
| 6. | Dismanteling Joint 200mmdia, 300mmlong |  |  | 6nos. |
| 7. | C.I.D./F900 bend |  | 250mmdia | 1 No. |
|  |  |  | 200mmdia | 6nos. |
|  |  |  | 150mmdia | 1 No. |
| 8. | C.I.D. /F duck foot bend 900 150mmdai |  |  | 6nos. |
| 9. | C.I. tee D/F |  | 250x250x250mm | 1No. |
|  |  |  | 250x250x150mm | 6Nos. |
| 10. | C.I. D/F taper of size |  | 200x125mmdia | 6Nos. |
|  |  |  | 100x150mmdia | 6Nos. |
| 11. | C.I. Blind flange |  |  | 1No. |
| 12. | C.I. flange bell mouth |  |  | 6Nos. |
| 13. | C.I. puddle pipe of 200mmdia |  |  | 6Nos. |
| 14. | Sump pump of Beacon Weir make with Kirlosker make motor of 1 HP i/c GI pipe fittings |  |  | 2sets |
| 15. | Fire extinguisher 4.5kg. CO2 |  |  | 3Nos. |
| 16. | Fire extinguisher 5kg. CO2 |  |  | 3Nos. |
| 17. | Rubber matt |  |  | 3Nos. |
| 18. | Fire bucket of 6 bucket with stand |  |  | 1set |
| 19. | Cubical type main electric panel with complete accessories i.e. 100 Amp. F.A. type switch, 400 amp. F.A. type switch, starter M.L-2, single phase preventor, bus bar, 63 Amp./ TP, MCB, 100 Amp., 4 pole isolator, volt meter ammeter power capacitor 25 KVAR. |  |  | 1set |
| 20. | PVC insulated PVC sheathed al. Conductor cable of 1.1 KV grade |  |  |  |
|  |  |  | a) 3 ½ x150sq.mm. | 1 lot |
|  |  |  | b) 3x35sq.mm. | 1 lot |
|  |  |  | c) 3x2.5sq.mm. (copper ) | 1 lot |
| 21. | Single bridge gentry girder hand operated crane of 1 tonne capacity of indef make |  |  | 1set |
| 22. | M.S. cable tray ( a) 375mmx50mmx2mm thick |  |  | 1 Lot |
|  | (b) 150mm x50mmx1.6mm thick |  |  | 1 lot |
| 23. | Earthing set with GI pipe earthing |  |  | 5sets |
|  | Earthing set with copper plate earthing |  |  | 2sets |
| 24. | 25mmx5mm copper strip for earthing |  |  | 1 lot |
|  | 25mm x5mm GI strip for earthing |  |  | 1 lot |
| 25. | 4 pole change over switch 200amp. L & T make |  |  | 1set |
| 26. | Level guard indicator |  |  | 1set |
|  | Internal Electric Installation: |  |  |  |
| 27. | Light point fan point Ex. Fan point power point |  |  | 42pts. |
| 28. | S.D.B. with S.P. MCB & DP MCB-8way-1No., 12 way |  |  | 1No. |
| 29. | Single fl. Tube light fitting |  |  | 11nos. |
|  | Double fl. Tube light fittings |  |  | 10nos. |
|  | Ceiling fan 1400mm sweep |  |  | 3Nos. |
| 30. | Exhaust fan |  |  |  |
|  |  | (a) 450mm sweep with louvers |  | 2Nos. |
|  |  | (b) 300mm sweep with louvers |  | 1No. |
|  |  | (c) 600mm sweep with louvers |  | 2nos. |
|  | External Electric Installation |  |  |  |
| 31. | 6 meter long swaged pole with 150 watt HPSV lamp with fittings of Crompton Greaves make |  |  | 10nos. |
| 32. | Roof mounted electric fittings of 150 watt HPSV lamp with bracket |  |  | 1No. |
| 33. | Cable of 2x10sq.mm. al. Cond, armoured |  |  | 1 lot |