Delhi Development Authority

Netaji Subhash Sports Complex

Jasola, New Delhi-110025

NOTICE INVITING QUOTATION

No. F 2 (38) /  NSSC / DDA / Elect. Maint. / 07 - 08 / 					      Date: 31 May  07

Sealed quotations are invited by Secretary NSSC, Jasola, New Delhi-110025 on behalf of the Delhi Development Authority for the following work from the quotationers registered with Sales Tax Deptt. (copy be enclosed with quotation). The quotations should reach in the office of undersigned by 3.00 P.M. on 11.06.07. The sealed quotations shall be opened on the same day at 3.30 P.M in the office of Secy. NSSC. The quotationers or their authorized representatives may be present at the time of opening of the sealed quotations.

Name of Work: 	M/o Netaji Subhash Sports Complex at Jasola.

##### SH: Supply of 400 Watts Mettal Hellide Flood lights at NSSC, Jasola.

| Sl. | Description of Item | Qty | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Supply of 400 watts Metal Hellide Flood light of Phillips make model MWF 330 – SK / 400 Sym & Lamp 1 X HPI – T 400 W. Tempo 3 Integral Flood light (tabular) luminaire with pressure die cast aluminum housing (IP65) etc. as required. | 12 nos. | Each |  |  |
|  | Total |  |  |  |  |

General Terms & Conditions is enclosed

- The work shall be carried out as per specification.

- No T & P will be issued.

- No extra charges will be paid on any account.

- The payment will be made only after satisfactory receipt of all items.

- The supply will be accepted in one lot.

- The Agency should be registered with the Sales Tax Department

- The certificate for supply of similar work shall be shown by the contractor.

- The flood lights shall be ‘Phillips make confirm the model as per schedule.

- The rates derived from the Phillips rate list.

- The supply shall be completed within 10 days from the date of issue of this order.

#### Lt. Col (Retd) P.B. Pathak

Secretary / NSSC / DDA