Delhi Development Authority

Netaji Subhash Sports Complex

Jasola, New Delhi-110025

NOTICE INVITING QUOTATION

No. F 2 (39) /  NSSC / DDA / Elect. / DDA / 07 - 08 / 				      Date:      June  07

Sealed quotations are invited by Secretary NSSC, Jasola, New Delhi-110025 on behalf of the Delhi Development Authority for the following work from the quotationers registered with Sales Tax Deptt. (copy be enclosed with quotation). The quotations should reach in the office of undersigned by 3.00 P.M. on 16.06.07. The sealed quotations shall be opened on the same day at 3.30 P.M in the office of Secy. NSSC. The quotationers or their authorized representatives may be present at the time of opening of the sealed quotations.

Name of Work: 	M/o Netaji Subhash Sports Complex at Jasola.

##### SH : Supply of Wall fans at NSSC, Jasola.

| Sl. | Description of Item * | Qty | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Supply of PVC sheathed Insulated 1.1 KV grade armored aluminum conductor cable of 74 X 25 Sq. mm. | 85 mtrs. | Meter |  |  |
| 2. | Laying of one No. PVC insulated and PVC sheathed / XLPE power cable. | 80 mtrs. | Meter |  |  |
| 3. | Providing & fixing 6 SWG dia G. I. Wire. | 85 mtrs. | Meter |  |  |
| 4. | Earthing with G. I. Earth Pipe 4.5 mtrs. And providing masonry. | 2 set | Set |  |  |
| 5. | Charcoal / Coke for pipe earth. | 2 set | Set |  |  |
| 6. | Providing and fixing 25 mm X 5 mm G. I. Strip. | 4 mtrs. | Meter |  |  |
| 7. | Providing and fixing 25 mm X 5 mm G. I. Strip on surface. | 2 mtrs. | Meter |  |  |
| 8. | Supplying of following items :- - 63 AMP T P & N – 1 no. - 4 strip 300 mm long aluminum bas bar 100 Amp Capicity – 1 no. - 32 Amp D P MCB – 6 nos. - Danger notice plate – 1 no. - Earthing stand – 2 nos. | 1 Job | Job |  |  |
|  | * Further specification details about items be obtained from Accounts section of NSSC. | Total |  |  |  |

General Terms & Conditions is enclosed

- The work shall be carried out as per schedule and CPWD specification.

- All the material shall be got approved by the Engineer in charge before use at site.

- The contractor shall submitt completion certificate as per Appendix ‘E’ of General specification for electrical work (Part – I) Internal 2005 after completion of work.

- The Secy. / Engineer in charge reserves the right to make any modification  to layout at any stage during the execution of work. No extra claim shall be entertained on account of the same.

- The following work shall be deemed to be included with in the scope of work to be executed by the contractor and nothing extra will be paid on this account.

- Cable route markers shall be provided for showing the cable route.

- Masoury support / G. I. Pipe support etc. shall be provided, where ever required.

- The entire system shall be tested in the presence of Secy. / Engineer in charge and the contractor shall provide all labour, equipments and material required for the performance of the test.

- The Contractor shall stand guarantee for 6 months of the complete installation.

- No T & P will be issued.

- Time allowed 15 days from the date of issue of work order.

- The rates are based on current market rates.

#### Lt. Col (Retd) P.B. Pathak

Secretary / NSSC / DDA