INVENTORY

Name of Work :	Maintenance of completed closed schemes houses of Dwarka

Zone.

SH:	Annual Operation & Maintenance for clear water booster pumpset & DG set at 272 Janta Houses at Pocket 6, Plot No. 21, Nasirpur, Dwarka, Phase I.

Detail of electrical installation at above noted site.

| (a) | 20 HP Centrifugal pump set | 2 Nos. |
| --- | --- | --- |
| (b) | 5 HP Submersible pump set | 1 No. |
| (c) | 5 HP Vacuum pump | 1 No. |
| (d) | 25 KVA DG set | 1 No. |
| (e) | 1 HP Dewatering pump set | 1 No. |
| (f) | LT Panel comprising of following electrical accessories |  |
|  | 125 AMP 415 V, 50 HZ Main Switch | 1 No. |
|  | 63 AMP 415 V, 50 HZ Main Switch | 3 Nos. |
|  | 20 HP 415 V, 50 HZ star delta starter | 2 Nos. |
|  | 5 HP 415 V, 50 HZ DOL starter | 2 Nos. |
|  | Capacitor | 1 No. |
|  | 100 AMP 415 V, 50 HZ Changeover switch | 1 No. |

Along with all other allied electrical items i/c controlling & protective devices