Estimated Cost Rs. 13230/-

Earnest Money Rs. 265/-

Date of Sale 02-07-07

Date of Opening 06-07-07

DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO. 8

SCHEDULE OF WORK

| Name of work | : | M/o Completed Schemes of Nazul A/c-I under SWZ M/o EI & Fans at DDA Officers Flats at Bhagwan Dass Road – SH : Repairing and servicing of Air Conditioners. |
| --- | --- | --- |

| S.NO. | DESCRIPTION OF ITEM | QTY. | UNIT | RATE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 1. | Servicing of window type Air Conditioner of 1.5 Ton capacity i/c cleaning with chemical, condenser coil evaporation coil lubricating and washing the complete Air Conditioner with front grill and replacement of air filter pad, oiling in fan motor, painting, reinstallation of Air Conditioner in the position, testing etc. complete as required. | 4 Nos. | Each |  |  |
| 2. | Servicing of split type Air Conditioner of 1.5 Ton/2.0 ton capacity i/c condenser unit and cooling unit, lubricating and washing of filter pad complete as required. | 3 Nos. | Each |  |  |
| 3. | Supply and charging of refregrent in 1.5 ton capacity window type Air Conditioner i/c testing of pressure and cooling etc. complete as required. | 2 Nos. | Each |  |  |
| 4. | Supply and charging refregrent in 2 ton capacity split type Air Conditioner i/c testing of pressure and cooling etc. complete as required. | 2 Nos. | Each |  |  |
| 5. | Installation of 1.5 ton capacity split type Air Conditioner i/c providing and fixing suitable size of copper pipe on the suitable space etc. complete as required. | 1 No. | Each |  |  |
| 6. | Supply and replacement of following parts of Air Conditioner i/c connection testing etc. complete as required. |  |  |  |  |
| (a) | Running capacitor 36 mfd | 2 Nos. | Each |  |  |
| (b) | Starting capacitor 80-100 mfd | 1 No. | Each |  |  |
| (c) | Thermostate | 1 No. | Each |  |  |
| (d) | Over load | 1No. | each |  |  |

ADDITIONAL CONDITIONS

(1)	The work shall be carried out to the satisfaction of Engineer-in-charge.

(2)	No T&P shall be issued to the contractor by the department.

(3)	If any damage to the installation caused by the contractor during execution of work the same have to be made good within quoted rates.

(4)	Nothing extra on a/c of cartage shall be paid to the agency by the department.

(5)	Thermostate/over load/relay shall of Genutral/Shri Ram make only.

(6)	Capacitor shall be used USHA/TEXLA/ASIAN make only.

(7)	Dismantled material shall be returned back to the department.

(8)	The contractor shall stand guarantee for a period of six months for the satisfactory performance for work done by him.