SCHEDULE OF QUANTITIES

Name of work :- Maintenance of Various colonies under Rohini Zone (N.A/c-II) for the year 2007-08.

SH.:- Repair of parks  pkt-7, Sec.22, Rohini, Ph-III.

| S.No. 1. | Description of Items 2. | Qty. 3. | Unit 4. | Rate 5. | Amount 6. |
| --- | --- | --- | --- | --- | --- |
| 1. 2. 3. 4. 5. 6. 7. 8. 9. 10. 11. 12. | Dismantling old plaster or skirting racking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50M lead. Brick work with FPS bricks of class design 75 in foundation and plinth in cement mortar 1:6 ( 1 cement : 6 course sand) 12 mm cement plaster of mix ( 1 cement: 6 coarse sand) 15mm cement plaster on rough side of single or half brick wall of mix (1 cement: 6 coarse sand) Providing and laying damp proof course 40mm thick with cement concrete 1:2:4 ( 1 cement : 2 coarse sand: 4 graded stone aggregate 12.5 mm nominal size. Finishing walls with water proofing cement paint snocem plus of M/s Snocem India Ltd or equivalent of required shade. Steel work welded in built-up section/framed work including cutting hasting fixing in position and applying a priming of approved steel primer using structural steel etc as repaired.. a) In grating, frames, guard lines ledders, railing, brackets gate and similar works. Providing and laying in position cement concrete of specified grade excluding the cost of centring and shuttering – All work upto plinth level. - 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size). Centring and shuttering including strutting, propping etc. and removal of form work for : - Found , footings, bases of columns. Painting with synthetic enamel paint of approved brand and manufacturer to give an even shade . - One or more coats on old work. Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade. - Two or more coats on New York. Demolishing cement concrete including disposal of material with in 50 metres lead : a) 1:3:6 ( 1 | 463.00 m2 9.20m3 231.00 m2 231.00m2 12.00m2 540.00 m2 1900.00 Kg 1.50 m3 12.00 m2 85.00 m2 62.00 m2 1.50 m3 | Sqm Sqm Sqm Sqm Sqm Sqm Kg Cum Sqm Sqm Sqm Cum | Rs.6.60 Rs.1890.00 Rs.58.00 Rs.65.00 Rs.125.00 Rs.31.00 Rs. 50.00 Rs. 2800.00 Rs. 90.00 Rs. 29.00 Rs. 30.00 Rs. 380.00 ## Total | Rs.3,056.00 Rs.17,388.00 Rs.13,398.00 Rs.15,015.00 Rs.1,500.00 Rs.16,740.00 ## Rs.67,097.00 Rs. 95,000.00 Rs. 4,200.00 Rs. 1,080.00 Rs. 2,465.00 Rs. 1,860.00 Rs.570.00 ## Rs. 1,72,272.00 |

Conditions:

Cement 3.10MT of Rs. 3800/- per NT will be issued from any DDA Store at Delhi / Now Delhi.

EXECUTIVE ENGINEER,

RPD-12, DDA