OFFICE OF THE EXECUTIVE ENGINEER

NORTHERN DIVISION NO.11 DDA,

ASHOK VIHAR, PH-I, DELHI-110052

Date of Sale	: 13-07-07

Date of Opening	: 18-07-07

Tendered Cost	: 500/-

Estimated Cost	: Rs. 2,01,232.00

Earnest Money	: Rs. 4,025.00

Time Allowed	: One year

SCHEDULE OF QUANTITY

Name of work:	M/o office complex at Ashok Vihar Ph-I.

Sub-Head:	Cleaning & sweeping of common area, S.w. drain sewerage line and toilets i/c disposal of refuse etc. at Ashok Vihar office complex.

| S. No. | Description of Item | Qty. | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1 | Cleaning and sweeping of roads and path i/c collecting of garbage, refuse, night soil mulba, dead animals & birds etc. and carrying out the soil, refuse from site to dust bin as per direction of Engineer-in-Charge. (total area to be cleaned per day: 1500 Sq.m.) | 286 Days | Per Day |  |  |
| 2. | Cleaning of toilets i/c supplying of Nap. Balls, cleaning powder, phenyl, acid, homocol cube, duster, brooms, wiper, brushes etc. as per requirement and as per the direction of Engineer-in-Charge. (All the toilets in the complex are to be cleaned daily.) | 286 Days | Per Day |  |  |
| 3. | Cleaning and desilting of S.W. Drain once in a week for the entire length of the drain in the complex of various sections i/c removal of filth, sludge, silt, etc. collected from drains and disposal of the same to dust bin as per the direction of Engineer-in-Charge. | 12 Months | Per month |  |  |
| 4. | Supplying of lime powder in bags of 25 kg. each at site and spreading the same as and when required at site or as desired by the Engineer-in-Charge. | 104 Bags | Per Bag |  |  |
| 5. | Cleaning and de-silting of sewer line and manholes once in a month or as required before one month for the entire length of various die laid at site i/c cleaning and removal of silt; sludge and filth etc. as collected from sewer line and manholes to the dust bins as per the direction of Engineer—in-Charge. | 12 Months | Per month |  |  |
| 6. | Disposal of silt, sludge, building rubbish, filth, refuse, etc. by mechanical transport i/c loading unloading etc. complete for 5 Km. Lead | 143 Cum. | Per Cum. |  |  |
|  |  |  |  | Total |  |

EXECUTIVE ENGINEER

NORTHERN DIVISION NO.11

Ashok Vihar Complex,