GOVERNMENT OF INDIA

P.W.D. II.

PUBLIC WORKS DEPARTMENT

WORK ORDER

Name of Work :- Maintenance of Dwarka Sports Complex, DDA.

SH :- Maintenance of Electrical Work of Multigym at Hastsal.

Agency :- M/s. Ashok Kumar Jain & Bros.

Amount :- Rs. 47352.00								   Time Allowed :- 15 days.

State													         Division

Branch													 Sub–Division

No. 4/DSC/DDA/2007-08									Dated : 13-06-2007

Order for work described below given to 								      Contractor

to be executed as per conditions on the reverse and at the rates specified below :-

| S. No. | Description | Qty. | Rate | Amount |
| --- | --- | --- | --- | --- |
| 1. | Wiring for light pt. / fan pt. / exhaust fan pt. / call bell point with 1.5 sqmm PVC insulated copper conductor cable in surface / recessed PVC conduit as required. | 25 Pt. | Rs. 225.00 | Rs. 5625.00 |
| 2. | Wiring for 3 Pin 5/6 Amp plug pt. with 1.5 sqmm PVC insulated copper conductor cable i/c providing & fixing, 3 pin 5/6 Amp socket outlet on switch board in surface / recessed PVC conduit wiring system & 5/6 Amp piano type switch, earthing the 3rd pin as required. | 3 Pt. | Rs. 99.00 | Rs. 297.00 |
| 3. | Supplying & drawing in existing conduit the following size of PVC insulated copper conductor cable in recessed / surface conduit as required :- - 1 X 1.5 sq mm - 2 X 2.5 sq mm - 2 X 4 sq mm - 2 X 6 sq mm | 150 mtr. 50 mtr. 20 mtr. 20 mtr. | Rs. 9.00 Rs. 15.00 Rs. 28.00 Rs. 39.00 | Rs. 1350.00 Rs. 750.00 Rs. 560.00 Rs. 780.00 |
| 4. | Supplying & fixing following size of PVC conduit along with accessories on surface / recessed as required - 20 mm - 25 mm | 25 mtr. 10 mtr. | Rs. 24.00 Rs. 34.00 | Rs. 600.00 Rs. 340.00 |
| 5. | Supplying & fixing metal box of following sizes on surface or in recess with suitable size of phenolic laminated sheet cover in the front and fixing 3 pin 15 / 16 Amp. Socket Outlet and 15 / 16 Amp Piano type switch connection testing etc. as required :- - 180 mm X 100 mm X 60 mm – each | 2 Nos. | Rs. 180.00 | Rs. 360.00 |
| 6. | Supplying & fixing (SPN MCB DB) of following way single pole and neutral. Sheet steel MCB distribution board 240 volts on surface / recessed complete with tinned copper bus-bar, Neutral, links, earth bar, din bar, detachable, gland plate, inter – connections, including painting earthing etc. as required. - 12 way | 1 set | Rs. 625.00 | Rs. 625.00 |
| 7. | Supplying & fixing 5 A to 32 A C – series MCB rating 240 volts in the existing MCB DB complete with connection testing commissioning etc. as required. - SPMCB - SP & N–MCB - TP MCB – 32 Amp | 4 Nos. 2 Nos. 1 No. | Rs. 100.00 Rs. 250.00 Rs. 450.00 | Rs. 400.00 Rs. 500.00 Rs. 450.00 |
| 8. | Earthing with G. I. earth pipe 4.5 mtr long 40 mm i/c. accessories and providing masonry enclosure with cover plate having locking arrangement. (without charcoal or coke & salt) complete as required. | 1 Set | Rs. 1400.00 | Rs. 1400.00 |
| 9. | Extra for using salt & charcoal for pipe earth electrode complete as required. | 1 Set | Rs. 285.00 | Rs. 285.00 |
| 10. | Providing & fixing 6 SWG dia G. I. wire on surface / recessed for loop earthling as required. | 20 mtrs. | Rs. 20.00 | Rs. 400.00 |
| 11. | Supplying & fixing following accessories in Sports Complex connection testing etc as required :- - CFL complete 20 volt with holder connection etc. - Exhaust Fan 300 mm sweep with louvers. - Air circulation revolving fan - 2 X 40 watt Florescent tube light fitting complete with tube rod and all accessories and copper wound choke etc. - 1.25 meter long 40 MM dia. G. I. brocket with clamps & Nut bolts for fixing street light fitting. - Street light fitting suitable for 125 watt. HPMV fitting with 125 watt HPMV lamp complete with accessories etc. | 20 Nos. 1 No. 3 Nos. 3 Set 2 Set 2 Nos. | Rs. 240.00 Rs. 1900.00 Rs. 5000.00 Rs. 900.00 Rs. 575.00 Rs. 3540.00 | Rs. 4800.00 Rs. 1900.00 Rs. 15000.00 Rs. 2700.00 Rs. 1150.00 Rs. 7080.00 |
| TOTAL |  |  |  | Rs. 47352.00 |
| Terms & Conditions :- - The work should be carried out as per specification and direction of in-charge. - The payment will be made to the agency after the entire satisfaction of Secretary (DSC). - Nothing extra shall be paid except for the rate quoted. - The work will be completed within 15 days. - No T & P issued by the Department to the Contractor. |  |  |  |  |

Lt. Col. (Retd.) A. K. Bairagi

Secretary

Dwarka Sports Complex, DDA