In Lieu of PWD-8

OFFICE OF THE EXECUTIVE ENGINEER (E)

ELECTRICAL DIVISION NO. 4/DDA

ROHINI OFFICE COMPLEX, OLD BARRACKS

NEAR SARASWATI VIHAR, ROOM NO. 110

DELHI – 110085

Issued to M/s : __________________________________

Date of Sale of Tender : ___________________________

Name of Work : M/o various colonies under Rohini Zone.

SH : RMO  of submersible pump set and 7.5 KVA D.G. Set for clear water supply at 2016 one room tenements for EWS and 504 shops at Sector4, Rohini – Repair of submersible pump set.

Estimated Cost Rs. 9,440/-			 	Earnest  Money Rs. 189/-

Cost of Tender Rs. 150/- 				Time Allowed 15 Days

Last date for receipt of tender   06.07.2007   upto 3.00 p.m.

I /We have seen and studied the NIT in the office of the Executive Engineer (E), Electrical Division 4 on form PWD-8 with correct slips and conditions attached with it. I / We are counting our item rates on the basis of these terms and conditions and if my / our offer is accepted the regular agreement with all terms and conditions  as contained in the N.I.T. will be a part of the agreement to be executed for the due performance of the work.

Tendered amount Rs. ____________________

Date the _____________________ day of ___________________ 2007.

# Signature of Contractor

Signature of witness to contractor’s

Signature

Address :

Occupation

Note : Earnest money should be deposited in the form of call deposit receipt or Demand draft drawn on a Scheduled Bank guaranteed by the Reserve Bank of India, in favour of AO/CAU(R)/DDA. Earnest Money in cash will not be accepted.

A –

C –

D –

OW – O

EXECUTIVE ENGINEER (El.)

Electrical Division No. IV, DDA,

## Rohini, Delhi – 110085

DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO. 4, ROHINI, DELHI – 110085

## NOTICE INVITING TENDER NO. 19/ EE/ED-4/DDA/2007-08

(In Lieu of Form PWD 6)

Sealed Item rate tenders are re-invited / invited for the following works by the Executive Engineer(E), Electrical Division No. IV, DDA, Rohini, Delhi - 85 upto 3.00 p.m. on behalf of DDA approved contractors of appropriate class of DDA, CPWD, MES, Civil Wing of P&T and Railways which shall be opened on the same day at 3.30 p.m. at Ground Floor, Vikas Minar, D.D.A. office, I.P. Estate, New Delhi in the presence of intending purchasers or their authorized representatives.

The documents can be had on any working day from CAU Rohini / Sales Counter, Ground Floor, Vikas Minar, New Delhi between 10.00 a.m. to 3.00 p.m. on payment of amount mentioned against each work (non refundable) on production of valid ITCC and registration certificate. Contractor must produce valid certificate of registration with works contract cell of sales tax deptt. of GNTCD and the Tax clearance certificate in Form XI (under rule 8(2) of Delhi Sales Tax of works contracts rule (1999) issued by the said cell. Sale of tender forms will be stopped Four days (including date of opening) before the date fixed for the opening of tenders.

The manner of submission of tender, opening of same and entry of contractor’s / their authorized representatives to the place of opening shall be provided in clause three 3(a)(b) and (c) of PWD-6 forming part of the tender documents.

The earnest money should accompany the application form of call of deposit receipt or demand draft of schedule bank Guaranteed by the Reserve Bank of India in favour of Sr. A.O. / CAU (Rohini)/DDA.

| # S.No. | NIT No. | Name of work | Estt. Cost / Earnest money / Cost of tender | Time Allowed | Date of Sale Date of opening of tender |
| --- | --- | --- | --- | --- | --- |
| 1. | 19 | M/o various colonies under Rohini Zone. SH : RMO of submersible pump set and 7.5 KVA DD.G. Set for clear water supply at 2016 one room tenements for EWS and 504 shops at Sector4, Rohini – Repair of submersible pump set. | ##### Rs. 9,440.00 ##### Rs. 189.00 ##### Rs. 150.00 | 15 days (Fifteen Days) | 02.07.2007 06.07.2007 |

EXECUTIVE ENGINEER (El.)

Electrical Division No. IV, DDA,

Rohini, Delhi – 110085

DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO. – IV

## SCHEDULE OF WORK

Name of Work 	:  -	M/o various colonies under Rohini Zone.

SH : R.M.O. of Submersible pump sets and 7.5 KVA D.G. Set for clear water supply at 2016 one room tenaments for EWS and 504 shops at Sector-4 Rohini Phase – I. Repair of submersible pump set

| S.No. | #### Description of items | Qty. | #### Rate | #### Unit | ### Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Repair and Rewinding of 5 HP 3 Phase, 415 V, 50 Hz AC Supply operated 4 stage submersible pump set i/c supply and replacement of following damaged / worn out parts, reassembling of motor & pump complete as reqd. - Rewinding kit of 5 HP submersible motor – 1Job - G.M. bearing bush – 4 nos. - Rotor sleeve – 4 Nos. - Water Seal – 2 nos. - Neck Ring – 4 nos. - Guide bush – 4 nos. - Distance bush – 4 Nos. - Upper bush – 1 no. - Upper sleeve – 1 no. - Impeller key – 4 nos. - Rotor and repairing – 1 job - Impellor remetalling & turning – 4 jobs - Labour charges for replacement of parts in pump & motor i/c reassembling, painting, testing etc. as reqd.- 1 Job | 1 Job |  | P/Job |  |

# ADDITIONAL CONDITION

- The work shall be carried out as per specifications and to the entire satisfaction of Engineer-in-charge.

- No T& P shall be issued by department to the contractor. The contractor shall make its own arrangement for hire & transportation of Tripot containing chain pulley block, welding set, drilling machine etc. for which nothing extra shall be paid.

- Rates are inclusive of all taxes, duties, cartage, transportation cost  etc.

- Any damage to the building or installation during execution shall have to be made good by the contractor withtin the quoted cost.

- Watch & ward of the installation & material shall be the responsibility of the contractor till the same is handed over to the department.

- Contractor shall submit the guarantee certificate for smooth operation of pumps et after carrying out repairs for 6 months. During the guarantee period if any defect / break down occurs, the same shall be rectified by the agency free of cost including lowering and lifting of pump sets.

- The dismantled material shall be returned back by contractor to deptt.

- Contractor shall take all necessary safety precautions while execution of work. In case of any accident, electric shock mishappening occurs with the staff of the contractor department will not be responsible.

- Any one of the following make of materials shall be used in the work for the items mentioned here under :

a) Spare Part / Accessories

of submersible pump sets 	:	Genuine parts manufactured by reputed co.

- Any consumable material like soap, old dhoti, duster, grease, M.seal, rubber insert / gasket, nuts, bolts, washer shall be provided in contract amount.

- Minor repair like welding of damaged flanges, jointing of  submersible cable, threading work etc. shall be carried out free of cost by contractor.

- The contractor shall be responsible for keeping the borewell covered the same with lid / cap after lifting /taking out / pump set so as to avoid any mishappening accident etc. at site.