In Lieu of PWD-8

OFFICE OF THE EXECUTIVE ENGINEER (E)

ELECTRICAL DIVISION NO. 4/DDA

ROHINI OFFICE COMPLEX, OLD BARRACKS

NEAR SARASWATI VIHAR, ROOM NO. 110

DELHI – 110085

Issued to M/s : __________________________________

Date of Sale of Tender : ___________________________

Name of Work : M/o completed scheme (shops) under SWZ.

SH : M/o Electrical & Fire services in M.S. Building at Plot No. 1,2,5 & 7A at Distt. Centre Janak Puri – Maintenance contract for fire alarm system & P.A. systems installed at M.S. Building at plot No. 1,2 & 5 at Distt. Centre, Janak Puri on annual contract basis.

Estimated Cost Rs. 1,55,662/- 		 	Earnest  Money Rs. 3,113/-

Cost of Tender Rs. 500/- 				Time Allowed 12 Months

Last date for receipt of tender   06.07.2007   upto 3.00 p.m.

I /We have seen and studied the NIT in the office of the Executive Engineer (E), Electrical Division 4 on form PWD-8 with correct slips and conditions attached with it. I / We are counting our item rates on the basis of these terms and conditions and if my / our offer is accepted the regular agreement with all terms and conditions  as contained in the N.I.T. will be a part of the agreement to be executed for the due performance of the work.

Tendered amount Rs. ____________________

Date the _____________________ day of ___________________ 2007.

# Signature of Contractor

Signature of witness to contractor’s

Signature

Address :

Occupation

Note : Earnest money should be deposited in the form of call deposit receipt or Demand draft drawn on a Scheduled Bank guaranteed by the Reserve Bank of India, in favour of AO/CAU(R)/DDA. Earnest Money in cash will not be accepted.

A –

C –

D –

OW – O

EXECUTIVE ENGINEER (El.)

Electrical Division No. IV, DDA,

## Rohini, Delhi – 110085

DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO. 4, ROHINI, DELHI – 110085

## NOTICE INVITING TENDER NO. 15/EE/ED-4/DDA/2007-08

(In Lieu of Form PWD 6)

Sealed Item rate tenders are invited for the following work(s) by the Executive Engineer (E), Electrical Division No. IV, DDA, Rohini, Delhi - 85 upto 3.00 p.m. on date mentioned below on behalf of DDA from the specialized firms in the field of job who satisfy the following conditions :-

- The annual financial turnover (gross) in one of the preceding 3 financial years shall not be less than 100% of the estimated cost (gross) value of the work duly audited by Chartered Accountant on annualized basis depending upon the time allowed for the completion i.e. total estimate value divided by time of completion.

- Satisfactory completion of atleast two works of similar nature / class costing not less than 50% of the estimates cost (gross) in Central / State govt. Deptt./ Public Sector Undertaking / Govt. Autonomous bodies during the last five years.

The tender shall be opened on the same day at 3.30 p.m. at Ground Floor, Vikas Minar, D.D.A. office, I.P. Estate, New Delhi in the presence of intending tenderers or their authorized representatives.

The tender documents can be had on any working day from the Sr. A.O. / CAU/ Rohini zone / DDA after verification of documents from EE(E)/ED-4 between 11.00 a.m. to 3.00 p.m. on payment of cost of tender (non refundable) as well as amount of earnest money in the prescribed manner as mentioned against each work i.e. in cash (upto Rs. 10,000/-), Receipt treasury challan / deposit at call receipt / fixed deposit receipt / demand draft of a schedule bank issued in favour of Sr. A.O. /CAU/Rohini/DDA on production of registration certificate & No dues certificate issued from work contract cell under Delhi Value Added Tax of work contract Act 2004 & VAT Rules 2005. Sale of tender forms will be stopped 4 (Four) days including date of opening before the date fixed for the opening of tender.

The manner of submission of tender, opening of the same and entry of contractor’s / their authorized representatives to the place of opening shall be as provided in clause 3(a)(b) & (c) of PWD-6 forming part of the tender documents.

| # S.No | NIT No. | Name of work | Estt. Cost / Earnest money / Cost of tender | Time Allowed | Date of Sale Date of opening of tender |
| --- | --- | --- | --- | --- | --- |
| 1 | 15 | M/o completed scheme (shops) under SWZ. SH : M/o Electrical & Fire services in M.S. Building at Plot No. 1,2,5 & 7A at Distt. Centre Janak Puri – Maintenance contract for fire alarm system & P.A. systems installed at M.S. Building at plot Bo. 1,2 & 5 at Distt. Centre, Janak Puri on annual contract basis. | ##### Rs. 1,55,662.00 ##### Rs. 3,113.00 ##### Rs. 500.00 | 12 Months (Twelve Months) | 02.07.2007 06.07.2007 |

EXECUTIVE ENGINEER (El.)

Electrical Division No. IV, DDA,

Rohini, Delhi – 110085

DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO. – IV

## SCHEDULE OF WORK

Name of Work 	:   M/o completed scheme (shops) under SWZ.

SH 	 :   M/o Electrical & Fire services in M.S. building at plot No. 1,2,5 & 7A at District Centre, Janak Puri.

Maintenance Contract for Fire  Alarm system & P.A. system installed at M.S. Building at Plot No. 1,2, & 5 at District Centre, Janak Puri on annual contract basis.

| S.No. | #### Description of items | Qty. | #### Rate | #### Unit | ### Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Running, Maintenance periodic & preventive maintenance of Fire alarm & P.A. Systems as per inventory, terms & conditions attached. | 1 Job for 12 months |  | Per Month |  |
| 2 | Supplying & Replacement of following of accessories as required |  |  |  |  |
|  | (i) Fix temperature type heat detector | 30 Nos. |  | Each |  |
|  | (ii) Manual call box with Hammer & Chain | 10 Nos. |  | Each |  |
|  | (iii) Hooter | 10 Nos. |  | Each |  |
|  | (iv) Response Indicator | 40 Nos. |  | Each |  |
|  | (v) Speakers for Hooter | 20 Nos. |  | Each |  |
|  | (vi) LMT | 20 Nos. |  | Each |  |
|  | (vii) Telephone handset | 5 Nos. |  | Each |  |
|  | (viii) Microphone | 2 Nos. |  | Each |  |
| 3. | Supplying and Fixing / Replacement of 20mm dia PVC conduit along with accessories in surface / recess including cutting the wall and making good the same in case of recess conduit as reqd. | 200 mtr. |  | Mtr. |  |
| 4. | Supplying and drawing / Replacement 1x1, 5mm2 size of PVC insulated, copper conductor, single core cable in the exsiting surface / recessed, PVC steel conduit/ PVC casing and capping as reqd. | 500 mtr. |  | Mtr. |  |

## INVENTORY OF FIRE ALARM SYSTEM AT PLOT NO. 1, 2 & 5

| S.No. | Items | Plot No.1 | Plot No. 2 | Plot No.5 | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1. | Main Fire Control panel | 01 Nos. (10 Zone) | 01 (12 Zone) | 01 no. (10 zone) | 24V 60 Amp. With maintenance free battery with charger |
| 2. | Local Control Panel | 08 Nos. (12V / 60 Amp.) | 06 Nos. | 03 Nos. |  |
| 3. | Manual Call Box | 23 Nos. | 16 Nos. | 08 Nos. |  |
| 4. | Hooters | 23 Nos. | 16 Nos. | 08 Nos. | 4 Watts 180 db |
| 5. | Response Indicators | 76 Nos. | 36 Nos. | 11 Nos. |  |
| 6. | Heat detectors fixed temperature Type | Inside & Outside of all floors/ shops / offices | Inside & Outside of all floors/ shops / offices | Fixed at basement GF & UGF |  |
| 7. | Smoke Detector R.O.R. type | - do - |  |  |  |
| 8. | Talk back system & master stations telephone handset in sheet enclosure along with control station. | Eight line master station | 1 Set | 10 Line Master stations telephone handset |  |
| 9. | One line telephone hand set | 7 Nos. | 5 sets | 2 Nos. |  |
| 10. | Electronic thermostat type heat detector | Inside & outside of all floors / shops / offices | Inside & outside of all floors / shops / offices | Fixed at Basement GF & UGF |  |

## INVENTORY OF PUBLIC ADDRESS SYSTEM

| 1. | Solid State Mixer Amplifiers | 160 watt 1 Khz six channel 3 nos. | 160 watt 1 Khz six channel mixer Amp 3 nos. | 160 watt for public address systems |  |
| --- | --- | --- | --- | --- | --- |
| 2. | Equipment rack consisting of (i) Master Station (ii) Zone selection console (iii) Main Loud Speaker | 1 nos. 1 nos. 1 nos. | 1 nos. 1 nos. 1 nos. | Hooter/speakers 8nos. |  |
| 3. | Speakers | 23 nos. | 18 nos. | - |  |
| 4. | General purpose reflex horns | 02 nos. | 05 nos. | - |  |
| 5 | Cassette Player | 01 nos. | - | - |  |

## TERMS & CONDITIONS

- The work comprises of complete installation of Fire alarm system, public address system and talk back system.

- The contractor shall depute the following staff under the contract –

  - Wireman Gd- I / Electrician / Mechanics / Technicians 1 No. (one) in general shift of 10 a.m. to 6 p.m. on all days except Sundays & National Holidays.

  - Khallasi / Helpers 1 No. as above.

- The contractor shall employ and trained and competent staff to the satisfaction of Engineer in charge having 2 years experience on maintenance of such systems.

- The contractor shall supply the list of staff within 7 days of award of work. Engineer in charge shall have the right to reject any staff employed by contractor.

- Following records are to be kept at site of work.

  - Attendance register for staff deployed.

  - Complaint / Inspection registers.

  - Preventive / periodic maintenance registers.

- The contractor shall intimate the engineer in charge about the major fault, breakdown etc. it occurs at site.

- The payment to the contractor shall be made bi-monthly or at other suitable intervals as desired by contractor but not less than 1 month.

- The following minor maintenance including preventive maintenance shall be carried by the contractor. The detail shall be recorded in suitable registers.

  - Proper charging of shortage type batteries, topping up of distilled water, connection (burnt) / replacement of battery terminal of required.

  - Checking of working functions of talk back & P.A systems.

  - Cleaning of control panel, sounders, call boxes etc.

  - Testing of installation / system as decided by engineer in charge.

  - Checking of all zonal indicators panel / control panel & indicating panel.

  - Carrying out various tests as proposed in CPWD maintenance schedule for such type of installation & system.

  - Provision of consumable & petty material such as old dhotis, CTC, thinner, soap, I.C. transistor, capacitor, resistor, soldering material, indicating lamp etc.

- If any staff employed by the contractor is found absent at a particular time and date, an amount proportionate shall be recovered from the contractor bill.

- The rates quoted by the contractor shall be inclusive of all taxes, government levies etc.

- Any testing instrument, megger, multimeter etc. for testing of installation shall be provided by the contractor free of cost.

- All allied accessories  / installation shall be kept in working order and in case any damage / loss is done to the exsiting installation due to negligence of staff deployed by the contractor, the contractor shall have to make good the damage / loss at his own cost. Incase contractor fails to rectify the damage/loss with in reasonable time the same shall be got rectified/replaced by the deptt at the risk and cost of the contractor.

- Makes of various item/material to be replaced shall be governed by as per fitment of manufacturers of the existing installation or as approved by the engineer-in-charge.

- Dismantled material shall be returned back to department.

- Qty. taken for item no.2 to 4 is tentative, shall be executed as per actual requirement at site during the contract period.