Name of Works- 	D/o 174. 29 Hact of land in sectors 18

and 19 (b) Dwarka ph- II.

SHs- 	Conducting total station survey around

the 1 and marked for Residential along

the 60M R/W road in Sec. 19(B) DWK ph-II.

| Estt cost.147690.00 Rate. Item Rate W.O. amt. Rs. 147690.00 Time Allowed 10 days. W.D 10/EE/WD-15/2007-08 | Agency. M/S Rajiv Garg Supplier & contractor E-16/183 Sec.8 Rohini Delhi-85 |
| --- | --- |

- Conducting total station survey of land showing all permanent/Temporary features, levels taking measurements etc by total station survey showing present/existing dimension of all features at site such at site such as trees, wells tube wells, Nallah, Pond, H.T. electric Lines sewer Lines, Roads, Paths boundary wall fencing etc in reference to drawing issued to demarcate as well as detailed survey of various plots including identification of points where boundary stones to be fixed (if required, as per direction of Engineer in charges and checking all diagonal dimensions and area including submission of original tracing along with six Nos ammonia a prints complete in all respect as per direction and satisfaction of Engineer in charge.

405741.00			Sqm		Rs.0.33		Rs.133895.00

Sqm

- Extra for conducting total station survey in and around water logged area, wet and marshy 1 and, under foul conditions and under Typical conditions.

81148.00			Sqm		Rs.0.17		Rs.13795.00

Sqm

R.1, 47, 690.00

Conditions-

- Contractor has to submit the computerized C.D. and original trucking plan along with 6 print each print.

- No T & P shall be issued by the deptt.

- The work shall be completed with in 10 days.

- The work shall be carries out as per direction of Engineer in charge.

Sd/-	
Executive Engineer
									W.D.  15/ DDA