Schedule of Quantity

Name of work:-M/o RSKP/Pitampura.

Sh:-Sinking of 100mm dia shallow bore well providing fixing of submersible pump set, repairing of 5HP submersible pump set & 10HP mono block pump set.at RSKP

| S.No. | Description of Items | Qty. | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Sinking of 100 mm dia shallow bore well i/c providing fixing of submersible ump set and accessories. - Sinking of 100 mm shallow bore well in soft soil by manually method bocky system with special tool & plant. - Providing lowering of 100mm dia PVC heavy duty pipe i/c. socket. - Providing fixing of 125mm dia steel cutter to avoid the damaged bore well. - Providing installation of submersible pump set 15HP/ 10 stage suitable to operate on 440V 50HZ for following duties head 20 mt., discharge 125LPM - Providing fixing of 40mm dia G.I. pipe socket pipe ‘B’ class i/c. Tee, socket. - Supply fixing of 1x3x1.5 sq.mm sub cable i/c. connection, lying etc. as reqd. - Supply fixing of 32AMP TPMCB i/c. connections lying etc. as reqd. | 20 mtr. 20 mtr. 1 no. 1 job 20 mtr. 25 mtr. 1 no. |  | Mtr. Mtr. Each Job Mtr. Mtr. Each |  |
| 2. | Repairing of 5HP/5 stage submersible pump set i/c. new & changing of following accessories. - Rewinding of motor 1 job - G.M. bearing bush 4 nos. - Rotor sleeve turning grindy 1 job - Thrust bearing 1 no - Thrust Plate 1 no - Water seal 2 no. - ‘O’ ring set 1 set. - G.M. neck ring 5 no. - Distance bush 5 no. - Guide bush 5 no. - Key of impeller 5 no. - Labour charge 1 job | 1 Job | Job |  |  |
| 3. | Repairing, rewinding of 5HP/ 5 stage submersible pump set i/c. changing of following items - Rewinding of motor 1 job - G.M. bearing bush 4 nos. - Rotor sleeve turning grindy 1 job - Thrust bearing 1 no - Motor base 1 no. - Water seal 2 no. - ‘O’ ring set 1 set. - G.M. neck ring 5 no. - Distance bush 5 no. - Guide bush 5 no. - Stage bend C.I. 1 no. - R/O NRV body 1 no. - Upper bush 1 no. - Labour charge 1 job | 1 Job | Job |  |  |
| 4. | Rewinding & repairing of 10HP monoblock pump set i/c. connection, lying and balancing of impeller etc. as reqd. - Rewinding of 10HP monoblock pump set 1 job - Providing & fixing of glad sleeve 1 no. - Balancing of impeller 1 job - Labour charges i/c. cartage, testing, commissioning etc. as reqd. 1 job | 1 Job | Job |  |  |
| Total |  |  |  |  |  |