IVRCL/2640

Dated : 24.01.2012

| S. No. | Item No. | Particulars | Query | REMARKS/REPLY |
| --- | --- | --- | --- | --- |
| 1. | Tender Drawing No.8 (a) | As per tender drawing, Site No.6, Sector-35, Rohini. No.of floors is mentioned as G+15. | As per this tender drawing the floor of the buildings are mentioned as G-15, while as per payment condition and prequalification requirement the height of the buildings are G+7. Please confirm what is the maximum no. of floors permitted. Please also confirm whether the height of LIG & EWS Buildings are same and in case of buildings are more than 7 floors then what is the payment conditions above seventh floor. | At least G+7 storied and height not less than 24 mtrs. Height of LIG and EWS are same. |
| 2. | Tender Drawing No.8 (a) - Parking | As per tender drawing, Site No.6, Sector-35, Rohini, parking is distributed in three parts (Basement, Stilt & surface Parking). | Please confirm whether there is basement requirement for parking purpose. | The drawings are null and void. No basement has to be provided. |
| 3. | Design Consideration and requirement (page-24) – Buttressing | Buttressing in the external walls shall be provided as external wall elements are not fully restrained on both sides by floor panels and that external wall panel connections are the weakest point in a precast panel building. | What is buttressing? When the design takes care of restrains both the directions, still then buttressing is required or not? Please confirm. | Need to provide buttressing in the external wall panels is as per guideline/requirement laid down in BIS code No. 15916-2010. |
| 4. | Design Consideration and requirement (Page-25) – Key Elements | For buildings of five or more storeys……. Key element are avoided. | What is key elements? Please clarify the key elements. | The key elements are primary members in precast system of construction. The failure of which would cause collapse of more than a limited area close to it. if key elements exists,it is preferable to modify the layout so that key elements are avoided. |
| 5. | Design Consideration and requirement (Page-25) | RCC decking/topping reinforced screed shall be overlaid on precast panels for providing rigid diaphragm action, under seismic conditions. | Please clarify what is the RCC Decking. Kindly also confirm: - It is wall panel or floor slab panel; - Screed concrete required for slab panel also. | RCC decking is cast in situ RCC laid over precast slab panels for providing floor diaphragm action to be rigid. It is a per clause 7.7.2.2. of BIS code No. 1893 (Part-I) 2002. |
| 6. | Precast/Pre-stressed codes. |  | Precast/Pre-stressed codes are not referred in the tender documents. Please confirm. | Design of pre-stressed precast members shall be in accordance with provision/guidelines laid down in IS: 1343-1980 (with upto date amendment) and NBC-2005. |
| 7. | Condition for RCC Work (page-196, Cl. 9.5.2) | In no case steel Bar is less than 8mm dia shall be used in RCC work as well as precast member. | Whether this clause is applicable for pre-stressed elements. Kindly confirm. | As per the provisions of NIT |
| 8. | Condition for RCC Work (page-197, Cl. 9.1.9 (a&b) | Thickness of the vertical elements will be governed by these clauses, mentioned, only. | Please confirm. | As per the provisions of NIT |
| 9. | Architectural Works | As per tender documents, the Dwelling Unit Area is given i.e. for LIG 42 Sqm and EWS 42 Sqm | Kindly confirm this area is carpet area or built-up area of the particular unit and what are other common facility areas like lift, lobby and balcony. | The Minimum carpet area for EWS 25sqm and LIG 35sqm. |

M/S IVRCL/2881 Dated: 09.02.2012

| S. No. | Item No. | Particulars | Query | REMARKS |  |
| --- | --- | --- | --- | --- | --- |
| 1. | Development/ Architectural Controls/Norms, Clause No.8 (c), Page No.20 | The contractor shall ensure that min. 15% of FAR or 35% of the dwelling units, whichever is more, are constructed for community Service Personnel/EWS and lower category. Such flats should have a carpet area between 25-40 Sqm. This 15% of FAR or 35% of the DUs for Community Service Personnel/EWS and lower category housing would be over and above 200 Permissible FAR and density mentioned above w.r.t. the clause 4.4.3B(v) of MPD 2021. | Under Package-II, proposed number of LIG Units to be constructed is 13094 and 2579 EWS. The said EWS houses are only 19% of LIG Units. While, as per the referred clause 8 (c), we must built approx. 4583 No. EWS Units to follow the norms. Similarly, for Package-I, proposed number of LIG Units to be constructed is 11566 and 2276 EWS. The said EWS houses are only 19% of LIG Units. While, as per the referred clause 8 (c), we must built approx. 4083 No. EWS Units to follow the norms. - Kindly confirm whether we are to make provision only, for total 35% of LIG Units for EWS housing in each site/pocket plan and construct only required numbers of EWS DUs mentioned in the NIT. - We understand that Permissible FAR of 200 is only for LIG Units. EWS is not covered under this 200 permissible FAR i.e. EWS is over and above FAR 200. Please clarify and confirm. | The minimum carpet area for EWS -25 SQM. & for LIG -35 sqm. And other provision as per NIT. |  |
| 2. | Additional Conditions/ Clarifications Clause No.3, Page No.333 | Carpet Area requirement: Method of working out carpet area in detail is elucidated in enclosed typical layout plan with detailed calculation. | We do not find any detailed calculation sheet with the tender documents. Hence, we request you to kindly provide the same. | The minimum carpet area for EWS -25 SQM. & for LIG -35 sqm. And other provision as per NIT. |  |
| 3. | Additional Conditions/ Clarifications Clause No.30, Page No.337 | Carpet Area: The area of Cupboard, nitch shall be included in carpet area but area of Door Jams will be excluded from the carpet area. Carpet area will be measured at Lintel level. For the purpose of working out carpet area to satisfy requirement of architectural control norms balcony area will not be reduced to 50% i.e. full area of balcony will be considered. The reduction in balcony by 50% area will only be done for calculating the carpet area for payment purpose. | We understand that the carpet area will be measured at lintel level, hence balcony will not considered in the carpet area. 1) Kindly clarify whether the revised carpet area of 35 Sqm for LIG Unit and 25 Sqm for EWS Unit are excluding balcony area. 2) Please also clarify whether the built-up area of 42 Sqm for LIG Unit and 32 Sqm for EWS Unit is exclusive of common areas like staircase, lift lobby, passage, corridor etc. | The minimum carpet area for EWS -25 SQM. & for LIG -35 sqm. And other provision as per NIT. |  |