IVRCL

No.IVRCL/DZO/2012-13/  	                                                        Dated: 19.04.2012

| S. No. | Item No. | Particulars | Query | Reply |
| --- | --- | --- | --- | --- |
| 1. | Tender Portal | Downloading the tender documents & submission of bid. | We wish to submit that we have deposited the tender cost on of both the packages on 06.01.2012 with DDA. Now, we are in the process of submitting our technical submission alongwith scan copy of above cited Demand Drafts and Tender Processing Fee, but we are not able to locate the above cited two tenders in our user account (dzotenders). In this regard, we have contacted ITI Limited over phone, they have conveyed that the last date of sale of tender documents have been closed, hence they are not in a position to allow us further processing without making payment within due date i.e. upto closing of sale date. These instructions are not mentioned in anywhere in the tender documents. Now we are not able to see any addendum, minutes of meeting, etc. As per Clause 3 of NIT (Page No.39), Tender documents and Tender processing fees should be scanned and uploaded to the e-tendering portal within the period of tender submission i.e. 24.04.2012 and hard copy of the same shall be submitted alongwith EMD before due date of submission of tender. Keeping in view of the above, we request you to kindly intimate ITI Limited to accept the payment of processing fee and make such arrangement so that we can see all tender documents, addendums, minutes of meeting etc. being uploaded and submit our most competitive bid through e-tendering. | Necessary amendment has been made |
| 2. | Earnest Money Deposit | As per Press Tender Notice, submission of EMD | We understand that in case of Joint Venture, EMD can be submitted by any one of the JV Partner as mentioned in NIT Para-1. Please confirm. | E.M.D. to be given by both the partners out of their account in proportion of financial participation in joint venture. |
| 3. | Salient Feature for housing pockets | As per tender conditions, number of houses (LIG & EWS) has given pocket-wise, Sector-wise. | As per development/architectural control norms the actual number of houses is coming less compared to given numbers (approx. 8-10% each pocket). We have to plan to accommodate max. no. of LIG Units within permissible FAR of 200 and the EWS Units are over and above 200 Permissible FAR as mentioned in Tender Documents. Please Confirm. | The numbers of LIG & EWS houses as mentioned in NIT, for each Group Housing pkt. are tentative. Scheme to be planned as per the Development / Architectural Controls / Norms as mentioned in NIT. |
| 4. |  | Dual Water Supply | We understand that dual water supply means one line carrying untreated water to Overhead tank (i.e. from borewell to overhead tank) and another line carrying treated water from RO plant to separate OH tank in addition to Fire Water Tank. Subsequently two individual water meters are required. Can it be permitted to install individual RO system in the kitchen of each DU instead of common RO Plant in each pocket. Please confirm. | Dual system shall be provided for water supply with common RO system |
| 5. | B. Specification for Sewerage, Page No.221 Internal Development Works |  | We request you to provide details regarding location, size, ground and invert levels of natural outfall/Nallah for storm water ultimate disposal. | As per design and drawing approved by DJB or NIT provision. Invert levels for peripheral services shall be intimated in due course of time. |
| 6. | Escalation Page No.102 Cl. 10C, 10CA & 10 CC | Payment due to increase/ decrease in prices/wages. All these clauses marked deleted. | As completion period of the project is 36 months, and keeping in view of the rate fluctuation in the market for major construction materials, we request you to allow escalation under Clause 10CC and 10C in order to enable us to quote competitive bid. | Provision of clause 10CC & 10CA are now allowed the details shall be uploaded separately. |
| 7. |  | Precast Wall | Please confirm whether DDA can permit some walls like Lift Wall with Cast-in-situ Concrete while the other walls as proposed pre-cast walls. | As per approved structural & design requirement. |
| 8. |  | Site Plan | In the Site plan of Sector-34 and Sector 35 Rohini, boundaries of pockets 2.38 Hect. & 1.96 Hect. where we have to fit the blocks, are not given. We request you to give the same. | Latest revised lay out plan and contour plan issued by the department , will followed |
| 9. | Extension of Bid submission date |  | We have received the minutes of first pre-bid meeting (electrical part) only on 16.04.2012. The date of submission of bid is very near to the date of 2nd pre-bid meeting. Hence, we request you to kindly extend the date of submission at least 20 days after issuance of minutes of 2nd pre-bid meeting. | As details are available on ITI WIZARD website |