| # Sr No | Clause Reference | Provision as per NIT | Decision Required | Reply |
| --- | --- | --- | --- | --- |
| 1. |  | Affidavit as per provision of Clause 1.2.3 of CPWD-6 on page No.41 | Clause 1.2.3 of CPWD-6 for Affidavit is not available in NIT - Please clarity | Details are available in CPWD manual 2012 |
| 2 (i) | EMD. | RTGS/NEFT in account of Sr. A.O. (CAU)/NZ having account No…….. With bank …. And branch … (FAC Code). Balance amount in shape of Bank Guarantee. | Account No. is not mentioned. Please clarify. Bank Guarantee in which favour. Please clarify.. | Earnest money and cost of tender shall be deposited through separate transaction through RTGS/NEFT in the account of Sr. A.O.(CAU)/NZ having account no. 0637000100356153 ,Punjab national bank, Ashok Vihar branch, Delhi 110052(IFS code PUNB 0063700 ).Unique transaction reference of RTGS/NEFT against cost of tender document/EMD to be scanned and uploaded in e-tendering system by the prescribed date and also to be submitted in sealed envelope to the tender opening authority on last date of depositing of the EMD. |
| 3. | Ser 8 a Page 20. | Provision of Shops. | 1. Can these be planned as a conventional load bearing wall and Slab Structures being single storey buildings. 2. Will the area covered by these shop be debited to the permitted ground Coverage of 33.3 %. | 1 All to be prefab. 2. Yes. |
| 4. | Ser 8 b Page 20. | An area of 500 Sqm has been earmarked for certain facilities | 1. Can these be planned as a conventional load bearing wall and Slab Structures being single storey buildings.. 2. Will the area covered by these shop be debited to the permitted ground Coverage of 33.3 %.. | 1 All to be prefab. 2. Yes the area covered by the shops is included in ground coverage. |
| 5. | Ser 8 c Page 20 & Ser 3 on page 19 of the development control norms | It stipulates 15 % FAR or 35 % of DU's for planning EWS Category DU's | It is suggested that the percentage of EWS DU's be fixed rather than the FAR. A typical calculation sheet is enclosed for perusal please as Appendix 'A'. This would help all bidders to work on same wave length. | controls as Development per MPD 2021 to be followed. |
| 6. | Ser 9 | Chowkidar hut | Same as at Ser 1 above | Query not clear. |
| 7. | Ser 10 | ESS | Same as at Ser 1 above | Query not clear. |
| 8. | Ser 8a,8b,9 & 10 Page 20 | How to quote for them? | It may please be clarified if their cost is to be loaded on to cost quoted for Development works or under a separate building head | To be loaded with building head. |
| 9. | Ser 2d on Page 73 | Anti Corrosive Treatment | Anti corrosive treatment specified for reinforcing steel specifies only one source. Alternate manufacturers be specified pl. | CECRI is manufacture institute. Contractor himself will made his arrangement |
| 10. | Ser 3 & 3.1 on Page 75 | Condition of Water | For construction purposed water satisfying provisions of IS 456 shall be permitted. RO water for drinking purpose may be retained pl. | As per NIT provisions. |
| 11. | Ser 5.0 Page 76 | Submission of Foundation Drgs | Submission of Foundation drawings alone will not help, since execution can commence only after approval of Design from Designated authority. Six weeks time is too less for detailed design and drawings for a prefab structure. Any designated agency would need complete design calculations with drawings fro approval. A min of 12 weeks shall be provided for this. | As per NIT provisions. |
| 12. | Ser 5.0 Page 77 | Submission of Services Drawings | Min six months shall be provided. | As per NIT provisions. |
| .13 | Sr. 3 Architectural finishes page 21 |  |  |  |
| . | Flooring | BDC 40 mm thick | 40 mm thick BDC flooring in small space of pump room and machine room could not be practically physible and alternate specification may be given. | 40mm VDC flooring as mentioned in cl 6.1 pg. 208 of NIT to be followed |
| 14 | Payment schedule Pg.227 | Payment schedule Sr. No.1 to 14 | The percentage provided are on very much lower side. The major portion of percentage has been apporcened under seriol no.40 (Lifts). Please need to be reviewed. The maximum percentage for Lifts would be only 3-4 percent. It is proposed that the additional 17% we apporcened against item 1 to 14. It is also proposed that the proposed facilities against sr. 8a & 8b on page 20 be allocated a separate percentage. | Revised payment schedule on website can be seen |
| 15. | Part 7 on Pg.303 | Clear water supply | Boring of tube wells is prohibited in Delhi by Central Ground Water Development Authority. Further as per EIA Norms the piped water supplied should be minimized by we using the treated sewage affluent for flushing and irrigation purpose. As per NIT Provision RO Water is to be provided for drinking purpose. Therefore either a separate system for washing and bathing purposes would be required or else the RO Supply would have to be adequate for drinking, washing and bathing purposes. It may please be clarify that only one tape of RO water in kitchen, supply pipe line for washing, bathing purposes and a third pipe line for flushing purposes is to be tattered for. Accordingly the RCC Overhead tank would have to be partitioned. | As per NIT provisions. Duel system shall be provided |
| 16. | Part 8 on Pg.307 | Sewerage pumping station | The details of sewage pumping station given are not adequate. The following points may kindly be clarified. (a) Weather the ROW sewage will be discharged into the DJB Sewer lines. (b) The invert level of DJB Sewer lines around the periphery of the various pockets. to Plan the internal sewer lines. (c ) Weather DJB will be setting up a central sewage plant to cater for the treatment of sewage generated. (d) Weather DJB would supply treated affluent for reuse as flushing water and irrigation of Park & green areas. (e) Weather DJB would supply treated water for washing, bathing and drinking purposes and we have only two cater for RO System Adequate to treated water for drinking purposes. | As per DJB norms |
| 17. | Page 305 & 306 | List of Makes of Sanitary wears | Please review your clarification since makes for sanitary wears are not specified on page 305 & 306. Only makes of cast iron, GI, SDPP, fittings have been specified. | As per CPWD specification |