DELHI DEVELOPMENT AUTHORITY

## RASHTRIYA SWABHIMAAN KHEL PARISAR

PITAMPURA SPORTS COMPLEX

# NOTICE INVITING QUOTATION NO. – 7/2012-13

Sealed quotations are hereby invited on behalf of Delhi Development Authority (Sports Wing) from Authorised dealers/Manufacturers/reputed  suppliers for the supply of the following items. The quotations should reach in the Office of the undersigned on or before 18.07.12 up to 3 P.M. and the same shall be opened on the same day at 3.30 PM in the Office of the Secretary of the Complex in the presence of questioners or their authorized representatives. Earnest money deposited in the form of Pay Order/Demand Draft of any Nationalized Bank approved by Reserve Bank of India drawn in favour of “Rashtriya Swabhimaan Khel Parisar” to be submitted with quotation. Any quotation which is not accompanied by Earnest Money in the prescribed manner shall be rejected summarily and not accounted for at all.

Estimated Cost:- 39,546/-  					Earnest Money:- 5,000/-

Name of Work:- M/O RSKP Pitampura

SH:- Supply & fixing of cable from feeder pillar room & supplying fixing of post top latern fitting, tube fittings DOL starter  at RSKP, Pitampura.

| S.No. | Description of Items | Qty. | Unit |
| --- | --- | --- | --- |
| 1. | Supplying of following size of PVC insulated sheathed/XLPE power cable of grade 1.1 KV, connection testing etc. as reqd. - 4 x 16 sq.mm - 2 x 6 Sq.mm | 50 mtrs. 12 mtrs. | Per Mtr Per Mtr. |
| 2. | Laying and fixing of one no. PVC insulated & PVC sheathed/ XLPE aluminium conductor cable of 1.1KV grade of size not exceeding 25 sq.mm on surface etc. as reqd. (DSR 2007 (ext)item no. 1.11) | 62 mtrs. | Per Mtr. |
| 3. | Supply of strip lite tube fitting of 1 x 40 watt mouting with copper mound ballast suitable for FTL lamp i/c S/F of 1 no. 40 watt tube on surface etc. as reqd. | 2 nos. | Each |
| 4. | Installation, testing, commissioning of prewired fluorescent fitting/ compact fluorescent fitting of all type, complete with all accessories and tube etc. directly on existing/wall i/c connection with 1.5sqm. FR PVC insulated copper conductor, single core cable and earthing etc. as reqd.( DSR 2007 (int.)item no. 1.41) | 2 nos. | Each |
| 5. | Supplying & fixing of post top latern fitting with 1 no. CFL of 25 watt on the existing pole, connection testing etc. as reqd. | 6 nos. | Each |
| 6. | Supplying and fixing of M.S. box on wall of size 375 mm x 300 mm x 200 mm made out of 16 SWG sheet comprising with the following accessories therein etc. as reqd. - DOL starter 1 no. - Push button 2 nos. - Indicating lamp 1 no. - 32 amp TP MCB 1 no. - Ammeter 0.30A 1 no. | 1 no. | Each |
| 7. | Wirinng for light Pt./fan pt./Exhaust fan Pt./call bell pt. with 1.5sq.mm FR PVC insulated copper conductor single core cable in surface/ recessed PVC conduit with modular switch, modular plate, suitable G.I box and earthing the point with 1.5 sq.mm FR PVC insulated copper conductor single core cable etc. as reqd. - Group A(DSR 2007 item no. 1.10) | 3 pts. | Pt. |
| 8. | Supplying and fixing stepped type electronic fan regulator on the existing modular plate, switch box i/c connections but excluding modular plate etc. as reqd. (DSR 2007 item no. 1.25) | 1 no. | Each |
| 9. | Supplying and fixing of 50mm dia G.I. pole 3 mtr long with base plate 300mm x 300mm x 6mm ‘B’ class, excavation the soil and refilling the same etc. as reqd. | 1 no. | Each |
| 10. | Supplying and fixing of 40mm dia G.I. pipe 1 mtr. long for cable entry bending in required shape etc. as reqd. | 1 no. | Each |
| 11. | Making C.C. foundation with 1:3:4 aggregate (1: cement :3 coarse sand : 4 stone aggregate) around the pole etc. as reqd. | 1 no. | Each |
| 12. | Supplying and fixing of connector box size of 200mm x 250mmx 75 mm deep made out of 16 SWG M.S. sheet with 2 no M.S. clamp for fixing on the pole etc. as reqd, | 1 no. | Each |

TERMS & CONDITIONS :-

1.	The work shall be carried out as per the specification and to the satisfaction of Secretary / J.E.(Elect.), RSKP.

2	The supply of the material of shall have to made in one lot & got approved before fixing at the site from J.E.(Elect.)/Seretary/RSKP.

3	Prices quoted shall be firm and inclusive of all Taxes.

4.	The Agency shall stand guarantee for period of six months for the work executed.

5.           The payment will be made after entire satisfaction of Secretary (RSKP) / J.E.(Elect.)/DDA.

6.            No T&P will be issued by Department.

7.            No advance payment will be made to the agency.

- Nothing extra will be paid to the agency by the Deptt. On a/c of cartage etc.

- The quotation can be rejected without assigning any reason by the competent authority.

- Conditional quotation will not be accepted.

- Necessary statutory deductions as applicable will be made.

- The Agency should be registered with Trade & Taxes Deptt., GNCTD of Delhi & supposed to furnish a copy of VAT Registration and attach the same along with the quotation otherwise the quotation may not be considered and liable to be rejected.

- Debarred agency/or individual shall not be permitted to participate in the tendering process.

- Any individual who has been debarred is not permitted to take part in any negotiations or represent an agency even if he holds a power of attorney on the agency behalf. Any agency engaging debarred persons is also liable to debarring.

- The experience of agencies shall be taken into account rather than individuals incorporated with the agencies which does not include proprietorship.

- Cable shall be Grandly, Kalinga, Skytone make only.

- DOL starter shall be of L&T, Hagen, Standard make only.

- MCB shall be of Achon, Standard, Havells make only.

- Part top latern fitting, tube fitting of Twinkle, Bajaj, Crompton make only.

- Time allowed for carrying out the work is 10 days.

- The material supplied by agency should be current year make & no. old material will be accepted.

Sd/-

(S.C.Gupta)

Secretary (RSKP)

No. F.7(163)/2012/RSKP/DDA/68                                           Dated : –09.07.12

Copy to –

- Commissioner(Sports), DDA, for information please.

- Director(System)-through E-mail for DDA website

- AO(Sports)/DDA.

- The Secretary, DDA Contractor’s Association, Vikas Kutir, New Delhi.

- The Secretary, DDA Builders, E-18, Vikas Kutir, New Delhi

- The General Secretary, Delhi Contractor’s Welfare Association(Regd.) 306, Masjid Moth, N.D.S.E. Part-II, New Delhi-110 049.

- All Secretaries of the DDA Sports Complexes

- AAO/RSKP, DDA

- S.O.(Hort.) ,RSKP, DDA

- Notice Board.	                                                                         Sd/-

Secretary (RSKP)