DELHI DEVELOPMENT AUTHORITY

BHALSWA GOLF COURSE

No. F4 (70) BGC/DDA/Elect/2012-13/                        	 			     /    / 2013

NOTICE INVITING QUOTATION NO.  01/2013-14

Sealed item rate quotations are invited on behalf of Delhi Development Authority by the Secretary (BGC) for the following works. The quotation should reach the office of Secretary (BGC) on or before 12.04.2013 up to 3:00 P.M. and will be opened on the same day at 3:30 P.M. in the presence of intending quotationers. Only those Agencies/Firms/Persons having undertaken three similar works during the last three years in Government Department’s/ Public Sector Undertakings with annual turnover more than  Rs. 10.00 lacs in each year duly certified by Chartered Accountant are entitled to apply. A proof in this regard is necessary to be enclosed with quotation. The Earnest Money in the form of Pay Order / Demand Draft of any schedule bank approved by Reserve Bank of India drawn in favour of “Bhalswa Golf Course, DDA” to be submitted with the Quotation. Any quotation which is not accompanied by the earnest money in the prescribed manner shall be rejected summarily and not accounted for at all.

Estimated Cost: - Rs. 95,500/- 		                           	 	Earnest Money: - Rs. 5,000/-

N.O.W:- M/o Bhalswa Golf Course.

SH:- Supply & replacement of end suction centrifugal pump coupled with 40 H.P. electric motor at U.G.R.

| S. No | Description of Item | Qty | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1 | Supplying, replacement of end suction centrifugal pump motor, Mather & platt make, model ETISO-16 directly coupled through flexible coupling work existing electric motor of capacity 40 H.P., 2900 r.p.m. for operation of 415 v, 3 phase, 50 Hz A.C. supply mounted on common M.S. base plate, complete with nuts, bolts, washers, and anti vibration mounting pads etc i/c dismantling. The old rusted, defective pump. The pump shall be capable for to perform the following details. a) Discharge 100 m3/ Hr b) Head 65 Meters c) Liquid Clear water d) R.P.M. 2900 e) Type of pump End suctions, Back Pull out type | 1 Job | Per Job |  |  |
|  |  |  |  | Total |  |

Terms & Conditions

- The contractor must get acquainted with the proposed site for the work.

- No, Tool & Plants will be issued for execution of work or of testing of the installation. These shall be arranged by the contractor within the quoted rates.

- Any damage caused to the installation or building will be the responsibility of the contractor during the laying of work and shall be rectified by the contractor within the quoted rates.

- Watch   & ward of materials brought by the contractor and of the installation shall be responsibility of the contractor till the same are taken over by the deptt.

- The contractor would have to make his own arrangement for cartage and transportation of materials and noting extra would be payable on this account.

- Only approved electrical specialised contractor from D.D.A./C.P.W.D./ M.E.S. /M.C.D. of appropriate class will be allowed to permit to participate in the quotation process.

- The following work shall be deemed to be included within the scope of work to be executed by the contractor and nothing extra shall be paid on this account.

a) 	All minor building work such as cutting of holes and chases in wall/ ceiling and making good the same with cement mortar 1:4 (1 Cement : Coarse sand)

b)	Provision of suitable support and clamps for fixing arrangement including nuts. Bolts cable glands, lugs, terminal blocks etc. as a part of the particular item unless given separately in the schedule of work.

c)	 Masonry support/ G.I. pipe support etc. shall be provided wherever required.

- The entire system shall be tested to the satisfaction of Engineer-in-charge.

- Guarantee period of 12 months shall be counted from the date of handing over of installation to the department against manufacturing defects/ satisfactory performance.

- The rates quoted by the contractor shall be firm & inclusive of all Central/ Sate Govt. Taxes, Duties & Levies. No escalation in quotation rates shall be permitted & CST from C/D shall not issued by the department.

- The sub standard work shall be rejected without assigning any reason.

- Any conditional quotations shall be summarily rejected.

- Any quotation received through post/ courier etc. shall be summarily rejected.

- Debarred agency / or individual shall not be permitted to participate in the tendering process.

- The agency should be registered with the Sales Tax Department, GNCTD of Delhi & supposed to furnish a copy of Sales Tax Registration & Sales Tax Clearance Certificate and attach the same along with the quotation otherwise the quotation may not be considered and liable to be rejected.

- Time allowed for carrying out of the work shall be 7 days.

Secretary (BGC)

###### Copy to:-

- Commissioner (Sports), DDA – for information please

- Director (Systems), DDA – through e-mail for DDA Website.

- A. O. (Sports), DDA

- The Secretary, DDA Contractor Welfare Association, Vikas Kuteer, New Delhi.

- The Secretary, DDA Builders, E-18, Vikas Kuteer, New Delhi

- The General Secretary, Delhi Contractor’s Welfare Association (Regd.), 306, Masjid Moth, N. D. S. E., Part – II, New Delhi – 110 049.

- All Secretaries of DDA Sports Complexes

- AAO (BGC), DDA

- Concern JE(Civil)/(Elect) ,S.O.(Hort) & Manager/DDA

- Notice Board

Secretary (BGC)