DELHI DEVELOPMENT AUTHORITY

OFFICE OF THE EXECUTIVE ENGINEER

ELECTRICAL DIVISION No.1 SEED BED PARK

SCHOOL BLOCK SHAKARPUR DELHI-92

Email ID :- eeeld01dda@gmail.com

Ph- 011-22485735, 9999396339

TENDER NOTICE  (Specialized Works)

The Executive Engineer, Electrical Division-I, DDA on behalf of Delhi Development Authority  reinvite online item rate  tenders from specialized Agencies who meet the following specialized conditions  for the following work :-

| 1 | NIT No. | : | 110/EE/ELD-1 /DDA /2012-13 |
| --- | --- | --- | --- |
| 2 | Name of Work | : | M/o various scheme in East Zone NA-II . (SH : Annual running operation and maintenance of clear water pump set, DG Set , street lighting & Community Hall at 330 LIG Houses Pkt.10-B Jasola.) |
| 3 | Estimated Cost put to tender | : | Rs. 4,14,803/- |
| 4 | Earnest Money | : | Rs. 8,296/- |
| 5 | Period of Completion | : | Twelve Months |
| 6 | Date of Commencement of e-tender | : | 15.04.2013 |
| 7 | Late date & time of requisition of application of e-tender | : | 25.04.2013 at 3.00 PM |
| 8 | Late date & time for scanning & uploading of EMD, Cost of Tender Document , E-Tender processing Fee & other Documents | : | 25.04.2013 at 3.00 PM |
| 9 | Late date & time for submission of certified hard copies of EMD, Cost of Tender Document , E-Tender processing Fee & other Documents to Executive Engineer | : | 26.04.2013 at 3.00 PM |
| 10 | Last date & time for submission of e-tender | : | 25.04.2013 at 3.00 PM |
| 11 | Time & date of Opening of tender. | : | - 3.30 PM |

- The work is estimated to cost Rs.4,14,803/- .This estimate however is given merely

as guide.

2.	Criteria of eligibility for submission of tender document is as under:-

i) Self attested photocopies of completion certificates issued by an officer not below the rank of Ex. Engineer for completed works of Maintenance & Operation of booster pump set & DG set executed with Central Govt. Deptt,/State Govt. Deptt./Central Autonomous Body/Central Public Sector Undertaking and completed on or after 31.01.2006

a) Three similar completed works costing not less than the Rs.1.66 lacs(on annualized    basis)

OR

b) Two similar completed works costing not less than the Rs. 2.49 lacs(on annualized basis)

OR

C) One similar completed work costing not less than Rs.3.32 lacs(on annualized basis)

ii) Similar work means “completed works of M/o  booster pump set & DG set” with Central Govt. Deptt,/State Govt. Deptt./Central Autonomous Body/Central Public Sector Undertaking.

During scrutiny of cases, the value of work executed by an agency earlier shall be brought to current costing level by enhancing the value of work done @ 7% per annum (calculated from date of actual completion to the current date without compounding) for eligibility criteria for above mentioned work.

iii) Annual financial turnover of Rs. 1.24  lacs or above each for the year 2009-10, 2010-11    & 2011-12 (duly audited by Chartered Accountant|)

3. The tender document consisting of plans, specifications, the schedule of quantities of various types of items to be executed and the set of terms and conditions of the contract to be complied with and other necessary documents can be seen from website www.tenderwizard.com/DDA or www.dda.org.in free of cost.

Those contractors not registered on the website mentioned above, are required to get registered before hand. The intending bidder must have valid class-ll digital signature to submit the bid.

4.	Earnest money and cost of tender shall be deposited separately through RTGS/NEFT 	mode only in the Bank Account of Sr. A.O. CAU (EZ) having account No. 	90502010071527 with Syndicate Bank E-355 opp. Laxmi Nagar Distt. Centre Delhi-	110092 branch (IFSC.SYNB0009050 (CBS) code. The bidder will use one UTR for one work only. In case it is found that he has used one UTR number for different tenders, all the tenders submitted by him will be rejected and he will be debarred from further tendering in DDA in future.

A Part of earnest money is acceptable in the form of bank guarantee also. Earnest Money upto Rs.20.00 lacs will have to be deposited through RTGS/NEFT mode. If the amount of E.M is more than Rs.20.00 lacs then the amount of EM beyond Rs.20.00 Lacs can be deposited in the form of Bank Guarantee also such Bank Guarantee is to be scanned and uploaded to the E-tendering website within the period of tender submission.

Earnest Money and cost of tender have to be deposited through separate transactions.

- Cost of Tender Document Rs.525/- (to be deposited through RTGS/NEFT in the account of Sr.A.O.(CAU)East Zone, DDA

- E-Tendering Process Fee as applicable (To be deposit through E-mode in Favour of M/s ITI Ltd. Payable at Delhi)

- The unique transaction reference of RTGS/NEFT against EMD, Cost of Tender   Document and Bank Guarantee shall be placed in single sealed envelope 	superscripted as “Earnest money Cost of Tender Document” with name of work 	and due date of opening of the bid mentioned thereon and will submit to tender 	opening Authority by due Date.

6.	Copy of certificate of experience  and other documents as specified in the press notice 	(as given at S.No.2 above) shall be scanned and uploaded to the e-tendering website 	within the period of tender submission and self certified copy of each shall be 	deposited in a separate envelope marked as "Eligibility Documents".

7.	Both the envelopes shall be placed in another envelope with due mention of Name of 	work, date & time of opening of tenders and to be submitted in the office of Executive 	Engineer during the period mentioned above.

8.		Online tender documents submitted by intending bidders shall be opened only of those bidders, whose proof of submission of Earnest Money Deposit, Cost of Tender Document and e-Tender Processing Fee and other documents placed in one envelope  (containing envelopes of Earnest Money, Cost of Tender Document and Cost of Tender Processing Fee & Eligibility Documents) have been submitted to EE and are found in order.

9.		The department reserves the right to reject any prospective application without 			assigning any reason and to restrict the list of qualified  contractors to any 				number deemed suitable by it, if too many tenders are received satisfying 	the

laid down criterion.

10.	    List of Documents to be “scanned and uploaded” within the period of tender     submission:

i)	Certificates of Work Experience.

ii)	Audited Balance Sheet.

iii)	Affidavit as per provisions of clause of CPWD-6

iv)	Certificate of Registration for Sales Tax / VAT and Service Tax

EXECUTIVE ENGINEER (E)

ELECTRICAL DIVISION NO.1

DDA

F.No.ELD- I/13(37) A/C’s/DDA/661                                                                               Date:- 15.04.2013

Copy to:-

- Chief Engineer (E) DDA

- AO (CAU) EZ, DDA

- AO works-III/DDA

- S.E.(E) Circle-3/DDA

- EE/Elect.Divn.-2 to 12/DDA

- FO to CE(E)/DDA

- All AE ‘s /Elect. Divn-I/DDA

- Head Clerk/Electrical Division No-I/DDA

- A Cashier/Electrical Division No-I/DDA

- Notice Board

- DDA web site i.e. ddatender@dda.org.in

- Agreement copy

EXECUTIVE ENGINEER (E)

ELECTRICAL DIVISION NO.1

DDA

GENERAL GUIDELINES

1.     	This standard document is applicable to Item rate tenders.

2	NIT Form, Schedules A to F, special conditions/specifications and drawings only will be uploaded on website. The standard document will not be uploaded along with the Tender Documents but the same shall form part of the agreement to be drawn and signed by both parties after acceptance of tender.

3.  	All blanks are confined to Notice Inviting Tender (NIT) Form and Schedules A to F.

4     	Authority approving the Notice Inviting Tenders (NIT) shall fill up all the blanks in NIT Form and in Schedules B to F before issue.

5     	The intending bidders will quote their rates in Schedule A.

6.    	 The proforma for registers and Schedules A to F are only for information and guidance. These are not to be filled in the Standard Form. The Schedules with all blanks, duly filled, shall be separately uploaded on website.

7.       Base price of all materials covered under Clause 10 CA is to be mentioned at the time of approval of NIT.

Note: 	This page shall not form part of the tender document and not to be uploaded on website.

NOTICE INVITING TENDER For Specialized Works

(E – TENDERING MODE)

Item rate tenders are invited on behalf of Delhi Development Authority from specialized Agencies dealing with E/M works for the following work:-

| Name of Work | : | M/o various scheme in East Zone NA-II . |
| --- | --- | --- |
| SH | : | (SH : Annual running operation and maintenance of clear water pump set, DG Set , street lighting & Community Hall at 330 LIG Houses Pkt.10-B Jasola.) |

- The work is estimated to cost Rs . 4,14,803/-. This estimate, however, is given merely as rough guide.

- Criteria of eligibility for submission of tender document is as under:-

i) Self attested photocopies of completion certificates issued by an officer not below      the rank of Ex. Engineer for completed works of “Maintenance & Operation

of booster pump set & DG set , street lighting and IEI work ” executed with Central Govt.   Deptt,/State Govt. Deptt./Central Autonomous Body/Central Public Sector Undertaking and completed on or after 31.12.2005

a) Three similar completed works costing not less than the Rs. 1.66 lacs(on     annualized basis)

OR

b) Two similar completed works costing not less than the Rs. 2.49 lacs(on    annualized basis)

OR

c) One similar completed work each costing not less than Rs. 3.32 lacs(on annualized basis)

ii) Similar work means  “Maintenance & Operation of booster pump set , DG set , street lighting and IEI work ”with Central Govt. Deptt,/State Govt. Deptt./Central Autonomous Body/Central Public Sector Undertaking).

During scrutiny of cases, the value of work executed by an agency earlier shall be brought to current costing level by enhancing the value of work done @ 7% per

annum (calculated from date of actual completion to the current date without compounding) for eligibility criteria for above mentioned work)

iii) Annual financial turnover of Rs. 2.17 lacs or above each for the year 2009-10, 2010-11    & 2011-12 (duly audited by Chartered Accountant)

- The tender document consisting of plans, specifications, the schedule of quantities of various types of items to be executed and the set of terms and conditions of the contract to be complied with and other necessary documents can be seen from website www.tenderwizard.com/DDA or www.dda.org.in free of cost.

- Earnest money and cost of tender shall be deposited separately through RTGS/NEFT mode only in the Bank Account of Sr. A.O. CAU (EZ), DDA having account No. 90502010071527 with Syndicate Bank E-355 opp. Laxmi Nagar Distt. Centre Delhi-110092 branch (IFSC.SYNB0009050 (CBS) code. The bidder will use one UTR for one work only. In case it is found that he has used one UTR number for different tenders, all the tenders submitted by him will be rejected and he will be debarred from further tendering in DDA in future.

A Part of earnest money is acceptable in the form of bank guarantee also. Earnest Money upto Rs.20.00 lacs will have to be deposited through RTGS/NEFT mode.

If the amount of E.M is more than Rs.20.00 lacs then the amount of EM beyond Rs.20.00 Lacs can be deposited in the form of Bank Guarantee also such Bank Guarantee is to be scanned and uploaded to the E-tendering website within the period of tender submission.

Earnest Money and cost of tender have to be deposited through separate transactions.

- Cost of Tender Document Rs.525/- (to be deposited through RTGS/NEFT in the account of Sr.A.O.(CAU)East Zone, DDA

- E-Tendering Process Fee as applicable (To be deposit through E-mode of in Favor of M/s ITI Ltd. Payable at Delhi)

5.   	The unique transaction reference of RTGS/NEFT against EMD Cost of Tender 	Document and Bank Guarantee shall be placed in single sealed envelope 	superscripted as “Earnest money Cost of Tender Document” with name of work 	and due date of opening of the bid mentioned thereon and will submit to tender 	opening Authority by the due date.

6.	Copy of Enlistment order and other documents as specified in the press notice shall be 	scanned and uploaded to the e- tendering website within the period of tender 	submission and certified copy of each shall be deposited in a separate envelope 	marked as “ Eligibility Documents”

7.	Both the envelopes shall be placed in another envelope with due mention of Name of work, date & time of opening of tenders and to be submitted in the office of Executive Engineer during the period mentioned above.

8.	Online tender documents submitted by intending bidders shall be opened only of those bidders, whose Earnest Money Deposit, Cost of Tender Document and e-Tender Processing Fee and other documents placed in the envelope are found in order.

The bid submitted shall be opened at 03:30 pm on ____*______ .

9.	The contractor, whose tender is accepted, will be required to furnish performance guarantee of 5% (Five percent) of the tendered amount within the period specified in Schedule F. This guarantee shall be in the form of cash (in case guarantee amount is less than Rs 10,000/-) or Deposit at call receipt of any scheduled bank/Banker’s Cheque of any scheduled bank/Demand draft of any scheduled bank/Pay order of any scheduled bank (in case guarantee amount is less than Rs. 1,00,000) or Government securities or fixed Deposit Receipts or Guarantee Bonds of any Scheduled bank or the State Bank of India in accordance with the prescribed form.

10.	Intending Tenderers are advised to inspect and examine the site and its surroundings and satisfy themselves before submitting their tenders as to the nature of the ground and sub-soil (so far as is practicable), the form and nature of the site, the means of access to the site, the accommodation they may require and in general shall themselves

obtain all necessary information as to risks, contingencies and other circumstances which may influence or affect their tender.  A tenderer shall be deemed to have full knowledge of the site whether he inspects it or not and no extra charges consequent on any misunderstanding or otherwise shall be allowed.  The tenderer shall be responsible for arranging and maintaining at his own cost all materials, tools & plants, water, electricity, access, facilities for workers and all other services required for executing the work unless otherwise specifically provided for in the contract document.  Submission of a tender by tenderer implies that he has read this notice and all other contract documents and has made himself aware of the scope and specifications of the work to be done and of conditions and rates at which stores, tools and plant etc will be issued to him by the government and local conditions and other factors having a bearing on the execution of the work.

11.	The competent authority on behalf of DDA does not bind itself to accept the lowest or any other tender and reserves to itself the authority to reject any or all the tenders received without assigning any reason. All tenders in which any of the prescribed condition is not fulfilled or any condition including that of conditional rebate is put forth by the tenderer shall be summarily rejected

12.   	Canvassing whether directly or indirectly, in connection with tenders is strictly prohibited and the tenders submitted by the contractors who resort to canvassing will be liable for rejection.

13)	The competent authority on behalf of DDA reserves to himself the right of accepting the whole or any part of the tender and the tenderer shall be bound to perform the same at the rate quoted.

14.    	The contractor shall not be permitted to tender for works in the DDA Circle (Division  in case of contractors of Horticulture/Nursery category) responsible for award and execution of contracts in which his near relative is posted as Divisional Accountant or as an officer in any capacity between the grades of Superintending Engineer and Junior Engineer (both inclusive).  He shall also intimate the names of persons who are working with him in any capacity or are subsequently employed by him and who are near relatives of any Gazetted officer in DDA or in the Ministry of Urban development. Any breach of this condition by the contractor would render him liable to be removed from approved list of contractors of this department.

15.    	No Engineer of Gazetted rank or other Gazetted officer employed in engineering or Administrative duties in an Engineering department of the Government of India is allowed to work as a contractor for a period of one year after his retirement from the Government service, without the previous permission of the Government of India in writing. This contract is liable to be cancelled if either the contractor or any of his employees is found anytime to be such a person who had not obtained the permission of the DDA as aforesaid before submission of the tender or engagement in the contractor’s service.

16.	The tender for the work shall remain open for acceptance for a period of ninety (90) days from the date of opening of tender/ninety days from the date of opening of financial bid(strike out as the case may be). If any tenderer withdraws his tender before the said period or issue of letter of acceptance, whichever is earlier, or makes any modifications in the terms and conditions of tender which are not acceptable to the department, then the DDA shall, without prejudice to any other right or remedy, be at liberty to forfeit 50% of the said earnest money as aforesaid. Further the tenderer shall not be allowed to participate in the re tendering process of the work.

17.	This ‘Notice Inviting Tender’ shall form part of the contract document. The successful   tenderer/contractor on acceptance of his tender by the Accepting Authority, shall, within 15 days from the stipulated date of start of the work, sign the contract consisting of :-

a)	The Notice inviting tender, all the documents including additional conditions, specifications and drawings, if any, forming the tender as issued at the time of invitation of tender and acceptance thereof together with any correspondence leading thereto.

b)	Standard NIT Form 8 or other Standard DDA Form as mentioned.

18.	In case any discrepancy is noticed between the document as uploaded at the time of submission of the bid online and hard copies as submitted physically in the office of Executive Engineer, then the bid submitted shall become invalid and the Government shall, without prejudice to any other right or remedy, be at liberty to forfeit 50% of the said earnest money as aforesaid.  Further the tenderer shall not be allowed to participate in the retendering process of the work.

Item rate tender and Contract Form

(for Specialized work)

| Name of Work | : | M/o various scheme in East Zone NA-II . |
| --- | --- | --- |
| SH | : | (SH : Annual running operation and maintenance of clear water pump set, DG Set , street lighting & Community Hall at 330 LIG Houses Pkt.10-B Jasola.) |

- To be submitted through E-Tendering up to 3.00 pm on _____*______ to Executive Engineer, Division No.-1

- To be opened through E-Tendering at 3.30 pm on ______*______by the Executive Engineer, Division No.-1

##### T E N D E R

I/ We have read and examined the notice inviting tender, schedule, A, B, C, D, E & F.  Specifications applicable, Drawings & Designs, General Rules and Directions, Conditions of Contract, clauses of contract, special condition, Schedule of Rate & other documents and Rules referred to in the conditions of contract and all other contents in the tender document for the work.

I/We hereby tender for the execution of the work specified for the DDA within the time specified in Schedule ‘F’, viz., schedule of quantities and in accordance in all respects with the specifications, designs, drawings and instructions in writing referred to in Rule-1 of General Rules and Directions and in Clause 11 of the clauses of contract and with such materials as are provided for, by, and in respects in accordance with, such conditions so far as applicable.

We agree to keep the tender open for ninety (90) days from the due date of its opening / Ninety days from the date of opening of financial bid (strike out as the case may be) and not to make any modifications in its terms & conditions.

A sum of  Rs. 8,296/- Deposited in the account of Sr. A.O.(CAU) is hereby forwarded in the form of UTR of RTGS/NEFT bank guarantee beyond 20 Lacs issued by a schedule bank as earnest money. If  I/We, fail to furnish the prescribed performance guarantee within prescribed period.  I/we agree that the said DDA of his successors in office shall without prejudice to any other right to remedy available in law,  be at liberty to forfeit the said earnest money and the performance guarantee absolutely, otherwise the said earnest money shall be retained by him towards security deposit to execute all the works referred to in the tender document upon the terms and condition contained to referred to therein  and to carry out such deviations as may be ordered upto maximum of the percentage mentioned in schedule ‘F’ and those in excess of that limit at the rate to be determined in accordance with the provision contained in Clause 12.2 and 12.3 of the tender form.

I/we undertake and confirm that eligible similar work (s) has / have got execute through another contractor on back basis. Further that, if such a violation comes to the notice of the department, then I/we shall be debarred for tendering in DDA in future for ever. Also, if such a violation comes to the notice of the department before the date of start of work the Engineer-in-charge shall be free to forfeit the entire amount of earnest money  deposit / performance guarantee.

I/we hereby declare that I/we shall treat the tender documents drawings and other records connected with the work as secret/ confidential documents and shall not communicate information derived there from to any person other than a person to whom I/we am/are authorized to communicate the same or use the information in any manner prejudicial to the safety of the State.

Signature of witness                                                    Signature of contactor

Name:                                                                          Name:

Address:                                                                     Address:

Occupation:

##### A C C E P T A N C E

The above tender (as modified by you as provided in the letters mentioned hereunder) is accepted by me for and on behalf of the DDA for a sum of Rs.__________*______________ (Rupees ___________*____________________ _________________________________________________________________)

The letters referred to below shall form part of this contract Agreement:

i)

ii)

iii)

For & on behalf of Delhi Development Authority

Signature __________________________

Designation:    Executive Engineer

Division_____*______

GENERAL RULES AND DIRECTIONS

1.	All work proposed for execution by contract will be notified in a form of invitation to tender pasted in public places & signed by the officer inviting tender or by publication in News paper as the case may be.

This form will state the work to be carried out, as well as the date for submitting and opening tenders and the time allowed for carrying out the work, also the amount of earnest money to be deposited along with tender, the Performance Guarantee to be deposited by the successful agency / contractor and the amount of security deposit to be deducted from bills.  Copies of the specifications, designs and drawings and any other documents required in connection with the work signed for the purpose of identification by the officer inviting tender shall also be open for inspection by the contractor at the office of officer inviting tender during office hours.

2.	In the event of the tender being submitted by a firm, it must be signed separately by each partner thereof or in the event of the absence of any partner, it must be signed on his behalf by a person holding a power of attorney authorizing him to do so, such power of attorney to be produced with the tender, and it must disclose that the firm is duly registered under the Indian Partnership Act, 1952.

3.	Receipts for payment made on account of work, when executed by a firm, must also be signed by all the partners, except where contractors are described in their tender as a firm, in which case the receipts must be signed in the name of the firm by one of the partners, or by some other person having due authority to give effectual receipts for the firm.

4.	Any person who submits a tender shall fill up the Schedule of Quantities, stating at what rate he is willing to undertake each item of the work.  Tenders, which propose any alteration in the work specified in the said form of invitation to tender, or in the time allowed for carrying out the work, or which contain any other conditions of any sort, including conditional rebates, will be summarily rejected. No single tender shall include more than one work, but contractors who wish to tender for two or more works shall submit separate tender for each. Tender shall have the name and number of the works which they refer, written on the envelopes.

5.	The officer inviting tender or his duly authorized representatives will open tenders and will enter the amounts of the several tenders in a comparative statement in a suitable form.  In the event of a tender being accepted, a receipt for the earnest money shall be thereupon be given to the contractor who shall thereupon for the purpose of identification of copies of the specifications and other documents mentioned in Rule-1 In the event of a tender being rejected, the earnest money shall thereupon be returned to the contractor remitting the same, without any interest.

6.	The officer inviting tenders shall have the right of rejecting all or any of the tenders and will not be bound to accept the lowest or any other tender.

7.        The receipt of an accountant or clerk for any money paid by the contractor will not be considered as any acknowledgement or payment to the officer inviting tender and the   contractor shall be responsible for seeing that he procures a receipt signed by the   officer inviting tender or a duly authorized Cashier.

8.	The memorandum of work tendered for and the schedule of materials to be supplied by the department and their issue-rates, shall be filled and completed in the office of the officer inviting tender before the tender form is uploaded. If a form is uploaded on website without having been so filled in and incomplete, he shall request the officer to have this done before he completes his tender.

- The tenderers shall sign a declaration under the officials Secret Act 1923, for maintaining secrecy of the tender documents, drawings or other records connected with the work given to them. The unsuccessful tenderer(s) shall return all the drawings given to them.

- In the Item Rate Tenders only rates quoted shall be considered.  Any tender containing percentage below/ above the rates quoted is liable to be rejected.  Rates quoted by the contractor in item rate tender in figures and words shall be accurately filled in so that there is no discrepancy in the rates written in figures and words.  However, if a discrepancy is found, the rates which correspond with the amount worked out by the contractor shall unless otherwise proved be taken as correct.  If the amount of an item is not worked out by the contractor or it does not correspond with the rates written either in figures or in words, then the rates quoted by the contractor in words shall be taken as correct.  Where the rates quoted by the contractor in figures and in words tally but the amount is not worked out correctly, the rates quoted by the contractor will unless otherwise proved be taken as correct and not the amount.  In event no rate has been quoted for any item(s), leaving space both in figure(s), word(s), and amount blank, it will be presumed that the contractor has included the cost of this/these item(s) in other items and rate for such item(s) will be considered as zero and work will be required to be executed accordingly.

11.	In the case of any tender where unit rate of any item/ items appear unrealistic, such tender will be considered as unbalanced and in case the tenderer is unable to provide satisfactory explanation, such a tender is liable to be disqualified and rejected.

12.	All rates shall be filled in tender form.  The amount for each item should be worked out and requisite totals given.  Special care should be taken to write the rates in figures as well as in words and the amount in figures only, in such a way that interpolation is not possible.  The total amount should be written both in figures and in words.  In case of figures, the word ‘Rs.’ should be written before the figure of rupees and word ‘P’ after the decimal figures, e.g. ‘Rs.2.15 P’ and in case of words, the word, ‘Rupees’ should precede and the word ‘Paise’ should be written at the end.  Unless the rate is in whole rupees and followed by the word ‘only’ it should invariably be up to two decimal places.  While quoting the rate in schedule of quantities, the word ‘only’ should be written closely following the amount and it should not be written in the next line.

13(i) 	The contractor whose tender is accepted will be required to furnish performance guarantee of 5% (five percent) of the tendered amount within the period specified scheduled F. This guarantee shall be in the form of cash (in case guarantee amount is less than Rs 10,000/-) or deposit at call received of any scheduled bank/Banker’s cheque of any scheduled bank/ Demand Draft of any scheduled bank/pay order of any scheduled any bank (in case guarantee amount than Rs 1,00,000/-) or  Govt. securities fixed deposit receipts or guarantee bonds of any scheduled bank or the state Bank of India in accordance with the prescribed form.

(ii) 	The contractor whose tender is accepted, will also be required to furnish by way of security Deposit for the fulfillment of his contract, an amount equal to 5% of the   tendered value of work. The security deposit will be collected by deductions from the running bills of the contractor at the rates mentioned above and the earnest money  deposited at the time of the tenders , will be treated as part of the security deposit . The  security deposit will also accepted in cash or in the shape of government securities.   Fixed deposit receipt of a Scheduled bank or State Bank of India will also be accepted  for this purpose provided conformity advice is enclosed.

14.	On acceptance of the tender, the name of the accredited representative(s) of the contractor who would be responsible for taking instructions from the Engineer-in-Charge shall be communicated in writing to the Engineer-in-Charge.

15.	Sales-Tax / VAT (Except Service Tax) Purchase Tax, Turnover Tax or any other tax on material in respect of this contract shall be payable by the Contractor and DDA will not entertain any claim whatsoever in respect of the same. However, in respect of service tax, same shall be paid by the contractor to the concerned department on demand and it will be reimbursed to him by the Engineer-in-Charge after satisfying that it has been actually and genuinely paid by the contractor.

16.	The contractor shall give a list of both gazetted and non-gazetted DDA employees related to him.

- The tender for the work shall not be witnessed by a contractor or contractors who himself/ themselves have/ have tendered or who may has/ have tendered for the same work.  Failure to observe this condition would render, tenders of the contractors tendering, as well as witnessing the tender, liable to summary rejection.

- The contractor shall comply with the provisions of the Apprentices Act 1961, and the rules and orders issued there under from time to time.  If he fails to do so, his failure will be a breach of the contract and the DDA may in his discretion, without prejudice to any other right or remedy available in law, cancel the contract.  The contractor shall also be liable for any pecuniary liability arising on account of any violation by him of the provisions of the said Act.

INFORMATION AND INSTRUCTIONS FOR CONTRACTORS FOR                                     e- TENDERING FORMING PART OF NIT AND TO BE POSTED ON WEBSITE

- In case of e-tendering the entire NIT along with all necessary documents is to be uploaded which can be viewed by the intending bidder free of cost. Therefore, the existing form of Press Notice has been modified since it is no more to be published in news papers and named as information and instructions for Contractors which will form part of NIT and to be uploaded on ITI website.

- Draft information and instructions for Contractors for e-tendering inviting open tenders is enclosed as Annexure - I. ( for Specialized work)

- The Draft information and instructions to Contractors may be modified suitably by NIT approving authority as per requirement.

| Schedule of work |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| NAME OF WORK :- M/o various scheme in East Zone NA-II. |  |  |  |  |  |
| (SH : ARMO of clear water pump set, DG Set , street lighting & Community Hall at 330 LIG Houses Pkt.10-B Jasola.) |  |  |  |  |  |
| S.NO | Description if item | Qty. | Unity | Rate | Amount |
| 1 | Running maintenance and operation of clear water pump set , DG set street lighting as per the inventory terms & conditions attached . | 12 | Month |  |  |
| 2 | Supply and replacement of the following items :- |  |  |  |  |
| a) | HPSV lamp 150 watt | 2 | Each |  |  |
| b) | Copper wound polyester ballast suitable for 150 watt HPSV lamp. | 1 | Each |  |  |
| c) | Electronic ignitor for 150 & 70 watt 220/240 volts. | 3 | Each |  |  |
| d) | HPSV lamp 70 watt. | 1 | Each |  |  |
| e) | Copper wound polyester choke suitable for 70 watt HPSV lamp. | 1 | Each |  |  |
| 3 | Rebate for dismantled material | 1 | Job |  |  |
|  | Total |  |  |  |  |

TERMS AND  CONDITIONS .

- The work comprises of running and operation of pump sets , DG set and general lighting as per the inventory attached.

- The contractor shall depute the following staff under the contract :-

- Operator Gr-II - 2 Nos. one in each shift i.e. from 6.00 AM to 2.00 PM, 2.00 PM to 10.00 PM .

- Khallasi  - 1 No. from 10.00 PM to 6.00 PM.

- Wireman Gr-I shall attend the site of work between 9.00 Am to 5.00 PM at least once in a fortnight and as and when reqd.

- Khallasi -1 No. for 24 Days.

- The contractor shall employ trained and competent staff to the satisfaction of  	Engineer-in-charge having two years on experience on operation of pump sets  /DG 	set.

- The contractor shall supply the list of staff along with experience certificate to	engaged on the installation within 7 days of award of work. Engineer –in-charge    shall have the right to reject any staff employed by the contractor .

5.	The staff employed by the contractor shall wear proper uniform  and wear badges 	displaying their name and designation .The staff shall also be given photo identify 	cards by the contractor displaying their name , father ‘s name , address, date of birth 	, name of  the 	agency with address and telephone no, site for which employed and 	period of validity . A 	copy of the identify cards shall be given to the Engineer –in – 	Charge within 15 days of award of work .

6.	The contractor shall employ staff throughout the period of contract including 	Saturdays and Sundays , Gazetted holidays and National holidays.

- Following records are to be kept at site work. These records have to returned back to   the department after completion of work :-

- Printed log book for recording operation i.e. clear water sub. pump set etc.

- Attendance register for staff deployed .

- Complaint /Inspection register.

Note :- the contractor shall get the register authenticated from Engineer –in-			charge before use at site.

- The following minor maintenance including preventive maintenance shall be carried out by the contractor. The details of work carried out shall be recorded in the maintenance register :-

- Servicing and greasing of pumps /motors once in 3 months..

- Replacement of rubber packing of valves and worn out nuts and bolts etc. as when reqd.

- Replacement of gland dori as and when required .

- Replacement of HRC fuses as and when required.

- Adjustment & alignment tightening  of nuts and bolts as and when required.

- Replacement of burnt out thimbles, wire terminals, push buttons etc.

- Daily cleaning of equipments / pump house & control room etc. will be responsibility of the agency.

- Top up of battery water .

- Daily cleaning of equipments / pump house .

Note :- The material required for carrying out above jobs shall be supplied by the contractor within quoted rates.

- The DG set shall be operated in case of electricity failure or as and when desired by the engineer-in-charge . However POL shall be supplied by department

- Co-ordination and follow up action with elect. supply agency shall be done by the contractor in case of failure / fault in supply / fluctuation in voltage.

- The contractor shall intimate the Engineer-in-charge about the major breakdown or failure of electric supply in time.

- Watch and ward shall be the responsibility of the contractor. Any loss due to theft or pilferage etc. shall be borne by the contractor.

- The payment to the contractor shall be made bi-monthly or at other suitable intervals desired by the contractor but not less than one calendar month.

- Proper handing / taking over of all the E & M installations shall be carried out by JE(E) in charge of the work and the contractor in writing immediately after award of work/ before start of work.

- The Engineer-in-charge, if so desire, terminate the contract at any time after giving 15 days notice.

- If any staff employed by the contractor is found absent on a particular time and date an amount proportionate to per shift shall be recovered from the contractor’s bill.

- All allied accessories / installations  shall be kept in working order and in case any damages / loss is done to the pumping installations  due to the negligence of the operational staff deployed by the contractor, the contractor shall have to make good the damages/loss at his own cost. In case the contractor fails to rectify the damages /loss within reasonable time, the same shall be got rectified / replaced by the department at the risk and cost of the contractor .

- The contractor shall keep all the necessary spares and T & P at site required for operation  and maintenance to be carried under his contract.

- In case of any disobedience or misbehavior by the operational staff of the contractor, the Engineer-in-charge may ask the contractor to dispense with the services  of such staff with immediate effect. The contractor shall provide suitable substitute simultaneously .

- The rates quoted by the contractor shall be inclusive of all taxes, duties and Govt. levies & rebate for dismantled material.

- Pumping installation shall be painted (excluding control panel) once during the contract period

- An injury to the operational staff, in case any mishap, during duty hours will be the liability of the contractor.

- EPS/ESI facilities if any shall be extended to the staff deployed which shall be reimbursed on production of proof of payment. Documentary evidence if required shall be submitted to the department.

TERMS & CONDITIONS

- The work comprises of maintenance of street lighting as per the inventory attached .

- Scope of work is as under:-

- To keep all street lighting points &  all allied installations in working order.

- To  keep all street lighting functional during the functional during the timings fixed by the Engineer-in-charge.

- Street lighting should be switched ON/OFF at appropriate time fixed by the department .

- 90% of the street lighting should remain in working order and function throughout the period of contract failing which proportionate recovery shall be made from the contractor ‘s bill.

- No street lighting points should remain out of order for more than 3 days. Beyond 3 days, a recovery of Rs. 100/- per point per day, shall be made from the contractor’s bill.

- For laying of cable in pacca portion & removing of existing damaged/ defective cable, payment will be made as per item No.5(B) of schedule of work and no extra payment shall be made on this account .

- Proper handing / taking over of all the E & M installations shall be carried out by JE(E)/ AE(E) in-charge of the work and the contractor in writing immediately after award of work and before start of work . The same shall be handed  over to the department in proper working condition after expiry of the contract .

- The duty timings of the staff can be changed as and when required by the Engineer-in-charge .

- The contractor shall deploy trained & competent staff to the satisfaction of the Engineer-in-charge .

- The contractor shall supply the list of staff alongwith details i.e. Name, Father’s Name , Date of Birth , Experience certificate to be engaged on the installation within 7 days of  award of work . Engineer-in-charge shall have the right to reject any staff deployed by the contractor.

- The staff deployed by the contractor shall wear proper uniform and badges displaying their name and designation.

- The contractor shall deploy staff throughout the period of contract i/c Saturdays, Sundays Gazetted holidays and shall maintain attendance register which shall be kept at the office of J.E.(E) concerned.

- The contractor shall submit the log sheet as per the performa enclosed regarding the status of street lighting points and other allied installations of the preceeding day, daily to the Engineer-in-charge in the division office , duly signed by him or his authorized representative whose particulars  shall be furnished by the successful tenderer within 7 days after award of work.

- If any staff deployed by the contractor is found absent on a particular time and date, an amount equal to minimum wages fixed by Delhi administration from time to time shall  be recovered from the contractor’s bill.

- In case of any disobedience or misbehavior by the operational staff of the contractor, the Engineer-in-charge may ask the contractor to dispense with the services of such staff with immediate effect. The contractor shall provide suitable substitute simultaneously.

- The contractor shall take all safety measures at site during maintenance of the installations.

- Any injury / mishap to the maintenance staff during duty hours will solely be the liability of the contractor.

- The contractor shall maintain the street lighting luminaries with wheel ladder/ motorized ladder only.

- Co-ordination and follow up action with Electric supply agency shall be done by the contractor in case of failure / fault in supply.

- The contractor shall intimate the Engineer-in-charge about the major breakdown or failure of electric supply immediately.

- The following minor maintenance i/c preventive maintenance shall be carried out by the contractor. The details of work carried out shall be recorded in the register.

- Supplying & replacement of kit kats and MCB’s as & when required.

- Supplying & replacement of thimbles & ferrules as & when required .

- Supplying & replacement of copper wire of size 2.5 mm as and when required.

- Supplying & replacement of HRC fuses as & when required.

- All electric connections shall be checked atleast once in a month & set right, if required.

- Painting of poles shall be done by using brush or by spray painting.

- In case any damages/ loss is done to the installations during the contract period, the contractor shall have to make good the damages / loss at his own cost except the damages to the installations by accident. In case the contractor fails to rectify the damages/ loss within reasonable time the same shall be got rectified/ replaced by the department at the risk and cost of the contractor.

- If at any stage, the timer switch provided in the feeder pillar does not function, the contractor shall make immediate arrangement for ON/OFF operation manually till the timer switch is got repaired/ replaced . Nothing extra shall be paid on this account.

- Items at SI. No. 2 (a),(b), 2(c), shall be executed as & when required and these shall be executed in the presence of authorized representative of the Engineer-in-charge.

- The following makes of the material are acceptable :-

- HPSV lamp 		Philips/ Osram/ Crompton / Surya .

- Ballast 		As per fittment of manufacturer of existing luminaries.

- Igniter 			As per fittment of manufacturer of existing luminaire.

- MCB’s 		MDS/ standard / action/ L & T/ indokopp.

- Copper wire		National/ Ecko/Havells/Skytone

- Paint

- Enamel/ Aluminium        	Berger/ Nerolac/Asian/Dulex.

- Poly Utherence 	     	MRF

- PVC insulated and PVC 	     	Asian cable/ Unistar / Ecko/

sheathed / XLPE armoured cable.	Nicco/ Skytone/ Havells / KEI.

- The contractor shall also be responsible for removal of unauthorized hoardings , banners . if any, on the poles during the contract period for which the Engineer-in-charge / Authorized representative shall render their assistance, if required.

- Testing of earth continuity and earth electrodes shall be carried out once in ayear by the contractor in the presence of authorized representative of the Engineer-in-charge.

- The rates quoted by the contractor shall be inclusive of all taxes , duties and Govt. levies & rebate for dismantled material .

- The Engineer-in-charge, if so desire, may extent the contract upto 2 month or terminate the contract at any time after giving 15 days notice for which no compensation shall  be paid .

- EPF/ESI facilities if any shall be extended to the staff deployed which shall be reimbursed on production of proof of payment. Documentary evidence if required shall be submitted to the department.

INVENTORY

PUMP HOUSE POCKET AT 10 B JASOLA.

- 12.5 HP clear water booster pump set 				:		2 Sets

- 3 HP dewatering pump set						:		1 Set

- 80 mm dia ‘B’ clam C.I. pipe						:		4 MM

- 100 mm dia ‘B’ clam C.I. pipe					:		4 MM

- 100 mm dia C.I. Sluice valve						:		2

- 80 mm dia C.I. HRV Sluice valve					:		4

- 80 mm dia C.I. HRV						:		2

- LT cubical panel board with accessories 				:		1

- 63 Amp. Charge our starter 						:		1

- 3 x 10 sq. mm. PVC conductor cable					:		1 Lot

- 3 1 /2  x 35 sq. mm PVC conductor cable 				:		1 Lot

- Water level indicator 10 levels 					:		1 No.

- M.S. Cable							:		1

- Light point 							:		17 Nos.

- SDB with MCB’s 							:		1 No.

- 1 x 28 watt T-5 tube fittings						:		12 Nos.

- 1 x 14 watt T-5 tube fittings						:		1 No

- Ciling fan 1200 mm sweep						:		1 No.

- Street lighting luminaure fitting 70 watt				:		4 Nos.

- Exhaust fan 1450 RPM 450 mm 					:		3 Nos.

- G.I. Earthing  							:		2 Set

- Copper plate earthing 						:		2 Set

- 30KVA DG set							:		1 Set

- 6 Nos. Fire buckets of nine litre each					:		1 Set

- 2 x 1 meter thick rubber mat					:		1 No.

- CO2 fire extinguisher 						:		2 No.

STREET LIGHT

- Meter hot dip galvanized octagonal

Street light pole with						:		18 Nos.

150 watt street light fitting earthing

GI pipe							:		4 Set

- MV cubical penal board i/c assceries 				:		1 set

- 2 x 25 sq. mm PVC conductor cable				:		725m

- 50 sq.mm PVC conductor cable					:		25 m

COMMUNITY HALL

- LT part 								:		68 point

- Power points 							:		12 Point

- Ceiling fan 1200 mm sweep						:		10 Nos.

- Exhaust fan

- 450 mm 140 RPM						:		4 Nos.

- 300 mm 1000 RPM						:

- SDB

- 2 + 12 way 							:		1 No.

- 2 +  8 way							:		1 No.

- Flood light fitting MB IP65						:		6 Nos.

- Mirror option luminior fitting 					:		19 Nos.

- 2 x 54 watt T-5 lamp						:		16 Nos.

- Penal Board							:		1 No.

- Bras batten holder							:		1 No.