DELHI DEVELOPMENT AUTHROITY

PRESS TENDER NOTICE

c.s. No. I

1. Rate tenders are invited for the work on behalf of DDA from the approved contractors and eligible contractors of DDA and C.P.W.D. those of appropriate list of P & T, MES & Railways shall be opened on the same day.

The enlistment of the contractors should be valid on the last date of sale of tenders. In case only the last date of the sale of tender is extended, the enlistment of the contractors should be valid on the original date of sale of tender or on the extended date of sale of tenders.

1.2 For works costing upto Rs. 25 Lacs in case of B & R. tender shall be issued to contractors registered with DDA only.

1.3 For work costing above 25 Lacs upto Rs. 2 crores tender shall be issued to DDA & CPWD enlisted contractors as per their enlistment. The tender shall also be issued to non-DDA, non CPWD contractors provided they have satisfactorily completed three similar natures of works each of value not less than 40% of the estimated cost in the last five years.

1.4 For works costing above Rs. 2 crores but upto Rs. 10 crores the tender shall be issued to DDA as well as non-CPWD contractors provided they have satisfactorily completed three similar nature of works each of value not less than  40% of the estimated cost or two works of similar nature ,each of value not less than 50% of the estimated cost or one work of the similar nature each of vale not less than 80 % of the estimated cost  in the last 7 years ending last day of the month previous to the one in which the tender are invited .NOTE: Class 2 contractors of DDA & CPWD shall also be eligible if they satisfy the criteria specified in 1.4 above.

1.5 For work costing above Rs. 10 crores there shall be prequalification as the case may be as per existing practice.

Delhi Development Authority

E-TENDER PRESS NOTICE

NIT No. 07 /EE/SWD-2/DDA/2010-11

Online Item rate tender are invited through e-tendering mode for the following work by Executive Engineer SWD-2, DDA on behalf of Delhi Development Authority up to 3.00 PM on 13.04.2011 from the Specialized Agencies and the same shall be opened on the same day at 3.30 PM.

| Sl.No. | Name of work | Estimated cost | Tender Cost | Process-ing Fee | Earnest Money | Time allowed | Last Date of downloading of tender document |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | M/o Complet- ed scheme of NA-II under SZ. SH: Bio-remediation of Samriti Van Pond at Vasant Kunj. | Rs.10,32,120/- | Rs.500 + Vat @ 5% | Rs.516 +Service Tax @10.30% | Rs.20,642/- | 180 Days | 08.04.11 |

Conditions for work

- Tender sale shall be allowed, after verification of work performance report/eligibility criteria of the agency by the EE/SWD-2/DDA, Vasant Kunj, New Delhi-110075.

- The tenders shall be issued to the specialized firms who have the Annual financial turnover (gross) in similar nature of work in one of the preceding three financial years shall not be less than 100% of the gross value of the work on an annualized.

- The satisfactory completion of two works of similar nature/class costing not less than 50% of the estimated cost (gross) of the proposed work during the last 5 years.

- Similar nature of works means “Bio-remediation”.

Note:- For eligibility criteria, mode of payment of tender cost, processing fee & Earnest money and other details of the tender visit the website www.tenderwizard.com/DDA or www.dda.org.in . For any assistance on e-tendering please contact M/s ITI Limited on 011-49424365.

Not to be published below this line.

EXECUTIVE ENGINEER

Division: SWD-2, DDA

Note: Requirement of registration and other eligibility criteria shall be suitably incorporated in the Press Notice by NIT approving authority before issue

Delhi Development Authority

NOTICE INVITING TENDER

(E – TENDERING MODE)

1. Online Item rate tender is invited through e-tendering mode for the following work by Executive Engineer SWD-2, DDA on behalf of Delhi Development Authority up to 3.00 PM on 13.04.2011from the Specialized firms and the same shall be opened on the same day at 3.30 PM.

Name of Work: M/o Completed scheme of NA-II under SZ.

SH: Bio-remediation of Samriti Van Pond at Vasant Kunj.

Estimated Cost				:       	Rs.10,32,120/-

Tender Cost 				:	Rs.500 +D. VAT @ 5%

Tender Processing Fee			:	Rs.516  + Service Tax @10.30%

Earnest Money				:	Rs.12,604/-

Time allowed				:	180 Days

The enlistment of the contractors should be valid on the last date of down loadings.

In case only the last date of downloading of tender is extended the enlistment of the contractor should be valid on the original date of downloading.

1.1      The work is estimated to cost Rs.10,32,120/-  This estimate, however, is given merely as rough guide.

1.1.1   The authority competent to approve NIT for the combined cost and belonging to             the major discipline will consolidate NITs for calling the tenders. He will also             nominate division which will deal with all matters relating to the invitation of             tenders.

For composite tender, besides indicating the combined estimates cost put to tender,    should clearly indicate the estimated cost of each component separately. The eligibility of tenderer will correspond to the combined estimated cost of different components put to tender.

1.2	Tenders shall be issued to the eligible contractors who fulfill the following criteria     of eligibility and should have Class-II Digital Signature and registration with service provider M/s ITI Limited, C-9. Ist Floor, Back side Najafgarh Road, Near Janakpuri Metro Station, Vikas Puri, New Delhi-110092.      Criteria of eligibility for issue of tender documents:

…………………………………………*………………………………………

2	Agreement shall be drawn with successful tenderer on prescribed form attached. Tenderer shall quote his rates as per various terms and conditions of the said form which will form part of the agreement.

3	The time allowed for carrying out the work will be Six Months from the date of start as defined in Schedule F or from the first date of handling over the site whichever is later, in accordance with the phasing, if any, indicated in the tender documents.

Delhi Development Authority

4       	The site for the work is available.

or

The site of work shall be made available in parts as specified below:

____________________________________*__________________________

5	The tender shall be accepted only through online e-Tendering process and all details pertaining to the tender and guidelines for e-tendering are available on the website www.tenderwizard.com/DDA and www.dda.org.in . Intending contractors need to register themselves on the e-tendering website www.tenderwizard.com/DDA to get the USER ID and PASSWORD from M/s ITI Limited, C-9. Ist Floor, Back side Najafgarh Road, Near Janakpuri Metro Station, Vikas Puri, New Delhi-110092 by paying required fee and completing the steps specified on above referred website.

5(i)	Tender documents consisting of plans, Specifications, the schedule of quantities of the various classes of work to be done and the set of terms and conditions of Contract to be complied by the Contractor and other necessary documents can be downloaded from the e-tendering website   www.tenderwizard.com/DDA.Tender documents will be issued only through e-tendering website www.tenderwizard.com/DDA after the payment Rs. 500/- + 5% VAT as cost of Tender (non refundable) in the form of Cash to the office of the CAU (SOUTH ZONE)) and tender processing fee of Rs. 516 + Service Tax @ 10.30% (non refundable) should be deposited in the form of demand draft in favor of M/s ITI Limited payable at Delhi along with covering letter and physically submitted to ITI Limited, C-9. Ist Floor, Back side Najafgarh Road, Near Janakpuri Metro Station, Vikas Puri, New Delhi-110092. (Postal Delays will not be entertained and document will not be issued).The contractor has to request through online by filling of the details of receipt number issued by CAU for cost of tender and DD No, date of tender processing fee in the DDA online e-tendering website using User ID & Password for requesting the tender schedules for quoting their rates and amount for the tender.The tender will be opened only through online tendering process. Bidders can see their bids opened through online after logging in into the DDAs e-tendering web site using their User Id and Password.

6(i)  	Tenders shall be accompanied with Earnest money of Rs    in cash (Upto Rs 10,000/-only)/ Receipt  Treasury challan/ Deposit at call receipt of a scheduled bank/ fixed deposit receipt of a   scheduled bank/ demand draft of a scheduled bank issued in favour of Sr.AO/CAU/SZ/DDA   50 % of the earnest money or Rs 20 lakh, whichever is less, will have to be deposited in the shape prescribed above and balance amount of earnest money can be accepted in the form of Bank Guarantee issued by a scheduled bank having validity for 6 months or more from the last date of receipt of tenders.

6(ii) 		Scanned copy of earnest money is to be uploaded.  However, original receipt of earnest money is to be submitted in the office of the Executive Engineer inviting tender before the time and date of opening of e-tender as indicated in the calendar of events below.

Delhi Development Authority

6(iii)  	The tender of only those tenderers shall be opened online, whose earnest money submitted in the proper manner.

6(iv)	The contractors shall upload scanned copy of TIN number as issued by D-Vat Department on DDAs e-tendering website.  However, attested copies to be submitted in the office of the Executive Engineer inviting tender before the date and time of opening of e-tender as indicated in the calendar of events below.

6(v)     	The contractors shall upload scanned copy of proof of having submitted the latest D-Vat / CST returns etc on DDAs e-tendering website.  However, attested copies to be submitted in the office of the Executive Engineer inviting tender before the time and date of opening of e-tender as indicated in the calendar of events below.

6(vi)	The contractors shall upload the scanned copy of valid DDA/CPWD/MES/Railways/P&T registration Certificate of appropriate category wherever required to meet eligibility criteria specified in para 1.2.  However, attested copies to be submitted in the office of the Executive Engineer inviting tender before the time and date of opening of e-tender as indicated in the calendar of events below.

6(vii)	The tender shall be opened on         at 3.30PM only of those tenderers who fulfill the eligible criteria and the required documents found in order.  If any of the above dates happens to be holiday, next working day will be considered for all purposes.  Conditional tender shall not be considered.

6(viii)	Calendar of Events:

| Sl.No | Events | Date & Time Format (dd/mm/yyyy hh:mm) |
| --- | --- | --- |
| 1. | Commencement of e-Tender |  |
| 2. | Last date & time for receipt of requisition of e-Tender |  |
| 3. | Last Date & time for issue of e-Tender | 08.04.2011 |
| 4. | Last Date & time of submission of e-Tender. | 13.04.2011 |
| 5. | Date & time of opening of e-Tender | 13.04.2011 |

7	The contractor whose tender is accepted will be required to furnish performance guarantee of 5 % (Five percent) of the tendered amount within the period specified in Schedule F. This guarantee shall be in the form of cash (in case guarantee amount is less than Rs 10,000/-) or Deposit at call receipt of any scheduled bank/Banker’s cheque of any scheduled bank/Demand draft of any scheduled bank/Pay order of any scheduled bank (in case guarantee amount is less than Rs. 1,00,000) or Government securities or fixed  Deposit Receipts or Guarantee Bonds of any Scheduled bank or the State Bank of India in accordance with the prescribed form.

7(i)    	In case the contractor fail to deposit the said performance guarantee within the period as indicated in Schedule F, including the extended period if any, the Earnest Money, deposited by the Contractor shall be forfeited automatically without any notice to the contractor.

Delhi Development Authority

7(ii)	   	The description of the work is as follows:

Name of work: M/o Completed scheme of NA-II under SZ.

SH: Bio-remediation of Samriti Van Pond at Vasant Kunj.

7(iii)	Copies of other drawings and documents pertaining to the work will be opened for inspection by the tenderers at the office of the Executive Engineer inviting the tender.

7(vi)	Tenderers are advised to inspect and examine the site and its surroundings and satisfy themselves before submitting their tenders as to the nature of the ground and sub-soil (so far as is practicable), the form and nature of the site, the means of access to the site, the accommodation they may require and in general shall themselves obtain all necessary information as to risks, contingencies and other circumstances which may influence or affect their tender.  A tenderer shall be deemed to have full knowledge of the site whether he inspects it or not and no extra charges consequent on any misunderstanding or otherwise shall be allowed.  The tenderer shall be responsible for arranging and maintaining at his own cost all materials, tools & plants, water, electricity, access, facilities for workers and all other services required for executing the work unless otherwise specifically provided for in the contract document.  Submission of a tender by tenderer implies that he has read this notice and all other contract documents and has made himself aware of the scope and specifications of the work to be done and of conditions and rates at which stores, tools and plant etc will be issued to him by the government and local conditions and other factors having a bearing on the execution of the work.

7(v)	The competent authority on behalf of DDA does not bind itself to accept the lowest or any other tender and reserves to itself the authority to reject any or all the tenders received without assigning any reason. All tenders in which any of the prescribed condition is not fulfilled or any condition including that of conditional rebate is put forth by the tenderer shall be summarily rejected.

7(vi)	DDA will not be responsible for not getting internet connection/power supply while downloading the Electronic Bid Sheets/Documents or while uploading their offers.

7(vii)   	Canvassing whether directly or indirectly, in connection with tenders is strictly prohibited and the tenders submitted by the contractors who resort to canvassing will be liable for rejection.

7(viii)	The competent authority on behalf of DDA reserves to himself the right of accepting the whole or any part of the tender and the tenderer shall be bound to perform the same at the rate quoted.

7(ix)   	The contractor shall not be permitted to tender for works in the DDA Circle (Division  in case of contractors of Horticulture/Nursery category) responsible for award and execution of contracts in which his near relative is posted as Divisional Accountant or as an officer in any capacity between the grades of Superintending Engineer and Junior Engineer (both inclusive).  He shall also intimate the names of persons who are working with him in any capacity or are subsequently employed by him and who are near relatives of any Gazetted officer in DDA or in the Ministry of Urban development. Any breach of this condition by the contractor would render him liable to be removed from approved list of contractors of this department.

7(x)    	No Engineer of gazetted rank or other Gazetted officer employed in engineering or Administrative duties in an Engineering department of the Government of India is allowed to work as a contractor for a period of one year after his retirement from the Government service, without the previous permission of the Government of India in writing. This contract is liable to be cancelled if either the contractor or any of his employees is found anytime to be such a person who had not obtained the permission of the DDA as aforesaid before submission of the tender or engagement in the contractor’s service.

7(xi)     The tender for the work shall remain open for acceptance for a period of …*… days from the date of opening of tender/ ninety days from the date of opening of financial bid, whichever is later. If any tenderer withdraws his tender before the said period or issue of letter of acceptance, whichever is earlier, or makes any modifications in the terms and conditions of tender which are not acceptable to the department, then the DDA shall, without prejudice to any other right or remedy, be at liberty to forfeit 50% of the said earnest money as aforesaid. Further the tenderer shall not be allowed to participate in the re tendering process of the work.

7(xii)	This ‘Notice Inviting Tender’ shall form part of the contract document. The successful   tenderer/contractor on acceptance of his tender by the Accepting Authority, shall, within 15 days from the stipulated date of start of the work, sign the contract consisting of, the Notice inviting tender, all the documents including additional conditions, specifications and drawings, if any, forming the tender as issued at the time of invitation of tender and acceptance thereof together with any correspondence leading thereto.

7(xiii)      For Composite Tenders:

7 (xiv)The Executive .Engineer in charge of the major component will call tenders for the composite   work. The cost of tender document and Earnest Money will be fixed with respect to the combined estimated cost put to tender for the composite tender.

7(xv)  The tender document will include following three components:

Part A: -    Notice Inviting Tender, form of Contract for work including schedule A to F for major component of the work, General Conditions of Contract for works

Part B: - General/specific conditions, specifications and schedule of quantities applicable to major component of the work.

Part C:-    Schedule A to F for minor component of the work, (SE/EE in charge of major component shall also be competent authority under clause 2 and clause 5 as mentioned in schedule A to F for major components) General/ specific conditions, specifications and schedule of quantities applicable to minor component(s) of the work.

7(xvi)   The tenderer must associate with himself, agencies of the appropriate class            eligible to tender   for the minor components individually.

7(xvii) The eligible tenderers shall quote rates for all items of major component as well as for all items of minor components of work.  It will be obligatory on the part of the tenderer to sign the tender document for all the components (The schedule of quantities, conditions and special conditions etc.).

7(xviii) After acceptance of the tender by competent authority, the EE in charge of major component of   the work shall issue letter of award on behalf of the DDA. After the work is awarded,   the main contractor will have to enter into one agreement with EE in charge of

Delhi Development Authority

major component   and has also to sign two/or more copies of agreement depending upon number of EE's/DDA in  charge of minor components. One such signed set of agreement shall be handed over to  EE/DDA in charge of minor component. EE of major component will operate part A and part B of  the agreement. EE/DDA in charge of minor components) shall operate Part C along with Part A  of the agreement.

7(xix) Entire work under the scope of composite tender including major and all minor components shall be executed 'under one agreement.

7(xx)   Security Deposit will be worked out separately for each component corresponding to the estimated cost of the respective component of works. The Earnest Money will become part of the security deposit of the major component of work.

7(xxi)   The main contractor has to associate agency(s) for minor component(s) confirming to eligibility criteria as defined in the tender document and has to submit detail of such   agency(s) to Engineer-in-Charge of minor component(s) within prescribed time. Name of the agency(s) to be associated shall be approved by Engineer-in-Charge of minor component(s)

7(xxii)   In case the main contractor intends to change any of the above agency/agencies during the operation of the contract, he shall obtain prior approval of Engineer-in-Charge of minor component. The new agency/agencies shall also have to satisfy the laid down eligibility criteria. In case Engineer-in-Charge is not satisfied with the performance of any   agency, he can direct the contractor to  change the agency executing such items of work and this shall be binding on the   contractor.

7(xxiii) The main contractor has to enter into agreement with the contractors) associated by him for execution of minor component(s). Copy of such agreement shall be submitted to EE/DDA in charge of minor component as well as to EE in charge of major component.  In case of change of associate contractor, the main contractor has to enter into agreement with the new contractor associated by him.

7(xxiv)   Running payment for the major component shall be made by EE of major discipline to the main contractor. Running payment for minor components shall be made by the   Engineer-in-Charge of the discipline of minor component directly to the main contractor.

7(xxv)   Final bill of whole work shall be finalized and paid by the EE of major component. Engineers- in-charge of minor component(s) will prepare and pass the final bill for their component of work and pass on the same to the EE of major component for including in the final bill for composite contract.

The contractor has to request through online by filling the details of DD No. and date of processing fees online e-tendering website using User ID & Password for requesting the tender schedules for quoting their rates

EXECUTIVE ENGINEER

Division-SWD-2,DDA

8.  	Earnest money amounting to Rs.20,642/- in Currency Receipt challan/call Deposit Receipt/Demand Draft of a scheduled Bank Guaranteed by the Reserve Bank of India must accompany with each tender is taken sealed cover tender for above and address to EE.

(a) The contractor whose tender is accepted shall execute an agreement on Rs. 50/- stamp paper retreating his acceptance of the execution of work on the rate and conditions as set in the contract document. The issue of tender form will be stopped is (four) days before the date fixed for opening of tender.

9	The person/persons, whose tender (s) may be accepted (herein after called the contractor) shall permit DDA at the time of making any payment to him for work done under the contract to deduct a sum at the rate of 10% of the gross amount of each running bill till the sum along with the sum already deposited as earnest money, will amount to security deposit of 5% of the tendered value of the work. Such deductions will be made and held by DDA byway of Security Deposit unless he/they has/have deposited the amount of Security at the rate mentioned above in cash or in the form of Government Security at the rate mentioned above in cash or in the form of Government Securities or fixed deposit receipts. In case a fixed deposit receipt of any Bank is furnished by the contractor to the DDA as part of the security deposit and the Bank is unable to make payment against the said fixed deposit receipt, the loss caused thereby shall fall on the contractor and the contractor shall forthwith on demand furnish additional security to the DDA to make good the deficit.

All compensations or the other sums of money payable by the contractor under the terms of this contract may be deducted from, . or paid by the sale of a sufficient part of his security deposit or from the interest arising there from, or any sums which may be due to or may become due to the contractor by DDA on any account whatsoever and in the event of his Security Deposit being reduced by reason of any such deductions or sale as aforesaid, the contractor shall within 10 days make good in cash or fixed deposit receipt: tendered by the State Bank of India or by Scheduled Banks or Government Securities (if. deposited for more than 12 months); endorsed in favour of the Engineer-in-Charge, any sum or sums which may have been deducted from, or raised by sale of his security: deposit or any part thereof, the Security Deposit shall be collected from the running” bills of the contractor at the rates mentioned ‘ above and the Earnest Money if deposited in cash at the time of tenders will be treated a part of the Security Deposit.

(a) 	Government papers tendered as security will be taken @ 5% (five percent) below its market price or at its face value, whichever is less. The market price of Government paper would be as curtained by Divisional Officer at the time of collection of interest and the amount of interest to the extent of deficiency in value of the Government paper will be with-held if necessary.

(b) 	Government securities will include all forms of securities mentioned in rule 274 of the G.F.R. except fidelity Bonds. This will be subject to the observance of the conditions mentioned under this rule against each form of security.

10.	The acceptance of a tender will rest with the competent authority who does not bind himself to accept the lowest tender and reserves to himself the authority to reject any tender or all the tender without assignment any reason all the tenders which does not Full Fill the prescribed condition or are incomplete in any respect are liable to be rejected.

11.	Canvassing in connection with tenders is strictly prohibited and the tender submitted by the contractor who resort to canvassing shall be liable to rejection.

12.	All rates shall be quoted on the proper form of the tender in figure as well as in words.

13.	Item rate tender containing percentage below/above will be summarily rejected.

13	(a) 	It may please be carefully noted that no condition whatsoever shall be accepted by the department and the contractor is not prepared to execute the work at the terms and conditions contained in the tender documents, he is requested not to tender for this work: It may be rioted that if any contractor choose to submit conditional tender inspite of clear direction given above, his tender shall be liable to rejected summarily and his full earnest money shall stand forfeited. He will also be liable for being debarred from tendering in DDA for a period of six months.

13	(b) 	Monthly payment to the contractor will be made when the gross amount of the work done during the previous months is not less than indicated below:

| amount of contract | Gross value of works since previous bill should exceed |
| --- | --- |
| Over Rs, 10 lacs value | Rs. 25, 000/- |
| Over Rs. 2 lacs upto Rs. 10 lacs | Rs. 10, 000/- |
| Over Rs. 50, 000 upto Rs. 2 lacs | Rs. 5, 000/- |
| Over Rs. 50, 000/- | Rs. 2, 500/- |

14	On acceptance of the tender the name of the authorized representative of the contractor who would be responsible for taking instructions from the Engineer-in-charge shall be communicated to the Engineer-in-Charge.

15	Special care should be taken to write the rates in figures as well as in words and the amount in figures only in such a way that interpolation is not possible. The total amount should be written both in figures and in words

In case of figure the Word Rs………………….. should be written before the figure of Rupees and ‘P’ after the decimal figure e.g. Rs. 2.15 p. and in case of words the words Rupees the word Rupees should be precede and ‘ the word paise should be written at the end. Unless the rate is in whole Rupees and followed by the word only it should in variably be in two decimal places.

16.	Delhi development Authority does not bind itself to accept the lowest or any tender and reserves to itself of accepting the whole or any part of the tender and the tenderer shall be bound to perform the same at same at the rate quoted.

17.	Sales tax/VAT  or any other tax  on material in respect of this contract shall be payable by the fly contractor and DDA will not entertain any claim whatsoever in this respect.

(a)      Service tax wherever applicable shall however ,be reimbursed to the contractor on production of proof of payment to the concerned department

(a)      contractor must produce certificate of registration under Delhi Value Added Tax Act. 2004 ,with works contract cell of sales Tax/VAT Department of GNCDT and Tax clearance certificate Sale Tax/Vat issued by the said before the tender papers on be sold to him.

Labour CESS :

(b)     Cess under the provision of Building and other construction workers (RE & CS ) Act.,1996 ,and the building and other construction workers welfare Cess  Act.-1996 @ 1% of the cost of construction /Project shall be deducted at source from the bill paid to the contractor .DDA shall not bear any liability on account of Cess being deducted and reimbursed to GNCDT in pursuance of building and other contruction workers welfare Cess Act.-1996 ,read with Delhi Building and other construction workers (RE & CS ) Rules -2002.

(c)    Tax @ 2 % of total payment will be recovered under Delhi Value Added Tax-2004.

18.	A Contractor must produce valid certificate of Registration with works contracts cell of sales tax department of GNCTD & the tax clearance certificate in form XI (under rule-8(2) of Delhi sales tax of works contract rule (latest) issued by the said cell along with copied return filed by him before the tender papers can be sold to him.

19.	A contractor shall not be permitted to tender for works in the DDA Zone responsible for award and; execution of contracts) in which any of his near relatives is posted as Divisional Accountant or as an officer in any capacity between the grades of CE and AE (both inclusive) in the DDA. He shall intimate the name of his near  relations’, if any, who are working as Gr. A, B or C officers in DDA. He shall also intimate the names of the persons who are working with him in any capacity or who are subsequently employed by him and who are near relatives of any Groups A, B or C officers in the DDA. Any breach of this condition by the contractor would render him liable to action under clause 3 of the agreement. In addition, he would also be liable to be debarred from tendering in future.

20.	The contractor shall give a list of non gazetted DDA employees related to him.

21.	No Engineer of Gazetted rank or other Gazetted officer employed in Engineering of Administrative duties in an Engineering Deptt. of the Govt. of India/Delhi Development Authority is allowed to work as contractor for a period of two years of his retirement from Govt. Service/Delhi Development Authority. This contract is liable to be cancelled if either the contractor ore any of his employees are found at any time to be such a person who had not obtained the permission of the Govt of India/Delhi Development Authority as aforesaid before submission of the tender or engagement in the contractor’s service. The Engineering Deptt. of Govt. of India includes the Engineering Deptt., of DDA, CPWD, MES, P&T.

22.	The tender for works shall remain open for acceptance for a period of sixty days from the date of opening of tenders. If any tenderer withdraws his tender before the said period or makes any modification in the terms and conditions of the tender which are not acceptable to the Deptt. then the DDA shall, without prejudice to (Oz) other right or remedy be at liberty to forfeit the 50% amount of the earnest money .

23.	The tender for the work shall not be witnessed by a contractor or contractors who himself/themselves has/have tendered for the same work. Failure to observe this condition would render the tender of the contractor tendering as well as witnessing the tender liable to summarily rejection.

24.	Approved and eligible contractors of CPWD and those of appropriate class of DDA, Railways and civil wing of P&T and MES are also eligible to tender.

25. 	The facility of exemption from depositing the earnest money by virtue of executing the bond was withdraw w.e.f. 20-12-89 and all the bond stands cancelled from this date. Each intending tenderer has to deposit the required earnest money with individual 10 days as mentioned in para-8.

26.	While quoting the rate in schedule of quantities in the word only should be written closely, following the amount and it should not be written in the next line.

27.	The tender for the composite work includes the building portion, sanitary, water supply and drainage work.

28.	The tenderer apart from being a class I B&R Contractor, must associate himself with agencies of the l appropriate class which are eligible, to tender for Sanitary and water supply installation.

29.	The contractor shall submit the list of work which are in hand (progress) in the Performa given below

PERFORMA FOR CLAUSE —29

| Name of work | Name of particulars | Amount Position of | Remarks |
| --- | --- | --- | --- |
|  | Of Division Where The work is being executed | Of work | Work in Progress |

30.	The tenderer shall inspect and study the drawings referred to in the tender documents in the office of the Executive Engineer before and for the purpose of submitting the tender.

30A.	In case of item rate tender invited on form PWD-8 the contractor should quote his rates only in one language, i.e. either in Hindi or English. Rates should be quoted in figures as well as in word. In case a contractor has quoted rates in both the languages and the rates so quoted differ or the rate quoted in words and figure differ, then the lowest rates quoted by the contractor shall be treated as the rate quoted by the contractor.

31.	That only sealed tenders in the envelope duly described name of work, date of opening and the name of division shall only considered and accepted. Envelop shall be given along with the tender by the tender clerk at selling counter.

32.	It has further been observed by CTE that in particular tender the contractor did not quote rate for a particular item. However, as per tender condition, tender in which any of the prescribed conditions are not fulfilled or incomplete in any respect, such tender are liable to be rejected. Instead of rejecting such incomplete tender or adopting “Nil” rate where contractor did not quote, justified rate observed to have been paid to the contractor, thus extending undue benefit to the contractor.

Therefore, it is enjoined upon all concerned that the tender in which any of the prescribed conditions are not fulfilled and/or the tender which is incomplete in any respect, shall be rejected. Wherever the contractor has not mentioned any rate against any item(s), the rates against such item(s) shall be treated as “Nil” for evaluation/ execution purpose.

ADDITIONAL CLAUSE

| 1. | Case of withdrawal of offer | Action to be taken |
| --- | --- | --- |
| (i) | If the contractors modifies/withdraw their offer within-60 days of quoting the rates | The earnest money deposited by the contractor shall be forfeited by 50% of amount. |
| (ii) | If the contractor with draw his offer after award of work taking over possession of site | The earnest money deposited by the contractor shall be forfeited absolutely |
| (iii) (iv) | If the contractor/ agency with draw his offer after award of work after taking over possession of site The quotation of the work/supply shall be remain open for a period of 90 days from the date of opening of quotation.The DDA shall without prejudice to any other right or remedy be at liberty to forfeit 50% of the earnest money if any quotationer withdraw this quotation before the said period or makes any modification in the terms & conditions of offer which are not acceptable to the department and to forfeit the whole of the earnest money if the qoutationer whose quotation is acceptable fails to commence the work/supply specify in the NIT along with changes in the scope if any) in the prescribed time or abandons the work/supply before its completion. | It is deemed that the contractor has entered into contract and the action under clause 2 & 3 of the agreement i.e. taking up work at the risk and cost of the Contractor and to penalise the contractor for not completing the work within the stipulated period will be taken against the contractor if he abandons the site after taking over the possession of the site from the Engineer in-charge. For taking action under clause 2 & 3 the only documentary proof required will be the documents showing signature of contractor or his authorized representative for taking over the possession of site. It is further clarified that action under clause 2 & 3 of the agreement is attracted even though the contractor fails to sign the agreement of Rs. 50/- non-judicial stamp paper but do not start the work from the tenth day after the date on which the order to commence .the work is issued to contractor. The date of start of the work will be considered as date of taking over the possession of site. In case of tender for supply of material the documentary proof for start of work will be the submission of samples for approval to Engineer-in-charge i.e. in case the supply order is given to the contractor and if he fails to supply the material or submit the samples of Engineer-in-chief ,then the action to be taken against the contractor is only the forfeiture of earnest money and if he submit the samples for supply and thereafter abandons the work of fail to supply the material then action under clause 2 & 3 is attaracted. Signature of…………………………………………. Divisional Officer For and behalf of....................................D.D.A Dt New Delhi…………………200 ………………… Copy Forwarded to: 1. The Secretary, Contractor’s Association, Vikas Kuteer, DDA & Central P.W.D.’Y’ Shape Building, IP. ESTATE, New Delhi. The receipt of this notice may Please be acknowledged under seal of Association’s Office. 2. The all SES Circle No……………………………………………………D.D.A., New Delhi. 3. Sr. A.O CAU (S2) D.D.A. 4. Notice Board, Chief Engineer’s New Delhi. 5. Divisional Accountant, Division No……………………………………… D.D.A New Delhi. 6. Asstt. Engineer, Sub-Divn. No…………………… Division No …………………… D-D.A. New Delhi. 7. Head clerk for recording a copy in the work file, 8. Director (System), DDA for displaying the NIT on DDA website. |

Executive Engineer

Division No ……………….. DDA

Name of Contractor………………………………………………………………………

Date of application & receipt ……………………………………………………………

Tender issued on……………………..Cost of tender Rs. ………………..…………..

Date of Opening of Tender……………………..………………………………………..

Tender issued at:- Vikas Sadan/CAU/ South Zone, DDA

P.W.D. 8

DELHI DEVELOPMENT AUTHORITY

Item Rate Tender for Work

I/We hereby tender for the execution for the Delhi Development Authority of the work specified in underwritten memorandum within the time specified in such memorandum at an amount of Rs. ______________________________ (Rupees)________________________________________________________________________________________________________________________________________________Item Rate Tender entered in the Schedule mentioned in rule 1 and in accordance in all respects with the specifications designs, drawings and instruction in writing referred to in rule I hereof and clause 11 of the conditions of contract and with such materials as are provided for, by and in all other respect in accordance with such conditions so far as applicable.

MEMORANDUM

(a)	General Description/:-

Name of work:  M/o Completed scheme of NA-II under SZ

SH: Bio-remediation of Samriti Van Pond at Vasant Kunj.

(b)     Estimated cost:	Rs.10,32,120/-

(c)	Earnest Money:	        Rs.20,642/-

(d)	Security Deposit   As per Clause- I 5% of tender value of work

(e)	Time allowed for the work from the 10th day

After the date of written order to commence 180 Days (One Eighty Days )

Should this tender be accepted, in whole or in part, I/We hereby agree:

(f)	(f) (i) Performance guarantee:- 5% of tender value of work (before award of work) .

(i)	To abide by and fulfil all terms and provisions of the said conditions annexed hereto and all the terms and provisions contained in the Notice inviting Tender so far as applicable and/or in default thereof to forfeit and pay to the Delhi Development Authority or their successors the sum of money mentioned in the said conditions.

(ii) 	To execute all the works referred to in the tender documents up on the terms and conditions contained or referred to therein and to carry out such deviations as may be ordered up to a maximum of 20%, (Twenty percent) and here after terms as deviation limit of tender at the rates quoted in tender documents and those in excess of this limit at the rate to be determined in accordance with the provisions contained in Clause 12-A of the tender form.

A sum of Rs.4,672/- has been deposited in cash/receipt Treasury Challan/ Deposits at Call receipt of a scheduled Bank/Fixed Deposit receipt of a schedule bank/demand draft of a scheduled bank/bank guarantee as earnest money as per provisions laid down in para 4 above in favour of AO/CAU/SOUTH Zone/DDA. If I/We fail to furnish the prescribed performance guarantee within the prescribed period I/We agree that the said DDA or his successors in office shall without prejudice to any other right or remedy be at liberty to forfeit the said earnest money absolutely. Further, I/We fail to commence work as specified, I/We agree that Chairman, DDA or his successor in office shall without prejudice to any other right or remedy available in law, be at liberty to forfeit the said earnest money and the performance guarantee absolutely otherwise the said earnest money shall be retained by him towards security deposit to execute all the works referred to in the tender documents upon the terms and conditions contained or referred to therein and to carry out such deviations as may be ordered, up to maximum of the percentage mentioned else therein the tendered documents and those in excess of that limit at the rates to be determined in the accordance with the provisions contained in Clause 12 and 12A of the tender form I/We shall treat the tender documents, drawings and other records connected with the work as secret/confidential documents and shall not communicate information derived there from to any person other than the person to whom I/We am/are, authorized to communicate the same of use the information in any manner prejudicial to the safety of the State.

REBATE CONDITIONS

It may please be carefully noted that no conditions whatsoever (beyond the tender documents placed below) shall be accepted by the Dept.. and the contractors are strictly prohibited from giving conditional tenders. If any contractor is not prepared to execute the work at the terms and conditions contained in the tender documents, he Is requested not to tender for this work. It may be noted that if any contractor-chooses to submit conditional tender, in spite of clear directions given above, his tender shall be liable to be rejected summarily and his full earnest money shall stand forfeited. He will also be liable for being debarred from tendering in DDA for a period of six months.

Dated the ………………………….. day of …………………. 200 ……..……………

Signature of Contractor before

Submission of tender

Witness…………………………

Address…………………………

Signature of witness to Contractor’s

Signature

Occupation ……………………….

The above tender for the sum of Rs ………………………. Rupees………………...

………………………………………………………………………….. only is hereby accepted by me …………………..…… Engineer …….…………………… Division ……………………………………….. on behalf of the Delhi Development Authority.

Dated the …………………….. Day of …………………… 200 ………………………

Signature of ……………..Engineer

DELHI DEVELOPMENT AUTHORITY

General Rules and Directions

The liability of exceptions for depositing the Earnest Money by virtue of exempting the bond stands with drawn w.e.f. 26.12.89 and all the bond stand cancelled from.	.

This date and intending tenderer has to deposit the required earnest money with individual tender as mentioned in para 8 of PWD-6.

1.	All works proposed for execution by contractor will be notified in a form of invitation to tender posted in public place signed by the Divisional Officer.

Tender is open to contractors who full fill the eligibility criteria of this work.

This form will state the work to be carried out as well as the date-for submitting and opening tenders and the time allowed for carrying out the work; also the amount of earnest money to be deposited with the tender and the percentage at which the Security Deposit shall be deducted from the bills of the successful tenderer. Copies of the specifications, designs and drawings and a schedule of quantities and of rates of the various descriptions of work and any other documents required in connection with the work asigned for the purpose of identification by the Divisional Officer shall also be open for inspection by the contractor at the office of the Divisional Officer during office hours.

2.	In the event of tender being submitted by a firm, it must be signed separately by each partner thereof, or, in the event of the absence of any partner, it must be signed on his behalf by a person holding a power of attorney authorizing him to do so, such power of attorney to be produced with the tender, and it must disclose that the firm is duly registered under the Indian Partnership Act.

3.	Receipt for payments made on account of a work, when executed by a firm must also be signed by the several partners, except where the contractors are described in their tender as a firm, in which case the receipts must be signed in the name of the firm by one of the partners or by some other person having authority to give effectual receipts for the firm.

Any person who submits a tender shall fill up the usual printed form, stating at the rate he is willing to undertake each item of the work.  Tenders which propose any alternation in the work specified in the said form of invitation to tender, or in the time allowed for carrying out the work, or which contain any other condition of any sort will be liable to rejection. No single tender shall include more than one work, but contractors who wish to tender for two or more works shall submit a separate tender for each. Tenders shall have the name and number of the work to which they refer written outside the envelope.

4.     (A)The rate (s) must be quoted in decimal coinage. Amounts must be quoted in full

rupees by ignoring fifty paisa and considering more than fifty paise as rupee one.

5. 	(a)The Divisional Officer or his duly authorized assistant, will open the financial bid of the Technical qualified agencies in the presence of any intending contractors who may be present at the time and will enter the amount of the several tenders in a Comparative Statement in a suitable form. In the event of a tender being accepted a

receipt for the earnest money forwarded therewith shall thereupon be given to the contractor who shall thereupon for the purpose of identification sign copies of the specifications and other documents mentioned in rule 1 in the event of a tender being rejected, the earnest money forwarded with such unaccepted tender shall thereupon be returned to the contractor remitting the same without any interest.

6.  The officer inviting tenders shall have the right of rejecting all or any of the tender and will not be bound to accept the lowest tender.

7.	The receipt of an accountant or clerk for any money paid by the contractor will not be considered as an acknowledgement of payment to the Divisional Officer and the contractor shall be responsible for seeing that he procures a receipt signed by the Divisional Officer, or a duly authorized cashier CAU/ South Zone / DDA.

8.	The memorandum of work tendered for, and the schedule of materials to be supplied by the DDA and their issue rates, shall be filled in and completed, in the office of the Divisional Officer before the tender form is issued. If a form is issued to an intending tenderer without having been so filled in and completed he shall request the office to have this done before he completes and delivers his tender.

9.	In the case of Item Rate Tenders, only rates quoted shall be considered. Any tender containing percentage below/above the rates quoted is liable to be rejected. Rates quoted by the contractor in item rate tender in figures and words shall be accurately filled in so that there is no discrepancy in the rates written in figures and words. However, if a discrepancy is found, the rate which correspond with the amount worked out by the contractor shall unless otherwise proved be taken as correct.

(a)	If the amount of an item is not worked out by the contractor or it does not correspond with the rates written either in figure or words, then the rates quoted by the contractor in words shall be taken as correct. Where the rate quoted by the contractor in figures and in words tally but the amount is not worked out correctly, the rates quoted by the contractor will unless otherwise provided be taken as correct and not the amount. In the event of no rate has been quoted for any item(s), leaving space both in figure(s),word(s) and amount blank, it will be presumed that the contractor has loaded the cost of this/these item(s) in other item (s) and the rate for such item(s) will be considered as Zero and work will be required to the executed accordingly.

10.	If it is found that the tender is not submitted in proper manner or contains too many corrections or absurd rates or amounts, it would be open for DDA to reject the same.

11.	The tenderer shall sign a declaration under the official secret Act for maintaining secrecy of the tender documents, drawings or other records connected with the work given to them. The unsuccessful tenderer shall return all the drawings given to them.

DECLARATION

I/We hereby declare that I/We shall treat the tender documents drawing and other records connected with the work as secret/confidential documents and shall not communicate information/deliver the information to any persons other than a person to who I/We am/are authorized to communicate the same or use the information in any manner prejudicial to the safety of the same.

Signature of the contractor

CONDITIONS OF CONTRACT

Definitions:

- The contract means the documents forming the tender and acceptance there of and the formal agreement executed between the Delhi Development Authority and the Contractor, together with the documents referred to therein including these conditions, the specifications, designs, drawings and instructions, issued from time to time by the Engineer-in-charge and all these documents taken together, shall be deemed to form one contract and shall be complementary to one another.

- In the contract the following expressions shall thereof unless the context otherwise requires, have the meaning hereby respectively assigned to them.

- The expression 'Works' or 'Work' shall there of unless there be something either in the subject or context repugnant to such construction, be constructed and taken to mean the work by or by virtue of the contract contracted to be executed whether temporary or permanent and whether original, altered, substituted or additional.

- The 'Site' shall mean the land and/or other places on, into or through which work is to be executed under the contract or any adjacent land, path or street through which work is to be executed under the contract or any adjacent land, path or street which may be allotted or used for the purpose of carrying out the contract.

- The 'Contractor shall mean the individual or firm or company whether in corporate or not, undertaking the works and shall include the legal personal representative or such individual or the persons confirming such firm or-company, or the successors of such firms or company and the permitted assignee of such individual or firms or company.

- The 'Authority' or' DDA means Delhi Development Authority.

- The 'Engineer-in-Charge' means the Divisional Officers who shall supervise and be incharge of the work and who shall sign the contract on behalf of the Delhi Development Authority.

- Chairman, Government' or 'Government-of India' shall mean the V. C. DDA of Delhi.

- The Term 'Chief Engineer' means concerned Zonal Chief Engineer Delhi Development Authority. Words imparting the singular number, include the plural number and Vice-Versa.

- The Chief Technical Examiner/Technical Examiner means the Chief Technical Examiner Central vigilance Commission, Govt. of India.

(3)	The contractor shall be deemed to have satisfied himself before tendering as to the correctness and sufficiency of his tender for the works and of the rates and prices quoted in the schedule of Quantities, which rates and the price shall, except as otherwise provided cover all his obligations under the contract and all matters and things necessary for the proper completion and maintenance of the works.

(4)	The several documents forming the contract are to be taken as mutually explanatory of one another detailed drawings being followed in preference-to small scale drawing and figured dimensions in preference to scale and special conditions in preference to General Conditions.

(4.1)	In the case of discrepancy between the schedule of Quantities, the Specifications and/or the Drawings, the following order of preference shall be observed :-

- Description of Schedule of Quantities.

- Particular specification and Special Condition, if any

- Drawings.

- CPWD Specification.

- Indian Standard Specifications of BIS.

(4.2).	If there are, varying are conflicting provisions made in any one document forming part of the contract, the Accepting Authority shall be the deciding authority with regard to the intention of the documents and his decision shall be final and binding on the contractor.

(4.3) 	Any error in description, quantity or rate in Schedule of Quantities or any omission there from shall not vitiate the Contract or release the Contractor from the execution of the whole or any part of the works comprised therein according to drawings and specifications or from any of his obligations under the contract.

CLAUSE 1. The person/persons, whose tender (s) may be accepted (herein after called the contractor) shall permit DDA at the time of making any payment to him for work done under the contract to deduct a sum at the rate of 10% of the gross amount of each running bill till the sum-along with the sum already deposited as earnest money, will amount to security deposit of 5% of the tendered value of the work. Such deductions will be made and held by DDA by way of Security Deposit unless he/they has/have deposited the amount of Security at the rate mentioned above in cash or in the form of Government Security at the rate mentioned above in cash or in the form of Government Securities or fixed deposit receipts. In case a fixed deposit receipt of any Bank is furnished by the contractor to the DDA as part of the security deposit and the Bank is unable to make payment against the said fixed deposit receipt, the loss caused thereby shall fall on the contractor and the contractor shall forthwith on demand furnish additional security to the DDA to make good the deficit.

All compensations or the other sums of money payable by the contractor under the terms of this contract may be deducted from, or paid by the sale of a sufficient part of his security deposit or from the interest arising there from, or any sums which may be due to or may become due to the contractor by DDA on any account whatsoever and in the event of his Security Deposit being reduced by reason of any such deductions or sale as aforesaid, the contractor shall within 10 days make good in cash or fixed deposit receipt tendered by the State Bank of India or by Scheduled Banks or Government Securities (if deposited for more than 12 months) endorsed in favour of the Engineer-in-Charge, any sum or sums which may have been deducted from, or raised by sale of his security deposit or any part thereof, the Security Deposit shall be collected from the running bills of the contractor at the rates mentioned above and the Earnest Money if deposited in cash at the time of tenders will be treated a part of the Security Deposit.

Note 	(1) Government papers tendered as security will be taken @ 5% (five percent) below its market price or at its face value, whichever is less. The market price of Government paper would be ascertained by Divisional Officer at the time of collection of interest and the amount to interest of the extent of deficiency in value of the Government paper will be with-held if necessary.

Note 	(2) Government securities will include all forms of securities mentioned in rule 274 of the G.F.R. except fidelity Bonds. This will be subject to the observance of the conditions mentioned under this rule against each form of security.

Clause1A. Performance Guarantee

i)	The contractor shall submit an irrecoverable performance guarantee of 5% (Five Percent), of the tendered amount in addition to other deposits mentioned elsewhere in the contract for his proper performance of the contract agreement,, (not withstanding and / or without prejudice to any other provisions in the contract) within 15 days of issue of letter of intent. This period can be further extended by the Engineer-in-Charge upto a maximum period of 7 days on written request of the contractor stating the reason for delays in procuring the Bank Guarantee, to-the satisfaction of the Engineer-in-Charge. This Guarantee shall be in the form of Government Securities or fixed deposit receipts or Guarantee

Bonds of any Scheduled Bank or the State Bank of India in accordance with the form annexed hereto (Annexure-l). In case a fixed deposit receipt of any Bank is furnished by the contractor to the DDA, as part of the performance guarantee and the bank is unable to make payment against the said fixed deposit receipt, the loss caused shall fall on the contractor and the contractor shall forthwith on demand furnish additional security to the DDA to make good the deficit.

(ii)A letter of intent shall be issued in the first instance informing the successful tenderer of the decision of the competent authority to accept his tender and the award letter shall be issued only after the Performance Guarantee in any of the prescribed form is received. In case of failure by the contractor to furnish the performance guarantee within the specified period Government shall without prejudice to any other right or remedy available in law, be at liberty to forfeit the earnest money absolutely.

(iii) The Performance Guarantee shall be initially valid upto the stipulated date of completion plus 60 days beyond that. In case the time for completion of works gets enlarged, the contractor shall get the validity of Performance Guarantee extended to cover such enlarged time for completion of work. After recording of the completion certificate for the work by the competent authority, the performance guarantee shall be returned to the contractor, without any interest, (iv) The Engineer-in-charge shall not make a claim under the performance guarantee except for amounts to which the DDA is entitled under the contract (not withstanding and / or without prejudice to any other provisions in the contract agreement) in the event of :-

- Failure by the contractor to extend the validity of the Performance Guarantee as described of the herein above, in which event the Engineer-in-Charge may claim the full amount of the Performance Guarantee.

- Failure by the contractor to pay DDA any amount due, either as agreed by the contractor or determined under any of the Clauses / Conditions of the agreements, within 30 days of the service of notice to this effect by Engineer-in-charge.

v) In the event of the contract being determined or rescinded under provisions of any of the clause/ condition of the agreement, the Performance Guarantee shall stand forfeited in full and shall be absolutely at the disposal of the DDA.

Note : 	Note 1 & 2 given under clause -I shall be applicable for Clause 1A.

CLAUSE 2. If the contractor fails to maintain the required progress in terms of clause 5 or to complete the work and clear the site on or before the contract or extend date of' completion, he shall, without prejudice to any other right or remedy available under the law to the-DDA on account of such breach, pay as agreed compensation the amount calculated at the rates stipulated below as the Superintending Engineer (Whose decision in writing shall be final and binding) may decide on the amount of tendered value of the work for every completed day/month (as applicable) that the progress remains below that specified in Clause 5 or that the work remains incomplete. This will also apply to items or group of items for which a separate period of completion has been specified. Compensation for delay of work @ 1.5% per month of delay to be computed on per day basis.

Provided always that the total amount of compensation for delay to be paid under this condition shall not exceed. 10% of the Tendered value of work or to the Tendered Value of the item or group of items of work for which is separate period of completion is originally given.

The amount of compensation may be adjusted or set-off against any sum payable to the Contractor under this or any other contract with the DDA In case, the contractor does not achieve a particular milestone mentioned in Annexure - II or, the rescheduled milestone(s) in terms of Clause 5.4, the amount shown against that milestone shall be withheld, to be adjusted against the compensation levied at the final grant of extension of time. Withholding of this amount on failure to achieve a milestone, shall be automatic without any notice to the contractor. However, if the contractor catches up with the progress of work on the subsequent milestones), the withheld amount shall be released. In case the contractor fails to make up for the delay in subsequent milestone(s), amount mentioned against each milestone missed subsequently also shall be with-held. However, no interest, whatsoever, shall be payable on such withheld amount.

CLAUSE 3 The Engineer-in-Charge may without prejudice to his right against the contractor in respect of any delay or inferior workmanship or otherwise on to any claims for damage in respect of any breaches of contract and without prejudice to any right or remedies under any of the provisions of this contract or otherwise and whether the-date for completion has or has not elapsed by notice in writing absolutely determine the contract in any of the following cases

(i)	If the contractor having been given by the Engineer-in-Charge a notice in writing to rectify, reconstruct or replace any defective work or that the work is being performed in an inefficient or otherwise improper or un workman like manner shall omit to comply with the requirements of such notice for a period of seven days thereafter.

(ii)	If the contractor being a company shall pass a resolution or the court shall make an order that the company shall be wound up or if a receiver or a manager on behalf of a creditor shall be appointed or if circumstances shall arise which entitled the court or the creditor to appoint a receiver or a manager any of or which entitle the court to make a winding up order.

(iii) 	Deleted

(iv)	If the contractor has without reasonable cause, suspended the progress of the work or has failed to proceed with the work with due diligence so that in the opinion of the Engineer-in-Charge (which shall be final and binding) he will be unable to secure completion of the work by the date for completion and continues to do so after a notice in writing of seven days from the Engineer-in-Charge.

(v)	If the contractor fails to complete the work within the stipulated date or items of work with individual date of completion, if any stipulated, on or before such date(s) of completion and does not complete them within the period specified in a notice given in writing in that behalf by the Engineer-in-Charge.

(vi) 	If the contractor persistently neglects to carry out his obligations under the contract and/or commits default in complying with any of the terms and conditions of the contract and does not remedy it or take effective steps to remedy it within 7 days after a notice in writing is given to him in that behalf by the Engineer-in-Charge.

(vii) 	If the contractor commits any acts mentioned in clause 21 hereof.

(viii) 	If the work is not started by the contractor within, 1/8th of stipulated time.

When the contractor has made himself liable for action under any of the cases aforesaid, the Engineer in charge on behalf of the DDA shall have powers:

- To determine or rescind the contract as aforesaid (of which termination or rescission notice in writing to the contractor under the hand of the Engineer-in-Charge shall be conclusive evidence). Upon such determination or rescission the Earnest Money deposit. Security Deposit already re covered and Performance Guarantee under contract shall be liable to be forfeited and shall be absolutely at the disposal of the DDA.

- Deleted

- After giving notice to the contractor to measure the work of the contractor and to take such whole, or the balance or part thereof, as shall be un-executed out of his hands and to give it to another contractor to complete the work. The contractor, whose contract is determined or rescinded as above, shall not be allowed to participate in the tendering process for the balance work.

In the event of above courses being adopted by the Engineer-in-Charge, the contractor shall have no claim to compensation for any loss sustained by him by reasons of his having; purchases or procured any material or entered into any engagements or made any advances on account or with a view to the execution of the work or the performance of the contract. And in case action is  taken under any of the provision aforesaid the contractor shall not be entitled to recover or be paid any sum for any work thereof or actually performed under this contract unless and until the Engineer-in-Charge has certified in writing the performance of such work. and the value payable. In respect thereof and he shall only be entitled to be paid the value so certified.

Clause 3A. In case, the work cannot be started due to reasons not within the control of the contractor within 1/8th of the stipulated time for completion of work, either party may close the contract. In such eventually, the Earnest Money Deposit and the Performance Guarantee of the contractor shall be refunded, but no payment on account of Interest, loss of profit or damages etc. shall be payable at all.

CLAUSE 4. In any case in which any of the powers conferred upon the Engineer-in-Charge by Clause 3 hereof, shall have become exercisable and the same are not be exercised, the non-exercise thereof shall not constitute waive of any of the conditions here of and such power shall not with standing be exercisable in the event of any of the conditions in the event of any future case of default by the contractor and the liability of the contractor for the compensation shall remain unaffected. In the, event of the Engineer-in-Charge putting in force all or any of the power vested in him" under the preceding clause he may, if he so desires after giving a notice in writing to the contractor, take possession of (or at the sole discretion of the Engineer-in-Charge which shall be final) and binding on contractor use as on hire (the amount of the hire money being also in the final determination of the Engineer-in-Charge ) all or any tools, plants, materials and stores, in or upon the works, or the site thereof/belonging to the contractor, or procured by the contractor and intended to be used for the execution of those work or any part thereof paying or allowing for the same in account at the contract rates or in the case of these not being applicable at current market rates to be certified by the Engineer-in-

Charge, whose certificate there of shall be final and binding on contractor otherwise the Engineer-in-Charge by giving notice in writing may order the contractor, or his clerk of the work, foreman or other authorised agent to remove such tools, plants; materials or stores from the premises (within a time to be specified in such notice) and in the event of the contractor failing to comply with any such requisition of the Engineer-in-Charge may remove them at the contractor's expense or sell them by auction or private sale on account of the contractor and at his risk in all respect and the certificate of the Engineer-in-Charge as to the expense of any such removal and the amount of the proceeds and expense of any such sale shall be final and conclusive against the contractor.

CLAUSE 5. The time allowed for execution of the works as specified in the Annexure -II or the extended time in accordance with these conditions shall be the essence of the Contract.-The execution of the works shall commence from the 10th Day or such time period as mentioned in letter of Award after the date on which the Engineer-in -Charge issue written orders to commence the work or from the date of handing over of the site whichever is later. If the contractor commits default in commencing the execution of the work as aforesaid- DDA shall without prejudice to any other right or remedy available in law, be at liberty to forfeit the earnest money & performance guarantee absolutely.

Clause 5.1. As soon as possible after the Contract is concluded the Contractor shall submit a Time & Progress Chart for each mile stone and get it approved by the Department. The Chart shall be prepared. in direct relation to the time stated in the contract documents for completion of items of the works. It shall indicate the forecast of the dates of commencement and completion of various trades of sections of the work and may be amended as necessary by agreement between the Engineer-in-Charge and the Contractor within the limitations of time imposed in the contract documents, and further to ensure good progress during the execution of the work, the contractor shall in all cases in which the time allowed for any work, exceeds one month (save for special jobs for which a separate programme has been agreed upon) complete the work as per milestones given in Annexure-II

Clause 5.2. If the work(s) be delayed by :-

i) force majeure or

ii) abnormally bad weather, or

iii) serious loss or damage by fire, or

iv) civil commotion, local commotion of workmen, strike or lockout, affecting any of the trades employed on the work, or

v) delay on the part of other contractors or tradesmen engaged by Engineer-in-Charge in executing work not forming part of the contract, or

vi) non-availability of stores, which are the responsibility of Government/DDA to supply or

vii) non-availability or break-down of tools and plant to be supplied or supplied by Government/ DDA. or.

viii) any other cause which, in the absolute discretion of the authority mentioned in Annexure -II is beyond the contractor's control.

Then upon the happening of any such event causing delay, the contractor shall immediately give notice thereof in writing to the Engineer-in-Charge but shall nevertheless use constantly his best endeavors to prevent or make good the delay and shall do all that may be reasonably required to the satisfaction of the Engineer-in-Charge to proceed with the works.

Clause 5.3, Request for rescheduling of mile stones and extension of time, to be eligible for consideration, shall be made by the contractor in writing within fourteen days of the happening of the event causing delay on the prescribed form. The Contractor may also, if practicable, indicate in such a request the period for which extension is desired.

Clause 5,4. In any such case the authority mentioned in Annexure-II may give a fair and reasonable extension of time and reschedule the milestones for completion of work. Such extension shall be communicated to the Contractor by the Engineer-in-Charge in writing, within 3 months of the date of receipt of such request, Non application by the contractor for extension of time shall not be a bar for giving a fair and reasonable extension by the Engineer-in-Charge and this shall be binding on the contractor.

CLAUSE 6. Within 10 days of the completion of the work the contractor shall give notice of such completion to the Engineer-in-Charge and within 10 days of the receipt of the such notice the Engineer-in-Charge shall inspect the work and if there is no defect in the work, he shall .furnish the contractor with a certificate of completion, otherwise a provisional certificate indicating-defect (a) to be rectified by the contractor and/or (b) for which payment will be made at reduced rates, shall be issued but not certificate of completion, provisional or otherwise, shall be issued nor shall the work be considered to be complete until the contractor shall have removed from the premises on which the work shall be executed all scaffolding, surplus materials, rubbish and all huts and sanitary arrangement required for his/her work people on the site in connection with the execution of the work shall have been erected or constructed by the contractor(s) and cleaned of the dirt from all wood work, doors, windows, walls, floors or other parts of any building in upon or about which work is to be executed, or of which he may have had possession for the purpose of the execution thereof, and not until the work shall have been measured by the Engineer-in-Charge. If the contractor fails to comply with the requirements of this clause as to removal of scaffolding, surplus materials and rubbish and all huts and sanitary arrangements as aforesaid and cleaning of dirt on or before the date fixed for the completion of work the Engineer-in-Charge may at the expense of the contractor remove such scaffolding, surplus materials and rubbish etc. and dispose of same as he think fit and clean of such dirt as aforesaid, and the contractor shall have not claim in respect of any such

CLAUSE 6 A. The splashes and dropping from white washing, colour washing, painting etc. on wall of doors, roofs, windows etc. shall be removed and the surface cleaned simultaneously with completion of these items of work in the individual rooms, quarters or premises etc. on which the work is done without waiting for the actual completion of the other items of work in the contract in case the contractor fails to comply with the requirements of the clause the Engineer-in-Charge shall have the right to get this work done at the cost of the contractor either departmentally or through another agency. Before taking such action the Engineer-in-Charge shall give two days notice in writing to the contractor.

CLAUSE 6 B-DELETED

CLAUSE 6C The contractor of the work shall have to enter into a supplementary agreement with Executive ‘Engineer immediately after the actual date of completion of work for items contained in schedule ‘A’ of the contract. The security deposit for the work of schedule A & B shall be deducted in accordance with the para of clause 6-C

CLAUSE 7 No payment shall be made for a work estimated to cost rupees twenty lacs or less till after the whole of the work shall have been completed and certificate of completion given. But in the case of work estimated to cost more than Rs. twenty lacs, the contractor shall, on submitting the bill be entitled to receive a monthly payment proportionate to the part thereof then executed to the satisfaction" in of the Engineer-in-Charge, whose certificate of the sum so payable shall be regarded as payment by way of advance against the final payment only and not as payments for work actually done and completed and shall not preclude the requiring of bad, unsound and imperfect or unskilled work to be removed and taken away and reconstructed, or effected or be considered as an admission of the due performance of the contract, or any part thereof, in any respect or the accrual of any claims, nor shall it conclude, determine, or affect-in any way the powers of the Engineer-in-Charge under these conditions or any of them as to the final settlement and adjustment of the accounts or otherwise or in any other way very or affect the contract. The final bill shall be submitted by the contractor within one month of the date fixed for completion of the work or of the date of the certificate of completion furnished by the Engineer-in- Charge and payment shall be made with in three months with amount of the contract pulsate of additional items is up to Rs. 2 lacs and in 6 months if the same exceeds Rs 2 lacs of the submission of such bill. If there shall be any dispute about any items of the work than the undisputed items or items only shall be paid within the said period of three months or six months or as the case may be. The contractor shall submit a list of the disputed items within thirty days from the disallowance thereof and if he fails to do this, his claim shall be deemed to have been fully waived and absolutely extinguished.

Wherever there is likely to be delay in recording detailed measurement for making running payments in the case of residential building, advance payment without detailed measurements for works done (other than foundation and finishing items) upto (a) lintel level (including sun shade etc..) and (b) slab level, for each floor, worked out at 75% of the tendered rates may be made in running accounts bill by the Engineer-in-Charge at his discretion on the basis of certificate from the assistant Engineer to the effect that the work has been completed upto the level in question.

The advance payment so allowed shall be adjusted in the subsequent running bill by taking detailed measurement thereof. Final payment shall be made only on the basis of detailed measurements,

CLAUSE 8. A bill shall be submitted by the contractor each month on or before the date fixed by the Engineer-in-Charge for all work executed in the previous month, and the Engineer-in-Charge shall take or cause to be taken the requisite measurements for the purpose of having the same verified, and the claim, as far as admissible, adjusted as far as possible before the expiry of ten days from the presentation on the bill. If the contractor does not submit the bill within the time fixed as aforesaid, the Engineer-in-Charge may depute with in seven days of the date fixed as aforesaid, as subordinate to measure up this said work in presence of the contractor whose counter signature to measurement list will be sufficient warrant, and the Engineer-in-Charge may prepare a bill from such list.

CLAUSE 8 A. Before taking any measurement of any work as has been referred to in Clause 6,7 and 8 there of the Engineer-in-Charge or a subordinate deputed by him shall give reasonable notice to the contractor. If the contractor fails to attend at the measurements after such notice or fails to countersign or to record the difference within a week from the date of measurement in the manner required by the Engineer-in-Charge then in any such event the measurement taken by the Engineer-in-Charge or by the subordinate deputed by him as the case may be shall be final and binding on the contractor and the contractor shall have no right to dispute the same.

CLAUSE 9. The contractor shall submit all bills on the printed forms, to be had on application at the office of the Engineer-in-Charge and the charges in the bills shall always be entered at rates specified in the tender or in the case of any extra work orders in pursuance of these conditions and not mentioned or provided for in the tender at the rates herein 'after provided for such work.

CLAUSE 9A. Payments due to the contractor may, if so desired by him be made to his bank instead of direct to him provided that the contractor furnishes to Engineer-in-Charge (1) an authorisation in the form of a legally valid documents such as a power of attorney conferring authority on the bank to receive payment and (2) his own acceptance of the correctness of amount made out as being due to him by Delhi Development Authority, or his signature on the bill or other claim preferred against Delhi Development Authority before settlement by the Engineer-in-Charge of the amount of claim by payment to the bank, while the receipt given by such ;bank shall constitute a full and sufficient discharge for the payment the contractor should, wherever possible, present his bill duly accepted and discharged through his bankers.

Nothing herein contained shall operate credit in favour of the bank any rights or equalities visa-vise the Authority.

CLAUSE 10. Stores supplied by Delhi Development Authority:- if the specification or schedule of items provides for the use of any special description of materials to be supplied from Engineer-in-Charge or if it is required that the contractor shall use certain stores to be provided by the Engineer-in-Charge as shown in the schedule of materials hereto annexed, the contractor shall be bound to procure and shall be supplied, such materials and stores, as are from time to time required to be used by him for the purpose of the contract only, and the value of the full quantity of materials and stores so supplied at the rates specified in the said schedule of materials may be set offer deducted from any sums then due, or thereafter to become due to the contractor under the contract, or otherwise or against or from the security deposit, or the proceeds of sale there of if the same is held in Govt. Securities, the same of a sufficient portion there of being in this cases sold for the purpose. Not withstanding any thing to the contrary contained. If in any other clause of the contract and { or the CPWA-Code) all stores/ materials so supplied to the contractor or procured with the assistance of the Delhi Development Authority shall remain the absolute property of Delhi Development Authority and the contractor shall be the trustee of the store/materials and the said store/materials shall not be removed/disposed of from the site of the work on any account and shall be at all times open to inspection by the Engineer-in-Charge, any such stores/materials remaining unused shall be returned to the Engineer-in-Charge at a place directed by him if a notice he shall so require, but in case it is decided not to take back the stores/materials the contractor shall have not claim for compensation on any account of such stores/ materials so supplies to him as aforesaid and not used by him or for any wastage in or damage to such stores/materials.

On being required to return the stores/materials, the contractor shall hand over the store/materials on being paid or credited such price as the Engineer-in-Charge shall determine, having due regard to the condition of the stores/materials. The price allowed to the contractor, however shall not exceed the amount charged to him, excluding the storage charge, if any. The decision of the Engineer-in-Charge shall be final and conclusive. In the event of breach of the aforesaid condition the contractor shall in addition to throwing him self open to account for contravention of the terms of the licences or permit and/ or criminal breach of trust be liable to Delhi Development Authority for all advantage of profits resulting' or which in the usual course would having resulted to him by reason of such breach. Provided that the contractor shall in no case be entitled to any compensation or damage on account of delay in supply or non- supply there of all or any such materials and stores. Provided further that the contractor shall be bound to execute the entire work if the materials are supplied by-the DDA within the schedule time for completion of the work plus 50% there of (Schedule time plus 6 months if the time of completion exceed 12 months) but if a part only of the materials has been supplied within the aforesaid period then the contractor shall be bound to do so much of the work as may be possible with the materials and stores supplied in the aforesaid period for the completion of the rest of the work contractor shall be entitled to such extension of the times as may be determined by the Engineer-in-Charge, Whose decision in this regard shall be final.

CLAUSE 10 A. The Engineer-in-Charge shall have full powers to acquire the removal from the premises of all materials which in his opinion are not in accordance with the specifications and in case of default the Engineer-in-Charge shall be at liberty to employ other persons to remove the same without being answerable or accountable for any loss or damage that may happen or arise to such materials. .The Engineer-in-Charge shall also have full power to require other proper materials to be substituted there of and in case of default the Engineer-in-Charge may cause the same to be supplied and all costs which may arise due to such removal and substitution are to be borne by the contractor.

CLAUSE 10 B (i). The contractor on signing" an indenture in the form to be specified by the Engineer-in-Charge shall be entitled for Secured Advance to be paid during the progress of the execution of the work upto 75% of estimated value of any materials which are in opinion of the Engineer-in-Charge non-perishable and are in accordance with the contract and which have been brought on the site in connection there with and are adequately stored and protected against damage by weather or other causes but which have not at the time of advance been in corporate in the works. When materials on account of which an advance has been made under this sub clause are incorporated in the work" the amount of such advance shall be deducted from the next payment made under any of the clause or clauses of this contract.

CLAUSE 10 B (ii). DELETED

CLAUSE 10B (iii).DELETED

CLAUSE 10 B(iv).DELETED

CLAUSE 10 B(v). DELETED

CLAUSE 10 B(vi).DELETED

Clause 10 C

If after submission of the tender the price of any material incorporated in the works (not being material supplied from the Engineer-in-Charge stores in accordance with clause 10 thereof) and/or wages of labour increases as direct result of the coming in to  force of any fresh law, or statutory rule or order (but not due to any changes in sales tax) and such increase in the price and/or wages prevailing at the time of the last stipulated date of the receipt of the tenders including extension if any for the work and the Contractor there upon necessarily and properly pays in respect of the material (incorporated in the works) such increased price and/or in respect of labour engaged on the execution of the work such increased wages, then the amount of the Contract shall accordingly be varied and provided further that any such increase shall not be payable if such increase has become operative after the stipulated date of completion of the work in question.

If after submission of the tender, the price of any material incorporated in the works (not being a material supplied from the Engineer-in-Charge stores in accordance with clause 10 thereof) and/or wages of labour is decreased as a direct result of the comings in to force of any fresh law or any statutory rules or order (but  not due to any changes in sales tax) and such  decrease in the price and/or wages prevailing at the time of receipt of the tender for the work.   DDA shall in respect of materials incorporated in the works(not being materials supplied from the Engineer-in-Charge stores in accordance with clause 10 thereof) and/or  labour engaged on the execution of the work after the date of coming into force of such law statutory rule or order be entitled to deduct from the dues of the Contractor such amount as shall be equivalent to the difference between the prices of the materials and/or wages as prevailed at the time of the last stipulated date for receipt of tenders including extensions if any for the work and the price of materials and/or wages of labour on the coming into force of such law, statutory rule or order.

The Contractor shall, for the purpose of this condition, keep such books of account and other documents as are necessary to show the amount of any increase claimed or reduction available and shall allow inspection of the same by a duly authorized representative of the DDA, and further shall, at the request of the Engineer-in-Charge may require any documents so kept and such other information as the Engineer-in-Charge may require.

The Contractor shall, within a reasonable time of his becoming aware of any alteration in the price of any such materials and/or wages of labour, give notice there of to the Engineer-in-Charge stating that the same is given pursuant to this condition together  with all information relating thereto which he may be in position to supply

Clause 10 (CA)

If after submission of the tender, the prices of cement and/or steel reinforcement bars incorporated in the works(not being a material supplied from the Engineer-in-Charge’s stores in accordance with Clause 10 thereof) increase(s) beyond the price(s) prevailing at the time of the last stipulated date for receipt of tenders(including extension, if any) for the work, then the amount of the Contract shall accordingly be varied and provided, further that any such increase shall not be payable if such increase has become operative after the stipulated date of completion of the work in question.

If after submission of the tender, the prices of Cement and/or Steel reinforcement bar incorporated in the works (not being a material stipulated from the Engineer-in-Charge’s stores in

27

accordance with Clause 10 thereof) is decreased.  DDA shall in respect of these materials incorporated in the works (not being materials supplied from the Engineer-in-Charge’s stores in accordance with Clause 10 thereof) be entitled to deduct from the dues of the Contractor such amount as shall be equivalent to the difference between the prices of the cement and or steel reinforcement bars as prevailed at the time of last stipulated date for receipt of tenders including extensions if any for the work and the prices of theses materials on the coming into force of such base price of cement and/or steel reinforcement bars issued under Authority of SE(P)DDA.

The increase/decrease in prices shall be determined by the All India Wholesale price indices for cement and steel (bars and rods) as published by Economic Advisor to Government of India, Ministry of Commerce and Industry and base price of cement and/or for steel reinforcement bars as issued under Authority of SE(P), DDA as valid on the last stipulated date of receipt of tender, including extension if any and for the period under consideration.

The amount of the Contract shall accordingly be varied for cement and/or steel reinforcement bars and will be worked out as per the formula given below.

(a)Adjustment for component of “Cement”

Vc	=PcxQcx (CI-C I0)

CI0

Where

Vc=	Variation in cement cost i.e. increase or decrease in the amount in rupees to be paid or recovered.

Pc=	Base price of cement as issued under Authority of SE(P)DDA valid at the time of the last stipulated date of receipt of tender including extension, if any.

Qc=	Quantity of cement used in the works since previous bill.

C I0=	All India Whole sale Price index for cement as published by the Economic

Advisor to Government of India, Ministry of Industry & Commerce as valid on the last stipulated date of receipt of tenders including extensions, if any.

CI=	All India Whole sale Price index for cement for period under consideration as published by the Economic Advisor to Government of India, Ministry of Industry & Commerce.

(b)Adjustment for component of ‘Steel’

Vs=Ps x Qs x  (SI-SI0)

S I0

Where

Vs=	Variation in cost of steel reinforcement bars i.e. increase or decrease in the amount in rupees to be paid or recovered.

Ps=	Base price of steel reinforcement bars, as issued under Authority of SE(P)DDA at the time of last stipulated date of receipt of tender including extensions, if any.

Qs=	Quantity of steel paid either by the way of secured advance or used in the works since previous bills(whichever is earlier).

SI0=	All India Wholesale price Index for steel (bar and rods) for the period under consideration as published by the Economic Advisor to Government of India, Ministry of Industry & Commerce as valid on the last stipulated date of receipt of tenders including extensions, if any.

SI= 	All India Wholesale price Index for steel (bar and rods) for the period under consideration as published by the Economic Advisor to Government of India, Ministry of Industry & Commerce.

Provided always that provisions of the preceding clause 10 C shall not be applicable in respect of Cement and/or steel reinforcement bars.

CLAUSE 10CC-DELETED

CLAUSE 10 D. The contractor shall treat all materials obtained during Dismantling of a structure in excavation of that site for a work etc. as Delhi Development Authority property and such materials shall be disposed of to the best advantage of Delhi Development Authority according to the instructions in writing issued by the Engineer-in-Charge.

CLAUSE 10 E. Cement shall be supplied by the department in HDPE or Gunny bags containing of 50 Kg. of cement in each bags and shall be available in multiple of 50 Kg. bags. The recovery rate of cement is inclusive of cost of Jute or paper bags or H.D.P.E. bags.

CLAUSE 10 F. In case, the empty cement bags are required by DDA for bonafide use in work, the executive Engineer-in-Charge of work shall have the power to collect the bags himself and the contractor shall have to return desired number of empty jute poly bags in serviceable condition to him on the same condition and as per prevailing rates of DGS & D for bag collecting agents.

CLAUSE 11. The contractor shall execute the whole and every part of the work in the most substantial and work man like manner and both as regards materials and otherwise in very respect in strict accordance with the specifications. The contractor shall also conform exactly, fully and faithfully to the designs, drawings and instructions in writing in respect of the work signed by the Engineer-in-Charge and the contractor shall be furnished free of charge one copy of the contract documents together with specifications and of all such designs, drawing and instructions as are not included in the Central Public works Department compilation entitled" CPWD specification for work at Delhi 1996 Vol.-l to VI with upto date correction slips with any and revised CPWD specifications 2002 for cement mortar, cement concrete and RCC work other printed publication on General specification referred to else where in the contract.

CLAUSE 12. The Engineer-in-Charge shall have power to make any alterations in, omissions from, additions to or substitutions for, the original specifications drawings designs and instructions, that may appear to him to be necessary during the progress of the work, and the contractor shall be bound to carry out the work in accordance with any instructions which may be given to him in writing signed by the Engineer-in-Charge, and such alterations, omissions additions, or substitutions shall not in validate the contract and any altered, additional or substituted work which the contractor .may be directed to do in the manner above specified as part of the work shall be carried out by the contractor on the same conditions in all respects on which he agreed to do the main work. The time for the completion of the work shall be extended in the proportion that the altered, additional or substituted work bears to the original contract work and the certificate of the Engineer-in-Charge shall be conclusive as to such proportion. Over and above this, a further period to the extent of 25% of such extension so extended shall be allowed to the contractor. The rates for such additional, altered or substituted work under this Clause shall be worked out in accordance with the following provision in their respective order.

(i)	If the rates for additional, altered or substituted work are specified in the contract for the work, the contractor is bound to carry out the additional, altered or substituted work at the same rates as are specified in the contract for the work.

(ii)	If the rates for additional, altered or substituted work are not specifically provided in the contract for the work, the rates will be derived from the rates for a similar class work as are specified in the contract for the work.

(iii)	If the rate for the altered, additional or substituted work includes any work for which no rate is specified in the contract for the work and cannot derived from the similar class of work in the contract then such work shall be carried out at the rates entered in the current CPWD. Schedule of rates for Delhi) 2007 with upto date correction slip or receipt of tender correction slips uptodate  minus/plus percentage which the total tendered amount bears to the estimated cost of the entire work put to tenderer CPWD Schedule of Rates Part-1 (Int.) 2005and Part -II (ext.) 1995 Electrical Works.

(iv)	If the rates for the altered, additional or substituted work cannot be determined in the manner specified in Sub-clause (i). (ii) (iii) & above, then Rates for such work shall be worked out on the basis of schedule of rate.DSR 2007 with Upto date C.S. above minus/plus the percentage which the total tendered amount bears to the estimated cost of the entire work put to tender. Provided always that if the rate for a particular part or parts of the item is not in the schedule of rates, the rate or such part or parts will be determined.

by the Engineer-in-Charge on the basis of .prevailing market rates when the work was done or CPWD Delhi Schedule of Rate 2007 and Elect. part I & II DSR 2007

(v)	If the rate for the altered, additional or substituted work cannot be determined in the manner specified in sub-clauses )i) to (iv) above, then the contractor shall, within 7 days of the date of receipt of order to carry out the work, inform the Engineer-in-Charge of the rate which it is his intention to charge such class of work, supported by the analysis of the rate or rates claimed and the Engineer-in-Charge shall determined the rate or/rates on the basis of prevailing market rates, and pay the contractor accordingly, however the Engineer-in-Charge, by notice in writing, will be at liberty to cancel his order to carry out such class pf work and arranged to carry it out in such manner as he may consider advisable. But under no circumstances the contractor shall suspend the work on the plea of non-settlement of rate of items falling under the clause.

(vi)	Except in case of items relating to foundations provisions contained in sub-clause (i) to (v) above shall not apply to contract or substituted items as individually exceed the percentage set out in the tender documents (referred to herein below as deviation limit) subject to the following restrictions:

- The deviation limit refereed to above is the net effect (algebraic sum) of all additions and deduction ordered.

- In no case shall the addition/deductions (arithmetical sum) exceed twice the deviation limit.

- The deviation ordered on items of any individual trade including in the contract shall not exceed plus/minus 50% of the value of that trade in the contract as a whole or half the deviation limit whichever is less.

- The value of addition of items of any individual trade not already included in the contract shall not exceed 10% of the deviation limit.

For the purpose of operation of clause 12 (vi) the following work shall be treated as work relating to foundations:

- For building plinth level or 1.2 metres above ground level whichever is lower excluding item of flooring and D.P.C. but including base concrete below the floor.

- For abutment piers retaining walls or culvert and bridges walls of water reservoirs, the bed and floor level.

- For retaining walls where floor level is not determined 1.2 meter above the average ground level or bed level.

- For roads all items of excavations and filling including treatment of sub base and .soling work.

- For water supply lines, sewer lines, underground storm water drains and similar work, all items of work below ground level except item of pipe work and masonry work.

(i) 	For open storm water drains all items of work below ground level except item of pipe work except lining of drains

Note : Individual trade means section into which a schedule of quantities annexed to the agreement has been divided or in absence of any such division the individual section of the Schedule of Rates specified above, such as excavation and earth work concrete wood work and joinery etc. The rates of any such work except the item relating to foundation which is in excess of the deviation limit shall be determined in accordance with the provisions contained in clause 12A.

CLAUSE 12-A In the case of contract or substitute items or addition items relating to foundation work which the contractor is required to do under Clause 12 above the contractor shall within 7 days from the receipt or order claim revision of the rates supported by proper analysis in respect of such items for quantity in excess of the deviation limit not with standing the fact that the rates for such items exist in the tender for the main work or can be derived in accordance with the provisions of sub-clause of clause 12 Engineer-in-Charge may revise their rates, having regard to the prevailing market rates and the contractor shall be at liberty to cancel his order to carry on such increased quantities of work by giving notes in writing to the contractor and arrange to carry it out in such a .manner as he may consider advisable but under no circumstance the contractor shall suspend the work on the plea of non settlement of rates of item failing under this clause. .

All the provisions of the preceding paragraph shall equally apply to the decrease in the rates of items or quantities in excess of the deviation limit, not-withstanding the fact that the rates for such item exist in the tender for the main work or can be derived in accordance with the provisions of sub-clause (ii) of the preceding Clause 12, and the Engineer-in-Charge may revise such rates having regard to the prevailing market rates.

CLAUSE 13. If at any time after the commencement of the work the Authority shall for any  reason what so ever not require the whole work or part there of as. specified in the tender to be carried out, the Engineer-in-Charge shall give notice in writing of the fact to account of any profit or advantage which he might have derived from the execution of the work not having been carried out, neither shall he have any claim for compensation by reason of any instructions which shall involve any curtailment of the work as originally contemplated. Provided that the contractor shall be paid the charges on the cartage only of rendered surplus as a result of the abandonment or curtailment of the work or any portion there .of and then taken back by the contractor provided however that the Engineer-in-Charge shall have in all such cases the option of taking over all or any such material at their purchase price or at local current rates whichever may be less. In the case of such stores-having been issued from D.D.A. Stores and returned by the contractor to D.D.A. Stores, credit shall be given to him by the Engineer-in-Charge at rates not exceeding those at which they were originally issued to him, after taking into consideration and deduction for claims on account of any deterioration or damage while in the custody of the contractor and in this respect the decision of the Engineer-in-Charge shall be final.

CLAUSE 14. If it shall appear to the Engineer-in-Charge or his authorised subordinate in charge of the work or the Chief-Engineer, Superintending Engineer, Chief Technical Examiner/Technical Examiner of Central Vigilance Commission & Chief Engineer Quality Control DDA or by the Officer of the internal  vigilance of the Authority that any work has been executed with unsound, imperfect or unskillful workman ship or with materials of any inferior description, or that any materials or articles provided by him for the execution for the work are unsound or of quality inferior to that contracted for or otherwise are not in accordance with the contract, the contractor shall on demand in writing which shall, be made within 6 months of the completion of the work from the Engineer-in-Charge specifying the work, materials or articles complained of not with standing that the same may have been passed certified and paid the forth . with rectify or remove and reconstruct the work so specified in whole or in part as the case may require or as the case may be remove the materials or articles specified and provide other proper and suitable materials or articles at his own proper charge and cost, and in the event of his failing to do so within a period to be specified by the Engineer-in-Charge in his demand aforesaid than the contractor shall be .liable to pay compensation at the rate of one percent on the estimated amount put to tender for every day not exceeding ten days while his failure to do so shall continue and in the case of any such failure. The Engineer-in-Charge may rectify or removed and re-execute the work or remove and replace with other, the materials or articles complained of as the case may be at the risk and expense in all respects of the contractor.

CLAUSE 15. All work under or in course of execution or executed in pursuance of the contract shall at all time be opened to the inspection and supervision of the Engineer-in-Charge and his authorised, subordinates and the Central Vigilance commission or by the .Chief Engineer quality Control DDA or his authorised subordinate officer and the contractor shall at all times during the usual working hours, and at all other times at which reasonable notice of the intention of the Engineer-in-Charge or has authorised subordinate to visit the works shall have been given to the contractors either him self be present to receive orders and instructions or have a responsible agent duly accredited in writing present for that" purpose. Order given to the contractor's agent shall be considered to have the same force as if they had been given to the contractor him self. The work during its progress can also be inspected by the Chief Technical Examiner/ Technical Examiner of the Central Vigilance Commissioner or by Chief Engineer Quality control DDA or by an officer of the Vigilance Cell of the Authority on behalf of the Engineer-in-Charge or any official of higher level, commissioner or any official of quality control cell.

CLAUSE 16. Contractor shall give not less than seven days notice in writing to the Engineer-in-Charge or  his authorised subordinate in charge of the work before covering up or otherwise placing beyond the reach of measurement any work in order that the same may be measured and correct dimension thereof be taken before the same is so covered up or placed beyond the reach of measurement and shall not cover up & place beyond the reach of measurement any work without the consent in writing of the Engineer-in-Charge or his authorised subordinate in charge of the work, and the Engineer-in-Charge or his authorised subordinate in charge of the work shall within the aforesaid period of seven days inspect the work, and if any work, shall be covered up or placed beyond the reach of measurement without such notice having been given or the Engineer-in-Charge 's consent being obtained the same shall be uncovered at the contractors expense or in default thereof no payment or allowance shall be made for such work or the materials with which the same was executed.

CLAUSE 17. If the contractor or his working people or servants shall break deface, injure or destroy any part of building in which they may be working or any building, road kerb, fence, enclosure, water pipe, cables, drains, electric or telephone post or wires, trees, grass or grassland or cultivated ground contiguous to the premises on which the work or any part of it being executed or if any damage shall happen to the work while in progress from any cause whatever or if any defect shrinkage or other faults appear in the work within twelve months (6 months in the case of any other than road work costing Rs.10,00,000. & below) after a certificate final or otherwise of its completion shall have been given by the Engineer-in-Charge as aforesaid arising out of defective or proper materials or work man ship the contractor shall upon receipt of a notice in writing on that behalf make the same good at his own expense, or in default the Engineer-in-Charge may cause the same to be made good by other workmen and deduct the expense from any sums that may be due  or at any time there after may become due to the contractor, or from his security Deposit (except for the portion pertaining to asphaltic work, which is governed by sub-para(iii) of clause 35) or the proceeds of sale there of or of a sufficient portion there of the security deposit of the contractor (except the portion pertaining to asphaltic work which is governed by sub-para (iii) of clause (35) shall not be refunded before the expiry of twelve months (Six months in case of any work other than road work costing-Rs. 10,00,000/- and below) after the issue of the certificate final or otherwise of completion of work or till the final bill has _been prepared and passed whichever is later.

Clause 17A. Provided that in the case of road work if in opinion of the Engineer-in-charge, the security deposit will be refundable after  twelve months of the issue of the said certificate of completion or after the final bill has been prepared and passed whichever is later.

Clause 17B. Provided further that for defects relating to leakage from the roofs, the contractor shall be responsible for rectification of the same within a period of one year or two rainy seasons (ending October) whichever is later, after the physical date of completion of the work as a whole, to be recorded by the deptt. and 10 (ten) percent of the security deposit of the contractor will be refunded after expiry of the above period.

Clause 18. The contractor shall provide at his own cost all materials (except such special materials, if any, as may in accordance with the contract be supplied from the Engineer-in-Charge's stores), plant, tools, appliances, implements, ladders, cordage, tackle, scaffolding and temporary works requisite or proper for the proper execution of the work, whether original altered or substituted and whether include in the specification or other documents forming part of the contract or referred" to in these conditions or  which may be necessary for the purpose of satisfying or complying with the requirement of the Engineer-in-Charge as to any matter as to which under these conditions he is entitled to be satisfied, or which he is entitled to require together with carriage. there of to and from the work. The Contractor shall also supply without charge the requisite number of person with the means and materials necessary for the purpose of setting out works and counting weighing and assisting of the measurement or examination or any time and from time to time of the work of or materials Failing his so doing the same may be provide by the Engineer in charge at the expense may be deducted from any money due to the contractor under of the contract and/or from his security deposit or the proceeds of the sale there of, or of a sufficient portions there of.

Clause 18 A In every case in which by virtue of the provisions of Sections 12. Sub section (i) of the workmen's Compensation Act, 1923 Delhi Devolvement Authority is obliged to compensate to a work man employed by the contractor in execution of the works. Delhi Development Authority will recover from the contractor in execution of the works. Delhi Development Authority will recover from the contractor the amount of the compensations so paid and, without prejudice to the rights of Delhi Development Authority under section 1 2 Sub-section (ii) of the said Act, Delhi Development Authority shall be at liberty to recover such amount or any part there of by deducting it from the security deposit or from any sum -due by Delhi Development Authority to contractor whether under this contract or otherwise. Delhi Development Authority shall not be bound to contest any claim made against it under Section 12 Sub-section (i) of the said Act, except on the written request of the contractor, and upon his giving to Delhi Development Authority full security for all cost for which Delhi Development Authority full security for all costs for which Delhi Development Authority might become liable in consequence of contesting labour such claim.

CLAUSE 18 B. In every case in which by virtue of the provision of the contract labour (Regulation & Abolition) Act -1970 and of the contract Labour (Regulation & Abolition) Central Rule: 1971. DDA is obliged to pay any amount of wages to workman employed by the contractor in the execution of the works, or to incur any expenditure in providing welfare and health amenities required to be provided under the above said Act, and Rules under clause 19-H or under the C.P.W.D. contractor Labour Regulations or under the rules framed by the Government from time to time for protection of health and sanitary arrangements for workers, employed by DDA contractor, DDA will recover from the contractors the amount of wages so paid or the amount of expenditure so incurred; and without prejudice the right of the DDA under section 20 Sub-section (2) and Section { 21) -Sub-section (4) of the Contract Labour (Regulation & Abolition) Act, 1970, DDA shall be at liberty to recover such amount or any part thereof by deducting it from the security deposit or from any sum due by DDA to the contractor whether under this agreement or otherwise DDA shall not be bound to contest any claim made against it under  Section 20 Sub-section (1) and Section (21) Sub-section (4) of the said act, except on the written request of the contractor and upon his giving to the DDA-full security for all cost for which DDA might become liable in contesting such claim.

CLAUSE 19. The contractor shall obtain a valid license under the contract Labour (R&A), Act 1970 and the Contract Labour (Regulation & Abolition) Central Rules, 1 971 before the commencement of cement of the work and continued to have a valid license until the completion of the work any failure to fulfill this requirement shall attract the Penal provision of this contract arising out of the resultant non execution of the work. The contractor shall also abide by provision of child labour prohibited and regulation act

CLAUSE 19 A. No labourer below the age of fifteen years shall be employed on the work.

CLAUSE 19 B. Payment of wages to labourers:

The contractor shall pay not less than fair wage to labourers engaged by him on the work.  The contractor shall comply with all the provision of the Delhi building and other construction workers (Regulations of employment and conditions of service) Rule-2002 framed under Section 62 of the building and other construction workers.

(Regulation of employment and condition of service) Act, 1996 of Govt, of India a notified by the govt. of NCT of Delhi vides notification No. DLC/CLA/BCW/01/19 dt. 10.1.2002 which interlaid provides that a Cess @ 1% of the cost of constructions/project or as revised by the competent authority from time to time shall be liable and shall be deducted at source from the bills paid to the contractor. All other term/conditions as per the Act, mentioned herein- above as well as rules made there under and modification issued from time to time would also apply.  Any failure to fulfill this requirement shall attract the panel provisions of this contract arising out of the resultant non execution of the work.

Explanation:-

(a)   "Fair Wages" means wage whether for time or piece work notified at the time of inviting tenders for the work, where such wages have hot been so notified, the wages prescribed by the D.D.A. for the district in which the work is done it will be notified prescribed by the D.D.A. in consultation with the officer's of the Industrial Relation Machinery located in the respective areas and will not be less than the minimum rates of wages fixed by the G.N.C.T.D for that class of employee engaged on the same type of work in the same area.

- The contractor shall not with standing the provisions of any contract to the contrary cause to be paid fair wage to labourers indirectly engaged on the work including any labour engaged by his sub-contractor in connection with the said work, as if the labourers had been immediately employed by him.

- In respect of all labour directly or indirectly employed in the works for performance of the contractors' part of this Agreement the contractor shall comply with or cause to be complied with the D.D.A. contractor's Labour Regulations made by G.N.C.T.D from time to time in regard to payment of wages, to wage period deductions from wages, recovery of wages not paid and deductions unauthorisedly made, maintenance of wage book or wage slip, publication of scale of wages and other terms of employment, inspection and submission or periodical returns and all other matters of a like nature or as per the provision of the contract labour (Regulation and Abolition) Act, 1970 and Labour contact (Regulation and Abolition) central Rule 1971 whichever is applicable.

- The Engineer-in-Charge concerned shall have the right to deduct, from the money due to the contractor any sum required or estimated to be required for making good the loss suffered by a worker or workers by reason and of non-fulfillment of the condition of the contract for the benefit of the workers, non-payment of wages or of deductions made from his or their wages which are not justified by their terms of the contract or non-observance of the Regulations.

- Under the provision of the Minimum Wages Act 1948 and the Minimum wages (Central) Rules 1950 the contractor is bound to allow or cause to be allowed to the labourers directly or indirectly employed in the works one days rest for six days continuous work and pay wages at the same rate as for duty In the event of default the Engineer-in-Charge shall have the right to deduct the sum or sums not paid on account of wages for weekly holiday to any labours and pay the same to the person entitled there to, from any money due to contractor by the Engineer-in-Charge concerned. In the case of N.C.T of Delhi as the all inclusive minimum daily rates of wages. fixed under the latest Delhi Govt. Notification F-12(1)88/MW/LAB/1961-98 dt. 28.4.89 and F 12 (142) 188 NW/LAB/1961-1968 dt. 28.4.89 F12(14290/MW/LAB/792 dt. 1.8.90 F12 dt. 4.2.91 revised vide No. F 12 (142) 98/MW/LAB/2087 dt. 2.6.97 and'F-12/142/92/MW/LAB/116 dt 26.3.99 or as amended from time to time and latest order no. F.12(142)/02/MW/LAB/238 dated 31.08.05.

- Vis-a-Vis the Delhi Development Authority the contractor shall be primarily liable to all payment to be made under and for the observance of the Regulations aforesaid without prejudice to his right to claim indemnity from his subcontractor.

- The regulations aforesaid shall be deemed to be a part of this contract and any breach there of shall be deemed to be a breach of this contract.

CLAUSE 19 C. In respect of all labour directly or indirectly employed in the work for the performance of the contractor part of this agreement, the contractor shall at his own expense arrange for the safety provisions as per Safety Code framed from time to time and shall at his own expense arrange for the safety provisions as per Safety Code framed from time to time and shall at his own expense provide for all facilities as aforesaid he shall be liable to pay a penalty of Rs.200/- for each default and in addition the Engineer-in-Charge shall be at liberty to make arrangement and provide facilities as aforesaid and recover the costs incurred in that on behalf of the contractor.

CLAUSE 19D The contractor shall submit by the 4th and 1 9th of every month to the Engineer-in-Charge a true statement showing in respect of the second half of the preceding month and the first half of the current month, respectively and upto date.

(1)	The number of labours employed by him on the work.	' .	.

(2)	Their working hours.

(3)	The wages paid to them.

(4)	The accidents that occurred during the said fort night showing the circumstances under which they happened and the extent of damage and injury caused by them and.

(5)	The number of female workers who have been allowed Maternity Benefit according to clause 1 9F and the amount paid to them, failing which the contractor shall be liable to pay to D.D.A. a sum not exceeding Rs.200/- per each default or maternity incorrect statement. The decision of the Divisional Officer shall be final in deducting from any bill due to contractor the amount levied as fine and be binding on contracts.

Clause 19E. In respect of ail labour directly or indirectly employed in works for the performance of the Contractor's part of this agreement- The contractor shall comply with or cause to be complied with all rules framed by Govt. from time to time for the protection of health and sanitary arrangement for workers employed by the Delhi Development Authority.

CLAUSE 19F. Leave and during leave shall be regulated as follows:-

1.   Leave:-

i.	in the case of delivery maternity leave not exceeding 8 weeks, 4 weeks upto and including the day of delivery and 4 weeks following that day.

ii.	ii. in case of miscarriage upto 3 weeks from the date of miscarriage

2. Pay:-

(i)	in case of delivery leave pay during maternity leave will be at the rate of the women's average daily earning calculated on the total wages earned on the days when fully time work was done during a period of 3 months immediately preceding the date on which she gives notice that she expect to be confined or-at the rate of Rupees one only a day whichever is greater.

(ii)	in case of miscarriage leave pay at the rate of average daily earning calculated on the total wages earned- on the days when fully time work during a period of 3 months immediately preceding the date of such miscarriage.

3.	Conditions for the grant of Maternity Leave.

No maternity leave benefit shall be admissible to a woman unless she has been employed for a total period of not less than 6 months immediately .preceding the date on which she proceeds on leave.

4.	The contractor shall maintain a register of maternity (benefit) in the prescribed form as shown below and the same shall be kept at the place of work.

Register of Maternity Benefit Name & Address of the contractor(s) Name and location of work.

| Name of |  | Father's/Husband's |  |  |  | Nature of |  |  | Period of actual |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Employee |  | Name |  |  |  | employment |  |  | appointment |  |  |  |
| 1 |  | 2 |  |  |  | 3 |  |  | 4 |  |  |  |
| Date on which notice of confinement given |  | Date of Delivery miscarriage |  |  |  | Date on which maternity leave Commenced and ended |  |  |  |  |  |  |
|  |  |  |  |  |  | In case of delivery |  |  | In case of miscarriage |  |  |  |
|  |  |  |  | Commenced |  |  |  | Ended |  | Commanded |  | Ended |
| 5 | 6 |  |  | 7 |  |  |  | 8 |  | 9 |  | 10 |
| Leave pay paid to the employees |  |  |  |  |  |  |  |  |  |  |  |  |
| in case of delivery |  |  |  |  |  |  | in case of miscarriage |  |  |  |  |  |
| Rate of leave pay |  |  | Amount paid |  | Rate of leave paid |  |  |  |  |  | Amount paid |  |
| 11 |  |  | 12 |  | 13 |  |  |  |  |  | 14 |  |

Specimen form of the Register regarding maternity benefit admissible to contractor labour in Delhi Development Authority work

Name of Work                                           Name of the contractor

- Name of the woman and her Husband name

- Designation

- Date of appointment

- Date with months and years in which she is employed.

- Date of discharge dismissal if any

- Date of production of certificate in respect of pregnancy

- Date on which woman informs about the expected delivery

- Date of delivery miscarriage death

- Date of production of certificate in respect of delivery miscarriage

- Date with, the amount of maternity death, benefit it paid in advance of expected delivery.

- Date with the amount of subsequent payment of maternity benefit.

- Name of the person nominated by the woman to receive the payment of-the maternity benefit after her death.

- Name of the person nominated by the woman to receive the payment of the maternity benefit after was paid the amount there of and the date of payment.

- Signature of the contractor for the use of Inspection Officer.

- Remarks column for the use of Inspection Officer.

Clause 19G. Model RULES :- In the event of the contractor(s) committing a default or breach of any of the provisions of the DDA Contractor Labour regulation and Model Rules for the protection of health and sanitary arrangement for the worker amended from time to time or furnishing any information or submitting or filing any statement under the provision of the above Regulation and Rules which is materially incorrect, he/they shall without prejudice to any other liability pay to the Delhi Development Authority a sum not exceeding Rs. 200/- for every default, breach or furnishing making submitting filing such materials incorrect statement and in the event of the contractor(S) defaulting continuously in this respect the penalty may be enhanced  to Rs. 500/ per day of each of default subject to a maximum of 5 percent of the estimated cost of the work put to tender. The decision of the Engineer-in-Charge shall be final and binding on the parties.

Should it appear to the Engineer-in-Charge that the Contractor(S) is/are not properly observing and complying with the Provision of D.D.A. contractor Labour regulations and model rules and the provision of contractor labour { Regulations & Abolition) Central Rule 1971 for the protection of health and sanitary arrangements for work people employed by the power to give notice in writing to the contractor(s) requiring that the said rules be complied with and the amenities prescribed their in provided to the work people in a reasonable time to be specified in the notice to comply with and observe the said rule and to provide the amenities to the work people as aforesaid the Engineer-in-Charge shall have the power prescribed therein be provided to the work people within reasonable time to be specified in the notice. If the contractor(s) shall have the power to provide the amenities to the work people as aforesaid the Engineer-in-Charge shall have the power to provide the amenities here-in-before mentioned at the cost of the contractor (s) The contractor shall erect make and maintain at his their own expenses and according to approved standards all necessary tents and sanitary arrangements required for his/their work people on the site in connection with the execution of the works and if the same shall not been erected or constructed according to approve standards the Engineer-in-Charge shall have power to give notice in writing to the .contractor requiring that the said tents and sanitary arrangement be remodelled and/or reconstructed such tents and sanitary arrangement according to approved standard within the period specification in the notice the Engineer-in-Charge shall have the power to removed or reconstruct such tents and sanitary arrangements according to approved standards at the cost of the contractor (s).

Construction of labour huts near the work sites shall be avoided as far as possible Whenever labour huts are pitched the Engineer-in-Charge will prepare a plan of area to be occupied by the labour of the construction agency reflection there up on the number of huts to be constructed The Engineer-in-Charge shall obtain an undertaking from the work has been completed in the following proforma :	I/We hereby undertaken that.

1. Full site free from any encroachment has been handed over to me/us on:

2. The labour huts ……….in nos. pitches/constructed by me/us at site, as shown on the site plan and duly signed by me/us, belong to me/us.

These shall be removed from the site before the completion of the work. In case, of failure to do so, the department can get same removed at my risk and cost.

The contract shall not be finalised till the Engineer-in-Charge gives a certificate that the area occupied by the labour of the contractor has been cleared/vacated by the contractor.

CLAUSE 19H. The contractor shall at his/their own cost provide his/their labour with a sufficient number of huts of the following specification on a suitable plot of land to be approved by the Engineer-in-Charge.

a.	The minimum height of each huts will be at the roof level shall be 2.10 metre (7’-0) and the floor area to be provided will be at the rate of 2.7 Sq.ft. for each number of the workers family staying with the labour.

b.	The contractor shall in addition construct real suitable cooking place having a minimum area of (1.8mx 1.5m) ( 6 feet x 5 feet) adjacent to the hut for each family.

c.	The contractor shall construct temporary latrines and urinals for the use of the labours each on the scale of not less than four pan each one hundred of the total strength separate latrines and urinals being provided for women.

d.	The contractor shall sufficient number of bathing and washing places one unit for every 25 persons residents in the camp. These bathing and places will be suitable screened.

e 	The contractor shall provide hut with proper ventilation all door, windows and ventilators shall be provided with suitable levels for security purpose.

2a.	The floor shall be in bricks and shall be at least 6” above the surrounding ground the huts shall be with any other material water proof cloth as may be approved by the engineer-in-charge and the contractor shall ensure that through out the period of their occupation the huts remain water tight.

b.	There shall be kept an open of at least 8 yards (7.2m) between the rows of huts which may be reduced to 20 ft (6m) according to the availability of site with the approval of the Engineer-in-charge back to back construction will be allowed.

3.	Water supply The contractor shall be provide adequate of water for the use of labours The provisions shall not be less than 2 gallons of pure and wholesome water per head per day for drinking purpose and 3 gallons of clean water supply is available supply shall be stands posts and where the supply is forms wells or river also at his/their own cost make arrangements for laying pipe line for water supply to his/their labour camp from the existence mains wherever available and shall pay all Fees and charges thereof.

4.	The site selection for the camp shall be on high ground removed from jungle.

5.	Disposal of Excreta : The contractor shall make necessary arrangements for the disposal of excreta from the latrines by trenching or incineration which shall be according to the requirements laid down by Local Health Authority. If trenching or incineration is not allowed, the contractor shall made arrangements for removal of the excreta through the Municipal Committee/authority and inform it about the no. of labours employed so that arrangements may be made by such Committee/Authority for removal of the excreta. All charges on this account shall be borne by the contractor and paid by date by him to the Municipal Authority. The contractor shall provide one sweeper for every seats in case of dry system.

6.	Drainage The contractor shall provide efficient arrangements for draining away sullage water so as to keep the camp neat and tidy.

7.	The contractor shall make necessary arrangements for keeping the camp are sufficient lighted to avoid accidents to the workers. -

8.	Sanitation The contractor shall make arrangements for conservancy and sanitation in the labour camps according to the rule of the Local Public Health and Medical Authority

9.	Wherever electric connection from NDPL/BSES is readily available the contractor, would provide sufficient street light for the labour camp as per directions of the Engineer-in-Charge.

Clause 19 I : The Engineer-in-Charge may require the contractor to dismiss or remove from the site of the work any person or persons in the contractor(s) employment on the work who may be incompetent or misconduct himself and the contractor shall forthwith comply with such requirement.

Clause 19J : It shall be the responsibility of the contractor(s) to see that the building under construction is not occupied by any body unauthorisedly during construction, and to hand over to the Engineer-in-Charge vacant possession of complete building. If such building though completed , is occupied illegally, then the Engineer-in-Charge will have the option to refuse to accept the said building/ buildings in that position and delay in acceptance on this account will be treated as delay in completion and to such delay a levy upto 5-% of the estimated cost put to tender may be imposed by the Superintending Engineer, whose decision shall be final both with regard to the justification and quantum However, the Superintending Engineer may require the contractor through a notice to remove the illegal occupation any time on or before construction and delivery.

CLAUSE-19K : Labour cess will be deducted as per order no. 17(10)/BOCW/PG/LAB/05/207  dated 16.08.05 of labour commisinor

Clause 20. The contractor shall comply with all the provisions of the Minimum Wages Act, 1948 and Contractor Labour (Regulation & Abolition Act) 1970 & rules framed there under & other labour laws affecting the contract labour that may be brought into force from time to time.

Clause 21. The contract shall not be assigned or sublet without the written approval of the Engineer-in-Charge. And if the contractor shall assign or sublet his contract or attempt to do so, or become insolvent or commence any insolvency proceedings or make any composition with his creditors or attempt to do so advantage pecuniary or attempt to do so or if any bribe gratuity, gift, loan, perquisite reward or advantage pecuniary or- attempt, shall either directly or, indirectly, be given promised, or offered by the contractor or any of his servants or agents to any public officer or any of his servants or ..agents to any public officer or persons in the employment of Delhi Development Authority in any way relating to his office employment or if any such officer or person shall become in any way directly or indirectly interested in the contract the .Engineer in Charge on behalf .of the Authority shall have power to adopt any of the courses specified in Clause 3 as he may deem best suited in the interest of Delhi Development Authority and in the event of these courses being adopted the consequence specified in the said Clause 3 shall ensure payable.

Clause 22 All sums payable by way of compensation under any of these condition shall be consider as reasonable compensation to the applied to this use of Delhi Development Authority without reference to the actual loss or damage sustained and whether" or not any damage shall have been sustained-

Clause 23. Where the contractor is partnership firm the previous approval in writing of the .Engineer-in-Charge shall be obtained before any charge is made in the constitution

Where the contractor is an individual or Hindu undivided family business such concern such approval as aforesaid shall likewise be obtained before the contractors enters into any partnership agreement where under the Partnership firm would have the right to carry the work .If previous approval as aforesaid is not obtained the contractor shall be deemed to have been assigned in contravention of Clause 21 here of end the same action may be taken and same consequence shall ensure as provided in the said clause 21.

Clause 24. All works to be executed under the contract shall be executed under the direction and subjected to the approval in all respects of the Engineer-in-Charge who shall be entitled to direct at what point or points and in what manner they-are to be commenced, and from time to time carried on.

Clause 25 The decision of the superintending Engineer/chief engineer  regarding the quantum of reduction as well as justification thereof in respect of rates of substandard work which may be decided to be accepted will be final and binding and will not be open to arbitration.

Clause 26: Contractor to indemnify DDA against patent rights

The contractor shall fully indemnify and keep indemnify the Delhi Development Authority against action, claim or proceeding relating to infringement or use of any patent or design or any alleged patent or design rights and shall pay any realities which may be payable in respect of any article or part thereof included in the contract. In the event of any claims made under or action brought against Delhi Development Authority in respect of any such matters as aforesaid, the contractor shall be immediately notified, thereof and contractor shall be at liberty at his own expense, to settle any dispute or to conduct 'any litigation that may arise there from provided that the contractor shall not be liable to indemnify the Delhi Development Authority if the infringement of the patent or design or any alleged patent or Design right is the direct result of an order passed by the Engineer-in-charge in this behalf

Clause 27. Deleted.

Clause 28. In case of any class of work for which there is no such specification as is mentioned in Rule 1 such work shall be carried out in accordance with the  BIS specifications in case there is noB.I.S. specification then in such case the work shall be carried out in all respects-in accordance with the instructions and requirements of the Engineer-in-Charge.

Clause 29 (i). Whenever any claim or claims for payment of any sum of money arise of or under the contract against the contractor Engineer-in-Charge or the DDA shall be entitled to withhold and also have lien to retain such sum or sums in whole in part from the security if any deposit by the contractor and for the purpose aforesaid, the Engineer-in-Charge or the DDA shall be entitled to withhold the security deposit if any furnished as the case may be and also have alien over the same pending finalisation for adjudication of any such claim in the event of the security being insufficient to cover the claimed amount or amounts of if no security have been taken from the contractor the Engineer-in-Charge or the DDA shall be entitled to withhold and have lien to retain to the extent of such claimed amount or amounts Referred to above from any sum or sums found payable or which at any time thereafter may become payable to the contractor under the same contract or any other contract with the Engineer-in-Charge of the DDA or any contracting person through the Engineer-in-charge pending finalisation or adjudication of any such claim.

Clause 29 (ii). Delhi Development Authority shall have right to cause an audit technical examination of the work as and the final bills of the contractor including all supporting vouchers abstract etc. to be made after payment of the final bills and if a result of such audit and technical examination any sum is found to have been over paid in respect of any work done by the contractor under the contractor or any work claimed by him to have been done by him under the contract and found not to have been executed, the contractor shall believable to refund the amount of over payment and it shall be lawful for Delhi Development, Authority to recover the same from him in the manner legally prescribed in sub clause (1 ) of this clause or in any other manner permissible and if it is found the contractor was paid less than was due to him under the contract in respect of any work executed by him under it the amount of such under payment shall be duly paid by Delhi Development Authority to the contractor without any interest what so ever.

Provided that Delhi Development Authority shall not be entitled to recover any sum over paid not the contractor shall be entitled of payment of any sum paid short there such payment has been agreed upon between the Chief Engineer or Executive Engineer on the one hand and the contractor on, the under any term of the contract permitting payment for work after assessment by the Chief Engineer or the Executive Engineer.

CLAUSE OF WORKS AGREMENT FOR

"SETTLEMENT OF DISPUTES & ARBITRATION"

Except where otherwise provided in the contract, all questions and disputes relating to the meaning of the specifications, design, drawings and instructions herein before mentioned and as to the quality .of workmanship or materials used on the work or as to any other question, claim, right, matter or things whatsoever, in any way arising out of or relating to the contract, designs, drawings, specifications, estimates, instructions, orders or these conditions or otherwise concerning the works or the execution or failure to execute the same whether arising during the progress of the work or after the cancellation, termination, completion or abandonment thereof shall be dealt with as mentioned hereinafter:-

i)	If the contractor considers any work demanded of him to be outside the requirements of the contract or disputes any drawings, record or decision given in writing by the Engineer-in-charge on any matter in connection with or arising out of the contract or carrying out of the work, to be unacceptable, he shall promptly, within 15 days request the Superintending-Engineer in writing for written instruction or decision. Thereupon the Superintending-Engineer shall give his written instructions or decision within a period of one month from the receipt of the contractor's letter.

If the Superintending-Engineer fails to give his instructions or decision in writing within the aforesaid period or if the contractor is dissatisfied with the instructions or decision of the Superintending-Engineer, the contractor may, within 15 days of the receipt of Superintending-Engineer's decision, appeal to the Chief-Engineer, who shall afford an opportunity to the contractor to be heard, if the latter so desires and to offer evidence in support of his appeal. The Chief-Engineer shall give his decision within 30 days of receipt of Contractor's Appeal. If, the contractor is dissatisfied with this decision, the contractor shall within a period of 30 days from receipt of the decision, give notice to the Engineer-Member for appointment of Arbitrator, failing which, the said decision shall be final, binding and conclusive and not referable to adjudication by the arbitrator.

ii) Except where the decision has become final, binding and conclusive in terms of Sub-Para-(i) above, disputes or difference shall be referred for adjudication through arbitration by a Sole-Arbitrator, who shall be a technical person having the knowledge and experience of the trade, appointed by the Engineer Member, DDA.  It will be no objection to any such appointment that the arbitrator so appointed is a DDA employee that he had to deal with the matter to which the contract relates and that in the, course of his duties as DDA employee, he has expressed his views in all or any of the matters in dispute of difference. If the arbitrator so appointed is unable or unwilling to act or resigns his appointment or vacates his office due to any reason whatsoever, another sole-arbitrator shall be appointed in the manner aforesaid. Such person shall be entitled to proceed with the reference from the stage at which it was left by his predecessor.

It is a term of this contract that the party invoking arbitration shall give a list of disputes with amounts claimed in respect of each such dispute alongwith the notice for appointment of the arbitrator and giving the reference to the rejection by the Chief-Engineer of the appeal.

It is also a term of this contract that no person other than a person appointed by the Engineer-Member, DDA, as aforesaid, should act as arbitrator and, if, for any reason that is not possible; the matter shall not be referred to the arbitration at all. It is also a term of this contract that if the contractor does not make any demand for appointment of arbitrator in respect of any claims in writing as aforesaid within 120 days of receiving the intimation from the Engineer-in-Charge that the final bill is ready for the payment, the claim of the contractor shall be deemed to have been waived and absolutely barred and the Delhi Development Authority shall be discharged and released of all liabilities under the contract in respect of these claims.

The arbitration shall be conducted in accordance with the provisions of the Arbitration & Conciliation Act 1996 (26 of 1996) or any statutory modifications or re-enactment thereof and the rules made there-under and for the time being in force shall apply to the arbitration proceedings under this clause.

It is also a term of this contract that the arbitrator shall adjudicate on only such disputes as are referred to him by the appointing authority and give separate award against each dispute and claim referred to him and, in all cases, where the total amount of the claims by any party exceeds Rs.1,00,000/-, the arbitrator shall give reasons for the award.

It is also a term of the contract that if any fees are payable to the arbitrator, these shall be paid equally by both the parties.

It is also a term of the contract that the arbitrator shall be deemed to have entered on the reference on the date he issues the notice to both the parties calling them to submit their statement-of-claims and counter-statement-of-claims. The venue of the arbitration shall be such place as may be fixed by the arbitrator in his sole discretion. The fees, if any, of the arbitrator, shall, if required, to be paid before the award is made and published, be paid half and half by each of the parties. The cost of the reference and of the award (including the fees, if any, of the arbitrator) shall be in the discretion of the arbitrator who may direct to any by whom and in what manner, such costs or any part thereof shall be paid and fix or settle the amount of costs to be so paid.

(B) The decision of the Superintending-Engineer regarding the quantum of reduction as well as justification thereof in respect of rates for sub-standard work which may be decided to be accepted will be final and would not be open to arbitration.

It is an agreed term of the contract the sum sums of money so withheld or retaining under the lien referred to above by the Engineer-in-Charge or DDA will be kept withheld or retained or retained as such by the Engineer-in-Charge or DDA till the claim arising out of or under the contract is determined by the Arbitrator (if the contract is governed by the Arbitration clause) or by the competent court as the case may be an that the contractor will have no claim for interest or damage whatever or any account in respect of such withholding or retention under the lien referred to above and duly notified as such to the contractor For the purpose of this clause where the contractor is a partnership firm of a limited company the Engineer-in-Charge or the DDA shall be entitled to withhold and also have a lien to retain towards such claimed amount or amounts in whole or in part from any sum found payable to any partner/limited company as the case may be whether in his individual capacity or otherwise.

Clause 30 : Any sum of money due and payable to the contractor (including the security deposit refundable to him) under the contract may be with held or retained by way of lien by the Engineer-in-Charge or the D.D.A. or any other contracting person or persons through Engineer-in-Charge against any claim of the Engineer-in-Charge or D.D.A. with such other person or persons in respect of payment of sum of money arising out of or under any other contract made by the contractor made with the Engineer-in-Charge or D.D.A. or with such other person or persons.

It is an agreed term of the contract that sum of money so with held or retained under this clause by the Engineer-in-Charge or D.D.A will be kept with held or retained as such by Engineer-in-Charge or ' D.D.A till his claim arising out of the same contract or any other contract is either mutually settled or determined by the Arbitrator (if the contract is governed by the Arbitration clause) or by the competent Court, as the case may be and that the contractor shall have no claim for interest on damage what so ever on his account or any other ground, in respect of any sum of money with held or retained under this clause and duly notified as such to the contractor.

Clause 31. The contractor shall make his /their own arrangements for unfiltered water required for the work and nothing will be paid for same. This will subject to the following conditions.

1.	That the water used by the contractor shall be fit for construction purpose to the satisfaction of the Engineer-in-Charge cost of testing shall be paid by the contractor.

2.	The Engineer-in-Charge shall make alternative arrangements for supply of water at risk and cost of Contractor for procurement of water in the opinion of the Engineer-in-Charge is unsatisfactory

Clause 32(1) The contractor shall be allowed to construct temporary wells in Delhi Development Authority land for taking water for construction purpose only after he has got permission of the Engineer-in-Charge in writing no charges shall be recovered from the contractor on this account but the contractor shall be required to provide necessary safety arrangements to avoid any accidental or damage to adjacent buildings roads and service lane. He shall be responsible for any accident or any damage caused due to constructions and subsequent maintenance of the wells and shall restore the ground to its original condition after the wells are dismantled on completion of the work, if required necessary permission of boring user shall be taken from Ground water authority.

Clause 32(ii) Where there is no piped water supply arrangements and the water is to be taken by the contractor from the wells or hand pumps constructed by the Delhi Development Authority no charge shall be recovered from the contractor on that account The contractor shall however draw water at such hours of the day that it does not interface with the normal use for all damage and abnormal repairs arising out of his uses the cost of which shall be recoverable from the contractor on this account The Engineer-in-charge shall be the final authority to determine the cost recoverable from contractor on this account and his decision shall be binding on the contractor.

CLAUSE 33 : Not withstanding anything contained to the contrary in any or all of the clauses of this contract are procured with assistance of Delhi Development Authority either by issue from Delhi Development Authority stock or purchase made under orders or permits or licensed, issued by Delhi Development Authority the contractor shall hold the said materials economically and solely for the purpose of the contact and not disposed of them without the permission of the Delhi Development Authority and return if required by the Engineer-in-Charge shall determine having due regard to the condition of the materials The price allowed to the contractor however shall not exceed the amount charged to him including to the element of storage charges. The decision of the Engineer-in-Charge shall be final and conclusive. In the event of breach of the aforesaid condition the contractor shall in addition in throwing himself open to acting for contravention of the terms of the licence or permit and or for criminal reach of & trust, be liable to Delhi Development Authority its for all money advantage or profits resulting or which in the usual course would have resulted to him by reason of such breach.

CLAUSE  34 : DELETED

CLAUSES 35

(i)	The contractor shall collect the total quantity of tar or bitumen required for the work as per standard formula, before the process of painting is started and shall hypothecate It to the Engineer-in-Charge .If any bitumen or tar remains unused on completion of work on account of the work less use of materials in actual execution lesser for reason other than authorised changes of specification and abandonment of portion of work a corresponding deduction equivalent to the cost of unused materials as determined by the Engineer-in-Charge shall be made and materials returned to the contractors. Although the materials are hypothecated to D.D.A. the contractor undertake the responsibility for security for the proper watch safe custody and protection against all risk the materials shall not be removed from site of work without the work the consent of the Engineer-in-Charge in writing.

(ii) 	The contractor shall be responsible for rectifying defects noticed within a year from the date of completion of the work and the portion of the security deposited relating to asphaltic work shall be refunded after this period. "	.	'

Clause 36.

Contractors Superintendence, Supervision, Technical Staff & Employees

(i)	The contractor shall provide all necessary superintendence during execution of the work and as along thereafter as may be necessary for proper fulfilling of the obligations under the contract.

The contractor shall immediately after receiving letter of acceptance of the tender and before commencement of the work, intimate in writing to the Engineer-in-Charge the name, qualification, experience, age, address and other particulars along with certificate, of the principal technical representative to be in charge of the work. Such qualifications and experience shall not be lower than specified in Clause 36 (i). The Engineer-in-Charge shall within 15 days of receipt of such communication intimate in writing his approval may or otherwise of such a representative to the contractor. Any such approval may at any time be withdrawn and in case of such withdrawal the contractor shall appoint another such representative-according to the provisions of this clause. Decision of the tender accepting authority shall be final and binding on the contractor in this respect. Such a principal technical representative shall be appointed by the contractor soon after receipt of the approval from Engineer-in-Charge and shall be available at site within fifteen days of start of work.

If the contractor (or any partner in case of firm/company) who himself has such qualification, it will not be necessary for the said contractor to appoint such a principal technical representative but the contractor shall designate and appoint a responsible agent to represent him and to be present at the work whenever the contractor is not in a position to be so present. All the provisions applicable to the principal technical representative under the Clause will also be applicable in such a case to contractor or his responsible agent. The principal technical representative and/or the contractor shall on receiving reasonable notice from the Engineer-in-Charge or his designated representative(s) in charge of the work in writing or in person or otherwise, present himself to the Engineer-in-Charge and/or at the site of work, as required, to take instructions. Instruction given to the principal technical representative or the responsible agent shall be deemed to have the same force as if these have been given to the contractor. The principal technical representative and/or the contractor or his responsible authorised agent shall be actually available at site at least two working days every week, these days shall be determined in consultation with the Engineer-in-Charge as well as fully during important stages of execution of work, during recording of measurement of works and whenever so required by the Engineer-in-Charge by a notice as aforesaid and shall also note down instructions conveyed by the Engineer-in-Charge or his designated representative in the site order book and shall affix his signature in token of noting down the instructions and. in token of acceptance of measurement. There shall be no objection if the representative/agent looks after more than one work and not more than three works in same station provided these details are disclosed to The Engineer-in-Charge and he shall be satisfied that the provisions and the purpose of this clause are fulfilled satisfactorily.

If the Engineer-in-Charge, whose decision in this respect is final and binding on the contractor, is convinced that no such technical representative or agent is effectively appointed or is effectively attending of fulfilling the provisions of this clause, a recovery shall be effected from the contractor as specified in Clause 36(i) and the decision on the Engineer-in-Charge as recorded in the site order book and measurement recorded in Measurement Books shall be final and binding on the contractor. Further if the contractor fails to appoint a suitable technical representative or responsible agent and if such appointed persons are not actively present or do not discharge their responsibilities satisfactorily, the Engineer-in-Charge shall have full powers suspend the execution of the work until such date as a suitable agent is appointed to and the contractor shall be held responsible for-the delay so caused to the work. The contractor shall submit a certificate of employment of the technical representative/responsible agent alongwith every on account bill/fixed bill and shall produce evidence if at any time so required by the Engineer-in-Charge.

ii) 	The contractor shall provide and employ on the site only such technical assistants as are skilled and experienced in their respective fields and such foremen and supervisory staff as are competent to give proper supervision to the work.

The contractor shall provide and employ skilled, semiskilled and unskilled Labour as is necessary for proper and timely execution of the work.

The Engineer-in-Charge shall be at liberty to object to and require the contractor to remove from the works any person who in his opinion misconduct himself, or is incompetent or negligent in the performance of his duties or whose employment is otherwise considered by the Engineer-in-Charge to be undesirable. Such person shall not be employed again at works site without the written permission of the Engineer-in-Charge and the persons so removed shall be replaced as soon as possible by competent substitutes.

Clause 36 (i)

Minimum Qualification & experience required for Technical Representative.

| (a) | For works with estimated cost put to tender more than |  |
| --- | --- | --- |
|  | Rs. 10 Lakhs for Civil work | Graduate or retired AE possessing |
|  | Rs. 5 Lakhs for Elect/Mech. Works | At least recognised diploma |
| (b) | For works with estimated cost put to tender |  |
| (i) | More than Rs. 5 Lakhs but less than Rs. 10 Lakhs for Civil Works | Recognised Diploma holder |
| (ii) | More than Rs. 1 Lakh but less than Rs- 5 Lakh for Elect./Mech. Works |  |
| c) | Discipline to which the Principal Technical |  |
|  | Representative should belong |  |
| d) | Minimum experience of work. | ______________years. |
| e) | Recovery to be effected from the | Rs 10,000/- p.m. for Graduate |
|  | contractor in the event of not | Rs 5,000/- p.m. for diploma holder |
|  | fulfilling provisions of Clause 36(i) |  |

Clause 37. The whole work may be split up between two or more contractors or accepted in part and not in entirely, if considered expendient.

Clause 38. In pursuant to or under any law, notification or order any royalty cess or the like become payable by the DDA and does not at any time becomes payable by the contractor to the state Government/Local authority in respect of any materials used by the contractor on the work .there in then in such case, it shall be lawful for the DDA and it will have right and entitled to recover the amount paid in circumstances as aforesaid from the dues of the contractor.

1.	Sales tax or any other tax and cess tax if any on materials in respect of this contract shall be payable by contractor and Delhi Development Authority shall not entertain any claim whatsoever in this respect in case of any default the Engineer-in-Charge shall effect recovery.

2.	All Government Departments, Public Undertaking and other Government Bodies carrying out any building or other construction works which are covered under section 2(d) of the main Act shall in case the work is carried out through a contractor, deduct mandatory 1% of the amount of cost approved as per the tender notification from the bills at the time of making payment to the contractors.

Clause 39 : Without prejudice to any rights or remedies under this contract if the contractor dies, the Divisional Officer on behalf of the Delhi Development Authority shall have the option of terminating the contract without compensation- to the heirs of the contractor.

Clause 40. Contractor shall not be permitted to tender for works in DDA Zone (responsible for award and execution of contracts) in which any of his near relatives is posted as divisional accountants or as an officer in any capacity between the grades of CE and JE (both inclusive) in the DDA He shall intimate the names of his near relations if any who working as group A or group B & C officers or JE in DDA He shall also intimate the names of the person who are working with him in any capacity or who are subsequently employed by him and who are near relatives of any group A or group B & C officers or J.E. in the DDA or Ministry of Urban Development Any breach of this condition by the contractor would render him liable to action under clause 2 of the condition by the contractor would render agreement In addition he would also be liable to be debarred from the tendering in future in DDA.

NOTE : By the terms near relative is meant wife, husband, parents and grand parents, children and grand children, brothers, sisters, uncles, aunts and cousin and their corresponding in laws.

Clause 41. No Engineer of gazatted rank or other gazatted officer employed in Engineering or Administrative duties in an Engineering Department of the Delhi Development Authority is allowed to work as a contractor for a period of two years after his retirement from Authorities service without the previous permission of Delhi Development Authority. This contract is liable to be cancelled if either the contractor or any of his employee is found any time to be such a person who had not obtained the permission of the Delhi Development Authority as aforesaid before submission of the tender or engagement in the contractors service as the case may be.

Clause 42.

(i)	The contractor shall see that only the required quantities of materials are got issued. Any such materials remaining unused and in perfectly good condition at the time of completion or termination of the contract shall be returned to the Engineer-in-Charge at a place where directly by him by a notice in writing under his hand if he shall so require Credit for such materials will be given at the prevailing market rate not exceeding the amount charged from him element of storage charges @ 2.5% levied at the time of issue of materials to him. The contractor shall also not be entitled to cartage and incidental charges for returning the surplus materials from, and to the above said stores. Where from they were issued.

(ii)	After completion of the work the theoretical quantity of cement to be issued in work shall be calculated on the basis of statement showing quantity of cement to be issued in different items of work provided in Delhi Schedule of Rate, 2007 with upto date correction slip. In case any item is executed for which the standard constants for the consumption of cement are not available in the above mentioned statement or can not be derived from this statement the same shall be calculated on the basis of standard formula to be laid down by the superintending Engineer of the circle concerned Over this theoretical quantity of cement shall be allowed a variation upto 3% plus/ minus for works estimated cost of which as put to tender is not more than Rs. 5 lacs and 2% plus/ minus for works the estimated cost of which put to tender is more than Rs. 5 Lacs. The difference in the quantity of cement actually issued to the contractor and  theoretical quantity including authorised variation if not returned by the contractor shall be recovered at twice the issue rate without prejudice to the provision of the relevant conditions regarding return of materials governing the contract In the event of its being discovered that the quantity of cement used is less than the quality ascertained as here before provided (allowing variation) on the minus side as stipulated above) the cost of quantity of cement not so used shall be recovered from the contractor on the basis of stipulated issued rates and cartage to site. However for the item design mix concrete the cement consumption as per General Specification Clause 3.2 without any minus variation.

(iii)	The provision of foregoing sub-clause shall apply mutatis mutendis in the case of steel sections reinforcement of structural steel section (each diameters/section or category shall be considered separately) except that the theoretical quantity of the steel shall be taken as the quantity required as per design or as authorised by the Engineer-in-Charge including authorised lappages plus 3% wastage due to cutting into pieces. Over this theoretical quantity 2% plus/minus shall be allowed as variation due to wastage being more or less.

(iv)	After the completion of the work, the actual quantity of cables (other than under ground cables)wire conduct/G.I./C.I./S.C.I. pipes G.I/ M.S. sheets used up in the various item of work shall be calculated on the basis of measurements recorded in the measurement books for purpose of payment and for assessing the consumption of material used on works over .this quantity variation of 5 % plus shall be allowed for wastage of materials during execution on case of cables other than under ground cables) wires, conduct pipes GI/CI/SCI pipes and 10% plus in case of GI/MS sheets. The difference in quantity of materials issued to the contractor and the quantity recorded in the MB including authorised variation as stated above if not returned by the contractor shall be recovered at twice the issue rates plus cartage to sites, without prejudice to the provision of the relevant condition regarding return of materials governing the contract.

(v)	After the completion of the work the theoretical quantity of bitumen to be used on works shall be calculated on the basis of CPWD/MOST/MORTH statement showing quantity of bitumen to be used in different items of work provided in the Delhi Schedule of Rates bitumen to be used in different items of the work provided, in the Delhi Schedules of rates 2007 or in respect of agreements which do not provide for or authorised application of Delhi Schedule of rates 2007 with  C.S. upto date theoretical quantity of bitumen to be used in works shall be calculated on the basis of standard formula as laid down by Superintending Engineer of the concerned circle Over the said theoretical quantity of bitumen a variation upto plus (excess) 2-1/2% shall be allowed.

The agreement which provided for supply of bitumen actually issued to the contractor and the theoretical quantity including the above mentioned authorised variation if not returned by the Contractor, shall be recovered at twice the issue rate of bitumen, without prejudice to the relevant conditions in the agreement regarding return of materials governing the contract. In the event of it being discovered that the quantity calculated in the manner aforesaid (no variation) on the lower side shall, be allowed the cost of quantity of bitumen not so used shall be recovered from the contractor on the basis of stipulated issue rate plus cartage there of upto site.

(vi)	The provisions made above are without prejudice to the rights of the Delhi Development Authority to take action against the contractor under the conditions of the contract for not doing the work according to the prescribed specification.

(vii)	The materials shall be issued to the contractors, at the place of delivery as mentioned in the schedule. If these are delivered at any other site the difference due to cartage will be adjusted accordingly. The contractor shall have to cart at his cost the materials to the site of the work as soon as these are issued. The materials shall be issued between the working hours and as per rules of the Delhi Development Authority's Godown as framed from time to time.

(viii)	The contractor shall bear all incidental charges, storage and safe custody of-materials.

(ix)	T.M.T. Round Bars, and Tor steel shall be issued in lengths as available in the stores.; No claim on this account shall be entertained.

(x)	The contractor shall construct suitable godowns at the site of work for storing the materials safe against damages of sun, rain, dampness, fire, theft etc. He shall also employ necessary watch and ward establishment for the purpose.

(xi)	PPC & OPC Cement bags shall be stored in separate godowns as per typical godowns sketch attached, with pucca floor and weather proof roofs and walls. Each godown shall be provided with  single door with two locks. The keys of one lock shall remain with Delhi Development Authority's Junior Engineer-in-Charge of work, and that of the other lock with the authorised agent of the contractor at the site of work, so that the cement is removed from the godown according to the daily requirement with the knowledge of both the parties. The -cement bags shall be stacked on proper floors consisting of two layers of dry bricks laid on well consolidated each at a level of at least one foot above ground level. These stacks shall be in rows of 2 and 10 bag height with a minimum 2'9" clear space around the begs should be placed horizontally continuous in each line as shown in the accompanying sketch. The day to day receipt and issue accounts of cement shall be maintained by the junior Engineer-in-Charge and signed daily by the contractor or his authorised agent (as per specimen of register attached).

Clause 43. Deleted

Compensation during war like situation :-

Clause 44. The work (whether fully constructed or not) and all materials machines, tools and plants scaffolding temporary building and other things connected there with shall be at the risk of contractor until the work has been delivered to the Engineer-in-Charge and the certificate from him to that effect obtained. In the event of the work or any materials properly brought to the site for incorporation for the work being damage or destroyed in consequence of hospitalities or war-like operation, the contractor shall when ordered in writing by the Engineer-in-Charge remove any debris from the site collect and properly stack or remove in the store all serviceable materials salvages from the damage work shall be paid at the contract rate in accordance with provision of this agreement for the work of clearing the site of debris staking or removal of serviceable materials and for the reconstruction of all work ordered by the Engineer-in-Charge such payment being in addition to compensation upto the value of work originally executed before being damaged/or destroyed or paid for the compensation shall be assessed by the Divisional Officer  upto Rs. 5000/- and by the Chief Engineer for a higher amount. The contractor shall be paid for the damage destruction suffered and for storing the materials at the rates based on the analysis of the rates tendered for in accordance with the provision of this agreement. The certificate of the engineer in charge regarding the quality and quantity of materials and the purpose for which they were collected shall be final and binding on all parties to the contract.

Provided always that no compensation shall be payable for any loss in consequence of hospitalities or war like operation unless (a) the contractor has taken all such precautions against air raid as are deemed necessary by the A.R.P, Officer or the Engineer-in-Charge (b) for any materials etc. not on site of the work for any tools and plants machinery scaffolding temporary building and other things not intended for the work

In the event of the contractor having carried out reconstruction as afore said he shall be allowed such extension of times for its completion as is considered reasonable by the Divisional Officer.

Clause 45, The contractor shall deposit royalty and obtain necessary permit for supply of red Bajri, Stone Kankar etc. from local authorities.

Clause 46 Security deposit shall not be refunded till clearance certificate from the labour officer is .obtained by the contractor.

Clause 47 Deleted

Clause 48. The contractor shall comply with the provision of the Apprentice Act, 1961 and the rules and order issued their under and from time to time  the contractor shall also be liable for any pecuniary liability arising on account of any violation by him of the provision of the said   Act.

Clause 49. Anti Malaria Measures.

The contractor shall at his own expenses make necessary arrangement for under taking Anti-Malaria measures including drainage at place such as abandoned Houses, Water tanks, excavated sites etc. where water likely to stagnate and cause mosquito breeding The contractor shall comply with every reasonable directions of the Engineer-in-Charge.

SAFETY CODE

1.	Suitable scaffolds should be provided for workmen for all works that can not safely be done from the ground of from the ground or from solid construction except such short period work as can be safely from ladders. When a ladder is used an extra mazdoor or shall be suitable foot holds and hand holds shall be provided on the ladder and the ladder shall be given an inclination not steeper than 1/4 to I (1/4 horizontal and 1 vertical).

2.	Scaffolding or staging more than twelve feet above the ground or floor swung or suspended from an overhead support or erected with stationary support shall have a guard rail properly attached or support or erected with stationery support shall have a guard rail properly attached bolted, braced and otherwise secured at least 3 feet high above the floor or platform of such scaffolding or staging and extending along the entire length of the outside and ends thereof with only such opening as may be necessary for the delivery of materials Such scaffolding or staging shall be so fastened as to prevent it from swaying from the building or structure.

3.	Working platform gangways and stairways should be so constructed they should not sagunduly or unequally and if the height of the platform or gangway or the stairway is more than 12 feet above ground level or floor level they should be closely boarded should have adequate width and should be suitably fastened as described in (2) above.

4.	Every opening in' the floor of a building or to all working platform be provided with suitable means to prevent the fall of person or materials by the providing suitable fencing or railing whose minimum height shall be 3'-0" (90cm.)

5.	Safe means of access shall be provided to all working platform and other working places. Every ladder shall be securely fixed. No portable single ladder shall be over 30 feet (9 mtr) in length while the width between side rails in hug ladder shall in no case be less than 11 1/2" (29 cm) for ladder upto and including 3.05 mtr in length. For longer ladder this widths should be increased at least 6mm for each additional foot of length. Uniform step spacing shall not exceed 30 cm Adequate precautions shall be taken to prevent danger from electrical equipment The materials on any of the sites of work shall not be stacked or placed as to cause danger or inconveniencing to any person or Public. The contractor shall provide all necessary fencing and lights to protect the public from accident and shall be. bound to bear the expenses of defence of every suit action or other proceeding at law that may be brought by any person for injury sustained owing to neglect of the above precaution and to pay and damages and cost which may be awarded in any such suit, action or proceedings to any such person or which may with the consent of the contractor be paid to compensate any claim by any such person.

6.	Excavation and Trenching : All trenches four feet or more in depth shall at all times be supplied with at least at one ladder for each 30 mtr. in length or fraction thereof Ladder of the ground The side of the trenches least to at 90 cm above the surface of the ground The side of the trenches which are or more in depth shall be stepped back to give suitable stop or securely held by timber branching so as to avoid to danger of sides to collapse. The excavation materials shall not be placed within 1.50 mtr of the edges of the trench or half of the depth of the trench whichever is more. Cutting shall be done from top to bottom.  Under no circumstances under mining or under cutting shall be done.

7.	Demolition Before any demolition work is commenced and also during the process of the work.

(a)	All roads are open areas adjacent to the work site shall either be closed or suitably protected..

{ b)	No electric cable or apparatus which is liable to be sources of danger over a cable or apparatus used by the operator shall remain electrically charged.

(c)	All practical steps shall taken to prevent danger to person employed from risk of fire or explosion or folding No floor roof or other part of the building shall be so overloaded with debris or materials as to render it unsafe.

8.	All necessary personal safely equipment as considered adequate by the Engineer-in-Charge should be kept available for the use of the person employed on the site and maintained in a condition suitable for immediate use and the contractor should take adequate steps to ensure proper use of equipment by those concerned the following safety equipments immediately be provided.

(a)	Workers employed on mixing asphaltic materials cement and lime mortars shall be provided with protective footwear and" protective goggles.

(b)	Those engaged in white washing and mixing or stacking of cement bags or any materials which is injuries to the eyes shall be provided with protective goggles.

(c)	Those engaged in welding works shall be provided-with welder's protective eye shields.

(d)	Stone breakers shall be provided with protective goggles and protective clothing and seated at sufficiently safe intervals.

(e)	When workers are employed in sewers and storm water pipe drains and manholes which are in active use the contractor shall ensure that the following safety measure as adhered to.

[i]	Entry for workers into the line shall not be allowed except under supervision of the JE or any other higher officer.

[ii]	At least 5 to 6 manholes upstream and downstream should be kept open for at least 2 to 3 hours before any man is allowed to enter into the manholes for working inside.

[iii]	Before entry, presence of Toxic gasses should be tested by inserting wet lead acetate paper, which changes colour in the presence of such gases and gives indication of their presence.

[iv]	Presence of Oxygen should be verified by the lowering a detector into the manholes. In case no oxygen is found inside the sewer line workers should be sent only with Oxygen kit.

[v]	Safely belt with rope should be provided to the workers. While working inside the manholes such rope should be handled by two men standing outside to enable him to be pulled out • during emergency.

[vi]	The area should be barricaded of cordoned or by suitable means to avoid mishaps of any kind Proper warning signs should be displayed for the safety of the public whenever cleaning works undertaken during night or day.

[vii]	The malba obtained on account of cleaning of blocked manholes and sewer lines should be immediately removed to avoid accidents on account of slippery nature of the malba.

[viii]	No smoking or open flames shall be-allowed near the blocked manholes being cleaned.

[ix] 	Workers should not be allowed to work inside the manholes continuously. They should be given rest intermittently The Engineer In Charge may decide the time up to which a worker may be allowed to work continuously inside the manhole.

[x]	Gas masks with oxygen Cylinder should be kept at site for use in emergency.

[xi]	Gas masks with oxygen Cylinder should be kept or fresh air through manholes whenever called for. Portable air blowers are recommended for ventilating the manholes The motors for these shall be vapour proof and of totally enclosed type. Non sparkling gas engine also could be used but they should be placed at least 2 meters away from the opening and on the lowered side protected from wind so that they will not be source of friction on any inflammable gas that might be present.

[xii]	The workers engaged for cleaning the manholes sewers should be proper trained before allowing to work in the manhole.

[xiii]	The worker shall be provided with Gumboots or non-sparking shoes bump helmets and gloves non-sparking tools safety lights and gas masks supplied with barrier cream for anointing the limbs before working inside the sewer lines.

[xv]	If a man has received a physical injury, he should be brought out of the sewer immediately and adequate medical aid should be provided to him.

[xvi]	The extent to which these precautions are to be taken depend on individual situation but the decision of the Engineer-in-Charge regarding the steps to be taken in an individual case will be final.

9. 	The contractor shall not employ men below the age of 18 years and women on the work of planting with products containing lead in any form. Wherever men above the age of 18 years are employed on the work of lead painting the following precaution should be taken :-

i. 	No paint containing lead products shall be used except in the form of paste or ready made paint.

ii. 	Suitable face masks should be supplied for use by the workers when paint is applied in the form of spray or a surface having lead paint dry rubbed and scrapped.

iii.	Overalls equipments(all safety equipments) all the safety equipment shall be supplied by the contractors to the workmen when paint is applied in the form of spray or a surface having lead paint dry rubbed and scrapped.

iii(a). 	Overalls all the safety equipment shall be supplied by the contractors to the workmen and adequate ' facilities shall be provided to enable .the working painters to wash during the execution of works.

iv	(a)	White lead sulphate of lead or product containing these pigment shall not be used in painting  operation except in the form of pastes or of paint ready for use.

(b)	Precautionary Measure shall be taken whenever required in order to prevent danger arising from the application of a plant in the form of spray.

(c)	Precautionary Measure shall be taken whenever required in order to prevent danger arising from dust caused by dry rubbing down and scrapping.

v. 	(a)	Adequate facilities shall be provided to enable working painters to wash during and on cessation of work.

(b)	Overall shall be worn up by working painters during the whole of the working period.

(c)	Suitable arrangements shall be made to prevent clothing put of during working hours being spoiled by painting materials.

vi 	(a)	Cases of lead poisoning and suspected lead poisoning shall be notified and shall be subsequence verified by a medical man appointed by the competent Authority of DDA.

(b)	The DDA may require-when necessary medical examination of workers.

(c)	Instructions with regard to special hygienic precautions to be taken in the painting trade shall be disturbed to working painters.

10.	When the work is done near any place where there is risk of drowning all necessary equipments should be provided and kept ready for all necessary steps taken prompt rescue of any 'person in danger and adequate provision should be made for prompt first aid treatment of all injuries likely to be sustained during the course of work.

11.	Use of hoisting machines and tackle including their attachments anchorage and supports shall conform to the following standard or conditions

1. 	(a) 	These shall be of good mechanical construction, sound material and adequate strength and free from patent defect and shall be kept in good condition and in good working order.

(b) 	Every rope used in hoisting or lowering materials or as a means of suspension shall be of durable quality and adequate strength and free from patent defects.

2.	Every crane driver or hoisting appliance operator shall be properly qualified and not person under the age of 21 years should be in charge of any hoisting machine including any scaffolding which give signals to operator.

3.	In case of every hoisting machine and of every chain ring hook, shackle swivel and pulley block used in hoisting or as means of suspension the safe working load shall be plainly marked with the safe working load. In case of a hoisting machine having a variable safe working load, each safe working load and the conditions under which it is applicable shall be clearly indicated. No. part of any machines or any-gear referred to above in this paragraph .shall be loaded beyond the safe working load except for the purpose of testing.

In case of departmental machines, the safe working load shall be notified by the Electrical Engineer-in-Charge. As regards contractors machines the contractors shall notify the safe working load of the machine to the Engineer-in-Charge whenever he brings any machinery to site of work and get it verified by the Electrical Engineer concerned.

12.	Motors gearing, transmission, electric wiring and other dangerous parts of hoisting appliances should be provided with efficient safeguards, hoisting appliances should be provided with such means as will reduce to the minimum the risk of accidental descent of the load adequate precautions should be taken to reduce to the minimum the risk of any part of the suspended load becoming accidentally' displaced. When workers

employed on electrical installations which are already energised, insulating mats, wearing appear/ such as gloves sleeves and boots as may be necessary should-be provided. The worker should not wear any rings, watches, and carry keys or other materials which are good conductors of electricity.

13.	All scaffolds, ladders and other safety devices mentioned or described herein shall be maintained in safe conditions and no scaffold, ladder or equipment shall be altered or removed while it is in use. Adequate washing facilities should be provided at or near places or works.

14.	These safety provisions should be brought to the notice of all concerned by display on notice board at a prominent place of work spot. The person responsible for the compliance of the safety code shall be named therein by the contractor.

15.	To ensure effective enforcement of the rules and regulations to safety precautions, the arrangements made by the contractor shall be open to inspection by the Labour Officer Engineer-in- Charge of the Authority or their representative.

16.	Not withstanding the above Clause from (1) to (15) there is nothing in these to exempt the .contractor from the operations of the other Act or rules in force in the Republic of India.

MODEL RULES FOR THE PROTECTION OF HEALTH AND SANITARY ARRANGEMENTS FOR WORKERS EMPLOYED BY D.D.A OR ITS CONTRACTORS.

1:	Application:

These rules shall apply to all building and construction works in charge of Delhi Development . . Authority.

2.	Definitions:

1.	Work place" means a place which an average, fifty or more workers are employed in connection with construction work.

"Large work place" means a place at which, at an average 500 or more workers are employed in connection with .construction work.

3.		First Aid:

- At every work place, there shall be provided and maintained in an easily accessible place first aid appliance including an adequate supply of sterlised dressing and sterlised cotton wool. The appliance shall be kept in good order and, in large work place they shall be placed under the charge of a responsible, person who shall be readily available during working hours.

- At large work place, where hospital facilities are not available with in easy distance of the works, First Aid posts shall be established and be run by a trained compounder.

- Where large work places are remote from regular hospitals, an indoor ward shall be provided with one bed for every 250 employees.

- Where large work places are situated in cities, town or in their suburbs and no beds, are considered necessary owing to the proximity of city or town hospitals, suitable transport shall be provided to facilitate removal of urgent cases to the hospitals. At other work places, some conveyance-facilities, shall as a car, shall be kept readily available to take injured person or persons suddenly taken serious to the nearest hospital.

4.	Drinking water:

CONDITION NO. 4 OF MODEL RULES

The contractor shall supply only potable water in the labour camp sample of water shall be drawn from the source of water supply in the labour camps every months and got tested from the MCD lab by the contractor .Wherever drinking water is supplied to the labour camps through tankers. Samples shall be drawn from the tankers and got tested. Water storage tanks "chlorine tablets shall be added from time to time as per requirement so that potability of water remain intact.  No extra payment shall be made on this account.

- In every work place, there shall be provided and maintained at suitable places, easily accessible to labour, a sufficient supply of cold water fit for drinking.

- Where drinking water is obtained from an intermittent public water supply each work place shall be provided with storage where such drinking water shall be stored.

- Every water supply of storage shall be a distance of not less than 15 metre  from any latrine, drain or other source of pollution. Where water has to be drawn from an existing well which is within such proximity of latrine, drain or any other source of pollution, the well shall be properly chlorinated before water is drawn from it for drinking. All such wells shall be entirely closed-in and be provided with a trap-doors which shall be dust and water proof.

- A reliable pump shall be fitted to each covered well, the trap-door shall be kept locked and opened only for cleaning or inspection which shall be done at least once a month.

(e)      The contractor shall supply only potable water in the labour camp sample of water shall be drawn from the source of water supply in the labour camps every months and got tested from the MCD lab by the contractor. Wherever drinking water is supplied to labour camps through tankers. Samples shall be drawn from the tankers and got tested. Water storage tanks chlorine tablets shall be added from time as per requirement so that potability of water remains intact no extra payment shall be made on this account.

5.Washing and Bathing place:

(i)	Adequate washing and bathing place shall be provided, separately for men and women.

(ii)	Such places shall be kept in clean and in dried condition.

6.	Scale of Accommodation in Latrine and urinals:

These shall be provided within the premises of every work place latrines and urinals in an accessible for each of them shall not be less than the following scale.

No. of seats

- Where the number of persons does not exceeds 50,	2

- Where the number of persons exceeds 50, but does not exceed 100	3

- For every additional 100 persons	3 per 100

In particular cases the Executive Engineer shall have the powers to vary the scale where necessary.

7.	Latrines and urinals for women:

If women are employed, separate latrines and urinals, screened from those for men and marked in the vernacular in conspicuous letter "For women only" shall be provided on the scale laid in rule 6. Those for men shall be similarly marked "For men only". A poster showing the figure of a man and a woman shall also be exhibited at the entrance of latrines, for each sex. There shall be adequate supply of water close to the urinals and latrines.'

8.	Latrines and urinals:

Except in work places provided with water flushed latrines, connected with a water borne sewage system all latrines shall be provided with receptacles on dry each system which shall be cleaned at least four times daily and at least, twice during working hours and kept in a strictly sanitary condition. The receptacles shall be tarred inside and outside at least once a year.

9.	Construction of Latrines :

The inside well shall be constructed of masonry of some suitable heat resisting non-absorbent material and shall be cement washed inside and outside at least once a year. The dates of cement washing shall be noted in a register maintained for this purpose and kept available for inspection. Latrine will .not be of a standard lower than borehole system and should have thatched roofs.

10.	Disposal of Excreta:

Unless otherwise arranged for by the local sanitary authority, arrangements for proper disposal-of excreta by incineration at the work place shall be made by means of a suitable incinerator approved by the Assistant Director of Public Health or the Municipal Medical Officer of Health, as the case may be. in whose jurisdiction the work place is situated. Alternatively, excreta may be disposed off by putting a layer of night soil at the bottom of pucca tank prepared for the purpose and covering it with 6" layer of waste or refuse and then covering it up with a layer of earth for a fortnight (when layer of waste or refuse and then covering it up with a layer of each for a fortnight (when it will turn into manure).

11.	Provision of shelter during rest:

At every work place there shall be provided free of cost two suitable sheds, one for meals and the other for rest separately for men and women for the use of labour. The height of each of the shelters shall not be less then 11 feet (3.35 m) from the floor level to the lowest part of the roof. The sheds should be roofed with at least thatch and mud flooring will be provided with a dwarf wall around not less than 2-1/2 feet (76 cm). Sheds should be kept clean and the space should be on the basis of at least 5 square feet (0.46 sqm) per head.

12.	Creches:

(a)	At every work place at which 50 or more "women workers are ordinarily employed there shall be provided two tents for the use of children under the age of 6 years, belonging to such women. One tent should be used for infants games and play and the other as their bed room. The tents shall not be constructed on a lower standard than the following.

(i) Thatched roof

(ii) mud floor, planks spread over the mud floor and covered with matting;

The huts shall be provided with suitable and sufficient opening for light and ventilation. There shall be provided with suitable and sufficient opening for light and ventilation. There shall be adequate provisions of sweeper to keep the places clean. There shall be two Dais in attendance. Sanitary utensils shall be provided to the satisfaction of the Health Officer of the area concerned. The use of the tent shall be "restricted to children, their attendants and mother of the children.

- Where the number of women workers is more than 25 but less than 50, the contractor shall provide at least one tent and one Dais to look after the children of women workers.

- The size of creche shall vary according to the number of women workers,

- The creche or creches shall be properly maintained and necessary equipment like toys etc. shall be provided.

13.	Canteen:

A cooked food canteen on a moderate scale shall be provided for the benefit of workers wherever it is considered expedient.

14.	The above rules shall be incorporated in the contract and in the notice inviting tenders and shall form integral part of the contracts.

CONTRACTORS LABOUR REGULATIONS

Short title:

These regulations, may be called the "Delhi Development Authority contractor's Labour Regulations."

1. Definition- ln these regulations, unless otherwise expressed or indicated, the following words and expressions shall have the meaning hereby assigned to them respectively that is to say.

i) 	"Labour" means workers employed by a Delhi Development Authority Contractor directly or indirectly through a sub-contractor or other persons or by an agent on his behalf on a payment not exceeding Rs. 400/- per month and will not include supervisory staff like Overseers etc. and will not be less . than minimum rates of wages fixed by the latest Delhi Govt. and plus upto date variable dearness allowance on applicable for minimum wages/on the basis of cost vide notification by Delhi Administration time to time for the class of employee engaged on the same type of work circulated vide number F12(142)/04/MW/LAB/238 dt. 31.8.05

ii) 	"Fair Wages" means wages whether for time or pieces work notified at the time of inviting tenders 'for the work and where such wages have not been so notified, the wages prescribed by the D.D.A. for the District in which the work is done. It will notified as prescribed the D.D.A. in consultation with the officer or the industrial Relations Machinery located in the respective areas and will not be less than minimum rates of wages fixed by the latest Delhi Govt. and plus upto date variable dearness allowance as applicable for minimum wages on the basis of cost vide notification by Delhi Administration time to time for that class of employed engage  on the same type of work.

iii) 	"Contractor" shall include every person whether a subcontractor or head man or agent employing labour on the work taken on contract.

iv) 	"Wages" shall have the same meaning as defined in the payment of wages Act and includes time and piece rate wages.

2.	(a) Normally working hours of an adult employee should not exceed 8 hours a day and incase of a child 4-1/2 hours a day. Working day shall be so arranged that inclusive of interval for rest, it shall not spread more than 12 hours on any day.

(b)	When an adult worker is made to work for more than 9 hours any day or for more than 48 hours in any week, he shall be overtime for the extra hours put in by him at double the ordinary rate wages. Children shall not be made to work extra hours.

(c)	Every worker shall be given a weekly holiday normally on Sunday in accordance with the provision of the minimum wages (Central) Rules 1950 as amended from time to time irrespective of whether such worker is governed by the Minimum Wages Act 1948 or not."

3.	Display of notice regarding wages etc. The Contractor shall:

(a)	Before he commences his work on contract display and correctly maintain and continue to display and correctly maintain in a clean and legible condition in-conspicuous places on the work notice in English and in the Local Indian Language spoken by the majority of the workers giving the rate of wages which have been certified by the Executive Engineer, the Chief Engineer or Regional Labour Commissioner as fair wages and the hours of work for which such wages are earned and; the actual wages being paid.

(b) 	Send a copy of such notices to the certifying Officer i/e E.E./C.E. and Regional Labour Commissioner.

(4) 	Payment of wages :-

i)	Wages due to-every worker shall be paid to him directly or through

other person authorized on this behalf.

ii) 	All wages shall be paid in current coin or currency or in both.

iii) 	Arrears claimed after 3 months after the completion of the work shall not be entertained.

5. 	Fixation of wage periods:

The Contractor shall fix the wage periods in respect of which the wages shall be payable.

i) No wages period shall exceed one month.

ii)	Wages of every worker employed on the contract shall be paid (a) in case of establishment in which wages period is one week,, within three days from the end of the wage period and (b) in the case of other establishments before the expiry of 7th day or 10th day from the end of the wage period according as the number of workers employed in such establishment does not exceed 1000.

iii)	When the employment of any worker is terminated by or on behalf of the contractor the wages earned by him shall be paid before the expiry of the day succeeding the one on which his employment is terminated.

iv)	All payments of wages shall be made, on a working day except when the work is completed before the expiry of the wage period in which case final payment shall be made with 48 hours of the last working day at work site and during the working time.

Note: 	The term" Working day” means a day on which the work on which the labour employed is in progress.'

6.	Wage book and wage slips etc.

i) 	The contractor shall maintain a Wage Book of each worker in such form as may be convenient at the place of work but the same shall include the following particular:-

(a)	Name of worker.

(b)	Rate of daily or monthly wages.

(c)	Nature of work on which employed.

(d)	Total number of days worked during each wage period.

(e)	Dates and period for which worked overtime.

(f)	Gross wages payable for the work during wage period.

(g)	All deductions made from the wage with an indication. In each case of the ground for which the deductions is made.

(h)	Wage actually paid for each wage period.

ii) 	Signature of thumb impression of the worker.

iii) 	The Contractor shall also issue a wage slip containing the aforesaid particulars to each worker employed by him on the work at least a day prior to the day of disbursement of wages.

iv) 	The contractor shall issue an Employment Card in the prescribed form III to each worker on the day of work or entry into his employment. If the worker has already any such card with from the previous employer, the contractor shall merely endorse that Employment Card with relevant entries. On termination of employment Card shall again be endorsed by the contractor and returned to the worker.

v) 	"The Contractor shall issue an Attendance cum Wage Card as per Form IV enclosed. to each worker on the day of work or entry into his employment"

7.	Register of unpaid wages:

The contractor shall maintain a Register of unpaid wages in such form as may be convenient at the place .of work but the same shall include the following particulars :

- Full particulars of the labourers whose wages have not been paid.

- Reference number of the muster roll and wages register.

- Rate of wages.

- Wage period.

- Total amount not paid.

- reason for not making payment

- How the amount of unpaid wages was utilised.

- Acquittance with date.

8.	Register of Accidents :

The contractor shall maintain a register of accidents in such form as may be convenient at the work place but the same shall include the following particulars :-

a)	Full particulars of the labourers who met with accident.

b)	Rate of wages.

c)	Sex

d)	Age

e)	Nature of accident and cause of accident.

f)	Time and date of accident. "

g)	Date & time when admitted in hospital.

h)	Date of Discharge from the hospital.

i)	Period of treatment and result of treatment.

j)	Percentage of loss of earning capacity and disability as assessed by Medical Officer.

k)	Claim required to be paid under Workmen's Compensation Act.

l)	Date of payment of details of the person to whom the same was paid

m)	Amount paid with details of the person to whom the same was paid

n)	Authority by whom the compensation was assessed

o)	Remarks.

9.	Fines and Deductions which may be made from Wages :-

i) 	The wages of workers shall be paid to him without any deductions of any kind except the following.

a) 	Fines. List of Acts and Omission, for which, fine can be imposed :-

1)	Will full in subordination or disobedience, whether alone or in combination with another

2)	Theft, fraud or dishonesty in connection with contractor's business or property of the D.D.A.

3)	 Taking or giving bribes or any illegal gratification.

4)	Habitual late attendance.

5)	Drunkenness, fighting, riotious or disorderly or indecent behaviour.

6)	Smoking near or around the area where combustible or other materials are stacked.

7)	Habitual negligence.

8)	Habitual indiscipline.

9)	Causing damage to work in progress or to property of the D.D.A. or the contractor.

10)	Sleeping on duty.

11)	Malingering or slowing down work.

12)	Giving false information regarding name, age, father's name etc.

13)	Habitual loss of wage cards supplied by the Employers.

14)	Unauthorised use of employer's property or manufacturing or making of unauthorised articles at the work places.

15)	Bad workmanship in constructions and maintenance by skilled workers which is not approved by the Department and for which contractors are compelled to undertake rectification.

16)	Making false complaints and or misleading statements.

17)	Engaging in trade with in the premises of the establishment.

18)	Any unauthorised divulgence of business affairs of the employees.

19)	Collection or canvassing for the collection of any money, within the premises of any establishment unless authorised by the employers.

20)	Holding meeting inside the premises without previous sanction of the employers.

21)	Threatening or intimidating any workman or employee during the working hours within the premises.

b)	Deduction for absence from the duty i.e. from the place or places where by the terms of his employment he is required to work. The amount of deduction shall be in his employment he is required to work. The amount of deduction shall be in proportion to the period for which he was absent.

c)	Deduction for damage to or loss of goods expressly entrusted to the employed person for custody, or for loss of money or any other deduction, which he is required to account, where such damages or losses are directly attributable to his neglect or default.

d)	Deduction for recovery of advances or for adjustment or over payment of wages advance granted shall be entered in a register.

e)	(i) Any other deduction, which the Central Government may from time to time allow.

ii) 	No fine should be imposed on a worker in respect of such acts and omission on his part as have been approved of by the Chief Labour Commissioner.

iii) 	No fine shall 'be imposed on a worker and no deduction for damage or loss shall be made from his wages until the worker has been given an opportunity of showing cause against such fine or deductions.

iv) 	The total amount of fine which may be imposed in any one wage period on a worker shall not exceed an amount equal to three naye paise in a-rupee of the wages payable to him in respect of that period.

v) 	No fine imposed on any worker shall be recovered from him by installment or after the expiry of sixty days from the date on which it was-imposed.

vi)	Every fine shall be deemed to have been imposed on the day of omission of fact in respect of it which was imposed.

10.	Register of fines, etc.

i)	The contractor shall maintain a register of fines and a register of deduction for damage of loss in Form Nos.1 and 2 respectively which should be kept at the place of work.

ii)	The Contractor shall maintain in both, English and the local Indian Language a list approved by the Chief Labour Commissioner clearly stating the act and omission for which penalty or fine may be imposed on a workman and display it in a good condition in a conspicuous place on the work.

11.	Preservation of Registers : The wage book, the wages, slips, the register of unpaid wages, the registers of accidents, the registers of fines, reductions required to be maintained under these regulations required, to be maintained under these regulations shall be preserved for 12 months after the date of last entry made in them and shall be made available for inspection by the-Engineer-in- Charge, to labour Welfare Officer or any other officer authorised by Ministry of W.H. & S. on the behalf.

12. 	Power of Labour Welfare Officer to make Investigations of Enquiry.

The Labour Welfare Officer or any other person authorised by the Central Government on their behalf shall have power to make enquiry with a view to ascertaining and enforcing due and proper observance of. the fare wages clauses and the provisions of regulations. He shall investigate into any complaint regarding the default made by the contractor or subcontractor in regard to such provisions.

13. 	Report of Labour Welfare Officer --The Labour Welfare Officer or other persons authorised as aforesaid shall submit a report of the result of his investigation or enquiries to the Executive Engineer concerned indicating the extent, if any to which the default has been committed, with a note that necessary deduction from the contractor's bill be made and the wages and other dues be paid to the labourers concerned in case an appeal is made by the contractor under Clause 14 of these regulations actual payment to labourers will be made by the Executive Engineer after the Regional Labour Commissioner has given his decision on such appeal.

a)	The Executive Engineer shall arrange payment to the Labourer concerned within 45 days from the receipt of the Report from the Labour Welfare Officer or the Regional Labour —commissioner as the case may be.

14.	Appeal against the decision of Labour Welfare Officer.

Any person aggrieved by the decision and recommendations of the Labour Welfare Officer or other person so authorised may appeal against such decision to the Regional Labour Commissioner concerned within 30 days from the date of decision, forwarding simultaneously a copy of his appeal to the Executive Engineer concerned but subject to such appeal the decision the Officer shall be final and binding upon the contractor.

15.	Prohibition regarding Representation

i) 	A workman shall be entitled to be represented in any investigation or enquiry under these regulations by

a)	An officer of a federation of trade union of which he is a member. .

b)	An officer of a federation of trade union to which the trade unions referred to in clause (a) is affiliated.

c)	Where the employer is not a member of any registered trade unions, by an officer of a registered trade union connected with or by any other workman employed in the industry in which the worker is employed.

ii)	An employer shall be entitled to be represented in any investigation or enquiry under these regulations by :-

a)	An officer of an association of employer of which he is a member.

b)	An officer of a federation of employer to which the trade unions referred to in clause (a) is affiliated.

c)	Where the employer is not a member of any association of employer connected with or by an any other employer engaged in the industry in which the employer is engaged.

iii) 	No party shall be entitled to be represented by legal practitioner in any investigation or enquiry under these regulations.

- Inspection of books and slips-The contractor shall allow inspection of the wages books and the wages slips, the register of unpaid wages, the register of accident, and the register of fines and deductions to any of his workers or to his agent at a convenient time and place after the due notice is received from the Labour Welfare Office or any other person authorised by the Central Government on his behalf.

- Submission of Return :

The contractor shall submit periodical return as may be specified from time to time.

18.	Amendments:

The Central Government may from time to time add to or amendment the regulations and on any question as to the application interpretation or effect of those regulations to the decisions of the Chief Labour Commissioner or Deputy Chief Labour Commissioner to the Government of India or any other person authorised by the Central Government on that behalf shall be final.

Annexure to Additional condition 34(i) showing quantities of materials of areas of road roller of surfacing to be considered for working out the minimum period for which hire charge are to be recovered.

S. No.

Materials of surfacing                                                       	Quantities of Area

1.	Consolidation of earth sub-grade	1860 sq. m.

2.	Consolidation of sub base with 90-45 graded stone metal	42 cu. m.

3.	Consolidation of wearing coat of stone ballast 7.5 cm to 11.5 cm thick	30 cu.m.

4:	Consolidation of wearing coat of brick ballast 10 cm thick.	60 cu. m.

5.	Spreading and Consolidation of red bajri 6 mm	1860 sq. m.

6.	Painting one coat using stone aggregate 12.5 mm nominal size

a) @ 1.65 m3 per 100 m2 and paving bitumen A-90 or

S-90 @ 2.25 Kg. per m2 or	930 sq. m.

b) @ 1.5 m3 per 100m2 and bitumen emulsion or road tar @ 2.25 Kg. per m2

7.	Painting two coats using --

a) For first stone aggregate 12.5 mm nominal size- .

i) @ 1.5 m3 per 100 m2 with paving bitumen A-90 or S-90 @ 2 Kg. /sq m.

or ii) @ 1.35 m3 per 100m2 with bitumen emulsion @ 2Kg./sq.m. or

iii) @1.5m3 per 100m2 with road tar @ 2.25 Kg./sq. m.	600 sq. m.

b)	For 2nd coat, stone aggregate 10mm nominal size 0.9 cu m per 100 sq: m. with

i) 1 Kg. of paving bitumen A-90 or S-90, or bitumen emulsion per sq. m. or

ii) 1.25 Kg. of bitumen emulsion per sq. m.	' 1670 Sq m.

8.	Re-painting with stone aggregate 10 mm nominal size 0.9 cu m per 100 sq.m. with—

- 1Kg. of paving bitumen A-90 or S-90 sq.m. or

- 1.25 Kg. of bitumen emulsion per sq.m.	1670 Sq.m.

- 2cm premix carpet surfacing using 2.4m3 of stone aggregate 10rnm nominal size per 100m2 and binder including tack coat the binder being paving Bitumen's S-90 or hot cut back bitumen or bitumen emulsion in specified quantities.	930 sq .m.

- 2.5cm thick premix carpet surfacing using 3m3 of stone aggregate 10 mm nominal size per 100m2 and binder including tack coat, the binder being paving bitumen S-90 orhot cut back bitumen emulsion in specified quantities..	930 sq .m.

- 4cm thick premix carpet surfacing using stone aggregate 3.8 cum. (60%20) mm nominal size and 40% 12.5mm nominal size per.100m2 and coarse sand 2.4 cu m. Per 100 sq m. and hot cut back bitumen over a tack coat of hot cut back bitumen	370 sq.m.

- 5cm thick bitumen concrete surfacing using stone aggregate 4.8 cu m. (60%40mm nominal size and 40% 20mm nominal size) per 100m 2 and coarse sand 1.9 cu m. per 100 sq. m. and hot cut back bitumen over a tack coat of hot cut back bitumen.	370sqm

- 6cm thick bitumen concrete surfacing using stone aggregate 5.8 cu m. (60% 25 mm nominal size and 40 % 25 mm nominal size) per 100 sq. m. and coarse sand 2.9 cu m per 100 sq. m. and hot cut back bitumen over a tack coat of hot cut back bitumen.	280 sq m.

14.	7.5mm thick bitumen concrete surfacing using stone aggregate 7.3 cu m. (60% 50 mm nominal size and 40 % 40 mm nominal size) per 100 sq. m. and hot cut back bitumen over a tack coat of hot cut back bitumen over a tack coat of hot cut back bitumen and coarse sand 3.6 cum/100 m2 	230 sq m..

15.	2.5 cum. bitumastic sheet using stone aggregate 1.65 cu m. (60% 12.5 mm nominal size and 40% 10 mm nominal size) per 100 sq. m. and coarse sand 1.65 cu. M per 100sqm. and hot cut' back bitumen over a tack coat of hot cut back bitumen.			750 sq m.

16.	4 cm bitumastic sheet, using stone aggregate 2.6 cu m. (60% 12.5 mm nominal size and 40% 10 mm nominal size) per 100 sq. m. and coarse sand 2.5 cu m per 100 sq. m. and hot cut back bitumen over a tack coat of hot cut back bitumen.

560 sq m.

17.	Laying full rolled surface using stone aggregate 40mm nominal size 6.10 cu.m. per 100 sq.m. with binder, binding with 20mm to 12.5 nominal size stone grit 1.83cum. per 100 sq.m. and seal coat of binder and stone grit 10mm nominal size 1.07 cu.m. per 100 sq.m. the binder being hot bitumen or tar as specified.

460 sq m.

18.	Laying full rolled surface using stone aggregate 50 mm nominal size 9.14 cu.m. per 100 sq.m. with binder binding with stone grit 20 mm to 12.5 mm nominal size 1.83 cu.m. per 100 sq.m. and seal coat of binder and stone grit 10mm nominal size 1.07 cu.m./100 sq.m. the binder being hot bitumen or tar

370 sq.m.

19.	4 cm thick premix macadam surfacing using stone aggregate 25 mm nominal size 4.57 cu.m. per 100.sq.m. and hot bitumen binding with stone aggregate 12.5mm nominal size 1.52cu.m. per 100sq.m. nominal size, 1.07 cu.m. per 100 sqm.

560 sq m.

20.	5 cm thick premix macadum surfacing with stone aggregate 25mm nominal size 6.10cu.m. per 100 sq.m. and hot bitumen, binding with stone aggregate 12.5 nominal size 1.52 cu.m per 100 sq.m. seal coat of hot bitumen stone aggregate 10mm nominal size 1.07 cu.m/100sq.rn	460 sq m.

21.	Seal coat to premixed and with paving bitumen S-90 using 128 Kg. of "bitumen square metre of road surface.	18.60 sq m.

22.	Consolidation of granular subbase courses with power vibratory roller 80 to 100.

133 Cum.

23.	Consolidation of C.C. 1:4:8 base course with power vibratory roller 80 to 100.

133 Cum.

SPECIFICATION AND CONDITIONS

GENERAL:

1.	The contractor must get acquainted with the proposed site for the works and study specifications and conditions carefully before tendering. The work shall be executed as per programme approved by the Engineer-in-Charge. If part of site is not available for any reason or there is some unavoidable delay in supply of materials stipulated by the Department, the programme of construction shall be modified accordingly and the contractor shall have no claim for any extras or compensation on this account.

2.	Periphery of works areas shall be the area shown in the layout plan of the scheme.

Specification :

3.1 Specification to be followed for execution of work shall be :-

3.1.1	The entire work shall be done as per CPWD specification 1996 Vol-1 to VI upto date correction slip, most specification and Revised CPWD specification 2002 for cement, concrete, RCC and cement mortar

However in case of any discrepancy in the description of any rtem as given in the schedule of quantities appended with the tender and the specification relating to the relevant item as per CPWD specifications relations 1996 vol-1 to VI and CPWD specification 2002 for cement, concrete, RCC and cement mortar or  with upto date C.S.. The former shall prevail the specifications for any items are not available in the CPWD Specifications referred above, relevant B.l.S. Specifications shall be followed In case B.I.S. Specification are also not available, the decision of the Engineer-in Charge shall be final. Whenever any reference to any Indian Standard Specifications occurs in the documents relating to the contract the same shall be inclusive of all the amendments issued there to or revisions thereof if any, upto the date of receipt of tenders.

3.1.2	Samples of all building materials doors and windows fittings sanitary wares and other articles required for execution of works shall be got approved from Engineer-in-Charge Article manufactured by Firms of repute and approved by the Engineer - in- Charge shall only be used. Articles classified as first quality by the manufacturer shall be used unless otherwise specified.

Preference shall be given to those articles which bear I.S.I Certification mark. In case articles bearing I.S.I. Certification mark are not available, the quality of samples brought by the contractor shall be judged by the standard laid down in the relevant I.S.I. Specifications All material and articles brought by the contradictor to the site for use shall confirm to the samples approved which shall be preserved till the completion of the work.

3.1.3. The work will be carried out in the manner complying in all respects with the requirement of relevant by laws of the local body under the Jurisdiction of which the work is to be executed or as directed by the Engineer-in-charge and nothing extra will be paid on this account.

3.1.4	The contractor shall have a performance tests for the entire installations as per standards/ specifications before the work is finally accepted and nothing whatsoever shall be payable to the contractor without such test.

3.1.5	The junior Engineer should maintain the Register for cement paint and other Registers as required by the Engineer-in-Charge and these should be signed by the contractor or his authorised agent and the Junior Engineer-in-Charge of the work.

3.1.6	The contractor shall leave such recesses, holes, openings etc. as may be required for the electric and sanitary works by providing P.V.C. scrubs at appropriate level and direction and nothing extra shall be paid on the work.

3.1.7	The work of electrification, horticulture and other internal and external services may be carried out simultaneously by other agencies with the work being tendered for against the enclosed contract documents The contractor shall afford necessary facilities for the same.

3.1.7A No claim in the matter shall be entertained and nothing extra over the agreement rates shall be paid for the same1»r fixing, laying/burying in the works pipes, cables conduits clamps boxes or hooks for fan clamps etc.

3.1.8	The contractor shall make his own arrangement for temporary electric connection if required and make necessary payment for it direct to the department concerned.

3.1.9	The contractor shall be required to do the work of development before taking upto building work, as per the direction of the Engineer-in-Charge.

3.2	Specific provisions in the wording of items in the schedule of quantities shall have precedence over 3.1.1 and 3.1.2.

3.3	The bricks brought by the contractor including those classified as first class in the local market shall be classified accordingly CPWD specification referred above irrespective at the classification shown in the permit (where there is a permit system) under which the contractor might obtain the material.

3.4 (a)	Material bearing B. I.S Marks shall be given first preference for incorporation in the work. Whenever ISI marked materials are available the same only shall be used. In case where articles of different makes and designs bearing B.I.S mark are available in the market the decision of the Engineer-in-Charge about a particular make and design to be used in the work shall be final and binding. In case where articles with B.I.S mark are not available in the market, the quality shall have to conform to relevant B.I.S specification.

3.4(b)	Materials for which B.I.S. has licensed use of B.I.S certification mark only material bearing B.I.S. certification mark only material bearing ISI certification mark are available the decision of the Engineer-in-Charge about the design to be used in the work shall be final and binding on the contractor where articles with B.I.S. certification mark are not available the quantity shall confirm to the relevant CPWD specification/I SI specification or as approved by the Engineer-in-Charge.

3.5	Immediately after the award of works, the contractor shall produce samples of all materials be used and incorporated in the works for approval  only apporoved samples shall used in the works.

3.6	The structural and architectural drawings shall, at all times, be properly correlated for executing any work Architecture requirement shall be fully satisfied where specific mention is made of Architects Design. Architects approval etc. Samples shall be prepared for approval before starting the work on any item specified by the engineer-in-charge.

3.7	For all precast concrete work on an unyielding platform with smooth finished surface shall be made. The member shall have to be cast in approved rigid moulds. Use of bricks, loose plank sand battens and similar non-rigid sides of moulds shall not be permitted. Vibrators must be used for compaction of concrete. All faces of the members must come out smooth. Curing shall be either under water or by covering with wet gunny bags for minimum 14 days. For all types of cement work with Hopper mixer shall be used in the work.

(a) For all type of Cement work, Hopper mixture shall be used in the work.

3.8	The hinges of door shutters shall be welded to angle iron frames for full length and eyes and hooks shall be provided to such frames as per requirement. Nothing extra shall be paid for this work or for providing wooden padding for fixing the fitting to shutters to suit angle iron frames.

3.9	Rates for steel windows shall be fully deemed to exclude the cost of providing M.S. Stays and windows fasteners of approved type each. The rate of M.S. Grills shall cover all grill work provided. No distinction shall be made between plain and ornamental grills for payment. The grill should be welded along the full length of connected up to door and windows m.s. frame,

3.10	Rates for flooring item shall be inclusive of providing sunk flooring in bath room and kitchen. However rounding the junction as provided in agreement item shall be paid for.

3.11	For various fitting in internal services, the dimensions given in the following table shall be maintained.

| ITEM | Height above | Distance from |
| --- | --- | --- |
|  | Floor level (mm) | Face of wall (mm) |
| BATH ROOM |  |  |
| Bib Cock | 800 | 200 |
| Shower Rose | 2100 | 500 |
| Stop Cock for Shower Rose | 1100 |  |
| W.C. |  |  |
| Bib Cock | 250 | 100 |
| Flushing Cistern | 1950 |  |
| Bottom (Top of bracket) |  |  |
| Other Fittings |  |  |
| Wash basin Front Edge | 800 | - |
| Mirror: Bottom | 1200 | - |
| Top | 1800 | - |
| Glass Shelf | 1050 | - |
| Towel Rail | - | - |
| Kitchen Sink | 800 | - |
| Kitchen | 500 | 200 |

3.12	Welding wherever required in the structure like grill railing and truss shall be done for full length tuck welding is not allowed.

3.13	Unless otherwise specified Rates quoted by the contractor shall hold for work at all heights and depths. The contractor shall not be paid on any thing extra for maintaining in good condition all the work executedtill completion of the entire work; nor on account of damage to the works caused by rains or other natural phenomenon during the execution of works.

3.14	The G.I. fitting shall be of same specification as G.I. B class pipe.

(a)	The G.I. fittings shall be of same specification of G.I.B class pipe.

(b)	Course sand (badarpur) will be used after washing in case silt contents is beyond permissible limit.

(c)	Short pipe nipple used in work should be of same grade and specification as prescribed for G.I. Pipe.

(d)	Full welding of steel section of grills along the contract area with frames but hings to be welded with frames.

3.15	Collection and stacking of materials shall include all leads. The rates quoted by the contractor shall hold good irrespective of the source from which the materials are brought so long as they conform to the specification.Closure of particulars quarry will not entitled to any revisions in rates.

3.16	The contractor shall be responsible for watch and ward of shutters and material issued to him/handed over to him by the department and nothing shall be paid extra to him for this.

3.17(a) The rates to be quoted by the agency for stone cladding and other exterior items shall include the cost of centring and shuttering scaffolding for execution of work and nothing extra shall be payable on this account,

3.18	The M.S. Flats clamps 6mm thick for bolting arrangement are be provided and welded as per site condition. The rate of angle iron-door/windows frames is inclusive of the cost of such clamp. The door and windows fittings like hinges hooks and eyes are be welded to the M.S. Frames as required and nothing extra will be paid on this account and no deduction for not providing the eyes, hooks, bolts and sliding bolts etc. due to provisions of such clamps shall be made.

3.19	The flush door shutter shall be with B.I.S. Specification mark and shall be obtained from suppliers on the approval list of C.P.W.D./D.D.A. Coarse Sand will be washed before use.

3.20	The panel door shutters will be provided by the contractor themselves from the manufacturers only who will be in the approved list of DDA.

All times to be used for manufacture of doors, windows and ventilators shall be kiln seasoned to the required specified standards and approved kiln and the contractor shall produce a satisfactory proof of the name in writing the engineer in charge whose decision shall be final & binding.

4.1	The contractoTshall carry out the work of sewer lines in close co-ordination with works of the services in the area. The contractor shall have no financial or other claims arising out of lack of co-ordinate.

4.2	No payment shall be made for the excavation for sewer lines for the portion covered by excavation from construction of manholes.

4.3	Earth excavation for trenches shall be stacked at a distance from the top edge of excavation equal to depth of the trench below ground level or equal to 5m whichever is greater.

4.4	S.F.R.C7 R.C.C. Covers must have been engraved with the mark of DDA and year of manufacture and B.I.S. certification I.S.I mark.

Work Under Sub-Soil Water

4.4.1	The sub Soil water level shall be determined and recorded at each manhole position before any de-watering is d§*ne and when there is at least of 25cm depth of water in the trench. The average of the two levels will be taken as sub soil water level for the length between the two manholes.

4.4.2	The depth below subsoil water level shall be measured to invert level of the pipe or the bottom of the concrete for relevant item.

4.4.3	Nothing extra shall be paid for the work under sun-soil water level in case of manhole for all depth.

4.5	The contractor shall carry out disc test on all sewer lines and satisfied the Engineer-in-Charge that the lines are absolutely clear. Any obstruction shall be removed by the contractor without any claim for extras. Decision of the Engineer-in-Charge with regard to disc test and cleaning of the lines shall be final.

4.6	The contractor will not be required to carry out testing of joints in the R.C.C. pipes laid below sub soil water level. In such case C.C. 1:2:4 shall be provided all round joint of such pipes for length of 225mm on either side of joints and nothing extra shall be paid.

Service

The contractor shall employ licensed plumbers for water supply and sanitary installation work and shall satisfy all the requirements including disc and ©ther test, of the municipal Corporation of Delhi in respect of the same. The contractor shall make his own arrangement for supply of Electricity and water required for the works.

5.1	Cutting of hofes in walls, floors, chajjas, R.C.C Slabs etc.

The tendered shall include the cost of cutting holes wherever required and making good the same and nothing extra shall be paid for this.

5.2	Wherever necessary the S.C.I pipes and G.I. pipes shall be fixed in R.C.C. columns beams etc. with scrub plugs and nothing extra shall be paid for it.

5.3	The contractor shall be responsible for all the protection of sanitary water supply fitting and fixtures against pilferage and breakage during the period of installation until the completion of this work.

5.4	G.I. pipes as stipulated in the schedule of materials can be issued in metres or ties equivalent metric size as contractor will remain the same.

5.5	The contractor will  not be paid extra on this account and nothing will be deducted for using metric size of G.I. Pipes used from Central Stores Division and the item will be paid as per agreement rate for the same item.

5.6	The rates of baseties is included in the item of M.S. door frame and nothing extra shall be paid.

6.	Appliances

The contractor shall at no extra cost, provide at site appliances such as weighing scale graduated cylinder standard service slump cones, CI or MS test tube moulds, calliper tapes etc. for site testing of materials and works.

7.	Bricks

The contractor will make his own arrangement for the entire quantity of bricks required for the work and  quality of bricks shall be judged as per specification and bricks work so to be done with F.P.S. Bricks.

8.	Labour  huts

The contractor shall put up the tents for labour as per the conditions of contract, only in the area indicated on the plan and demarcated on the ground by the Engineer-in-Charge. The final bill shall not be paid unless all the  huts are cleared from the site.

9.	Shops

Restaurants hops or kiosks shall not be allowed to be put up by the contractor in the works area in the labour tents area. Temporary, kiosks put up by the Engineer-in-Charge shall be taken by the contractor on lease to be terminated on the date of completion of termination of contract whichever is earlier and at the e rate or Rs. 30/- per kiosks per month to be recovered from the bills paid. On the date of completion of the work or termination of contract which is earlier the kiosks shall be vacated by the contractor and vacant possession given over to the Engineer-in-Charge failing with penalty shall be levied on the contractor at the rate of Rs. 150/- per day of delay involved.

10.	Drawings

The drawings referred to the tender documents are available for inspection or intending tenders in the office of the Executive Engineer Tenders shall be desired to have based their rates on these drawing which shall be included as part of the Agreement with the tender based whose tender is finally accepted The contractor shall have no claim with reference to these drawing in respect of any of the rates after acceptance of the tender.

11.	Testing of Materials

For the tests conducted in D.D.A. labs the testing charges will not be borne the agency however when tests are conducted from Lab other than DDA the testing charges shall be borne by the agency. The packing, transportation, cost of material will be borne by the agency/contractor any testing charges of field tests done at site will be borne by the agency. Water testing charges if any shall be borne by the contractor. This supersedes all other conditions regarding testing of material.

12.	Safety Codes

Safety pertaining to construction work such as excavation trenching blasting demolition provision of scaffolds ladder, working platform gangways mixing of asphaltic materials electric are and gas welding use of hoisting and construction machinery shall be governed by the relevant provision of C.P.W.D. safely call (agreement form) or as directed by Engineer-in-Charge Contractor shall put corrugated sheeting duly painted with red and white strips around the area any digging work or another work for laying pipes cables etc. is to be carried out on the roads Warning sign board should be installed to inform users about the work being carried out. Contractor will installed warning lights in order to give proper warning to the vehicle and pedestrians at night.

12.(a) The excavated earth shall be dumped at a place as per the direction of the Engineer-in-Charge for which he will not have any extra claim on this account.

13.	Additional Conditions

G.I. Pipes of various size as specified will be issued by the department from DDA stores only for the item of water supply and sanitary installation subhead. For other item involving the use of G.I. Pipes and M.S. pipes of various sizes such as hand rails rain water pipes spouts & flush pipe etc. the contractor shall make his own arrangement and no extra claim on this account will be enlisted by the Department. Short pipe nipples provided by the contractor in G.I. pipe lines shall be of G.I. pipe.

14.	Fire Hydrant shall conform to ISI 909-1992

15.	The Contractor shall be required to submit the detailed programme for completion of work within the stipulated period in the form of a Bar Chart, covering all major modification to the Engineer-in-Charge with the 15 days from the date of start of work of modification suggested by the Engineer-in-Charge shall be incorporated in the Bar Chart. It will be ensured by the contractor that the time schedule will laid down the aforesaid Bar Chart id adhered to. In case of any slippage the time lost will be made good by the contractor by speeding up the activities. In such cases he shall be bound to follow the revised programme decided by the Engineer-in-Charge.

16.	The rate of all item of work shall be clearly specified  and unlessspecified otherwise include the cost of all material labour etc. involved in execution of the items.

17.	The surface will be finished rough sponge and with the uniform texture samples of such plaster should be prepared by the contractor and got approved by the Engineer-in-Charge before undertaking mass work.

18.	The contractor shall be required to use only mechanical mixer(s) with lifting hopper (s) for mixing cement concrete required for R.C.C. works/Cements concrete work.

19.	The material will be issued to the contractor at the place of delivery as mentioned in the Schedule of materials. If these are delivered any other site the difference due to cartage will be adjusted accordingly. The contractor shall have the cart at his cost the materials to the site of work as soon as these are issued The materials will be issued between the working hours and as per rules of DDA godowns as framed from time of time.

20.	The contractor shall bear all incidental charges for cartage, storage and safe custody of materials.

21.	All materials obtained from DDA stores or otherwise shall be got checked by the Engineer-in-Charge of the works on receipt of the same on  site before use.

22.	No payment will be made to the contractor for damage caused by rains and other natural calamities  during the execution of work and no such claims on this account will be entertained.

23.	The water will be tested with regard to its suitability for use in R.C.C. works and nothing extra shall be paid on this accord.

24.	The contractor will submit to the Engineer-in-Charge PERT chart within ten days of the date of start of the work for completing the same within the stipulated period. The contractor shall follow the PERT chart strictly and no deviation whatsoever shall be allowed there from If the contractor fails to submit the PERT chart, the Engineer-in-Charge shall be get it prepared at the risk and cost of the Contractor.

25.	The scaffolding for doing the brick work for all external walls shall be done from outside. The support shall be sound and strong, tied together will be horizontal pieces. The holes for horizontal scaffolding pole shall be provided only in the header course. The holes in the masonry work for supporting the scaffolding shall be filled and made good before plastering The contractor shall be responsible for providing and maintaining sufficiently strong scarf folding so as to withstand-all loads likely to come upon it. Nothing extra is payable on this account.

Due cares shall be taken by the contractor to ensure the execution of brick masonry walls in plumbs. The outer face of the building should be kept as true face.

26-the contractor shall complete one sample house in all respect within 90 days of the start of the work . one complete block of houses selected by Engineer- In-Charge  shall be completed within 180 days of the start of the work as directed by the Engineer- in –Charge.

27.	The item of external plastering shall be taken after getting the approval of the Engineer-in-Charge. The item of external finishing if got executed from another agency may need a close co-ordination between the items of external plastering and finishing for which the contract or shall have to work in close liaison with the second agency as per direction of Engineer-in-Charge.

The contractor shall be responsible for any activity, authorised or unauthorised going on with in the site area handed over to him by the department for construction going development maintenance or for any other purpose the contractor shall also be responsible for informing the Engineer-in-Charge in writing wherever their supervision is essential. Further this shall not be ground for seeking time extension in completion of the work and/or for claiming any not be ground for seeking time extension in completion of the work and/or for claiming any loss and/or damage by the contractor at all as the cause of prolongation of completion of work.

28. 	Levy of taxes

(i) 	“Tendered rates are inclusive of all taxes and levies payable under the respective statutes. However pursuant to the constitution act, 1982, if any further tax or levy is imposed by after date of receipt of tenders and the contractors thereupon necessarily and properly pays such taxes/levies the contractor shall be reimbursed the amount so paid provided such payment if any, is not.-in the opinion of Superintending Engineer (whose decision shall be final and binding) attribute to delay in execution of work within the control of the contractor.

(ii) 	The contractor shall keep necessary books of account and other document for the purpose of this condition as may be duly authorised representative of Govt. and further shall furnish such other information/documents as the Engineer-in-Charge may require.

(iii) 	The contractor shall within a period of 30 days of imposition of any further tax or levy, the pursuant to the constitution Act 1982 give a written notice thereof to the Engineer-in-Charge that the same is given pursuant to this condition together with all necessary information relating thereto.

29.	Steel section/steel windows shall be obtained from the approved manufactures.

30.	Sand Castiron pipes and A. C. Pipes.

Only ISI marked sand cast iron pipes and fittings A. C. pipes and accessories shall be allowed to be used in the work.

SPECIAL CONDITION

Water Storage Tanks

The H.D.P.E. water storage tanks should be F.D.A. (Fopd Drug Addition) approved tested by C.B.R.I. Roorkee and Public Health Engineering Laboratory. If necessary The Engineer-in-. Charge will be at liberty to get the tanks tested for the various tests laid down from test house approved by the Engineer-in-Charge to ensure their strength and suitability for storing potable water. The testing and other incidental charges shall, however be born by the Contractor the con¬tractor shall also provide the guarantee covered duly endorsed to the D.D.A. with manufactures’s guarantee for all the above materials.

Barricading of excavated trenches on both side of the trench to the heights of 1.60 mtr. with galvanised steel plain sheet of 1.00mm thick (Class-1) fixed on 100mm dia. Sal Balliee 3m apart with nails etc. will be done by contractor as a safety measure and nothing extra will be paid for. He will also provide red strips on sheet with aluminium paint 75mm vide alternatively on outside of sheets vertically and no extra payment will be made on this account.

Any permission if required from police authorities or other departments for closing or cutting of the road will be obtained by the contractor at his own. He will have not claim for any financial loss or extension of the time on this account.

The agreement item provides for white glazed tiles Coloured tiles, however, be used as per the direction <of Engineer-in-Charge if these tiles are available at the rate of white tiles. In such cases no extra payment shall be admissible.

The rate of all item of work shall be unless already specified otherwise include cost of all labour material and other issues involved in the execution of item.

ADDITIONAL CONDITIONS

1.	The contractor shall give a performance test of the Entire installations as per standard specification before the work is finally accepted and nothing extra whatsoever shall be payable to the contractor for the test.

2.	Mild steel and cold twisted deformed bars shall be payable to the contractor for the test where stipulated will be issued in lengths shapes and sizes available in the stores. No claim of extra payment etc. on this account shall be entertained.

3.	Any cement slurry added over base surface for continuation of concreting for better bond is deemed to have been included in the item (unless otherwise specially stated) and nothing extra shall be payable for extra cement consumption on this account.

4.	In case there is any discrepancy in frequency of testing as given in the list of mandatory tests and that in individual sub-heads of work as per C.P.W.D. specification 1996 I to VI with upto date correction slip and Revised CPWD specification 2002 for cement, concrete, RCC and cement mortar with upto date C.S. (Vol-1 to 15), nothing  Extra shall be payable to the contractor on this account.

5.	Weep holes and expansion joints wherever required in S.W. Drains may be provided at suitable intervals as per specification. Nothing extra shall be paid on this account.

GENERAL RULES ADDITIONAL CONDITIONS AND SPECIFICATIONS

The following shall be read in conjunction with and constructed in reference to and in context of the General Rules Specification of Tender Documents and the conditions herein before contained and the requirements to fulfilled without any extra charges and the contractor shall take all these into account while quoting the rates.

5(a) 	The field staff shall keep the record of initial levels and final levels of all low lying area,

b) 	The field staff shall ensure that the quantity of excavation earth disposed off by mechanical transport is dumped in the areas certified by EE. as low laying area shown on the enclosed layout.

(A) GENERAL;

1.	APPLICATION OF SPECIFICATIONS

These specification form part of the contract and shall be read in conjunction with other documents forming the contract, viz the General Condition of Contract, special Condition, Tender Form, Scheduled Quantities and drawings.

2.	WORKS INCLUDED

The rates for all items must cover the cost of all materials, labour, tools machinery, plant, pumps, Explosives, scaffolding, staging, shores, props, bamboos, ropes, templates, pegs and all application and operations whatsoever necessary for efficient and proper execution of the work, in accordance with specifications.

3.	EXECUTION OF WORKS

The contractor is responsible for the correct execution of the work in accordance with the drawings provided to him. He is also responsible for all mistakes due to working to wrong levels or centre lines, When levels, centre lines and bench mark of reference, have been once intimated to him in writing by Engineer-in-Charge, it is his responsibility to record, project and maintain the said makes, and to work to the same, and no complaints shall afterwards be admitted for excess work done as a consequence of such levels not having been kept up and maintained by the contractor.

4.	In case the contractor requires any clarification, conditions, drawings etc. the Engineer-in-Charge shall be contacted.

(a)	The field staff shall kept the record of initial levels and final levels of all low lying area.

(b)	The field staff shall ensure that the quantity of excavation earth disposed off by mechanical transport is dumped in the areas certified by EE, as low laying area shown on the enclosed layout.

(c)	Before execution of work it is very essential to record the levels in the level book of the original ground duly test checked by the J.E. incharge, A.E. incharge and E.E. These levels are also to be accepted and signed by the agency.

(d)	The levels of the ground of the land from where the earth is to be procured to the site of work by the agency are also required to be recorded in the level book to be test checked by the field staff. These levels are also to be accepted and signed by the agency. There after the levels of the proposed ground are also required to be taken duly test checked by the field staff. E. E. and to be signed by the agency. So that quantity of earth supplied/executed may be calculated and payment may be made accordingly.

(e)	E.E must ensure at the start of work that proper care must be taken if there is loose pocket/ ditch coming under sewer line or manhole” that the sewer line /manhole are laid on the firm soil by adopting suitable method as per site requirements.

5.	ACCESS TO SITE

The contractor is to include in his rates the cost for forming access to the site with all temporary roads and gangways require for the works.

6.	ACCESS FOR INSPECTION

The contractor is to provide, at all times during the progress of the works and the maintenance period, proper means of access, with ladders, gangways etc. and other necessary attendant to move and adopt as directed for the inspection or measurement of the words by the Engineer-in-Charge or his authorised representatives.

7.	SPECIALISED WORK

The following specialised works shall be carried out by specialist persons or manufactures with the written approval of the Engineer-in-Charge.

(i)	Stone and Marble work.

(ii)	Steel doors, windows and rolling shutters.

(iii)	Terrazzo tile flooring/mosaic flooring/glazed tiles and ceramic tiles/exposed aggregate finished plaster.

(iv)	Flush doors/fire doors.

(v)	Painting and polishing.

(vi)	Water proofing treatment of roofs, terraces of balconies, sunken portion of toilets in all floors, water tank etc.

8. 	Where the contractor is required to provide materials of certain sizes or weights which may have gone out of market due to change over to metric standards- substitutes conforming to the nearest equivalents on the higher side, as approved by the Engineer-in-Charge, shall be used. No claim of extra payment shall be entertained on this account.

INSTRUMENT AND EQUIPMENT

9.	The contractor shall make the following available readily and in good working condition at site to ensure proper quality of work :

Theodolite, Dumpy level with staff, steel tapes, stop watch, platform type weighing machine of 200 Kgs. capacity, steel balance with weights, Spring balance, slumpcone with tamping rod, 15 cm cube moulds 24 Nos. Plumb Bob, spirit level Vernier/Micrometer Calibrated cylinders, Hammers, thermometers and standard compression testing machine for concrete cubes. “

10.	The layout alignment and the orientation of the different members of the structural works should be carried out after thoroughly checking the drawings and obtaining clarification, if any, from the Engineer-in-Charge. The setting out work should be carried out by the precision surveying instrument and got approved from the Engineer-in-Charge. The contractor shall arrange the necessary equipment and instruments.

1. 	PROVISION OF GROOVES

The Engineer-in-Charge shall require (where he deems so necessary) to provide grooves of approved pattern between various surfaces such as timber/plaster, exposed aggregate plaster/concrete/ exposed concrete/brick work, ceiling/walls, Skirting/plaster, between various-concerning operation of same or different members (particularly) in the exposed concrete work) or as regulated etc. such groves shall be provided without extra charges and the contractor “s rates for various items are deemed to include the cost of all labour, tools and materials required for making such grooves.

12. 	Large sized details shall take precedence over small sized drawings. The contractor shall verify all dimensions at site.

13.	STORAGE OF MATERIALS

The contractor shall store all materials in proper manner so as to avoid contamination and deterioration. The places at site where materials are to be stored shall be subject to the approval of the Engineer-in-Charge. Store the place where the materials are stored by the contractor be required by the Engineer-in-Charge. for any other purpose, the contractor shall make arrangements to clear the space within such time as may be instructed by the Engineer-in-Charge.

14.	PERMANENT BENCH MARKS

Where directed by the Engineer-in-Charge, the contractor shall provide permanent bench marks. Likewise, any other levels or lines or points specifically required by the Engineer-in-Charge shall be built in. The contractor shall carefully protect and preserve such important mark during execution of the work.

15.	TESTING OF MATERIALS

The tests shall be carried out by the contractor in laboratories approved by the Engineer-in-Charge and as often as he may consider them necessary. Engineer-in-Charge may ask the contractor to install testing equipment at site for such tests which he may like to get tested at site himself. The Contractor shall ensure and certify the calibration of the equipment so installed and shall maintain the same in working order throughout the period of construction. The contractor shall also provide necessary trained staff for carrying out such tests and using such equipment. All tests shall be carried out under the supervision of Engineer-in-Charge.

16. 	The levels, measurement and other information concerning the existing site as shown in the drawings or as described are supposed to be correct but the contractor shall verify them for himself, as no extra claim whatsoever shall be entertained on account of any change in such matters or on account of the descriptions turning out to be different from what was expected.

17. 	The rate of different items are for all heights, depths and widths unless otherwise specified in the items of Schedule of Quantities.

18.	BAILING OUT WATER

The rates shall, include cost of bailing out water, rainwater, as well as subsoil water, and keeping the working place dry and nothing extra on this account shall be paid.

19.	ROYALTY

Royalty for earth, boulders, metal, sand etc. shall be borne by the contractor and nothing extra on this account shall be paid to him.

20.	SAFETY MEASURES

The contractor shall provide necessary barriers, warning signals and other safety measures while cutting roads or laying pipe lines etc. or wherever otherwise necessary, so as to avoid accidents. He shall also indemnify the employer against claims for compensation arising out of negligence in this respect. These provisions are in addition to the safety measures already mentioned in the P.W.D.8.

21. 	All soil, filth or other matter of an offensive/obnoxious nature, taken out of any trench, sewer, drains cess pool or other place, shall not be deposited on the surface, but shall at once be carted away by the contractor to some pit or place provided to him and as approved by the Engineer-in-Charge.

22.	WATER FOR CONSTRUCTION PURPOSES

The water to be used for construction shall have to satisfy the requirements as per the Bureau at Indian Standard codes. As soon as the Contractor has decided OF located source of water, he shall be required to send samples of water for testing to laboratory approved by the Engineer-in-Charge. Water shall be allowed for use for construction purposes only if it satisfies the requirements of bureau Indian Standard codes. In case, the water is found unsuitable for construction purposes, the contractor shall have to arrange water from alternative source. The samples for water have to be tested at least once in every three months or earlier the testing charges shall be borne by the contractor.

23.	APPROVAL OF SAMPLES OF MATERIALS

Attention of the contractor is again drawn specifically to condition 3-5 of “Specifications and Conditions” in the printed tender document regarding approval of samples of materials to be used in the work. Before placing a build order for any material or bringing any material to site, the contractor shall have to bring a sample first and get it approved from the Engineer-in-Charge. Any material brought to site in contravention of this condition shall be rejected forthwith and no payments made.

24.	BAR CIHART/CPM CHART

Within 15 days from the date of award of work, the contractor shall have to submit a bar chart/pert chart/ CPM chart to the Engineer-in-Charge indicating that how the contractor proposes to complete the work within the stipulated time as per the contract. This bar chart/PERT/CPM chart should clearly indicate the various construction as well as various finishing and sanitary item in the proper sequence of constructions Once this programme of construction has been submitted by the contractor and approved by the Engineer-in-Charge the contractor shall have to abide it and shall have to employ labour and bring materials with the progress indicated in the chart

25.	INSPECTION OF WORKS

The work during the progress can also be inspected by the Chief Technical Examiner/Technical Examiner from the Central Vigilance Commission or by the officer of the Quality Control/Vigilance cell of the Delhi Development Authority on behalf of the Engineer-in-Charge.

26.	FORM WORK FOR EXPOSED CONCRETE

Wherever directed by Engineer-in-Charge with a view to obtain exposed face concrete by itself, form work shall have to be provide in specific pattern as required and instructed. A sample of the exposed face finish shall be mad e by the contractor and the same shall be got approved before the work is started. Due care shall be taken while removing the form work. The time allowed for such shuttering shall be as per decision of Engineer-in-Charge. On removal of work, the surface shall be rubbed with carborandum stone, so as to give a smooth finish and to match the surrounding surface. No patching up with cement plaster or otherwise shall be allowed. If however, any honey combs, broken edges, or ugly off sets; etc. are found, the contractor shall have to redo the work without any extra charges. The materials used for shuttering for exposed concrete shall be oonly timber with freshly sawn surfaces or as approved by the Engineer-in-Charge

27-T.M.T. bars and MS round bars for steel reinforcement  shall be issued only for reinforced cement concrete wors releted to building portion including site development ,land scapaing water supply and sanitary  installation and drainage work to be delivered to DDA .

28- SCI pipe G.I. pipe and (class LA ) pipes shall be issuied only for water supply sewerage and drainage works to be delivered to DDA .

29.	WATERPROOFING	.

All areas where water proofing is to be done the water proofing shall be got done through firm specialised in water proofing work.

Building works of schedule of quantities pertaining to the building works shall be guaranteed against seepage/leakage for a period of ten years. The contractor shall have to execute a performance bond in the prescribed proforma enclosed on page no 84 of tender documents water proofing compound of approved.

30.	The proportion of the water proofing compound of approval mark to be used in cement shall be 2% by weight i.e. 1 Kg of chemical approval quality and manufacture shall be mixed with 100 Kg of cement or in the proportion recommended by the manufactures.

31.	COORDINATION WITH OTHER AGENCIES

The work of internal/external electrical installation lifts fire fighting installations etc. shall to be carried out by the Department through other agencies with whom proper work co-ordination as per direction of the Engineer-in-Charge shall be carried out.

32.	STEELWORK

In item of steel door frames (pressed steel or T-iron frames) the rate include cost of base tie or threshold and nothing extra is to be paid for the same.

33.	RATES FOR SIMILARITIES IN DIFFERENT SECTION

For the convince of execution and payment the schedule of quantities is divided into different section viz A Building B Site Development and Landscaping Works and C Sanitary Installation Water Supply and Drainage Works.

Some item of work are repeated in the different section The lowest rate quoted by the contractor for such item of work in any section/subhead of schedule of quantities shall be considered as the quoted rate for the item in all the different section subhead for payment.

(B) 	SANITARY INSTALLATION WATER SUPPLY AND DRAINAGE WORKS

1.	The contractor shall be responsible for getting the necessary test certifies from the concerned departments of Municipal Corporation and also to get the connection for the drainage and water supply from the concerned department of Municipal Corporation.

2.	The work shall be done by licensed plumber of Municipal Corporation and they must produce the copy and licensed as and when required before execution of work.

3.	HOLES AND CHASES FOR CONCEALED PIPING

The cost of cutting holes, making chases and making good the same for concealed piping providing bricks pipers for laying-the internal sewer pipe to gradient etc. shall be included in the various item of work and nothing extra shall be paid on this account.

4.	DAMAGE TO EXISTING WORK

Any damage done by the Contractor to any existence work during the course of execution of his work shall be made good by him at his own cost.

5.	PRIOR APPROVAL OF SAMPLES

The samples of sanitary fitting pipes and fitting etc. shall be deposits with the Engineer-in-Charge (which will be returned to the contractor at time of the completion of work and got approved by him before using the work. Any material rejected by the Engineer-in-Charge shall be removed from the site of work.

6.	The work shall be executed as per the programme drawn or approved by the Engineer-in-Charge and it shall be so arranged as to have full co-ordination with the building work. No claim for idle labour shall be entertained nor shall any claim on account of the delay in completion for the building work

7.	TESTING OF LINES

All pipes lines laid by the contractor shall be tested as required under the specification to the entire satisfaction of the Engineer-in-Charge The work shall not be treated as completed unless the lines are so tested.

8.	All ferrule connections for water supply as well as meter connections shall be arranged by the contractor and payment of fees thereof if any shall also be made by him The D.D.A. shall, however reimburse to the contractor such payments of fees paid to Government/Municipal Corporation on presentation of bills.

9.	WATCH and ward of fittings

The contractor shall be responsible for the watch and ward of all fitting until the work is fully completed and handed over to the Engineer-in-charge. No claim on this account will be entertained.

10.	The levels measured and other information concerning the existing site as shown on the drawings or as described are supposed to be correct but the contractor shall verify them for himself and no extra claim, whatsoever shall be entertained on account of any discrepancy or omission in such matters or on account of the description turning out to be different from what was expected.

11.	COORDINATION WITH OTHER WORKS

The work shall be done In conformity with the plans and within the requirement of the general Architecture Air-Conditioning Electrical and Structural Plans This work shall be properly coordinated with the work of the other Trade Hangers and sleeves structured opening shall be furnished in time for their installation as other work proceeds.

12. a.	The plumbing drawings are diagrammatic but shall be followed as closely as actual construction and work permits.

b.	The Architecture drawing shall be correlated with the plumbing drawings to all dimension as shall be followed.

13.a.	The recommended positions of the fittings, fixture control valves is tanks etc. as shown on the drawings will be adhered to as far as possible

b. 	Should there be any discrepancy due to incomplete description/ambiguity or omission in the drawings and other documents, whether original or supplementary, forming the contract, either found on completion or during currency of the installation work, the contractor shall immediately, on discovering the same, draw the attention of the Engineer-in-Charge’s decision shall be final and binding on the contractor.

14.	COMPLETION DRAWINGS

The contractor shall submit one complete set of originals and further two copies of additional drawings to the Engineer-in-Charge after completion of the work The drawing must be give in the following information:	.

(a)	Run of all piping and diameter on all floor and the vertical snacks.

(b)	Location and sizes of all control values, access panel and other equipments

(c)	I.L. of all manholes including I.L. at out falls No completions certificate will be issued until the drawing are submitted.

15.	TESTING OF WORK MATERIALS

The contractor shall preferably arrange the equipment and testing instruments in a testing room.

(a)	All testing shall be done as and when directed before the work is accepted.

(b)	Upon notification that the work has been completed, the contractor shall make arrangements under the directions and in the presence of the Engineer-in-Charge or their representative for inspection and tests as shall be considered necessary to determine whether or not the full intents of the requirements of the specifications have been meet with. Any further tests if considered necessary shall be carried out by the contractor at his own expense.

(c)	Contractor shall provide all testing equipments labour and operating services required for these tests.

(d)	The above tests shall be carried out by the contractor without extra charge.

(e)	The contractor shall also provide all equipment instrument Labour and such other allied assistance required by the Engineer-in-Charge for measurement of the works, materials etc.

16.	Any materials supplied by the employer if damaged in any way during cartage or execution of any works or otherwise shall be made good by the contractor at his own cost.

17.	RECESSED FITTINGS

Wherever recessed fitting are required to be provided the contractor shall be responsible for keeping necessary recessed in the building work before hands failing which he will have to make the cheeses and recesses and make good the same with the general finish at his own cost for which nothing extra shall be paid by the employer.

18.	The contractor shall obtain for himself on his own responsibility and at his own expenses, all the information which may be necessary for the purpose of making the tender of entering into a contract and must examine and study the specification drawings the design of the sanitary installations and also inspect the site, the surroundings of the work and plans of the buildings.

19.	MAINTENANCE OF INSTALLATIONS

During the progress of work completed portion of the building may be occupied and put to use by the D.D.A. but the contractor shall remain fully responsible for maintenance of installations till the entire work covered by the contract is satisfactorily completed .the contractor shall also covered the D.D.A. with the manufacture guarantee for all the above materials.

20.	It is obligatory on the part of the contractor to remove/shift the labour immediately after the work has been completed and the final payment shall be released only thereafter. No claim in finalisation of Contractor’s bill shall be entertained on account of above.

21.(a)	Separate godowns shall be provided for OPC & PPC storage.

(b)	No PPC should be used in RCC frame structures specially the exposed portion like chajjas balconies open terraces top roofs extended beams open stairs cases and slab beams in toilets.

(c)	Separate account should be maintained in cement register for receipt/issue of OPC quantities of cement.

(d)	In the register of cement concrete cubes testing record type of cement used must be specified.

(e)	The contractor shall be responsible for any activity, authorised or unauthorised going on within the site area handed over to him by the department for construction development maintenance or for any other purpose. The contractor shall also be responsible for informing the Engineer-in-Charge in writing wherever their supervision is essential Further this shall not be ground for seeking time extension in completion of the work and/ or for claiming any loss and/or damage by the contractor if at all this slawse prologation of completion of work.

It is obligatory on the part of the contractor to remove/shift the labour immediately after the work has been completed and the final payment shall be released only there after no claim in finalisation of contractors bill shall be entertained of account.

1.	ADJUSTMENT OF TAX CONSEQUENT UPON AMENDMENT TO CONSTITUTION

Tendered rates are inclusive of all taxes and levies payable under the respective statutes However pursuant to the constitution (Forty sixth amendment) Act 1982 if any further tax or levy is imposed by statuet after the date of receipt of tender item and the contractor shall be reimbursed the amount so paid provided such payment if  any is attributable to delay in execution of work within the control of the contractor

(i) 	The contractor shall keep necessary books of account and other documents for the purpose of this condition as may be necessary and shall allowed inspection of the same by a duly authorised representative of Govt. and further shall furnish such other information/documents as the Engineer-in-Charge may require.

(ii) 	The contractive shall within a period of 30 days of imposition of any further tax or levy pursuant to the constitution Forty six amendment Act 1982 given a written notice together will all necessary information relating thereto.

EXTRA ADDITIONAL CONDITIONS.

1.	Course sand (badarpur) will be used after washing In case the silt contents is beyond permissible limit.

2.	Short pipe nipple used in work should be of same grade and specification as prescribed for G.I. pipe.

3.	Full welding of steel section of grills along the contact area and with frames but hings to be welded with frames.

4.	In case of any ambiguity in the unit and nomenclature of any item in the agreement, unit/nomenclature in the DSR applicable will be final.

SIGNATURE OF CONTRACTOR

PROFORMA FOR PERFORMANCE BOND

The agreement made this………..……..day of………………..……..one thousand Nine hundred and…………………between Son of…………..….one part) and the Chairman Delhi Development Authority Hereinafter called the Delhi Development Authority of the other part.) WHEREAS This agreement is supplementary to a contract hereinafter called the Contractor dated	 and made between the GUARANTOR OF THIS ONE part and the Delhi Development Authority of the other part whereby the contractor interalia undertook to a contract (hereinafter called the Contractor) dated……………………….. and made between the Guarantor of this one part and the Delhi Development Authority of the other part whereby the contractor interalia, undertook to render the buildings and structured in the said contract received completely water and leak-proof.

AND WHEREAS THE Guarantor agreed to give a guaranteed to the effect that the said structure will , remain water proofing treatment

NOW THE GUARANTOR hereby guarantees that water proofing treatment given-by him will render the structure completely leak-proofing and the minimum life of such water proofing treatment shall be ten years to be reckoned from the date after the maintenance period prescribed in the contract. Provided that the guarantor will not be responsible for leakage caused by earthquake or structural defects or misuse of roof or alteration and for such purpose.

(a)	Misuse of rule shall means any operation which will damage water proofing treatment like chopping of fire wood and things of the same nature which might caused damage to roof.

(b)	Alteration shall mean construction of an additional story or a part of the root or construction adjoining to existing roof where by water proofing treatment is removal in part.

(c)	The decision of the Engineer-in-Charge calling upon him to rectify the defects failing which the work shall be got done by the department by some other contractor at the GUARANTOR cost and risk. The decision of the Engineer-in-Charge as to the cost payable by the guarantor shall be final and binding. That if Guarantor fails to execute the water proofing or commits-breach there under then the Guarantor will immediately the Principle and his successors against all loss damage cost expense or otherwise which may be incurred by him by reason of any default on the part of the GUARANTOR in performance and observance of this supplementary agreement As to the amount of loss and/or damage and/or cost incurred by the Delhi Development Authority the decision of the Engineer-in-Charge will be final and binding on the parties.

In witness whereof these presents have been executed by the Obligor…………………… and by…………………………….. and for and on behalf of the Delhi Development Authority on the day month and year first above written.

Signed Sealed and Delivered by OBLIGOR in the presence of

1. …………………………………….

2. …………………………………….

SIGNED FOR AND ON BEHALF OF THE DELHI DEVELOPMENT AUTHORITY BY

…………………………………….…………………………………….in the presence of

1. …………………………………….

2. …………………………………….

ANNEXURE-I

FORM OF PERFORMANCE SECURITY

BANK GUARANTEE BOND

1.	In consideration of the Lt. Governor of Delhi (hereinafter called “The DDA”) having agreed under the terms and conditions of agreement no………………..…….dated.................made between…………………………. and ……………………… (hereinafter called “the said contractor (s)”)For the work(hereinafter called “the said agreement”) having agreed to production of a irrevocable Bank Guarantee for ………….(Rupees ………………………………. only) as a security / guarantee from the contractor (s) for compliance of his obligations in accordance with the terms & conditions in the said agreement, we ……………………………………… (hereinafter referred to as “the Bank”) { indicate the name of the Bank) here undertake to pay to the DDA an amount not exceeding Rs …………. (Rupees …………………….. only) on demand by the DDA. .

2.	We ……………………………. do hereby undertake to pay the amounts due and payable under this Guarantee (indicate the name of the Bank). without any demure, merely on a demand from the DDA stating that the amount claimed is required to met the recovery due or likely to be due from the said contractor(s). Any such demand made on the Bank shall be conclusive as regards the amount due and payable by the bank under this Guarantee. However, our liability under this guarantee shall be restricted to an amount not exceeding Rs………………… (Rupees …………………………………. only).

3.	We, the said bank further undertake to pay to the DDA any money so demanded not withstanding any dispute or disputes raised by the contractor(s) in any suit or proceeding pending before any court or Tribunal relating thereto, out liability under this present being absolute and unequivalent.

The payment so made by us under this bond shall be a valid discharge of our liability for payment thereunder and the contractor(s) shall have no claim against us for making such payment.

4.	We further agree that the guarantee herein contained shall remain in full force (indicate the name of the Bank) and effect during the period that would be taken for the performance of the said agreement and that it shall continue to be enforceable till all the dues of the DDA under or by virtue of the said agreement have been fully paid and its claim satisfied or discharged or fill Engineer-in-Charge on behalf of the DDA certified that the terms and conditions of the said agreement have been fully and properly carried out by the said contractor(s) and accordingly discharge this guarantee.

5.	We…………………………………. further agree with the DDA that the DDA shall have (indicate the name of the Bank) the fullest liberty without our consent and without effecting in any manner our obligations hereunder to vary any of the terms and conditions of the said agreement or to extend time of performance by the said contractor (s) from time to time or to postpone for any time or from time to time any of the powers exercisable by the DDA against the said contractor(s) and to for bear or enforce any of the terms and conditions relating to the said agreement and we shall not be relieved from our liability by reason of any such variation, or extension being granted to the said contractor (s) or for any forbearance, act of omission on the part of the DDA or any indulgence by the DDA to the said contractor(s) or by any such matter or thing whatsoever which under the law relating to sureties would, but for this provisions, have effect of so relieving us.

6.	This guarantee will not be discharged due to the change in the constitution of the Bank or the contractor(s).

7.	We…………………………………. lastly undertake not to revoke this guarantee except with the (indicate the name of the Bank) previous consent of the DDA in writing.

8.	This guarantee shall be valid upto…………………………………. Unless extended on demand by DDA Notwithstanding anything mentioned above, our liability against this guarantee is restricted to Rs. ……………………… (Rupees…………………………………. only) and unless a claim in writing is lodged with us within six months of the date of expiry or the extended date of expiry of this guarantee all our liabilities under this guarantee shall stand discharged.

Dated the…………………………………. day of……………………………for

…………………………………. (indicate the name of the bank).

Annexure - II

TABLE OF MILE STONE (S)

| Sr. No. | Description of Milestone (Physical) | Time allowed in days (from date of start) | Amount to be withheld in case of Non achievement of milestone |
| --- | --- | --- | --- |
| 1. |  |  |  |
| 2. |  |  |  |
| 3. |  |  |  |
| 4. |  |  |  |

OR

| Sr. No. | Financial Progress | Time allowed in days (from date of start) | Amount to be withheld in case of Non achievement of milestone |
| --- | --- | --- | --- |
| 1. | l/8th (of the whole work) | l/4th (of the whole work) | In the event of not achieving the necessary progress as assessed from the running payment, 1% of the tendered value of work will be withheld for failure of each milestone. |
| 2. | 3/8th (of the whole work) | l/2th (of the whole work) |  |
| 3. | 3/4th (of the whole work) | 3/4th (of the whole work) |  |
| 4. | Full | Full |  |

ANNEXURE – ‘A’

CRITERIA FOR DEPOSIT OF EARNEST MONEY

| DDA | Page | Para | Existing | Amended/New Introduced Clause |
| --- | --- | --- | --- | --- |
|  |  |  | As per circular No. 516dated 16-01-1998 (i) The earnest money is 2 Vi of the estimated cost for the works costing upto Rs. 40 lacs, costing more than Rs. 25 Crores. earnest (ii) and Rs. 1 lac (one Iac)+ 1/2% of the amount by which cost exceeds Rs. 40 lacs. subject to maximum of rs. 2.00 lacs | The earnest money should be (a).2% of the estimated cost put to tender for all works costing upto Rs. 25 Crores and for work money should be Rs. 50 Lacs plus 1% of the excess over Rs. 25 Crores. Earnest money may be deposited with each tender separately. Earnest money shall be deposited in any of the following manner: Cash/Currency receipt challan/Deposit at call receipt/Demand Draft of Schedule Bank Guaranteed by the Reserve Bank of India in favour of A.O. CAU/……….DDA. |

SCHEDULE OF QUANTITY

Name of work: -	M/o Various colonies under South Zone.

Sub Head: -          White Washing, painting, renewing of glass panes, repair of misc. brick work, tile work and

other Misc. works at DDA staff qtrs., Chirag Enclave.

| S. No. | Description of item | Qty | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Providing and fixing 600x450mm beveled edge mirror of superior glass (of approved quality) complete with 6mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washer completed. | 12 Nos. | Each. |  |  |
| 2. | Providing and fixing brass bib cock of approved quality. - 15mm nominal bore. | 26 Nos. | Each. |  |  |
| 3. | Providing and fixing brass stop cock of approved quality. - 15mm nominal bore. - 20mm nominal size. | 15 Nos. 17 Nos. | Each. Each. |  |  |
| 4. | Providing and fixing C.P. brass shower rose with 15 or 20mm inlet. - 100mm diameter. | 11 Nos. | Each. |  |  |
| 5. | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. - 32mm dia semi rigid pipe - 40mm dia | 12 Nos. 10 Nos. | Each. Each. |  |  |
| 6. | Providing and fixing white vitreous China water squatting pan (Indian type) - Orissa pattern W.C. pan of size 480x440mm | 9 Nos. | Each. |  |  |
| 7. | Providing and fixing P.V.C. low level flushing cistern with manually controlled device (handle lever) conforming to IS: 7231 with all fittings and fixtures complete. - 10 litre capacity white. | 12 Nos. | Each. |  |  |

| 8. | Providing and fixing white vitreous China but excluding the cost of including making all connections. - Flat back wash Basin of size 550x400mm | 8 Nos. | Each |  |  |
| --- | --- | --- | --- | --- | --- |
| 9. | Providing and placing on terrace (at all floor levels) polyethylene water storage tank ISI: 12701 marked with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fitting and the base support for tank.(sintex,El.ectroplast, star, lotus or equivalent having valid ISI License). | 4000.00 Lit. | Per litre |  |  |
| 10. | Providing and fixing ball valve brass of approved quality, high or low pressure, with plastic floats complete. - 20mm nominal bore. | 10 Nos. | Each. |  |  |
| 11. | Renewing glass panes, with putty and nails wherever necessary. - Float glass panes of thickness 4mm | 29.16 | Sqm. |  |  |
| 12. | Providing and fixing plasticized PVC connection pipe with brass unions: - 30cm length 15mm nominal Bore. | 11 Nos. | Each. |  |  |
| 13. | Providing and fixing paneled or panelled and glazed shutters for doors, windows and clerestory windows including ISI marked black enameled M.S. butt hinges with necessary screws excluding, paneling which will be paid for separately. - Second class teak wood | 70.93 sqm. | Sqm. |  |  |
| 14. | Providing and fixing nickel plated M.S. pipe curtain rods with nickel plated brackets: - 25mm dia (heavy type) | 60.00 mtrs. | Metre. |  |  |
| 15. | White washing with lime to give and even shade. - Old work (two or more coats) | 207.36 sqm. | Sqm. |  |  |
| 16. | Distempering with dry distemper of approved brand and manufacture (one or more coats) and of required shade on old work to give and even shade. | 911.04 sqm. | Sqm. |  |  |
| 17. | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give and even shade. - One or more coats on old work. | 200.73 sqm. | Sqm. |  |  |
| 18. | Finishing walls with water proofing cement paint of required shade. - Old work (one or more coats applied @ 2.20 kg/10sqm) Over priming coat of primer applied @ 0.80litrs/10 sqm complete including cost of Priming coat. | 668.76 sqm. | Sqm. |  |  |
| 19. | Providing and fixing G.I pipes complete with G.I. fittings and clamps, including cutting and making good the walls etc. Internal work exposed on wall. a)15mm dia. Nominal bore. | 15.00 mtrs. | Mtrs. |  |  |
| 20. | Providing and fixing G.I. pipes complete with G.I. fitting including trenching external work and refilling etc. - 20 mm dia. Nominal bore | 24.50 mtrs. | Metre |  |  |
| 21. | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS:13592 Type A including jointing with seal ring conforming to IS:5382 leaving 10mm gap for thermal expansion, - Single socketed pipes 110mm diameter. | 28.50 mtrs. | Metre |  |  |
| 22. | Providing and fixing M.S. holer bat clamps of approved design to C.I. or S.C.I. rain water pipes embedded in and including cement concrete block 10x10x10cm of 1:2:4 mix (1cement:2coarse sand :4 graded stone aggregate 20mm nominal size) and cost of cutting holes and making good the walls etc. - 100mm diameter | 30.00 Nos. | Each. |  |  |
| 23. | Providing and fixing aluminum handles ISI marked anodized (anodic coating notless than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade with necessary screw etc complete: a)100mm | 30.00 Nos. | Each. |  |  |
| 24. | Providing and fixing aluminum tower bolts ISI marked anodized (anodic coating no less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade with necessary screw etc complete: a)250x10mm Size. | 32.00 Nos. | Each. |  |  |
| 25. | Providing and fixing kitchen sink including making all connections excluding cost of fittings. a)White glazed fire clay sink of size 600x450x250mm | 8 Nos. | Each. |  |  |
| 26. | Demolishing cement concrete manually by mechanical means including disposal of material within 50 meters lead as per direction of Engineer-in-charge a)1:3:6 or richer mix | 0.16 cum | Cum. |  |  |
| 27. | Disposal of malba lime moorum, building rubbish by mechanical transport including loading, unloading and stacking. - Within a lead of 3km. | 4.67 cum | Cum. |  |  |
| 28. | Providing hoisting and fixing up to floor five level precast reinforced cement concrete work in string courses, bands copings, bed plates, anchor blocks plain window sills and the like including the cost or required centering, shuttering, finishing smooth with 6mm thick cement plaster 1:3 (1cement: 3 fine sand) on exposed surfaces complete but excluding cost of reinforcement with 1:2:4 (1 cement:2 coarse sand :4 graded stone aggregate 20mm nominal size) | 0.16 cum | Cum. |  |  |
| 29. | Reinforcement for R.C.C. work including straightening, cutting bending, placing in position and binding all complete. Thermo- Mechanically Treated bars. | 13.38 kg. | Kg. |  |  |
| 30. | Repair to plaster of thickness 12mm to 20mm in patches of area 2.5 sq. meters and under including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete including disposal of rubbish to the dumping ground within 50 meters lead; with cement mortar 1:4( 1cement :4 coarse sand) | 8.94 sqm. | Sqm |  |  |
| Total |  |  |  |  |  |

JE(C)								AE-I/SWD-2						EE/SWD-2

DELHI DEVELOPMENT AUTHROITY

PRESS TENDER NOTICE

c.s. No. I

1. rate tenders are invited for the  work on behalf of DDA from the approved contractors and eligible contractors  of DDA and  C.P.W.D.those of appropriate list of  P & T, MES & Railways  shall be opened on the same day.

The enlistment of the contractors should be valid on the last date of sale of tenders. In case only the last date of the sale of tender is extended, the enlistment of the contractors shoul be valid on the original date of  sale of  tender or on the extended date of sale of tenders.

1.2 For works costing upto Rs. 25Lacs in case of B & R ,tender shall be issued to contractors registered with DDA only.

1.3 For work costing above 25 Lacs upto Rs. 2 crores ,tender shall be issued to DDA & CPWD enlisted contractors as per their enlistment.The tender shall also be issued to non-DDA ,non CPWD contractors provided they have satisfactorily completed three similar nature of works,each of value not less than  40% of the estimated cost in the last five years.

1.4 For works costing above Rs. 2 crores but upto Rs. 10 crores,the tender shall be issued to DDA as well as non-CPWD contractors provided they have satisfactorily completed three similar nature of works,each of value not less than  40% of the estimated cost or two works of similar nature ,each of value not less than 50% of the estimated cost or one work of the similar nature each of vale not less than 80 % of the estimated cost  in the last 7 years ending last day of the month previous to the one in which the tender are invited .NOTE: Class 2 contractors of DDA & CPWD shall also be eligible in they satisfy the criteria specified in 1.4 above.

1.5 For work costing above Rs. 10 crores,there shall be prequalification as the case may be ,as per existing practice.

Delhi Development Authority

E-TENDER PRESS NOTICE

NIT No. 05 /EE/SWD-2/DDA/2010-11

Online Item rate tender is invited through e-tendering mode for the following work by Executive Engineer SWD-2, DDA on behalf of Delhi Development Authority up to 3.00 PM on 26.02.11 from the approved and eligible Contractors  of DDA & CPWD and those of appropriate list of MES, P & T, Railways and the same shall be opened on the same day at 3.30 PM.

| Sl.No. | Name of work | Estimated cost | Tender Cost | Process-ing Fee | Earnest Money | Time allowed | Last Date of downloading of tender document |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | M/o Various Colonies under SZ. SH: White washing, painting, renewing of glass panes, repair of windows & chain link fencing in Community Hall at Mohammed Pur. | Rs.1,41,568/- | Rs.500 + Vat @ 5% | Rs.500 +Service Tax @10.30% | Rs.2,831/- | Three Months |  |

Note:- For eligibility criteria, mode of payment of tender cost, processing fee & Earnest money and other details of the tender visit the website www.tenderwizard.com/DDA or www.dda.org.in . For any assistance on e-tendering please contact M/s ITI Limited on 011-49424365.

Not to be published below this line.

EXECUTIVE ENGINEER

Division: SWD-2, DDA

Note: Requirement of registration and other eligibility criteria shall be suitably incorporated in the Press Notice by NIT approving authority before issue

Delhi Development Authority

NOTICE INVITING TENDER

(E – TENDERING MODE)

1. Online Item rate tender is invited through e-tendering mode for the following work by Executive Engineer SWD-2, DDA on behalf of Delhi Development Authority up to 3.00 PM on 26.02.2011from the approved and eligible Contractors of DDA & CPWD and those of appropriate list of MES, P & T, Railways and the same shall be opened on the same day at 3.30 PM.

Name of Work : M/o Various Colonies under SZ.

SH: White washing, painting, renewing of glass panes, repair of windows & chain link fencing in Community Hall at Mohammed Pur.

Estimated Cost				:       	Rs.1,41,568/-

Tender Cost 				:	Rs.500 +D. VAT  @ 5%

Tender Processing Fee			:	Rs.500  + Service Tax @10.30%

Earnest Money				:	Rs.2,831/-

Time allowed				:	Three Months

The enlistment of the contractors should be valid on the last date of down loadings.

In case only the last date of downloading of tender is extended the enlistment of the contractor should be valid on the original date of downloading.

1.1      The work is estimated to cost Rs.1,41,568/-  This estimate, however, is given merely as rough guide.

1.1.1   The authority competent to approve NIT for the combined cost and belonging to             the major discipline will consolidate NITs for calling the tenders. He will also             nominate division which will deal with all matters relating to the invitation of             tenders.

For composite tender, besides indicating the combined estimates cost put to tender,    should clearly indicate the estimated cost of each component separately. The eligibility of tenderer will correspond to the combined estimated cost of different components put to tender.

1.2	Tenders shall be issued to the eligible contractors who fulfill the following criteria     of eligibility and should have Class-II Digital Signature and registration with service provider M/s ITI Limited , C-9. Ist Floor, Back side Najafgarh Road, Near Janakpuri Metro Station, Vikas Puri, New Delhi-110092.      Criteria of eligibility for issue of tender documents:

…………………………………………*………………………………………

2	Agreement shall be drawn with successful tenderer on prescribed form attached. Tenderer shall quote his rates as per various terms and conditions of the said form which will form part of the agreement.

3	The time allowed for carrying out the work will be Six Months from the date of start as defined in Schedule F or from the first date of handling over the site,

Delhi Development Authority

whichever is later, in accordance with the phasing, if any, indicated in the tender documents.

4       	The site for the work is available.

or

The site of work shall be made available in parts as specified below:

____________________________________*__________________________

5	The tender shall be accepted only through online e-Tendering process and all details pertaining to the tender and guidelines for e-tendering are available on the website www.tenderwizard.com/DDA and www.dda.org.in . Intending contractors need to register themselves on the e-tendering website www.tenderwizard.com/DDA to get the USER ID and PASSWORD from M/s ITI Limited, C-9. Ist Floor, Back side Najafgarh Road, Near Janakpuri Metro Station, Vikas Puri, New Delhi-110092 by paying required fee and completing the steps specified on above referred website.

5(i)	Tender documents consisting of plans, Specifications, the schedule of quantities of the various classes of work to be done and the set of terms and conditions of Contract to be complied by the Contractor and other necessary documents can be downloaded from the e-tendering website   www.tenderwizard.com/DDA.Tender documents will be issued only through e-tendering website www.tenderwizard.com/DDA after the payment Rs. 500/- + 5% VAT as cost of Tender (non refundable) in the form of Cash to the office of the CAU (SOUTH ZONE)) and tender processing fee of Rs. 500 + Service Tax @ 10.30% (non refundable) should be deposited in the form of demand draft in favor of M/s ITI Limited payable at Delhi along with covering letter and physically submitted to ITI Limited, C-9. Ist Floor, Back side Najafgarh Road, Near Janakpuri Metro Station, Vikas Puri, New Delhi-110092. (Postal Delays will not be entertained and document will not be issued).The contractor has to request through online by filling of the details of receipt number issued by CAU for cost of tender and DD No, date of tender processing fee in the DDA online e-tendering website using User ID & Password for requesting the tender schedules for quoting their rates and amount for the tender.The tender will be opened only through online tendering process. Bidders can see their bids opened through online after logging in into the DDAs e-tendering web site using their User Id and Password.

6(i)  	Tenders shall be accompanied with Earnest money of Rs.2,831/- in cash (Upto Rs 10,000/-only)/ Receipt  Treasury challan/ Deposit at call receipt of a scheduled bank/ fixed deposit receipt of a   scheduled bank/ demand draft of a scheduled bank issued in favour of Sr.AO/CAU/SZ/DDA   50 % of the earnest money or Rs 20 lakh, whichever is less, will have to be deposited in the shape prescribed above and balance amount of earnest money can be accepted in the form of Bank Guarantee issued by a scheduled bank having validity for 6 months or more from the last date of receipt of tenders.

6(ii) 		Scanned copy of earnest money is to be uploaded.  However, original receipt of earnest money is to be submitted in the office of the Executive Engineer inviting tender before the time and date of opening of e-tender as indicated in the calendar of events below.

Delhi Development Authority

6(iii)  	The tender of only those tenderers shall be opened online, whose earnest money submitted in the proper manner.

6(iv)	The contractors shall upload scanned copy of TIN number as issued by D-Vat Department on DDAs e-tendering website.  However, attested copies to be submitted in the office of the Executive Engineer inviting tender before the date and time of opening of e-tender as indicated in the calendar of events below.

6(v)     	The contractors shall upload scanned copy of proof of having submitted the latest D-Vat / CST returns etc on DDAs e-tendering website.  However, attested copies to be submitted in the office of the Executive Engineer inviting tender before the time and date of opening of e-tender as indicated in the calendar of events below.

6(vi)	The contractors shall upload the scanned copy of valid DDA/CPWD/MES/Railways/P&T registration Certificate of appropriate category wherever required to meet eligibility criteria specified in para 1.2.  However, attested copies to be submitted in the office of the Executive Engineer inviting tender before the time and date of opening of e-tender as indicated in the calendar of events below.

6(vii)	The tender shall be opened on         at 3.30PM only of those tenderers who fulfill the eligible criteria and the required documents found in order.  If any of the above dates happens to be holiday, next working day will be considered for all purposes.  Conditional tender shall not be considered.

6(viii)	Calendar of Events:

| Sl.No | Events | Date & Time Format (dd/mm/yyyy hh:mm) |
| --- | --- | --- |
| 1. | Commencement of e-Tender |  |
| 2. | Last date & time for receipt of requisition of e-Tender |  |
| 3. | Last Date & time for issue of e-Tender |  |
| 4. | Last Date & time of submission of e-Tender. | 26.02.2011 |
| 5. | Date & time of opening of e-Tender | 26.02.2011 |

7	The contractor whose tender is accepted will be required to furnish performance guarantee of 5 % (Five percent) of the tendered amount within the period specified in Schedule F. This guarantee shall be in the form of cash (in case guarantee amount is less than Rs 10,000/-) or Deposit at call receipt of any scheduled bank/Banker’s cheque of any scheduled bank/Demand draft of any scheduled bank/Pay order of any scheduled bank (in case guarantee amount is less than Rs. 1,00,000) or Government securities or fixed  Deposit Receipts or Guarantee Bonds of any Scheduled bank or the State Bank of India in accordance with the prescribed form.

7(i)    	In case the contractor fail to deposit the said performance guarantee within the period as indicated in Schedule F, including the extended period if any, the Earnest Money, deposited by the Contractor shall be forfeited automatically without any notice to the contractor.

Delhi Development Authority

7(ii)	   	The description of the work is as follows:

Name of work: M/o Various Colonies under SZ.

SH: White washing, painting, renewing of glass panes, repair of windows & chain link fencing in Community Hall at Mohammed Pur.

7(iii)	Copies of other drawings and documents pertaining to the work will be opened for inspection by the tenderers at the office of the Executive Engineer inviting the tender.

7(vi)	Tenderers are advised to inspect and examine the site and its surroundings and satisfy themselves before submitting their tenders as to the nature of the ground and sub-soil (so far as is practicable), the form and nature of the site, the means of access to the site, the accommodation they may require and in general shall themselves obtain all necessary information as to risks, contingencies and other circumstances which may influence or affect their tender.  A tenderer shall be deemed to have full knowledge of the site whether he inspects it or not and no extra charges consequent on any misunderstanding or otherwise shall be allowed.  The tenderer shall be responsible for arranging and maintaining at his own cost all materials, tools & plants, water, electricity, access, facilities for workers and all other services required for executing the work unless otherwise specifically provided for in the contract document.  Submission of a tender by tenderer implies that he has read this notice and all other contract documents and has made himself aware of the scope and specifications of the work to be done and of conditions and rates at which stores, tools and plant etc will be issued to him by the government and local conditions and other factors having a bearing on the execution of the work.

7(v)	The competent authority on behalf of DDA does not bind itself to accept the lowest or any other tender and reserves to itself the authority to reject any or all the tenders received without assigning any reason. All tenders in which any of the prescribed condition is not fulfilled or any condition including that of conditional rebate is put forth by the tenderer shall be summarily rejected.

7(vi)	DDA will not be responsible for not getting internet connection/power supply while downloading the Electronic Bid Sheets/Documents or while uploading their offers.

7(vii)   	Canvassing whether directly or indirectly, in connection with tenders is strictly prohibited and the tenders submitted by the contractors who resort to canvassing will be liable for rejection.

7(viii)	The competent authority on behalf of DDA reserves to himself the right of accepting the whole or any part of the tender and the tenderer shall be bound to perform the same at the rate quoted.

7(ix)   	The contractor shall not be permitted to tender for works in the DDA Circle (Division  in case of contractors of Horticulture/Nursery category) responsible for award and execution of contracts in which his near relative is posted as Divisional Accountant or as an officer in any capacity between the grades of Superintending Engineer and Junior Engineer (both inclusive).  He shall also intimate the names of persons who are working with him in any capacity or are subsequently employed by him and who are near relatives of any Gazetted officer in DDA or in the Ministry of Urban development. Any breach of this condition by the contractor would render him liable to be removed from approved list of contractors of this department.

7(x)    	No Engineer of gazetted rank or other Gazetted officer employed in engineering or Administrative duties in an Engineering department of the Government of India is allowed to work as a contractor for a period of one year after his retirement from the Government service, without the previous permission of the Government of India in writing. This contract is liable to be cancelled if either the contractor or any of his employees is found anytime to be such a person who had not obtained the permission of the DDA as aforesaid before submission of the tender or engagement in the contractor’s service.

7(xi)     The tender for the work shall remain open for acceptance for a period of …*… days from the date of opening of tender/ ninety days from the date of opening of financial bid, whichever is later. If any tenderer withdraws his tender before the said period or issue of letter of acceptance, whichever is earlier, or makes any modifications in the terms and conditions of tender which are not acceptable to the department, then the DDA shall, without prejudice to any other right or remedy, be at liberty to forfeit 50% of the said earnest money as aforesaid. Further the tenderer shall not be allowed to participate in the re tendering process of the work.

7(xii)	This ‘Notice Inviting Tender’ shall form part of the contract document. The successful   tenderer/contractor on acceptance of his tender by the Accepting Authority, shall, within 15 days from the stipulated date of start of the work, sign the contract consisting of, the Notice inviting tender, all the documents including additional conditions, specifications and drawings, if any, forming the tender as issued at the time of invitation of tender and acceptance thereof together with any correspondence leading thereto.

7(xiii)      For Composite Tenders:

7 (xiv)The Executive .Engineer in charge of the major component will call tenders for the composite   work. The cost of tender document and Earnest Money will be fixed with respect to the combined estimated cost put to tender for the composite tender.

7(xv)  The tender document will include following three components:

Part A: -    Notice Inviting Tender, form of Contract for work including schedule A to F for major component of the work, General Conditions of Contract for works

Part B: - General/specific conditions, specifications and schedule of quantities  applicable to major component of the work.

Part C:-    Schedule A to F for minor component of the work, (SE/EE in charge of major component shall also be competent authority under clause 2 and clause 5 as mentioned in schedule A to F for major components) General/ specific conditions, specifications and schedule of quantities applicable to minor component(s) of the work.

7(xvi)   The tenderer must associate with himself, agencies of the appropriate class            eligible to tender   for the minor components individually.

7(xvii) The eligible tenderers shall quote rates for all items of major component as well as for all items of minor components of work.  It will be obligatory on the part of the tenderer to sign the tender document for all the components (The schedule of quantities, conditions and special conditions etc.).

7(xviii) After acceptance of the tender by competent authority, the EE in charge of major component of   the work shall issue letter of award on behalf of the DDA. After the work is awarded,   the main contractor will have to enter into one agreement with EE in charge of

Delhi Development Authority

major component   and has also to sign two/or more copies of agreement depending upon number of EE's/DDH in  charge of minor components. One such signed set of agreement shall be handed over to  EE/DDH in charge of minor component. EE of major component will operate part A and part B of  the agreement. EE/DDH in charge of minor components) shall operate Part C along with Part A  of the agreement.

7(xix) Entire work under the scope of composite tender including major and all minor components  shall be executed 'under one agreement.

7(xx)   Security Deposit will be worked out separately for each component corresponding to the estimated cost of the respective component of works. The Earnest Money will become part of the security deposit of the major component of work.

7(xxi)   The main contractor has to associate agency(s) for minor component(s) confirming to eligibility criteria as defined in the tender document and has to submit detail of such   agency(s) to Engineer-in-Charge of minor component(s) within prescribed time. Name of the agency(s) to be associated shall be approved by Engineer-in-Charge of minor component(s)

7(xxii)   In case the main contractor intends to change any of the above agency/agencies during the operation of the contract, he shall obtain prior approval of Engineer-in-Charge of minor component. The new agency/agencies shall also have to satisfy the laid down eligibility criteria. In case Engineer-in-Charge is not satisfied with the performance of any   agency, he can direct the contractor to  change the agency executing such items of work and this shall be binding on the   contractor.

7(xxiii) The main contractor has to enter into agreement with the contractors) associated by him for execution of minor component(s). Copy of such agreement shall be submitted to EE/DDH in charge of minor component as well as to EE in charge of major component.  In case of change of associate contractor, the main contractor has to enter into agreement with the new contractor associated by him.

7(xxiv)   Running payment for the major component shall be made by EE of major discipline to the main contractor. Running payment for minor components shall be made by the   Engineer-in-Charge of the discipline of minor component directly to the main contractor.

7(xxv)   Final bill of whole work shall be finalized and paid by the EE of major component. Engineers- in-charge of minor component(s) will prepare and pass the final bill for their component of work and pass on the same to the EE of major component for including in the final bill for composite contract.

The contractor has to request through online by filling the details of DD No. and date of processing fees online e-tendering website using User ID & Password for requesting the tender schedules for quoting their rates

EXECUTIVE ENGINEER

Division-SWD-2,DDA

8.  	Earnest money amounting to Rs.2,831/- in Currency Receipt challan/call Deposit Receipt/Demand Draft of a scheduled Bank Guaranteed by the Reserve Bank of India must accompany with each tender is taken sealed cover tender for above and address to EE.

(a) The contractor whose tender is accepted shall execute an agreement on Rs. 50/- stamp paper retreating his acceptance of the execution of work on the rate and conditions as set in the contract document. The issue of tender form will be stopped is (four) days before the date fixed for opening of tender.

9	The person/persons, whose tender (s) may be accepted (herein after called the contractor) shall permit DDA at the time of making any payment to him for work done under the contract to deduct a sum at the rate of 10% of the gross amount of each running bill till the sum along with the sum already deposited as earnest money, will amount to security deposit of 5% of the tendered value of the work. Such deductions will be made and held by DDA byway of Security Deposit unless he/they has/have deposited the amount of Security at the rate mentioned above in cash or in the form of Government Security at the rate mentioned above in cash or in the form of Government Securities or fixed deposit receipts. In case a fixed deposit receipt of any Bank is furnished by the contractor to the DDA as part of the security deposit and the Bank is unable to make payment against the said fixed deposit receipt, the loss caused thereby shall fall on the contractor and the contractor shall forthwith on demand furnish additional security to the DDA to make good the deficit.

All compensations or the other sums of money payable by the contractor under the terms of this contract may be deducted from, . or paid by the sale of a sufficient part of his security deposit or from the interest arising there from, or any sums which may be due to or may become due to the contractor by DDA on any account whatsoever and in the event of his Security Deposit being reduced by reason of any such deductions or sale as aforesaid, the contractor shall within 10 days make good in cash or fixed deposit receipt: tendered by the State Bank of India or by Scheduled Banks or Government Securities (if. deposited for more than 12 months); endorsed in favour of the Engineer-in-Charge, any sum or sums which may have been deducted from, or raised by sale of his security: deposit or any part thereof, the Security Deposit shall be collected from the running” bills of the contractor at the rates mentioned ‘ above and the Earnest Money if deposited in cash at the time of tenders will be treated a part of the Security Deposit.

(a) 	Government papers tendered as security will be taken @ 5% (five percent) below its market price or at its face value, whichever is less. The market price of Government paper would be as curtained by Divisional Officer at the time of collection of interest and the amount of interest to the extent of deficiency in value of the Government paper will be with-held if necessary.

(b) 	Government securities will include all forms of securities mentioned in rule 274 of the G.F.R. except fidelity Bonds. This will be subject to the observance of the conditions mentioned under this rule against each form of security.

10.	The acceptance of a tender will rest with the competent authority who does not bind himself to accept the lowest tender and reserves to himself the authority to reject any tender or all the tender without assignment any reason all the tenders which does not Full Fill the prescribed condition or are incomplete in any respect are liable to be rejected.

11.	Canvassing in connection with tenders is strictly prohibited and the tender submitted by the contractor who resort to canvassing shall be liable to rejection.

12.	All rates shall be quoted on the proper form of the tender in figure as well as in words.

13.	Item rate tender containing percentage below/above will be summarily rejected.

13	(a) 	It may please be carefully noted that no condition whatsoever shall be accepted by the department and the contractor is not prepared to execute the work at the terms and conditions contained in the tender documents, he is requested not to tender for this work: It may be rioted that if any contractor choose to submit conditional tender inspite of clear direction given above, his tender shall be liable to rejected summarily and his full earnest money shall stand forfeited. He will also be liable for being debarred from tendering in DDA for a period of six months.

13	(b) 	Monthly payment to the contractor will be made when the gross amount of the work done during the previous months is not less than indicated below:

| amount of contract | Gross value of works since previous bill should exceed |
| --- | --- |
| Over Rs, 10 lacs value | Rs. 25, 000/- |
| Over Rs. 2 lacs upto Rs. 10 lacs | Rs. 10, 000/- |
| Over Rs. 50, 000 upto Rs. 2 lacs | Rs. 5, 000/- |
| Over Rs. 50, 000/- | Rs. 2, 500/- |

14	On acceptance of the tender the name of the authorized representative of the contractor who would be responsible for taking instructions from the Engineer-in-charge shall be communicated to the Engineer-in-Charge.

15	Special care should be taken to write the rates in figures as well as in words and the amount in figures only in such a way that interpolation is not possible. The total amount should be written both in figures and in words

In case of figure the Word Rs………………….. should be written before the figure of Rupees and ‘P’ after the decimal figure e.g. Rs. 2.15 p. and in case of words the words Rupees the word Rupees should be precede and ‘ the word paise should be written at the end. Unless the rate is in whole Rupees and followed by the word only it should in variably be in two decimal places.

16.	Delhi development Authority does not bind itself to accept the lowest or any tender and reserves to itself of accepting the whole or any part of the tender and the tenderer shall be bound to perform the same at same at the rate quoted.

17.	Sales tax/VAT  or any other tax  on material in respect of this contract shall be payable by the fly contractor and DDA will not entertain any claim whatsoever in this respect.

(a)      Service tax wherever applicable shall however ,be reimbursed to the contractor on production of proof of payment to the concerned department

(a)      contractor must produce certificate of registration under Delhi Value Added Tax Act. 2004 ,with works contract cell of sales Tax/VAT Department of GNCDT and Tax clearance certificate Sale Tax/Vat issued by the said before the tender papers on be sold to him.

Labour CESS :

(b)     Cess under the provision of Building and other construction workers (RE & CS ) Act.,1996 ,and the building and other construction workers welfare Cess Act.-1996 @ 1% of the cost of construction /Project shall be deducted at source from the bill paid to the contractor .DDA shall not bear any liability on account of Cess being deducted and reimbursed to GNCDT in pursuance of building and other contruction workers welfare Cess Act.-1996 ,read with Delhi Building and other construction workers (RE & CS ) Rules -2002.

(c)    Tax @ 2 % of total payment will be recovered under Delhi Value Added Tax-2004.

18.	A Contractor must produce valid certificate of Registration with works contracts cell of sales tax department of GNCTD & the tax clearance certificate in form XI (under rule-8(2) of Delhi sales tax of works contract rule (latest) issued by the said cell along with copied return filed by him before the tender papers can be sold to him.

19.	A contractor shall not be permitted to tender for works in the DDA Zone responsible for award and; execution of contracts) in which any of his near relatives is posted as Divisional Accountant or as an officer in any capacity between the grades of CE and AE (both inclusive) in the DDA. He shall intimate the name of his near  relations’, if any, who are working as Gr. A, B or C officers in DDA. He shall also intimate the names of the persons who are working with him in any capacity or who are subsequently employed by him and who are near relatives of any Groups A, B or C officers in the DDA. Any breach of this condition by the contractor would render him liable to action under clause 3 of the agreement. In addition, he would also be liable to be debarred from tendering in future.

20.	The contractor shall give a list of non gazetted DDA employees related to him.

21.	No Engineer of Gazetted rank or other Gazetted officer employed in Engineering of Administrative duties in an Engineering Deptt. of the Govt. of India/Delhi Development Authority is allowed to work as contractor for a period of two years of his retirement from Govt. Service/Delhi Development Authority. This contract is liable to be cancelled if either the contractor ore any of his employees are found at any time to be such a person who had not obtained the permission of the Govt of India/Delhi Development Authority as aforesaid before submission of the tender or engagement in the contractor’s service. The Engineering Deptt. of Govt. of India includes the Engineering Deptt., of DDA, CPWD, MES, P&T.

22.	The tender for works shall remain open for acceptance for a period of sixty days from the date of opening of tenders. If any tenderer withdraws his tender before the said period or makes any modification in the terms and conditions of the tender which are not acceptable to the Deptt. then the DDA shall, without prejudice to (Oz) other right or remedy be at liberty to forfeit the 50% amount of the earnest money .

23.	The tender for the work shall not be witnessed by a contractor or contractors who himself/themselves has/have tendered for the same work. Failure to observe this condition would render the tender of the contractor tendering as well as witnessing the tender liable to summarily rejection.

24.	Approved and eligible contractors of CPWD and those of appropriate class of DDA, Railways and civil wing of P&T and MES are also eligible to tender.

25. 	The facility of exemption from depositing the earnest money by virtue of executing the bond was withdraw w.e.f. 20-12-89 and all the bond stands cancelled from this date. Each intending tenderer has to deposit the required earnest money with individual tenders as mentioned in parar-8.

26.	While quoting the rate in schedule of quantities in the word only should be written closely, following the amount and it should not be written in the next line.

27.	The tender for the composite work includes the building portion, sanitary, water supply and drainage work.

28.	The tenderer apart from being a class I B&R Contractor, must associate himself with agencies of the l appropriate class which are eligible, to tender for Sanitary and water supply installation.

29.	The contractor shall submit the list of work which are in hand (progress) in the Performa given below

PERFORMA FOR CLAUSE —29

| Name of work | Name of particulars | Amount Position of | Remarks |
| --- | --- | --- | --- |
|  | Of Division Where The work is being executed | Of work | Work in Progress |

30.	The tenderer shall inspect and study the drawings referred to in the tender documents in the office of the Executive Engineer before and for the purpose of submitting the tender.

30A.	In case of item rate tender invited on form PWD-8 the contractor should quote his rates only in one language, i.e. either in Hindi or English. Rates should be quoted in figures as well as in word. In case a contractor has quoted rates in both the languages and the rates so quoted differ or the rate quoted in words and figure differ, then the lowest rates quoted by the contractor shall be treated as the rate quoted by the contractor.

31.	That only sealed tenders in the envelope duly described name of work, date of opening and the name of division shall only considered and accepted. Envelop shall be given along with the tender by the tender clerk at selling counter.

32.	It has further been observed by CTE that in particular tender the contractor.did not quote rate for a particular item. However, as per tender condition , tender in which any of the prescribed conditions are not fulfilled or incomplete in any respect, such tender are liable to be rejected. Instead of rejecting such incomplete tender or adopting “Nil” rate where contractor did not quote, justified rate observed to have been paid to the contractor, thus extending undue benefit to the contractor.

Therefore, it is enjoined upon all concerned that the tender in which any of the prescribed conditions are not fulfilled and/or the tender which is incomplete in any respect, shall be rejected. Wherever the contractor has not mentioned any rate agianst any item(s), the rates against such item(s) shall be treated as “Nil” for evaluation/ execution purpose.

ADDITIONAL CLAUSE

| 1. | Case of withdrawal of offer | Action to be taken |
| --- | --- | --- |
| (i) | If the contractors modifies/withdraw their offer within-60 days of quoting the rates | The earnest money deposited by the contractor shall be forfeited by 50% of amount. |
| (ii) | If the contractor with draw his offer after award of work taking over possession of site | The earnest money deposited by the contractor shall be forfeited absolutely |
| (iii) (iv) | If the contractor/ agency with draw his offer after award of work after taking over possession of site The quotation of the work/supply shall be remain open for a period of 90 days from the date of opening of quotation.The DDA shall without prejudice to any other right or remedy be at liberty to forfeit 50% of the earnest money if any quotationer withdraw this quotation before the said period or makes any modification in the terms & conditions of offer which are not acceptable to the department and to forfeit the whole of the earnest money if the qoutationer whose quotation is acceptable fails to commence the work/supply specify in the NIT along with changes in the scope if any) in the prescribed time or abandons the work/supply before its completion. | It is deemed that the contractor has entered into contract and the action under clause 2 & 3 of the agreement i.e. taking up work at the risk and cost of the Contractor and to penalise the contractor for not completing the work within the stipulated period will be taken against the contractor if he abandons the site after taking over the possession of the site from the Engineer in-charge. For taking action under clause 2 & 3 the only documentary proof required will be the documents showing signature of contractor or his authorized representative for taking over the possession of site. It is further clarified that action under clause 2 & 3 of the agreement is attracted even though the contractor fails to sign the agreement of Rs. 50/- non-judicial stamp paper but do not start the work from the tenth day after the date on which the order to commence .the work is issued to contractor. The date of start of the work will be considered as date of taking over the possession of site. In case of tender for supply of material the documentary proof for start of work will be the submission of samples for approval to Engineer-in-charge i.e. in case the supply order is given to the contractor and if he fails to supply the material or submit the samples of Engineer-in-chief ,then the action to be taken against the contractor is only the forfeiture of earnest money and if he submit the samples for supply and thereafter abandons the work of fail to supply the material then action under clause 2 & 3 is attaracted. Signature of…………………………………………. Divisional Officer For and behalf of....................................D.D.A Dt New Delhi…………………200 ………………… Copy Forwarded to: 1. The Secretary, Contractor’s Association, Vikas Kuteer, DDA & Central P.W.D.’Y’ Shape Building, IP. ESTATE, New Delhi. The receipt of this notice may Please be acknowledged under seal of Association’s Office. 2. The all SES Circle No……………………………………………………D.D.A., New Delhi. 3. Sr. A.O CAU (S2) D.D.A. 4. Notice Board, Chief Engineer’s New Delhi. 5. Divisional Accountant, Division No……………………………………… D.D.A New Delhi. 6. Asstt. Engineer, Sub-Divn. No…………………… Division No …………………… D-D.A. New Delhi. 7. Head clerk for recording a copy in the work file, 8. Director (System), DDA for displaying the NIT on DDA website. |

Executive Engineer

Division No ……………….. DDA

Name of Contractor………………………………………………………………………

Date of application & receipt ……………………………………………………………

Tender issued on……………………..Cost of tender Rs. ………………..…………..

Date of Opening of Tender……………………..………………………………………..

Tender issued at:- Vikas Sadan/CAU/ South Zone, DDA

P.W.D. 8

DELHI DEVELOPMENT AUTHORITY

Item Rate Tender for Work

I/We hereby tender for the execution for the Delhi Development Authority of the work specified in underwritten memorandum within the time specified in such memorandum at an amount of Rs. ______________________________ (Rupees)________________________________________________________________________________________________________________________________________________Item Rate Tender entered in the Schedule mentioned in rule 1 and in accordance in all respects with the specifications designs, drawings and instruction in writing referred to in rule I hereof and clause 11 of the conditions of contract and with such materials as are provided for, by and in all other respect in accordance with such conditions so far as applicable.

MEMORANDUM

(a)	General Description/:-

Name of work  : M/o Various Colonies under SZ

SH:  White washing, painting, renewing of glass panes, repair of windows & chain link fencing in Community Hall at Mohammed Pur.

(b)     Estimated cost:		Rs.1,41,568/-

(c)	Earnest Money:	     	Rs. 2,831/-

(d)	Security Deposit   As per Clause- I 5% of tender value of work

(e)	Time allowed for the work from the 10th day

After the date of written order to commence  03 Months ( Three months )

Should this tender be accepted, in whole or in part, I/We hereby agree:

(f)	(f) (i) Performance guarantee:- 5% of tender value of work (before award of work) .

(i)	To abide by and fulfil all terms and provisions of the said conditions annexed hereto and all the terms and provisions contained in the Notice inviting Tender so far as applicable and/or in default thereof to forfeit and pay to the Delhi Development Authority or their successors the sum of money mentioned in the said conditions.

(ii) 	To execute all the works referred to in the tender documents up on the terms and conditions contained or referred to therein and to carry out such deviations as may be ordered up to a maximum of 20%, (Twenty percent) and here after terms as deviation limit of tender at the rates quoted in tender documents and those in excess of this limit at the rate to be determined in accordance with the provisions contained in Clause 12-A of the tender form.

A sum of Rs.2,831/- has been deposited in cash/receipt Treasury Challan/ Deposits at Call receipt of a scheduled Bank/Fixed Deposit receipt of a schedule bank/demand draft of a scheduled bank/bank guarantee as earnest money as per provisions laid down in para 4 above in favour of AO/CAU/SOUTH Zone/DDA. If I/We fail to furnish the prescribed performance guarantee within the prescribed period I/We agree that the said DDA or his successors in office shall without prejudice to any other right or remedy be at liberty to forfeit the said earnest money absolutely. Further, I/We fail to commence work as specified, I/We agree that Chairman, DDA or his successor in office shall without prejudice to any other right or remedy available in law, be at liberty to forfeit the said earnest money and the performance guarantee absolutely otherwise the said earnest money shall be retained by him towards security deposit to execute all the works referred to in the tender documents upon the terms and conditions contained or referred to therein and to carry out such deviations as may be ordered, up to maximum of the percentage mentioned else therein the tendered documents and those in excess of that limit at the rates to be determined in the accordance with the provisions contained in Clause 12 and 12A of the tender form I/We shall treat the tender documents, drawings and other records connected with the work as secret/confidential documents and shall not communicate information derived there from to any person other than the person to whom I/We am/are, authorized to communicate the same of use the information in any manner prejudicial to the safety of the State.

REBATE CONDITIONS

It may please be carefully noted that no conditions whatsoever (beyond the tender documents placed below) shall be accepted by the Dept.. and the contractors are strictly prohibited from giving conditional tenders. If any contractor is not prepared to execute the work at the terms and conditions contained in the tender documents, he Is requested not to tender for this work. It may be noted that if any contractor-chooses to submit conditional tender, in spite of clear directions given above, his tender shall be liable to be rejected summarily and his full earnest money shall stand forfeited. He will also be liable for being debarred from tendering in DDA for a period of six months.

Dated the ………………………….. day of …………………. 200 ……..……………

Signature of Contractor before

Submission of tender

Witness…………………………

Address…………………………

Signature of witness to Contractor’s

Signature

Occupation ……………………….

The above tender for the sum of Rs ………………………. Rupees………………...

………………………………………………………………………….. only is hereby accepted by me …………………..…… Engineer …….…………………… Division ……………………………………….. on behalf of the Delhi Development Authority.

Dated the …………………….. Day of …………………… 200 ………………………

Signature of ……………..Engineer

DELHI DEVELOPMENT AUTHORITY

General Rules and Directions

The liability of exceptions for depositing the Earnest Money by virtue of exempting the bond stands with drawn w.e.f. 26.12.89 and all the bond stand cancelled from.	.

This date and intending tenderer has to deposit the required earnest money with individual tender as mentioned in para 8 of PWD-6.

1.	All works proposed for execution by contractor will be notified in a form of invitation to tender posted in public place signed by the Divisional Officer.

Tender is open to contractors who full fill the eligibility criteria of this work.

This form will state the work to be carried out as well as the date-for submitting and opening tenders and the time allowed for carrying out the work; also the amount of earnest money to be deposited with the tender and the percentage at which the Security Deposit shall be deducted from the bills of the successful tenderer. Copies of the specifications, designs and drawings and a schedule of quantities and of rates of the various descriptions of work and any other documents required in connection with the work asigned for the purpose of identification by the Divisional Officer shall also be open for inspection by the contractor at the office of the Divisional Officer during office hours.

2.	In the event of tender being submitted by a firm, it must be signed separately by each partner thereof, or, in the event of the absence of any partner, it must be signed on his behalf by a person holding a power of attorney authorizing him to do so, such power of attorney to be produced with the tender, and it must disclose that the firm is duly registered under the Indian Partnership Act.

3.	Receipt for payments made on account of a work, when executed by a firm must also be signed by the several partners, except where the contractors are described in their tender as a firm, in which case the receipts must be signed in the name of the firm by one of the partners or by some other person having authority to give effectual receipts for the firm.

Any person who submits a tender shall fill up the usual printed form, stating at the rate he is willing to undertake each item of the work.  Tenders which propose any alternation in the work specified in the said form of invitation to tender, or in the time allowed for carrying out the work, or which contain any other condition of any sort will be liable to rejection. No single tender shall include more than one work, but contractors who wish to tender for two or more works shall submit a separate tender for each. Tenders shall have the name and number of the work to which they refer written outside the envelope.

4.     (A)The rate (s) must be quoted in decimal coinage. Amounts must be quoted in full

rupees by ignoring fifty paisa and considering more than fifty paise as rupee one.

5. 	(a)The Divisional Officer or his duly authorized assistant, will open the financial bid of the Technical qualified agencies in the presence of any intending contractors who may be present at the time and will enter the amount of the several tenders in a Comparative Statement in a suitable form. In the event of a tender being accepted a

receipt for the earnest money forwarded therewith shall thereupon be given to the contractor who shall thereupon for the purpose of identification sign copies of the specifications and other documents mentioned in rule 1 in the event of a tender being rejected, the earnest money forwarded with such unaccepted tender shall thereupon be returned to the contractor remitting the same without any interest.

6.  The officer inviting tenders shall have the right of rejecting all or any of the tender and will not be bound to accept the lowest tender.

7.	The receipt of an accountant or clerk for any money paid by the contractor will not be considered as an acknowledgement of payment to the Divisional Officer and the contractor shall be responsible for seeing that he procures a receipt signed by the Divisional Officer, or a duly authorized cashier CAU/ South Zone / DDA.

8.	The memorandum of work tendered for, and the schedule of materials to be supplied by the DDA and their issue rates, shall be filled in and completed, in the office of the Divisional Officer before the tender form is issued. If a form is issued to an intending tenderer without having been so filled in and completed he shall request the office to have this done before he completes and delivers his tender.

9.	In the case of Item Rate Tenders, only rates quoted shall be considered. Any tender containing percentage below/above the rates quoted is liable to be rejected. Rates quoted by the contractor in item rate tender in figures and words shall be accurately filled in so that there is no discrepancy in the rates written in figures and words. However, if a discrepancy is found, the rate which correspond with the amount worked out by the contractor shall unless otherwise proved be taken as correct.

(a)	If the amount of an item is not worked out by the contractor or it does not correspond with the rates written either in figure or words, then the rates quoted by the contractor in words shall be taken as correct. Where the rate quoted by the contractor in figures and in words tally but the amount is not worked out correctly, the rates quoted by the contractor will unless otherwise provided be taken as correct and not the amount. In the event of no rate has been quoted for any item(s), leaving space both in figure(s),word(s) and amount blank, it will be presumed that the contractor has loaded the cost of this/these item(s) in other item (s) and the rate for such item(s) will be considered as Zero and work will be required to the executed accordingly.

10.	If it is found that the tender is not submitted in proper manner or contains too many corrections or absurd rates or amounts, it would be open for DDA to reject the same.

11.	The tenderer shall sign a declaration under the official secret Act for maintaining secrecy of the tender documents, drawings or other records connected with the work given to them. The unsuccessful tenderer shall return all the drawings given to them.

DECLARATION

I/We hereby declare that I/We shall treat the tender documents drawing and other records connected with the work as secret/confidential documents and shall not communicate information/deliver the information to any persons other than a person to who I/We am/are authorized to communicate the same or use the information in any manner prejudicial to the safety of the same.

Signature of the contractor

CONDITIONS OF CONTRACT

Definitions:

- The contract means the documents forming the tender and acceptance there of and the formal agreement executed between the Delhi Development Authority and the Contractor, together with the documents referred to therein including these conditions, the specifications, designs, drawings and instructions, issued from time to time by the Engineer-in-charge and all these documents taken together, shall be deemed to form one contract and shall be complementary to one another.

- In the contract the following expressions shall thereof unless the context otherwise requires, have the meaning hereby respectively assigned to them.

- The expression 'Works' or 'Work' shall there of unless there be something either in the subject or context repugnant to such construction, be constructed and taken to mean the work by or by virtue of the contract contracted to be executed whether temporary or permanent and whether original, altered, substituted or additional.

- The 'Site' shall mean the land and/or other places on, into or through which work is to be executed under the contract or any adjacent land, path or street through which work is to be executed under the contract or any adjacent land, path or street which may be allotted or used for the purpose of carrying out the contract.

- The 'Contractor shall mean the individual or firm or company whether in corporate or not, undertaking the works and shall include the legal personal representative or such individual or the persons confirming such firm or-company, or the successors of such firms or company and the permitted assignee of such individual or firms or company.

- The 'Authority' or' DDA means Delhi Development Authority.

- The 'Engineer-in-Charge' means the Divisional Officers who shall supervise and be incharge of the work and who shall sign the contract on behalf of the Delhi Development Authority.

- Chairman, Government' or 'Government-of India' shall mean the V. C. DDA of Delhi.

- The Term 'Chief Engineer' means concerned Zonal Chief Engineer Delhi Development Authority. Words imparting the singular number, include the plural number and Vice-Versa.

- The Chief Technical Examiner/Technical Examiner means the Chief Technical Examiner Central vigilance Commission, Govt. of India.

(3)	The contractor shall be deemed to have satisfied himself before tendering as to the correctness and sufficiency of his tender for the works and of the rates and prices quoted in the schedule of Quantities, which rates and the price shall, except as otherwise provided cover all his obligations under the contract and all matters and things necessary for the proper completion and maintenance of the works.

(4)	The several documents forming the contract are to be taken as mutually explanatory of one another detailed drawings being followed in preference-to small scale drawing and figured dimensions in preference to scale and special conditions in preference to General Conditions.

(4.1)	In the case of discrepancy between the schedule of Quantities, the Specifications and/or the Drawings, the following order of preference shall be observed :-

- Description of Schedule of Quantities.

- Particular specification and Special Condition, if any

- Drawings.

- CPWD Specification.

- Indian Standard Specifications of BIS.

(4.2).	If there are, varying are conflicting provisions made in any one document forming part of the contract, the Accepting Authority shall be the deciding authority with regard to the intention of the documents and his decision shall be final and binding on the contractor.

(4.3) 	Any error in description, quantity or rate in Schedule of Quantities or any omission there from shall not vitiate the Contract or release the Contractor from the execution of the whole or any part of the works comprised therein according to drawings and specifications or from any of his obligations under the contract.

CLAUSE 1. The person/persons, whose tender (s) may be accepted (herein after called the contractor) shall permit DDA at the time of making any payment to him for work done under the contract to deduct a sum at the rate of 10% of the gross amount of each running bill till the sum-along with the sum already deposited as earnest money, will amount to security deposit of 5% of the tendered value of the work. Such deductions will be made and held by DDA by way of Security Deposit unless he/they has/have deposited the amount of Security at the rate mentioned above in cash or in the form of Government Security at the rate mentioned above in cash or in the form of Government Securities or fixed deposit receipts. In case a fixed deposit receipt of any Bank is furnished by the contractor to the DDA as part of the security deposit and the Bank is unable to make payment against the said fixed deposit receipt, the loss caused thereby shall fall on the contractor and the contractor shall forthwith on demand furnish additional security to the DDA to make good the deficit.

All compensations or the other sums of money payable by the contractor under the terms of this contract may be deducted from, or paid by the sale of a sufficient part of his security deposit or from the interest arising there from, or any sums which may be due to or may become due to the contractor by DDA on any account whatsoever and in the event of his Security Deposit being reduced by reason of any such deductions or sale as aforesaid, the contractor shall within 10 days make good in cash or fixed deposit receipt tendered by the State Bank of India or by Scheduled Banks or Government Securities (if deposited for more than 12 months) endorsed in favour of the Engineer-in-Charge, any sum or sums which may have been deducted from, or raised by sale of his security deposit or any part thereof, the Security Deposit shall be collected from the running bills of the contractor at the rates mentioned above and the Earnest Money if deposited in cash at the time of tenders will be treated a part of the Security Deposit.

Note 	(1) Government papers tendered as security will be taken @ 5% (five percent) below its market price or at its face value, whichever is less. The market price of Government paper would be ascertained by Divisional Officer at the time of collection of interest and the amount to interest of the extent of deficiency in value of the Government paper will be with-held if necessary.

Note 	(2) Government securities will include all forms of securities mentioned in rule 274 of the G.F.R. except fidelity Bonds. This will be subject to the observance of the conditions mentioned under this rule against each form of security.

Clause1A. Performance Guarantee

i)	The contractor shall submit an irrecoverable performance guarantee of 5% (Five Percent), of the tendered amount in addition to other deposits mentioned elsewhere in the contract for his proper performance of the contract agreement,, (not withstanding and / or without prejudice to any other provisions in the contract) within 15 days of issue of letter of intent. This period can be further extended by the Engineer-in-Charge upto a maximum period of 7 days on written request of the contractor stating the reason for delays in procuring the Bank Guarantee, to-the satisfaction of the Engineer-in-Charge. This Guarantee shall be in the form of Government Securities or fixed deposit receipts or Guarantee

Bonds of any Scheduled Bank or the State Bank of India in accordance with the form annexed hereto (Annexure-l). In case a fixed deposit receipt of any Bank is furnished by the contractor to the DDA, as part of the performance guarantee and the bank is unable to make payment against the said fixed deposit receipt, the loss caused shall fall on the contractor and the contractor shall forthwith on demand furnish additional security to the DDA to make good the deficit.

(ii)A letter of intent shall be issued in the first instance informing the successful tenderer of the decision of the competent authority to accept his tender and the award letter shall be issued only after the Performance Guarantee in any of the prescribed form is received. In case of failure by the contractor to furnish the performance guarantee within the specified period Government shall without prejudice to any other right or remedy available in law, be at liberty to forfeit the earnest money absolutely.

(iii) The Performance Guarantee shall be initially valid upto the stipulated date of completion plus 60 days beyond that. In case the time for completion of works gets enlarged, the contractor shall get the validity of Performance Guarantee extended to cover such enlarged time for completion of work. After recording of the completion certificate for the work by the competent authority, the performance guarantee shall be returned to the contractor, without any interest, (iv) The Engineer-in-charge shall not make a claim under the performance guarantee except for amounts to which the DDA is entitled under the contract (not withstanding and / or without prejudice to any other provisions in the contract agreement) in the event of :-

- Failure by the contractor to extend the validity of the Performance Guarantee as described of the herein above, in which event the Engineer-in-Charge may claim the full amount of the Performance Guarantee.

- Failure by the contractor to pay DDA any amount due, either as agreed by the contractor or determined under any of the Clauses / Conditions of the agreements, within 30 days of the service of notice to this effect by Engineer-in-charge.

v) In the event of the contract being determined or rescinded under provisions of any of the clause/ condition of the agreement, the Performance Guarantee shall stand forfeited in full and shall be absolutely at the disposal of the DDA.

Note : 	Note 1 & 2 given under clause -I shall be applicable for Clause 1A.

CLAUSE 2. If the contractor fails to maintain the required progress in terms of clause 5 or to complete the work and clear the site on or before the contract or extend date of' completion, he shall, without prejudice to any other right or remedy available under the law to the-DDA on account of such breach, pay as agreed compensation the amount calculated at the rates stipulated below as the Superintending Engineer (Whose decision in writing shall be final and binding) may decide on the amount of tendered value of the work for every completed day/month (as applicable) that the progress remains below that specified in Clause 5 or that the work remains incomplete. This will also apply to items or group of items for which a separate period of completion has been specified. Compensation for delay of work @ 1.5% per month of delay to be computed on per day basis.

Provided always that the total amount of compensation for delay to be paid under this condition shall not exceed. 10% of the Tendered value of work or to the Tendered Value of the item or group of items of work for which is separate period of completion is originally given.

The amount of compensation may be adjusted or set-off against any sum payable to the Contractor under this or any other contract with the DDA In case, the contractor does not achieve a particular milestone mentioned in Annexure - II or, the rescheduled milestone(s) in terms of Clause 5.4, the amount shown against that milestone shall be withheld, to be adjusted against the compensation levied at the final grant of extension of time. Withholding of this amount on failure to achieve a milestone, shall be automatic without any notice to the contractor. However, if the contractor catches up with the progress of work on the subsequent milestones), the withheld amount shall be released. In case the contractor fails to make up for the delay in subsequent milestone(s), amount mentioned against each milestone missed subsequently also shall be with-held. However, no interest, whatsoever, shall be payable on such withheld amount.

CLAUSE 3 The Engineer-in-Charge may without prejudice to his right against the contractor in respect of any delay or inferior workmanship or otherwise on to any claims for damage in respect of any breaches of contract and without prejudice to any right or remedies under any of the provisions of this contract or otherwise and whether the-date for completion has or has not elapsed by notice in writing absolutely determine the contract in any of the following cases

(i)	If the contractor having been given by the Engineer-in-Charge a notice in writing to rectify, reconstruct or replace any defective work or that the work is being performed in an inefficient or otherwise improper or un workman like manner shall omit to comply with the requirements of such notice for a period of seven days thereafter.

(ii)	If the contractor being a company shall pass a resolution or the court shall make an order that the company shall be wound up or if a receiver or a manager on behalf of a creditor shall be appointed or if circumstances shall arise which entitled the court or the creditor to appoint a receiver or a manager any of or which entitle the court to make a winding up order.

(iii) 	Deleted

(iv)	If the contractor has without reasonable cause, suspended the progress of the work or has failed to proceed with the work with due diligence so that in the opinion of the Engineer-in-Charge (which shall be final and binding) he will be unable to secure completion of the work by the date for completion and continues to do so after a notice in writing of seven days from the Engineer-in-Charge.

(v)	If the contractor fails to complete the work within the stipulated date or items of work with individual date of completion, if any stipulated, on or before such date(s) of completion and does not complete them within the period specified in a notice given in writing in that behalf by the Engineer-in-Charge.

(vi) 	If the contractor persistently neglects to carry out his obligations under the contract and/or commits default in complying with any of the terms and conditions of the contract and does not remedy it or take effective steps to remedy it within 7 days after a notice in writing is given to him in that behalf by the Engineer-in-Charge.

(vii) 	If the contractor commits any acts mentioned in clause 21 hereof.

(viii) 	If the work is not started by the contractor within, 1/8th of stipulated time.

When the contractor has made himself liable for action under any of the cases aforesaid, the Engineer in charge on behalf of the DDA shall have powers:

- To determine or rescind the contract as aforesaid (of which termination or rescission notice in writing to the contractor under the hand of the Engineer-in-Charge shall be conclusive evidence). Upon such determination or rescission the Earnest Money deposit. Security Deposit already re covered and Performance Guarantee under contract shall be liable to be forfeited and shall be absolutely at the disposal of the DDA.

- Deleted

- After giving notice to the contractor to measure the work of the contractor and to take such whole, or the balance or part thereof, as shall be un-executed out of his hands and to give it to another contractor to complete the work. The contractor, whose contract is determined or rescinded as above, shall not be allowed to participate in the tendering process for the balance work.

In the event of above courses being adopted by the Engineer-in-Charge, the contractor shall have no claim to compensation for any loss sustained by him by reasons of his having; purchases or procured any material or entered into any engagements or made any advances on account or with a view to the execution of the work or the performance of the contract. And in case action is  taken under any of the provision aforesaid the contractor shall not be entitled to recover or be paid any sum for any work thereof or actually performed under this contract unless and until the Engineer-in-Charge has certified in writing the performance of such work. and the value payable. In respect thereof and he shall only be entitled to be paid the value so certified.

Clause 3A. In case, the work cannot be started due to reasons not within the control of the contractor within 1/8th of the stipulated time for completion of work, either party may close the contract. In such eventually, the Earnest Money Deposit and the Performance Guarantee of the contractor shall be refunded, but no payment on account of Interest, loss of profit or damages etc. shall be payable at all.

CLAUSE 4. In any case in which any of the powers conferred upon the Engineer-in-Charge by Clause 3 hereof, shall have become exercisable and the same are not be exercised, the non-exercise thereof shall not constitute waive of any of the conditions here of and such power shall not with standing be exercisable in the event of any of the conditions in the event of any future case of default by the contractor and the liability of the contractor for the compensation shall remain unaffected. In the, event of the Engineer-in-Charge putting in force all or any of the power vested in him" under the preceding clause he may, if he so desires after giving a notice in writing to the contractor, take possession of (or at the sole discretion of the Engineer-in-Charge which shall be final) and binding on contractor use as on hire (the amount of the hire money being also in the final determination of the Engineer-in-Charge ) all or any tools, plants, materials and stores, in or upon the works, or the site thereof/belonging to the contractor, or procured by the contractor and intended to be used for the execution of those work or any part thereof paying or allowing for the same in account at the contract rates or in the case of these not being applicable at current market rates to be certified by the Engineer-in-

Charge, whose certificate there of shall be final and binding on contractor otherwise the Engineer-in-Charge by giving notice in writing may order the contractor, or his clerk of the work, foreman or other authorised agent to remove such tools, plants; materials or stores from the premises (within a time to be specified in such notice) and in the event of the contractor failing to comply with any such requisition of the Engineer-in-Charge may remove them at the contractor's expense or sell them by auction or private sale on account of the contractor and at his risk in all respect and the certificate of the Engineer-in-Charge as to the expense of any such removal and the amount of the proceeds and expense of any such sale shall be final and conclusive against the contractor.

CLAUSE 5. The time allowed for execution of the works as specified in the Annexure -II or the extended time in accordance with these conditions shall be the essence of the Contract.-The execution of the works shall commence from the 10th Day or such time period as mentioned in letter of Award after the date on which the Engineer-in -Charge issue written orders to commence the work or from the date of handing over of the site whichever is later. If the contractor commits default in commencing the execution of the work as aforesaid- DDA shall without prejudice to any other right or remedy available in law, be at liberty to forfeit the earnest money & performance guarantee absolutely.

Clause 5.1. As soon as possible after the Contract is concluded the Contractor shall submit a Time & Progress Chart for each mile stone and get it approved by the Department. The Chart shall be prepared. in direct relation to the time stated in the contract documents for completion of items of the works. It shall indicate the forecast of the dates of commencement and completion of various trades of sections of the work and may be amended as necessary by agreement between the Engineer-in-Charge and the Contractor within the limitations of time imposed in the contract documents, and further to ensure good progress during the execution of the work, the contractor shall in all cases in which the time allowed for any work, exceeds one month (save for special jobs for which a separate programme has been agreed upon) complete the work as per milestones given in Annexure-II

Clause 5.2. If the work(s) be delayed by :-

i) force majeure or

ii) abnormally bad weather, or

iii) serious loss or damage by fire, or

iv) civil commotion, local commotion of workmen, strike or lockout, affecting any of the trades employed on the work, or

v) delay on the part of other contractors or tradesmen engaged by Engineer-in-Charge in executing work not forming part of the contract, or

vi) non-availability of stores, which are the responsibility of Government/DDA to supply or

vii) non-availability or break-down of tools and plant to be supplied or supplied by Government/ DDA. or.

viii) any other cause which, in the absolute discretion of the authority mentioned in Annexure -II is beyond the contractor's control.

Then upon the happening of any such event causing delay, the contractor shall immediately give notice thereof in writing to the Engineer-in-Charge but shall nevertheless use constantly his best endeavors to prevent or make good the delay and shall do all that may be reasonably required to the satisfaction of the Engineer-in-Charge to proceed with the works.

Clause 5.3, Request for rescheduling of mile stones and extension of time, to be eligible for consideration, shall be made by the contractor in writing within fourteen days of the happening of the event causing delay on the prescribed form. The Contractor may also, if practicable, indicate in such a request the period for which extension is desired.

Clause 5,4. In any such case the authority mentioned in Annexure-II may give a fair and reasonable extension of time and reschedule the milestones for completion of work. Such extension shall be communicated to the Contractor by the Engineer-in-Charge in writing, within 3 months of the date of receipt of such request, Non application by the contractor for extension of time shall not be a bar for giving a fair and reasonable extension by the Engineer-in-Charge and this shall be binding on the contractor.

CLAUSE 6. Within 10 days of the completion of the work the contractor shall give notice of such completion to the Engineer-in-Charge and within 10 days of the receipt of the such notice the Engineer-in-Charge shall inspect the work and if there is no defect in the work, he shall .furnish the contractor with a certificate of completion, otherwise a provisional certificate indicating-defect (a) to be rectified by the contractor and/or (b) for which payment will be made at reduced rates, shall be issued but not certificate of completion, provisional or otherwise, shall be issued nor shall the work be considered to be complete until the contractor shall have removed from the premises on which the work shall be executed all scaffolding, surplus materials, rubbish and all huts and sanitary arrangement required for his/her work people on the site in connection with the execution of the work shall have been erected or constructed by the contractor(s) and cleaned of the dirt from all wood work, doors, windows, walls, floors or other parts of any building in upon or about which work is to be executed, or of which he may have had possession for the purpose of the execution thereof, and not until the work shall have been measured by the Engineer-in-Charge. If the contractor fails to comply with the requirements of this clause as to removal of scaffolding, surplus materials and rubbish and all huts and sanitary arrangements as aforesaid and cleaning of dirt on or before the date fixed for the completion of work the Engineer-in-Charge may at the expense of the contractor remove such scaffolding, surplus materials and rubbish etc. and dispose of same as he think fit and clean of such dirt as aforesaid, and the contractor shall have not claim in respect of any such

CLAUSE 6 A. The splashes and dropping from white washing, colour washing, painting etc. on wall of doors, roofs, windows etc. shall be removed and the surface cleaned simultaneously with completion of these items of work in the individual rooms, quarters or premises etc. on which the work is done without waiting for the actual completion of the other items of work in the contract in case the contractor fails to comply with the requirements of the clause the Engineer-in-Charge shall have the right to get this work done at the cost of the contractor either departmentally or through another agency. Before taking such action the Engineer-in-Charge shall give two days notice in writing to the contractor.

CLAUSE 6 B-DELETED

CLAUSE 6C The contractor of the work shall have to enter into a supplementary agreement with Executive ‘Engineer immediately after the actual date of completion of work for items contained in schedule ‘A’ of the contract. The security deposit for the work of schedule A & B shall be deducted in accordance with the para of clause 6-C

CLAUSE 7 No payment shall be made for a work estimated to cost rupees twenty lacs or less till after the whole of the work shall have been completed and certificate of completion given. But in the case of work estimated to cost more than Rs. twenty lacs, the contractor shall, on submitting the bill be entitled to receive a monthly payment proportionate to the part thereof then executed to the satisfaction" in of the Engineer-in-Charge, whose certificate of the sum so payable shall be regarded as payment by way of advance against the final payment only and not as payments for work actually done and completed and shall not preclude the requiring of bad, unsound and imperfect or unskilled work to be removed and taken away and reconstructed, or effected or be considered as an admission of the due performance of the contract, or any part thereof, in any respect or the accrual of any claims, nor shall it conclude, determine, or affect-in any way the powers of the Engineer-in-Charge under these conditions or any of them as to the final settlement and adjustment of the accounts or otherwise or in any other way very or affect the contract. The final bill shall be submitted by the contractor within one month of the date fixed for completion of the work or of the date of the certificate of completion furnished by the Engineer-in- Charge and payment shall be made with in three months with amount of the contract pulsate of additional items is up to Rs. 2 lacs and in 6 months if the same exceeds Rs 2 lacs of the submission of such bill. If there shall be any dispute about any items of the work than the undisputed items or items only shall be paid within the said period of three months or six months or as the case may be. The contractor shall submit a list of the disputed items within thirty days from the disallowance thereof and if he fails to do this, his claim shall be deemed to have been fully waived and absolutely extinguished.

Wherever there is likely to be delay in recording detailed measurement for making running payments in the case of residential building, advance payment without detailed measurements for works done (other than foundation and finishing items) upto (a) lintel level (including sun shade etc..) and (b) slab level, for each floor, worked out at 75% of the tendered rates may be made in running accounts bill by the Engineer-in-Charge at his discretion on the basis of certificate from the assistant Engineer to the effect that the work has been completed upto the level in question.

The advance payment so allowed shall be adjusted in the subsequent running bill by taking detailed measurement thereof. Final payment shall be made only on the basis of detailed measurements,

CLAUSE 8. A bill shall be submitted by the contractor each month on or before the date fixed by the Engineer-in-Charge for all work executed in the previous month, and the Engineer-in-Charge shall take or cause to be taken the requisite measurements for the purpose of having the same verified, and the claim, as far as admissible, adjusted as far as possible before the expiry of ten days from the presentation on the bill. If the contractor does not submit the bill within the time fixed as aforesaid, the Engineer-in-Charge may depute with in seven days of the date fixed as aforesaid, as subordinate to measure up this said work in presence of the contractor whose counter signature to measurement list will be sufficient warrant, and the Engineer-in-Charge may prepare a bill from such list.

CLAUSE 8 A. Before taking any measurement of any work as has been referred to in Clause 6,7 and 8 there of the Engineer-in-Charge or a subordinate deputed by him shall give reasonable notice to the contractor. If the contractor fails to attend at the measurements after such notice or fails to countersign or to record the difference within a week from the date of measurement in the manner required by the Engineer-in-Charge then in any such event the measurement taken by the Engineer-in-Charge or by the subordinate deputed by him as the case may be shall be final and binding on the contractor and the contractor shall have no right to dispute the same.

CLAUSE 9. The contractor shall submit all bills on the printed forms, to be had on application at the office of the Engineer-in-Charge and the charges in the bills shall always be entered at rates specified in the tender or in the case of any extra work orders in pursuance of these conditions and not mentioned or provided for in the tender at the rates herein 'after provided for such work.

CLAUSE 9A. Payments due to the contractor may, if so desired by him be made to his bank instead of direct to him provided that the contractor furnishes to Engineer-in-Charge (1) an authorisation in the form of a legally valid documents such as a power of attorney conferring authority on the bank to receive payment and (2) his own acceptance of the correctness of amount made out as being due to him by Delhi Development Authority, or his signature on the bill or other claim preferred against Delhi Development Authority before settlement by the Engineer-in-Charge of the amount of claim by payment to the bank, while the receipt given by such ;bank shall constitute a full and sufficient discharge for the payment the contractor should, wherever possible, present his bill duly accepted and discharged through his bankers.

Nothing herein contained shall operate credit in favour of the bank any rights or equalities visa-vise the Authority.

CLAUSE 10. Stores supplied by Delhi Development Authority:- if the specification or schedule of items provides for the use of any special description of materials to be supplied from Engineer-in-Charge or if it is required that the contractor shall use certain stores to be provided by the Engineer-in-Charge as shown in the schedule of materials hereto annexed, the contractor shall be bound to procure and shall be supplied, such materials and stores, as are from time to time required to be used by him for the purpose of the contract only, and the value of the full quantity of materials and stores so supplied at the rates specified in the said schedule of materials may be set offer deducted from any sums then due, or thereafter to become due to the contractor under the contract, or otherwise or against or from the security deposit, or the proceeds of sale there of if the same is held in Govt. Securities, the same of a sufficient portion there of being in this cases sold for the purpose. Not withstanding any thing to the contrary contained. If in any other clause of the contract and { or the CPWA-Code) all stores/ materials so supplied to the contractor or procured with the assistance of the Delhi Development Authority shall remain the absolute property of Delhi Development Authority and the contractor shall be the trustee of the store/materials and the said store/materials shall not be removed/disposed of from the site of the work on any account and shall be at all times open to inspection by the Engineer-in-Charge, any such stores/materials remaining unused shall be returned to the Engineer-in-Charge at a place directed by him if a notice he shall so require, but in case it is decided not to take back the stores/materials the contractor shall have not claim for compensation on any account of such stores/ materials so supplies to him as aforesaid and not used by him or for any wastage in or damage to such stores/materials.

On being required to return the stores/materials, the contractor shall hand over the store/materials on being paid or credited such price as the Engineer-in-Charge shall determine, having due regard to the condition of the stores/materials. The price allowed to the contractor, however shall not exceed the amount charged to him, excluding the storage charge, if any. The decision of the Engineer-in-Charge shall be final and conclusive. In the event of breach of the aforesaid condition the contractor shall in addition to throwing him self open to account for contravention of the terms of the licences or permit and/ or criminal breach of trust be liable to Delhi Development Authority for all advantage of profits resulting' or which in the usual course would having resulted to him by reason of such breach. Provided that the contractor shall in no case be entitled to any compensation or damage on account of delay in supply or non- supply there of all or any such materials and stores. Provided further that the contractor shall be bound to execute the entire work if the materials are supplied by-the DDA within the schedule time for completion of the work plus 50% there of (Schedule time plus 6 months if the time of completion exceed 12 months) but if a part only of the materials has been supplied within the aforesaid period then the contractor shall be bound to do so much of the work as may be possible with the materials and stores supplied in the aforesaid period for the completion of the rest of the work contractor shall be entitled to such extension of the times as may be determined by the Engineer-in-Charge, Whose decision in this regard shall be final.

CLAUSE 10 A. The Engineer-in-Charge shall have full powers to acquire the removal from the premises of all materials which in his opinion are not in accordance with the specifications and in case of default the Engineer-in-Charge shall be at liberty to employ other persons to remove the same without being answerable or accountable for any loss or damage that may happen or arise to such materials. .The Engineer-in-Charge shall also have full power to require other proper materials to be substituted there of and in case of default the Engineer-in-Charge may cause the same to be supplied and all costs which may arise due to such removal and substitution are to be borne by the contractor.

CLAUSE 10 B (i). The contractor on signing" an indenture in the form to be specified by the Engineer-in-Charge shall be entitled for Secured Advance to be paid during the progress of the execution of the work upto 75% of estimated value of any materials which are in opinion of the Engineer-in-Charge non-perishable and are in accordance with the contract and which have been brought on the site in connection there with and are adequately stored and protected against damage by weather or other causes but which have not at the time of advance been in corporate in the works. When materials on account of which an advance has been made under this sub clause are incorporated in the work" the amount of such advance shall be deducted from the next payment made under any of the clause or clauses of this contract.

CLAUSE 10 B (ii). DELETED

CLAUSE 10B (iii).DELETED

CLAUSE 10 B(iv).DELETED

CLAUSE 10 B(v). DELETED

CLAUSE 10 B(vi).DELETED

Clause 10 C

If after submission of the tender the price of any material incorporated in the works (not being material supplied from the Engineer-in-Charge stores in accordance with clause 10 thereof) and/or wages of labour increases as direct result of the coming in to  force of any fresh law, or statutory rule or order (but not due to any changes in sales tax) and such increase in the price and/or wages prevailing at the time of the last stipulated date of the receipt of the tenders including extension if any for the work and the Contractor there upon necessarily and properly pays in respect of the material (incorporated in the works) such increased price and/or in respect of labour engaged on the execution of the work such increased wages, then the amount of the Contract shall accordingly be varied and provided further that any such increase shall not be payable if such increase has become operative after the stipulated date of completion of the work in question.

If after submission of the tender, the price of any material incorporated in the works (not being a material supplied from the Engineer-in-Charge stores in accordance with clause 10 thereof) and/or wages of labour is decreased as a direct result of the comings in to force of any fresh law or any statutory rules or order (but  not due to any changes in sales tax) and such  decrease in the price and/or wages prevailing at the time of receipt of the tender for the work.   DDA shall in respect of materials incorporated in the works(not being materials supplied from the Engineer-in-Charge stores in accordance with clause 10 thereof) and/or  labour engaged on the execution of the work after the date of coming into force of such law statutory rule or order be entitled to deduct from the dues of the Contractor such amount as shall be equivalent to the difference between the prices of the materials and/or wages as prevailed at the time of the last stipulated date for receipt of tenders including extensions if any for the work and the price of materials and/or wages of labour on the coming into force of such law, statutory rule or order.

The Contractor shall, for the purpose of this condition, keep such books of account and other documents as are necessary to show the amount of any increase claimed or reduction available and shall allow inspection of the same by a duly authorized representative of the DDA, and further shall, at the request of the Engineer-in-Charge may require any documents so kept and such other information as the Engineer-in-Charge may require.

The Contractor shall, within a reasonable time of his becoming aware of any alteration in the price of any such materials and/or wages of labour, give notice there of to the Engineer-in-Charge stating that the same is given pursuant to this condition together  with all information relating thereto which he may be in position to supply

Clause 10 (CA)

If after submission of the tender, the prices of cement and/or steel reinforcement bars incorporated in the works(not being a material supplied from the Engineer-in-Charge’s stores in accordance with Clause 10 thereof) increase(s) beyond the price(s) prevailing at the time of the last stipulated date for receipt of tenders(including extension, if any) for the work, then the amount of the Contract shall accordingly be varied and provided, further that any such increase shall not be payable if such increase has become operative after the stipulated date of completion of the work in question.

If after submission of the tender, the prices of Cement and/or Steel reinforcement bar incorporated in the works (not being a material stipulated from the Engineer-in-Charge’s stores in

27

accordance with Clause 10 thereof) is decreased.  DDA shall in respect of these materials incorporated in the works (not being materials supplied from the Engineer-in-Charge’s stores in accordance with Clause 10 thereof) be entitled to deduct from the dues of the Contractor such amount as shall be equivalent to the difference between the prices of the cement and or steel reinforcement bars as prevailed at the time of last stipulated date for receipt of tenders including extensions if any for the work and the prices of theses materials on the coming into force of such base price of cement and/or steel reinforcement bars issued under Authority of SE(P)DDA.

The increase/decrease in prices shall be determined by the All India Wholesale price indices for cement and steel (bars and rods) as published by Economic Advisor to Government of India, Ministry of Commerce and Industry and base price of cement and/or for steel reinforcement bars as issued under Authority of SE(P), DDA as valid on the last stipulated date of receipt of tender, including extension if any and for the period under consideration.

The amount of the Contract shall accordingly be varied for cement and/or steel reinforcement bars and will be worked out as per the formula given below.

(a)Adjustment for component of “Cement”

Vc	=PcxQcx (CI-C I0)

CI0

Where

Vc=	Variation in cement cost i.e. increase or decrease in the amount in rupees to be paid or recovered.

Pc=	Base price of cement as issued under Authority of SE(P)DDA valid at the time of the last stipulated date of receipt of tender including extension, if any.

Qc=	Quantity of cement used in the works since previous bill.

C I0=	All India Whole sale Price index for cement as published by the Economic

Advisor to Government of India, Ministry of Industry & Commerce as valid on the last stipulated date of receipt of tenders including extensions, if any.

CI=	All India Whole sale Price index for cement for period under consideration as published by the Economic Advisor to Government of India, Ministry of Industry & Commerce.

(b)Adjustment for component of ‘Steel’

Vs=Ps x Qs x  (SI-SI0)

S I0

Where

Vs=	Variation in cost of steel reinforcement bars i.e. increase or decrease in the amount in rupees to be paid or recovered.

Ps=	Base price of steel reinforcement bars, as issued under Authority of SE(P)DDA at the time of last stipulated date of receipt of tender including extensions, if any.

Qs=	Quantity of steel paid either by the way of secured advance or used in the works since previous bills(whichever is earlier).

SI0=	All India Wholesale price Index for steel (bar and rods) for the period under consideration as published by the Economic Advisor to Government of India, Ministry of Industry & Commerce as valid on the last stipulated date of receipt of tenders including extensions, if any.

SI= 	All India Wholesale price Index for steel (bar and rods) for the period under consideration as published by the Economic Advisor to Government of India, Ministry of Industry & Commerce.

Provided always that provisions of the preceding clause 10 C shall not be applicable in respect of Cement and/or steel reinforcement bars.

CLAUSE 10CC-DELETED

CLAUSE 10 D. The contractor shall treat all materials obtained during Dismantling of a structure in excavation of that site for a work etc. as Delhi Development Authority property and such materials shall be disposed of to the best advantage of Delhi Development Authority according to the instructions in writing issued by the Engineer-in-Charge.

CLAUSE 10 E. Cement shall be supplied by the department in HDPE or Gunny bags containing of 50 Kg. of cement in each bags and shall be available in multiple of 50 Kg. bags. The recovery rate of cement is inclusive of cost of Jute or paper bags or H.D.P.E. bags.

CLAUSE 10 F. In case, the empty cement bags are required by DDA for bonafide use in work, the executive Engineer-in-Charge of work shall have the power to collect the bags himself and the contractor shall have to return desired number of empty jute poly bags in serviceable condition to him on the same condition and as per prevailing rates of DGS & D for bag collecting agents.

CLAUSE 11. The contractor shall execute the whole and every part of the work in the most substantial and work man like manner and both as regards materials and otherwise in very respect in strict accordance with the specifications. The contractor shall also conform exactly, fully and faithfully to the designs, drawings and instructions in writing in respect of the work signed by the Engineer-in-Charge and the contractor shall be furnished free of charge one copy of the contract documents together with specifications and of all such designs, drawing and instructions as are not included in the Central Public works Department compilation entitled" CPWD specification for work at Delhi 1996 Vol.-l to VI with upto date correction slips with any and revised CPWD specifications 2002 for cement mortar, cement concrete and RCC work other printed publication on General specification referred to else where in the contract.

CLAUSE 12. The Engineer-in-Charge shall have power to make any alterations in, omissions from, additions to or substitutions for, the original specifications drawings designs and instructions, that may appear to him to be necessary during the progress of the work, and the contractor shall be bound to carry out the work in accordance with any instructions which may be given to him in writing signed by the Engineer-in-Charge, and such alterations, omissions additions, or substitutions shall not in validate the contract and any altered, additional or substituted work which the contractor .may be directed to do in the manner above specified as part of the work shall be carried out by the contractor on the same conditions in all respects on which he agreed to do the main work. The time for the completion of the work shall be extended in the proportion that the altered, additional or substituted work bears to the original contract work and the certificate of the Engineer-in-Charge shall be conclusive as to such proportion. Over and above this, a further period to the extent of 25% of such extension so extended shall be allowed to the contractor. The rates for such additional, altered or substituted work under this Clause shall be worked out in accordance with the following provision in their respective order.

(i)	If the rates for additional, altered or substituted work are specified in the contract for the work, the contractor is bound to carry out the additional, altered or substituted work at the same rates as are specified in the contract for the work.

(ii)	If the rates for additional, altered or substituted work are not specifically provided in the contract for the work, the rates will be derived from the rates for a similar class work as are specified in the contract for the work.

(iii)	If the rate for the altered, additional or substituted work includes any work for which no rate is specified in the contract for the work and cannot derived from the similar class of work in the contract then such work shall be carried out at the rates entered in the current CPWD. Schedule of rates for Delhi) 2007 with upto date correction slip or receipt of tender correction slips uptodate  minus/plus percentage which the total tendered amount bears to the estimated cost of the entire work put to tenderer CPWD Schedule of Rates Part-1 (Int.) 2005and Part -II (ext.) 1995 Electrical Works.

(iv)	If the rates for the altered, additional or substituted work cannot be determined in the manner specified in Sub-clause (i). (ii) (iii) & above, then Rates for such work shall be worked out on the basis of schedule of rate.DSR 2007 with Upto date C.S. above minus/plus the percentage which the total tendered amount bears to the estimated cost of the entire work put to tender. Provided always that if the rate for a particular part or parts of the item is not in the schedule of rates, the rate or such part or parts will be determined.

by the Engineer-in-Charge on the basis of .prevailing market rates when the work was done or CPWD Delhi Schedule of Rate 2007 and Elect. part I & II DSR 2007

(v)	If the rate for the altered, additional or substituted work cannot be determined in the manner specified in sub-clauses )i) to (iv) above, then the contractor shall, within 7 days of the date of receipt of order to carry out the work, inform the Engineer-in-Charge of the rate which it is his intention to charge such class of work, supported by the analysis of the rate or rates claimed and the Engineer-in-Charge shall determined the rate or/rates on the basis of prevailing market rates, and pay the contractor accordingly, however the Engineer-in-Charge, by notice in writing, will be at liberty to cancel his order to carry out such class pf work and arranged to carry it out in such manner as he may consider advisable. But under no circumstances the contractor shall suspend the work on the plea of non-settlement of rate of items falling under the clause.

(vi)	Except in case of items relating to foundations provisions contained in sub-clause (i) to (v) above shall not apply to contract or substituted items as individually exceed the percentage set out in the tender documents (referred to herein below as deviation limit) subject to the following restrictions:

- The deviation limit refereed to above is the net effect (algebraic sum) of all additions and deduction ordered.

- In no case shall the addition/deductions (arithmetical sum) exceed twice the deviation limit.

- The deviation ordered on items of any individual trade including in the contract shall not exceed plus/minus 50% of the value of that trade in the contract as a whole or half the deviation limit whichever is less.

- The value of addition of items of any individual trade not already included in the contract shall not exceed 10% of the deviation limit.

For the purpose of operation of clause 12 (vi) the following work shall be treated as work relating to foundations:

- For building plinth level or 1.2 metres above ground level whichever is lower excluding item of flooring and D.P.C. but including base concrete below the floor.

- For abutment piers retaining walls or culvert and bridges walls of water reservoirs, the bed and floor level.

- For retaining walls where floor level is not determined 1.2 meter above the average ground level or bed level.

- For roads all items of excavations and filling including treatment of sub base and .soling work.

- For water supply lines, sewer lines, underground storm water drains and similar work, all items of work below ground level except item of pipe work and masonry work.

(i) 	For open storm water drains all items of work below ground level except item of pipe work except lining of drains

Note : Individual trade means section into which a schedule of quantities annexed to the agreement has been divided or in absence of any such division the individual section of the Schedule of Rates specified above, such as excavation and earth work concrete wood work and joinery etc. The rates of any such work except the item relating to foundation which is in excess of the deviation limit shall be determined in accordance with the provisions contained in clause 12A.

CLAUSE 12-A In the case of contract or substitute items or addition items relating to foundation work which the contractor is required to do under Clause 12 above the contractor shall within 7 days from the receipt or order claim revision of the rates supported by proper analysis in respect of such items for quantity in excess of the deviation limit not with standing the fact that the rates for such items exist in the tender for the main work or can be derived in accordance with the provisions of sub-clause of clause 12 Engineer-in-Charge may revise their rates, having regard to the prevailing market rates and the contractor shall be at liberty to cancel his order to carry on such increased quantities of work by giving notes in writing to the contractor and arrange to carry it out in such a .manner as he may consider advisable but under no circumstance the contractor shall suspend the work on the plea of non settlement of rates of item failing under this clause. .

All the provisions of the preceding paragraph shall equally apply to the decrease in the rates of items or quantities in excess of the deviation limit, not-withstanding the fact that the rates for such item exist in the tender for the main work or can be derived in accordance with the provisions of sub-clause (ii) of the preceding Clause 12, and the Engineer-in-Charge may revise such rates having regard to the prevailing market rates.

CLAUSE 13. If at any time after the commencement of the work the Authority shall for any  reason what so ever not require the whole work or part there of as. specified in the tender to be carried out, the Engineer-in-Charge shall give notice in writing of the fact to account of any profit or advantage which he might have derived from the execution of the work not having been carried out, neither shall he have any claim for compensation by reason of any instructions which shall involve any curtailment of the work as originally contemplated. Provided that the contractor shall be paid the charges on the cartage only of rendered surplus as a result of the abandonment or curtailment of the work or any portion there .of and then taken back by the contractor provided however that the Engineer-in-Charge shall have in all such cases the option of taking over all or any such material at their purchase price or at local current rates whichever may be less. In the case of such stores-having been issued from D.D.A. Stores and returned by the contractor to D.D.A. Stores, credit shall be given to him by the Engineer-in-Charge at rates not exceeding those at which they were originally issued to him, after taking into consideration and deduction for claims on account of any deterioration or damage while in the custody of the contractor and in this respect the decision of the Engineer-in-Charge shall be final.

CLAUSE 14. If it shall appear to the Engineer-in-Charge or his authorised subordinate in charge of the work or the Chief-Engineer, Superintending Engineer, Chief Technical Examiner/Technical Examiner of Central Vigilance Commission & Chief Engineer Quality Control DDA or by the Officer of the internal  vigilance of the Authority that any work has been executed with unsound, imperfect or unskillful workman ship or with materials of any inferior description, or that any materials or articles provided by him for the execution for the work are unsound or of quality inferior to that contracted for or otherwise are not in accordance with the contract, the contractor shall on demand in writing which shall, be made within 6 months of the completion of the work from the Engineer-in-Charge specifying the work, materials or articles complained of not with standing that the same may have been passed certified and paid the forth . with rectify or remove and reconstruct the work so specified in whole or in part as the case may require or as the case may be remove the materials or articles specified and provide other proper and suitable materials or articles at his own proper charge and cost, and in the event of his failing to do so within a period to be specified by the Engineer-in-Charge in his demand aforesaid than the contractor shall be .liable to pay compensation at the rate of one percent on the estimated amount put to tender for every day not exceeding ten days while his failure to do so shall continue and in the case of any such failure. The Engineer-in-Charge may rectify or removed and re-execute the work or remove and replace with other, the materials or articles complained of as the case may be at the risk and expense in all respects of the contractor.

CLAUSE 15. All work under or in course of execution or executed in pursuance of the contract shall at all time be opened to the inspection and supervision of the Engineer-in-Charge and his authorised, subordinates and the Central Vigilance commission or by the .Chief Engineer quality Control DDA or his authorised subordinate officer and the contractor shall at all times during the usual working hours, and at all other times at which reasonable notice of the intention of the Engineer-in-Charge or has authorised subordinate to visit the works shall have been given to the contractors either him self be present to receive orders and instructions or have a responsible agent duly accredited in writing present for that" purpose. Order given to the contractor's agent shall be considered to have the same force as if they had been given to the contractor him self. The work during its progress can also be inspected by the Chief Technical Examiner/ Technical Examiner of the Central Vigilance Commissioner or by Chief Engineer Quality control DDA or by an officer of the Vigilance Cell of the Authority on behalf of the Engineer-in-Charge or any official of higher level, commissioner or any official of quality control cell.

CLAUSE 16. Contractor shall give not less than seven days notice in writing to the Engineer-in-Charge or  his authorised subordinate in charge of the work before covering up or otherwise placing beyond the reach of measurement any work in order that the same may be measured and correct dimension thereof be taken before the same is so covered up or placed beyond the reach of measurement and shall not cover up & place beyond the reach of measurement any work without the consent in writing of the Engineer-in-Charge or his authorised subordinate in charge of the work, and the Engineer-in-Charge or his authorised subordinate in charge of the work shall within the aforesaid period of seven days inspect the work, and if any work, shall be covered up or placed beyond the reach of measurement without such notice having been given or the Engineer-in-Charge 's consent being obtained the same shall be uncovered at the contractors expense or in default thereof no payment or allowance shall be made for such work or the materials with which the same was executed.

CLAUSE 17. If the contractor or his working people or servants shall break deface, injure or destroy any part of building in which they may be working or any building, road kerb, fence, enclosure, water pipe, cables, drains, electric or telephone post or wires, trees, grass or grassland or cultivated ground contiguous to the premises on which the work or any part of it being executed or if any damage shall happen to the work while in progress from any cause whatever or if any defect shrinkage or other faults appear in the work within twelve months (6 months in the case of any other than road work costing Rs.10,00,000. & below) after a certificate final or otherwise of its completion shall have been given by the Engineer-in-Charge as aforesaid arising out of defective or proper materials or work man ship the contractor shall upon receipt of a notice in writing on that behalf make the same good at his own expense, or in default the Engineer-in-Charge may cause the same to be made good by other workmen and deduct the expense from any sums that may be due  or at any time there after may become due to the contractor, or from his security Deposit (except for the portion pertaining to asphaltic work, which is governed by sub-para(iii) of clause 35) or the proceeds of sale there of or of a sufficient portion there of the security deposit of the contractor (except the portion pertaining to asphaltic work which is governed by sub-para (iii) of clause (35) shall not be refunded before the expiry of twelve months (Six months in case of any work other than road work costing-Rs. 10,00,000/- and below) after the issue of the certificate final or otherwise of completion of work or till the final bill has _been prepared and passed whichever is later.

Clause 17A. Provided that in the case of road work if in opinion of the Engineer-in-charge, the security deposit will be refundable after  twelve months of the issue of the said certificate of completion or after the final bill has been prepared and passed whichever is later.

Clause 17B. Provided further that for defects relating to leakage from the roofs, the contractor shall be responsible for rectification of the same within a period of one year or two rainy seasons (ending October) whichever is later, after the physical date of completion of the work as a whole, to be recorded by the deptt. and 10 (ten) percent of the security deposit of the contractor will be refunded after expiry of the above period.

Clause 18. The contractor shall provide at his own cost all materials (except such special materials, if any, as may in accordance with the contract be supplied from the Engineer-in-Charge's stores), plant, tools, appliances, implements, ladders, cordage, tackle, scaffolding and temporary works requisite or proper for the proper execution of the work, whether original altered or substituted and whether include in the specification or other documents forming part of the contract or referred" to in these conditions or  which may be necessary for the purpose of satisfying or complying with the requirement of the Engineer-in-Charge as to any matter as to which under these conditions he is entitled to be satisfied, or which he is entitled to require together with carriage. there of to and from the work. The Contractor shall also supply without charge the requisite number of person with the means and materials necessary for the purpose of setting out works and counting weighing and assisting of the measurement or examination or any time and from time to time of the work of or materials Failing his so doing the same may be provide by the Engineer in charge at the expense may be deducted from any money due to the contractor under of the contract and/or from his security deposit or the proceeds of the sale there of, or of a sufficient portions there of.

Clause 18 A In every case in which by virtue of the provisions of Sections 12. Sub section (i) of the workmen's Compensation Act, 1923 Delhi Devolvement Authority is obliged to compensate to a work man employed by the contractor in execution of the works. Delhi Development Authority will recover from the contractor in execution of the works. Delhi Development Authority will recover from the contractor the amount of the compensations so paid and, without prejudice to the rights of Delhi Development Authority under section 1 2 Sub-section (ii) of the said Act, Delhi Development Authority shall be at liberty to recover such amount or any part there of by deducting it from the security deposit or from any sum -due by Delhi Development Authority to contractor whether under this contract or otherwise. Delhi Development Authority shall not be bound to contest any claim made against it under Section 12 Sub-section (i) of the said Act, except on the written request of the contractor, and upon his giving to Delhi Development Authority full security for all cost for which Delhi Development Authority full security for all costs for which Delhi Development Authority might become liable in consequence of contesting labour such claim.

CLAUSE 18 B. In every case in which by virtue of the provision of the contract labour (Regulation & Abolition) Act -1970 and of the contract Labour (Regulation & Abolition) Central Rule: 1971. DDA is obliged to pay any amount of wages to workman employed by the contractor in the execution of the works, or to incur any expenditure in providing welfare and health amenities required to be provided under the above said Act, and Rules under clause 19-H or under the C.P.W.D. contractor Labour Regulations or under the rules framed by the Government from time to time for protection of health and sanitary arrangements for workers, employed by DDA contractor, DDA will recover from the contractors the amount of wages so paid or the amount of expenditure so incurred; and without prejudice the right of the DDA under section 20 Sub-section (2) and Section { 21) -Sub-section (4) of the Contract Labour (Regulation & Abolition) Act, 1970, DDA shall be at liberty to recover such amount or any part thereof by deducting it from the security deposit or from any sum due by DDA to the contractor whether under this agreement or otherwise DDA shall not be bound to contest any claim made against it under  Section 20 Sub-section (1) and Section (21) Sub-section (4) of the said act, except on the written request of the contractor and upon his giving to the DDA-full security for all cost for which DDA might become liable in contesting such claim.

CLAUSE 19. The contractor shall obtain a valid license under the contract Labour (R&A), Act 1970 and the Contract Labour (Regulation & Abolition) Central Rules, 1 971 before the commencement of cement of the work and continued to have a valid license until the completion of the work any failure to fulfill this requirement shall attract the Penal provision of this contract arising out of the resultant non execution of the work. The contractor shall also abide by provision of child labour prohibited and regulation act

CLAUSE 19 A. No labourer below the age of fifteen years shall be employed on the work.

CLAUSE 19 B. Payment of wages to labourers:

The contractor shall pay not less than fair wage to labourers engaged by him on the work.  The contractor shall comply with all the provision of the Delhi building and other construction workers (Regulations of employment and conditions of service) Rule-2002 framed under Section 62 of the building and other construction workers.

(Regulation of employment and condition of service) Act, 1996 of Govt, of India a notified by the govt. of NCT of Delhi vides notification No. DLC/CLA/BCW/01/19 dt. 10.1.2002 which interlaid provides that a Cess @ 1% of the cost of constructions/project or as revised by the competent authority from time to time shall be liable and shall be deducted at source from the bills paid to the contractor. All other term/conditions as per the Act, mentioned herein- above as well as rules made there under and modification issued from time to time would also apply.  Any failure to fulfill this requirement shall attract the panel provisions of this contract arising out of the resultant non execution of the work.

Explanation:-

(a)   "Fair Wages" means wage whether for time or piece work notified at the time of inviting tenders for the work, where such wages have hot been so notified, the wages prescribed by the D.D.A. for the district in which the work is done it will be notified prescribed by the D.D.A. in consultation with the officer's of the Industrial Relation Machinery located in the respective areas and will not be less than the minimum rates of wages fixed by the G.N.C.T.D for that class of employee engaged on the same type of work in the same area.

- The contractor shall not with standing the provisions of any contract to the contrary cause to be paid fair wage to labourers indirectly engaged on the work including any labour engaged by his sub-contractor in connection with the said work, as if the labourers had been immediately employed by him.

- In respect of all labour directly or indirectly employed in the works for performance of the contractors' part of this Agreement the contractor shall comply with or cause to be complied with the D.D.A. contractor's Labour Regulations made by G.N.C.T.D from time to time in regard to payment of wages, to wage period deductions from wages, recovery of wages not paid and deductions unauthorisedly made, maintenance of wage book or wage slip, publication of scale of wages and other terms of employment, inspection and submission or periodical returns and all other matters of a like nature or as per the provision of the contract labour (Regulation and Abolition) Act, 1970 and Labour contact (Regulation and Abolition) central Rule 1971 whichever is applicable.

- The Engineer-in-Charge concerned shall have the right to deduct, from the money due to the contractor any sum required or estimated to be required for making good the loss suffered by a worker or workers by reason and of non-fulfillment of the condition of the contract for the benefit of the workers, non-payment of wages or of deductions made from his or their wages which are not justified by their terms of the contract or non-observance of the Regulations.

- Under the provision of the Minimum Wages Act 1948 and the Minimum wages (Central) Rules 1950 the contractor is bound to allow or cause to be allowed to the labourers directly or indirectly employed in the works one days rest for six days continuous work and pay wages at the same rate as for duty In the event of default the Engineer-in-Charge shall have the right to deduct the sum or sums not paid on account of wages for weekly holiday to any labours and pay the same to the person entitled there to, from any money due to contractor by the Engineer-in-Charge concerned. In the case of N.C.T of Delhi as the all inclusive minimum daily rates of wages. fixed under the latest Delhi Govt. Notification F-12(1)88/MW/LAB/1961-98 dt. 28.4.89 and F 12 (142) 188 NW/LAB/1961-1968 dt. 28.4.89 F12(14290/MW/LAB/792 dt. 1.8.90 F12 dt. 4.2.91 revised vide No. F 12 (142) 98/MW/LAB/2087 dt. 2.6.97 and'F-12/142/92/MW/LAB/116 dt 26.3.99 or as amended from time to time and latest order no. F.12(142)/02/MW/LAB/238 dated 31.08.05.

- Vis-a-Vis the Delhi Development Authority the contractor shall be primarily liable to all payment to be made under and for the observance of the Regulations aforesaid without prejudice to his right to claim indemnity from his subcontractor.

- The regulations aforesaid shall be deemed to be a part of this contract and any breach there of shall be deemed to be a breach of this contract.

CLAUSE 19 C. In respect of all labour directly or indirectly employed in the work for the performance of the contractor part of this agreement, the contractor shall at his own expense arrange for the safety provisions as per Safety Code framed from time to time and shall at his own expense arrange for the safety provisions as per Safety Code framed from time to time and shall at his own expense provide for all facilities as aforesaid he shall be liable to pay a penalty of Rs.200/- for each default and in addition the Engineer-in-Charge shall be at liberty to make arrangement and provide facilities as aforesaid and recover the costs incurred in that on behalf of the contractor.

CLAUSE 19D The contractor shall submit by the 4th and 1 9th of every month to the Engineer-in-Charge a true statement showing in respect of the second half of the preceding month and the first half of the current month, respectively and upto date.

(1)	The number of labours employed by him on the work.	' .	.

(2)	Their working hours.

(3)	The wages paid to them.

(4)	The accidents that occurred during the said fort night showing the circumstances under which they happened and the extent of damage and injury caused by them and.

(5)	The number of female workers who have been allowed Maternity Benefit according to clause 1 9F and the amount paid to them, failing which the contractor shall be liable to pay to D.D.A. a sum not exceeding Rs.200/- per each default or maternity incorrect statement. The decision of the Divisional Officer shall be final in deducting from any bill due to contractor the amount levied as fine and be binding on contracts.

Clause 19E. In respect of ail labour directly or indirectly employed in works for the performance of the Contractor's part of this agreement- The contractor shall comply with or cause to be complied with all rules framed by Govt. from time to time for the protection of health and sanitary arrangement for workers employed by the Delhi Development Authority.

CLAUSE 19F. Leave and during leave shall be regulated as follows:-

1.   Leave:-

i.	in the case of delivery maternity leave not exceeding 8 weeks, 4 weeks upto and including the day of delivery and 4 weeks following that day.

ii.	ii. in case of miscarriage upto 3 weeks from the date of miscarriage

2. Pay:-

(i)	in case of delivery leave pay during maternity leave will be at the rate of the women's average daily earning calculated on the total wages earned on the days when fully time work was done during a period of 3 months immediately preceding the date on which she gives notice that she expect to be confined or-at the rate of Rupees one only a day whichever is greater.

(ii)	in case of miscarriage leave pay at the rate of average daily earning calculated on the total wages earned- on the days when fully time work during a period of 3 months immediately preceding the date of such miscarriage.

3.	Conditions for the grant of Maternity Leave.

No maternity leave benefit shall be admissible to a woman unless she has been employed for a total period of not less than 6 months immediately .preceding the date on which she proceeds on leave.

4.	The contractor shall maintain a register of maternity (benefit) in the prescribed form as shown below and the same shall be kept at the place of work.

Register of Maternity Benefit Name & Address of the contractor(s) Name and location of work.

| Name of |  | Father's/Husband's |  |  |  | Nature of |  |  | Period of actual |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Employee |  | Name |  |  |  | employment |  |  | appointment |  |  |  |
| 1 |  | 2 |  |  |  | 3 |  |  | 4 |  |  |  |
| Date on which notice of confinement given |  | Date of Delivery miscarriage |  |  |  | Date on which maternity leave Commenced and ended |  |  |  |  |  |  |
|  |  |  |  |  |  | In case of delivery |  |  | In case of miscarriage |  |  |  |
|  |  |  |  | Commenced |  |  |  | Ended |  | Commanded |  | Ended |
| 5 | 6 |  |  | 7 |  |  |  | 8 |  | 9 |  | 10 |
| Leave pay paid to the employees |  |  |  |  |  |  |  |  |  |  |  |  |
| in case of delivery |  |  |  |  |  |  | in case of miscarriage |  |  |  |  |  |
| Rate of leave pay |  |  | Amount paid |  | Rate of leave paid |  |  |  |  |  | Amount paid |  |
| 11 |  |  | 12 |  | 13 |  |  |  |  |  | 14 |  |

Specimen form of the Register regarding maternity benefit admissible to contractor labour in Delhi Development Authority work

Name of Work                                           Name of the contractor

- Name of the woman and her Husband name

- Designation

- Date of appointment

- Date with months and years in which she is employed.

- Date of discharge dismissal if any

- Date of production of certificate in respect of pregnancy

- Date on which woman informs about the expected delivery

- Date of delivery miscarriage death

- Date of production of certificate in respect of delivery miscarriage

- Date with, the amount of maternity death, benefit it paid in advance of expected delivery.

- Date with the amount of subsequent payment of maternity benefit.

- Name of the person nominated by the woman to receive the payment of-the maternity benefit after her death.

- Name of the person nominated by the woman to receive the payment of the maternity benefit after was paid the amount there of and the date of payment.

- Signature of the contractor for the use of Inspection Officer.

- Remarks column for the use of Inspection Officer.

Clause 19G. Model RULES :- In the event of the contractor(s) committing a default or breach of any of the provisions of the DDA Contractor Labour regulation and Model Rules for the protection of health and sanitary arrangement for the worker amended from time to time or furnishing any information or submitting or filing any statement under the provision of the above Regulation and Rules which is materially incorrect, he/they shall without prejudice to any other liability pay to the Delhi Development Authority a sum not exceeding Rs. 200/- for every default, breach or furnishing making submitting filing such materials incorrect statement and in the event of the contractor(S) defaulting continuously in this respect the penalty may be enhanced  to Rs. 500/ per day of each of default subject to a maximum of 5 percent of the estimated cost of the work put to tender. The decision of the Engineer-in-Charge shall be final and binding on the parties.

Should it appear to the Engineer-in-Charge that the Contractor(S) is/are not properly observing and complying with the Provision of D.D.A. contractor Labour regulations and model rules and the provision of contractor labour { Regulations & Abolition) Central Rule 1971 for the protection of health and sanitary arrangements for work people employed by the power to give notice in writing to the contractor(s) requiring that the said rules be complied with and the amenities prescribed their in provided to the work people in a reasonable time to be specified in the notice to comply with and observe the said rule and to provide the amenities to the work people as aforesaid the Engineer-in-Charge shall have the power prescribed therein be provided to the work people within reasonable time to be specified in the notice. If the contractor(s) shall have the power to provide the amenities to the work people as aforesaid the Engineer-in-Charge shall have the power to provide the amenities here-in-before mentioned at the cost of the contractor (s) The contractor shall erect make and maintain at his their own expenses and according to approved standards all necessary tents and sanitary arrangements required for his/their work people on the site in connection with the execution of the works and if the same shall not been erected or constructed according to approve standards the Engineer-in-Charge shall have power to give notice in writing to the .contractor requiring that the said tents and sanitary arrangement be remodelled and/or reconstructed such tents and sanitary arrangement according to approved standard within the period specification in the notice the Engineer-in-Charge shall have the power to removed or reconstruct such tents and sanitary arrangements according to approved standards at the cost of the contractor (s).

Construction of labour huts near the work sites shall be avoided as far as possible Whenever labour huts are pitched the Engineer-in-Charge will prepare a plan of area to be occupied by the labour of the construction agency reflection there up on the number of huts to be constructed The Engineer-in-Charge shall obtain an undertaking from the work has been completed in the following proforma :	I/We hereby undertaken that.

1. Full site free from any encroachment has been handed over to me/us on:

2. The labour huts ……….in nos. pitches/constructed by me/us at site, as shown on the site plan and duly signed by me/us, belong to me/us.

These shall be removed from the site before the completion of the work. In case, of failure to do so, the department can get same removed at my risk and cost.

The contract shall not be finalised till the Engineer-in-Charge gives a certificate that the area occupied by the labour of the contractor has been cleared/vacated by the contractor.

CLAUSE 19H. The contractor shall at his/their own cost provide his/their labour with a sufficient number of huts of the following specification on a suitable plot of land to be approved by the Engineer-in-Charge.

a.	The minimum height of each huts will be at the roof level shall be 2.10 metre (7’-0) and the floor area to be provided will be at the rate of 2.7 Sq.ft. for each number of the workers family staying with the labour.

b.	The contractor shall in addition construct real suitable cooking place having a minimum area of (1.8mx 1.5m) ( 6 feet x 5 feet) adjacent to the hut for each family.

c.	The contractor shall construct temporary latrines and urinals for the use of the labours each on the scale of not less than four pan each one hundred of the total strength separate latrines and urinals being provided for women.

d.	The contractor shall sufficient number of bathing and washing places one unit for every 25 persons residents in the camp. These bathing and places will be suitable screened.

e 	The contractor shall provide hut with proper ventilation all door, windows and ventilators shall be provided with suitable levels for security purpose.

2a.	The floor shall be in bricks and shall be at least 6” above the surrounding ground the huts shall be with any other material water proof cloth as may be approved by the engineer-in-charge and the contractor shall ensure that through out the period of their occupation the huts remain water tight.

b.	There shall be kept an open of at least 8 yards (7.2m) between the rows of huts which may be reduced to 20 ft (6m) according to the availability of site with the approval of the Engineer-in-charge back to back construction will be allowed.

3.	Water supply The contractor shall be provide adequate of water for the use of labours The provisions shall not be less than 2 gallons of pure and wholesome water per head per day for drinking purpose and 3 gallons of clean water supply is available supply shall be stands posts and where the supply is forms wells or river also at his/their own cost make arrangements for laying pipe line for water supply to his/their labour camp from the existence mains wherever available and shall pay all Fees and charges thereof.

4.	The site selection for the camp shall be on high ground removed from jungle.

5.	Disposal of Excreta : The contractor shall make necessary arrangements for the disposal of excreta from the latrines by trenching or incineration which shall be according to the requirements laid down by Local Health Authority. If trenching or incineration is not allowed, the contractor shall made arrangements for removal of the excreta through the Municipal Committee/authority and inform it about the no. of labours employed so that arrangements may be made by such Committee/Authority for removal of the excreta. All charges on this account shall be borne by the contractor and paid by date by him to the Municipal Authority. The contractor shall provide one sweeper for every seats in case of dry system.

6.	Drainage The contractor shall provide efficient arrangements for draining away sullage water so as to keep the camp neat and tidy.

7.	The contractor shall make necessary arrangements for keeping the camp are sufficient lighted to avoid accidents to the workers. -

8.	Sanitation The contractor shall make arrangements for conservancy and sanitation in the labour camps according to the rule of the Local Public Health and Medical Authority

9.	Wherever electric connection from NDPL/BSES is readily available the contractor, would provide sufficient street light for the labour camp as per directions of the Engineer-in-Charge.

Clause 19 I : The Engineer-in-Charge may require the contractor to dismiss or remove from the site of the work any person or persons in the contractor(s) employment on the work who may be incompetent or misconduct himself and the contractor shall forthwith comply with such requirement.

Clause 19J : It shall be the responsibility of the contractor(s) to see that the building under construction is not occupied by any body unauthorisedly during construction, and to hand over to the Engineer-in-Charge vacant possession of complete building. If such building though completed , is occupied illegally, then the Engineer-in-Charge will have the option to refuse to accept the said building/ buildings in that position and delay in acceptance on this account will be treated as delay in completion and to such delay a levy upto 5-% of the estimated cost put to tender may be imposed by the Superintending Engineer, whose decision shall be final both with regard to the justification and quantum However, the Superintending Engineer may require the contractor through a notice to remove the illegal occupation any time on or before construction and delivery.

CLAUSE-19K : Labour cess will be deducted as per order no. 17(10)/BOCW/PG/LAB/05/207  dated 16.08.05 of labour commisinor

Clause 20. The contractor shall comply with all the provisions of the Minimum Wages Act, 1948 and Contractor Labour (Regulation & Abolition Act) 1970 & rules framed there under & other labour laws affecting the contract labour that may be brought into force from time to time.

Clause 21. The contract shall not be assigned or sublet without the written approval of the Engineer-in-Charge. And if the contractor shall assign or sublet his contract or attempt to do so, or become insolvent or commence any insolvency proceedings or make any composition with his creditors or attempt to do so advantage pecuniary or attempt to do so or if any bribe gratuity, gift, loan, perquisite reward or advantage pecuniary or- attempt, shall either directly or, indirectly, be given promised, or offered by the contractor or any of his servants or agents to any public officer or any of his servants or ..agents to any public officer or persons in the employment of Delhi Development Authority in any way relating to his office employment or if any such officer or person shall become in any way directly or indirectly interested in the contract the .Engineer in Charge on behalf .of the Authority shall have power to adopt any of the courses specified in Clause 3 as he may deem best suited in the interest of Delhi Development Authority and in the event of these courses being adopted the consequence specified in the said Clause 3 shall ensure payable.

Clause 22 All sums payable by way of compensation under any of these condition shall be consider as reasonable compensation to the applied to this use of Delhi Development Authority without reference to the actual loss or damage sustained and whether" or not any damage shall have been sustained-

Clause 23. Where the contractor is partnership firm the previous approval in writing of the .Engineer-in-Charge shall be obtained before any charge is made in the constitution

Where the contractor is an individual or Hindu undivided family business such concern such approval as aforesaid shall likewise be obtained before the contractors enters into any partnership agreement where under the Partnership firm would have the right to carry the work .If previous approval as aforesaid is not obtained the contractor shall be deemed to have been assigned in contravention of Clause 21 here of end the same action may be taken and same consequence shall ensure as provided in the said clause 21.

Clause 24. All works to be executed under the contract shall be executed under the direction and subjected to the approval in all respects of the Engineer-in-Charge who shall be entitled to direct at what point or points and in what manner they-are to be commenced, and from time to time carried on.

Clause 25 The decision of the superintending Engineer/chief engineer  regarding the quantum of reduction as well as justification thereof in respect of rates of substandard work which may be decided to be accepted will be final and binding and will not be open to arbitration.

Clause 26: Contractor to indemnify DDA against patent rights

The contractor shall fully indemnify and keep indemnify the Delhi Development Authority against action, claim or proceeding relating to infringement or use of any patent or design or any alleged patent or design rights and shall pay any realities which may be payable in respect of any article or part thereof included in the contract. In the event of any claims made under or action brought against Delhi Development Authority in respect of any such matters as aforesaid, the contractor shall be immediately notified, thereof and contractor shall be at liberty at his own expense, to settle any dispute or to conduct 'any litigation that may arise there from provided that the contractor shall not be liable to indemnify the Delhi Development Authority if the infringement of the patent or design or any alleged patent or Design right is the direct result of an order passed by the Engineer-in-charge in this behalf

Clause 27. Deleted.

Clause 28. In case of any class of work for which there is no such specification as is mentioned in Rule 1 such work shall be carried out in accordance with the  BIS specifications in case there is noB.I.S. specification then in such case the work shall be carried out in all respects-in accordance with the instructions and requirements of the Engineer-in-Charge.

Clause 29 (i). Whenever any claim or claims for payment of any sum of money arise of or under the contract against the contractor Engineer-in-Charge or the DDA shall be entitled to withhold and also have lien to retain such sum or sums in whole in part from the security if any deposit by the contractor and for the purpose aforesaid, the Engineer-in-Charge or the DDA shall be entitled to withhold the security deposit if any furnished as the case may be and also have alien over the same pending finalisation for adjudication of any such claim in the event of the security being insufficient to cover the claimed amount or amounts of if no security have been taken from the contractor the Engineer-in-Charge or the DDA shall be entitled to withhold and have lien to retain to the extent of such claimed amount or amounts Referred to above from any sum or sums found payable or which at any time thereafter may become payable to the contractor under the same contract or any other contract with the Engineer-in-Charge of the DDA or any contracting person through the Engineer-in-charge pending finalisation or adjudication of any such claim.

Clause 29 (ii). Delhi Development Authority shall have right to cause an audit technical examination of the work as and the final bills of the contractor including all supporting vouchers abstract etc. to be made after payment of the final bills and if a result of such audit and technical examination any sum is found to have been over paid in respect of any work done by the contractor under the contractor or any work claimed by him to have been done by him under the contract and found not to have been executed, the contractor shall believable to refund the amount of over payment and it shall be lawful for Delhi Development, Authority to recover the same from him in the manner legally prescribed in sub clause (1 ) of this clause or in any other manner permissible and if it is found the contractor was paid less than was due to him under the contract in respect of any work executed by him under it the amount of such under payment shall be duly paid by Delhi Development Authority to the contractor without any interest what so ever.

Provided that Delhi Development Authority shall not be entitled to recover any sum over paid not the contractor shall be entitled of payment of any sum paid short there such payment has been agreed upon between the Chief Engineer or Executive Engineer on the one hand and the contractor on, the under any term of the contract permitting payment for work after assessment by the Chief Engineer or the Executive Engineer.

CLAUSE OF WORKS AGREMENT FOR

"SETTLEMENT OF DISPUTES & ARBITRATION"

Except where otherwise provided in the contract, all questions and disputes relating to the meaning of the specifications, design, drawings and instructions herein before mentioned and as to the quality .of workmanship or materials used on the work or as to any other question, claim, right, matter or things whatsoever, in any way arising out of or relating to the contract, designs, drawings, specifications, estimates, instructions, orders or these conditions or otherwise concerning the works or the execution or failure to execute the same whether arising during the progress of the work or after the cancellation, termination, completion or abandonment thereof shall be dealt with as mentioned hereinafter:-

i)	If the contractor considers any work demanded of him to be outside the requirements of the contract or disputes any drawings, record or decision given in writing by the Engineer-in-charge on any matter in connection with or arising out of the contract or carrying out of the work, to be unacceptable, he shall promptly, within 15 days request the Superintending-Engineer in writing for written instruction or decision. Thereupon the Superintending-Engineer shall give his written instructions or decision within a period of one month from the receipt of the contractor's letter.

If the Superintending-Engineer fails to give his instructions or decision in writing within the aforesaid period or if the contractor is dissatisfied with the instructions or decision of the Superintending-Engineer, the contractor may, within 15 days of the receipt of Superintending-Engineer's decision, appeal to the Chief-Engineer, who shall afford an opportunity to the contractor to be heard, if the latter so desires and to offer evidence in support of his appeal. The Chief-Engineer shall give his decision within 30 days of receipt of Contractor's Appeal. If, the contractor is dissatisfied with this decision, the contractor shall within a period of 30 days from receipt of the decision, give notice to the Engineer-Member for appointment of Arbitrator, failing which, the said decision shall be final, binding and conclusive and not referable to adjudication by the arbitrator.

ii) Except where the decision has become final, binding and conclusive in terms of Sub-Para-(i) above, disputes or difference shall be referred for adjudication through arbitration by a Sole-Arbitrator, who shall be a technical person having the knowledge and experience of the trade, appointed by the Engineer Member, DDA.  It will be no objection to any such appointment that the arbitrator so appointed is a DDA employee that he had to deal with the matter to which the contract relates and that in the, course of his duties as DDA employee, he has expressed his views in all or any of the matters in dispute of difference. If the arbitrator so appointed is unable or unwilling to act or resigns his appointment or vacates his office due to any reason whatsoever, another sole-arbitrator shall be appointed in the manner aforesaid. Such person shall be entitled to proceed with the reference from the stage at which it was left by his predecessor.

It is a term of this contract that the party invoking arbitration shall give a list of disputes with amounts claimed in respect of each such dispute alongwith the notice for appointment of the arbitrator and giving the reference to the rejection by the Chief-Engineer of the appeal.

It is also a term of this contract that no person other than a person appointed by the Engineer-Member, DDA, as aforesaid, should act as arbitrator and, if, for any reason that is not possible; the matter shall not be referred to the arbitration at all. It is also a term of this contract that if the contractor does not make any demand for appointment of arbitrator in respect of any claims in writing as aforesaid within 120 days of receiving the intimation from the Engineer-in-Charge that the final bill is ready for the payment, the claim of the contractor shall be deemed to have been waived and absolutely barred and the Delhi Development Authority shall be discharged and released of all liabilities under the contract in respect of these claims.

The arbitration shall be conducted in accordance with the provisions of the Arbitration & Conciliation Act 1996 (26 of 1996) or any statutory modifications or re-enactment thereof and the rules made there-under and for the time being in force shall apply to the arbitration proceedings under this clause.

It is also a term of this contract that the arbitrator shall adjudicate on only such disputes as are referred to him by the appointing authority and give separate award against each dispute and claim referred to him and, in all cases, where the total amount of the claims by any party exceeds Rs.1,00,000/-, the arbitrator shall give reasons for the award.

It is also a term of the contract that if any fees are payable to the arbitrator, these shall be paid equally by both the parties.

It is also a term of the contract that the arbitrator shall be deemed to have entered on the reference on the date he issues the notice to both the parties calling them to submit their statement-of-claims and counter-statement-of-claims. The venue of the arbitration shall be such place as may be fixed by the arbitrator in his sole discretion. The fees, if any, of the arbitrator, shall, if required, to be paid before the award is made and published, be paid half and half by each of the parties. The cost of the reference and of the award (including the fees, if any, of the arbitrator) shall be in the discretion of the arbitrator who may direct to any by whom and in what manner, such costs or any part thereof shall be paid and fix or settle the amount of costs to be so paid.

(B) The decision of the Superintending-Engineer regarding the quantum of reduction as well as justification thereof in respect of rates for sub-standard work which may be decided to be accepted will be final and would not be open to arbitration.

It is an agreed term of the contract the sum sums of money so withheld or retaining under the lien referred to above by the Engineer-in-Charge or DDA will be kept withheld or retained or retained as such by the Engineer-in-Charge or DDA till the claim arising out of or under the contract is determined by the Arbitrator (if the contract is governed by the Arbitration clause) or by the competent court as the case may be an that the contractor will have no claim for interest or damage whatever or any account in respect of such withholding or retention under the lien referred to above and duly notified as such to the contractor For the purpose of this clause where the contractor is a partnership firm of a limited company the Engineer-in-Charge or the DDA shall be entitled to withhold and also have a lien to retain towards such claimed amount or amounts in whole or in part from any sum found payable to any partner/limited company as the case may be whether in his individual capacity or otherwise.

Clause 30 : Any sum of money due and payable to the contractor (including the security deposit refundable to him) under the contract may be with held or retained by way of lien by the Engineer-in-Charge or the D.D.A. or any other contracting person or persons through Engineer-in-Charge against any claim of the Engineer-in-Charge or D.D.A. with such other person or persons in respect of payment of sum of money arising out of or under any other contract made by the contractor made with the Engineer-in-Charge or D.D.A. or with such other person or persons.

It is an agreed term of the contract that sum of money so with held or retained under this clause by the Engineer-in-Charge or D.D.A will be kept with held or retained as such by Engineer-in-Charge or ' D.D.A till his claim arising out of the same contract or any other contract is either mutually settled or determined by the Arbitrator (if the contract is governed by the Arbitration clause) or by the competent Court, as the case may be and that the contractor shall have no claim for interest on damage what so ever on his account or any other ground, in respect of any sum of money with held or retained under this clause and duly notified as such to the contractor.

Clause 31. The contractor shall make his /their own arrangements for unfiltered water required for the work and nothing will be paid for same. This will subject to the following conditions.

1.	That the water used by the contractor shall be fit for construction purpose to the satisfaction of the Engineer-in-Charge cost of testing shall be paid by the contractor.

2.	The Engineer-in-Charge shall make alternative arrangements for supply of water at risk and cost of Contractor for procurement of water in the opinion of the Engineer-in-Charge is unsatisfactory

Clause 32(1) The contractor shall be allowed to construct temporary wells in Delhi Development Authority land for taking water for construction purpose only after he has got permission of the Engineer-in-Charge in writing no charges shall be recovered from the contractor on this account but the contractor shall be required to provide necessary safety arrangements to avoid any accidental or damage to adjacent buildings roads and service lane. He shall be responsible for any accident or any damage caused due to constructions and subsequent maintenance of the wells and shall restore the ground to its original condition after the wells are dismantled on completion of the work, if required necessary permission of boring user shall be taken from Ground water authority.

Clause 32(ii) Where there is no piped water supply arrangements and the water is to be taken by the contractor from the wells or hand pumps constructed by the Delhi Development Authority no charge shall be recovered from the contractor on that account The contractor shall however draw water at such hours of the day that it does not interface with the normal use for all damage and abnormal repairs arising out of his uses the cost of which shall be recoverable from the contractor on this account The Engineer-in-charge shall be the final authority to determine the cost recoverable from contractor on this account and his decision shall be binding on the contractor.

CLAUSE 33 : Not withstanding anything contained to the contrary in any or all of the clauses of this contract are procured with assistance of Delhi Development Authority either by issue from Delhi Development Authority stock or purchase made under orders or permits or licensed, issued by Delhi Development Authority the contractor shall hold the said materials economically and solely for the purpose of the contact and not disposed of them without the permission of the Delhi Development Authority and return if required by the Engineer-in-Charge shall determine having due regard to the condition of the materials The price allowed to the contractor however shall not exceed the amount charged to him including to the element of storage charges. The decision of the Engineer-in-Charge shall be final and conclusive. In the event of breach of the aforesaid condition the contractor shall in addition in throwing himself open to acting for contravention of the terms of the licence or permit and or for criminal reach of & trust, be liable to Delhi Development Authority its for all money advantage or profits resulting or which in the usual course would have resulted to him by reason of such breach.

CLAUSE  34 : DELETED

CLAUSES 35

(i)	The contractor shall collect the total quantity of tar or bitumen required for the work as per standard formula, before the process of painting is started and shall hypothecate It to the Engineer-in-Charge .If any bitumen or tar remains unused on completion of work on account of the work less use of materials in actual execution lesser for reason other than authorised changes of specification and abandonment of portion of work a corresponding deduction equivalent to the cost of unused materials as determined by the Engineer-in-Charge shall be made and materials returned to the contractors. Although the materials are hypothecated to D.D.A. the contractor undertake the responsibility for security for the proper watch safe custody and protection against all risk the materials shall not be removed from site of work without the work the consent of the Engineer-in-Charge in writing.

(ii) 	The contractor shall be responsible for rectifying defects noticed within a year from the date of completion of the work and the portion of the security deposited relating to asphaltic work shall be refunded after this period. "	.	'

Clause 36.

Contractors Superintendence, Supervision, Technical Staff & Employees

(i)	The contractor shall provide all necessary superintendence during execution of the work and as along thereafter as may be necessary for proper fulfilling of the obligations under the contract.

The contractor shall immediately after receiving letter of acceptance of the tender and before commencement of the work, intimate in writing to the Engineer-in-Charge the name, qualification, experience, age, address and other particulars along with certificate, of the principal technical representative to be in charge of the work. Such qualifications and experience shall not be lower than specified in Clause 36 (i). The Engineer-in-Charge shall within 15 days of receipt of such communication intimate in writing his approval may or otherwise of such a representative to the contractor. Any such approval may at any time be withdrawn and in case of such withdrawal the contractor shall appoint another such representative-according to the provisions of this clause. Decision of the tender accepting authority shall be final and binding on the contractor in this respect. Such a principal technical representative shall be appointed by the contractor soon after receipt of the approval from Engineer-in-Charge and shall be available at site within fifteen days of start of work.

If the contractor (or any partner in case of firm/company) who himself has such qualification, it will not be necessary for the said contractor to appoint such a principal technical representative but the contractor shall designate and appoint a responsible agent to represent him and to be present at the work whenever the contractor is not in a position to be so present. All the provisions applicable to the principal technical representative under the Clause will also be applicable in such a case to contractor or his responsible agent. The principal technical representative and/or the contractor shall on receiving reasonable notice from the Engineer-in-Charge or his designated representative(s) in charge of the work in writing or in person or otherwise, present himself to the Engineer-in-Charge and/or at the site of work, as required, to take instructions. Instruction given to the principal technical representative or the responsible agent shall be deemed to have the same force as if these have been given to the contractor. The principal technical representative and/or the contractor or his responsible authorised agent shall be actually available at site at least two working days every week, these days shall be determined in consultation with the Engineer-in-Charge as well as fully during important stages of execution of work, during recording of measurement of works and whenever so required by the Engineer-in-Charge by a notice as aforesaid and shall also note down instructions conveyed by the Engineer-in-Charge or his designated representative in the site order book and shall affix his signature in token of noting down the instructions and. in token of acceptance of measurement. There shall be no objection if the representative/agent looks after more than one work and not more than three works in same station provided these details are disclosed to The Engineer-in-Charge and he shall be satisfied that the provisions and the purpose of this clause are fulfilled satisfactorily.

If the Engineer-in-Charge, whose decision in this respect is final and binding on the contractor, is convinced that no such technical representative or agent is effectively appointed or is effectively attending of fulfilling the provisions of this clause, a recovery shall be effected from the contractor as specified in Clause 36(i) and the decision on the Engineer-in-Charge as recorded in the site order book and measurement recorded in Measurement Books shall be final and binding on the contractor. Further if the contractor fails to appoint a suitable technical representative or responsible agent and if such appointed persons are not actively present or do not discharge their responsibilities satisfactorily, the Engineer-in-Charge shall have full powers suspend the execution of the work until such date as a suitable agent is appointed to and the contractor shall be held responsible for-the delay so caused to the work. The contractor shall submit a certificate of employment of the technical representative/responsible agent alongwith every on account bill/fixed bill and shall produce evidence if at any time so required by the Engineer-in-Charge.

ii) 	The contractor shall provide and employ on the site only such technical assistants as are skilled and experienced in their respective fields and such foremen and supervisory staff as are competent to give proper supervision to the work.

The contractor shall provide and employ skilled, semiskilled and unskilled Labour as is necessary for proper and timely execution of the work.

The Engineer-in-Charge shall be at liberty to object to and require the contractor to remove from the works any person who in his opinion misconduct himself, or is incompetent or negligent in the performance of his duties or whose employment is otherwise considered by the Engineer-in-Charge to be undesirable. Such person shall not be employed again at works site without the written permission of the Engineer-in-Charge and the persons so removed shall be replaced as soon as possible by competent substitutes.

Clause 36 (i)

Minimum Qualification & experience required for Technical Representative.

| (a) | For works with estimated cost put to tender more than |  |
| --- | --- | --- |
|  | Rs. 10 Lakhs for Civil work | Graduate or retired AE possessing |
|  | Rs. 5 Lakhs for Elect/Mech. Works | At least recognised diploma |
| (b) | For works with estimated cost put to tender |  |
| (i) | More than Rs. 5 Lakhs but less than Rs. 10 Lakhs for Civil Works | Recognised Diploma holder |
| (ii) | More than Rs. 1 Lakh but less than Rs- 5 Lakh for Elect./Mech. Works |  |
| c) | Discipline to which the Principal Technical |  |
|  | Representative should belong |  |
| d) | Minimum experience of work. | ______________years. |
| e) | Recovery to be effected from the | Rs 10,000/- p.m. for Graduate |
|  | contractor in the event of not | Rs 5,000/- p.m. for diploma holder |
|  | fulfilling provisions of Clause 36(i) |  |

Clause 37. The whole work may be split up between two or more contractors or accepted in part and not in entirely, if considered expendient.

Clause 38. In pursuant to or under any law, notification or order any royalty cess or the like become payable by the DDA and does not at any time becomes payable by the contractor to the state Government/Local authority in respect of any materials used by the contractor on the work .there in then in such case, it shall be lawful for the DDA and it will have right and entitled to recover the amount paid in circumstances as aforesaid from the dues of the contractor.

1.	Sales tax or any other tax and cess tax if any on materials in respect of this contract shall be payable by contractor and Delhi Development Authority shall not entertain any claim whatsoever in this respect in case of any default the Engineer-in-Charge shall effect recovery.

2.	All Government Departments, Public Undertaking and other Government Bodies carrying out any building or other construction works which are covered under section 2(d) of the main Act shall in case the work is carried out through a contractor, deduct mandatory 1% of the amount of cost approved as per the tender notification from the bills at the time of making payment to the contractors.

Clause 39 : Without prejudice to any rights or remedies under this contract if the contractor dies, the Divisional Officer on behalf of the Delhi Development Authority shall have the option of terminating the contract without compensation- to the heirs of the contractor.

Clause 40. Contractor shall not be permitted to tender for works in DDA Zone (responsible for award and execution of contracts) in which any of his near relatives is posted as divisional accountants or as an officer in any capacity between the grades of CE and JE (both inclusive) in the DDA He shall intimate the names of his near relations if any who working as group A or group B & C officers or JE in DDA He shall also intimate the names of the person who are working with him in any capacity or who are subsequently employed by him and who are near relatives of any group A or group B & C officers or J.E. in the DDA or Ministry of Urban Development Any breach of this condition by the contractor would render him liable to action under clause 2 of the condition by the contractor would render agreement In addition he would also be liable to be debarred from the tendering in future in DDA.

NOTE : By the terms near relative is meant wife, husband, parents and grand parents, children and grand children, brothers, sisters, uncles, aunts and cousin and their corresponding in laws.

Clause 41. No Engineer of gazatted rank or other gazatted officer employed in Engineering or Administrative duties in an Engineering Department of the Delhi Development Authority is allowed to work as a contractor for a period of two years after his retirement from Authorities service without the previous permission of Delhi Development Authority. This contract is liable to be cancelled if either the contractor or any of his employee is found any time to be such a person who had not obtained the permission of the Delhi Development Authority as aforesaid before submission of the tender or engagement in the contractors service as the case may be.

Clause 42.

(i)	The contractor shall see that only the required quantities of materials are got issued. Any such materials remaining unused and in perfectly good condition at the time of completion or termination of the contract shall be returned to the Engineer-in-Charge at a place where directly by him by a notice in writing under his hand if he shall so require Credit for such materials will be given at the prevailing market rate not exceeding the amount charged from him element of storage charges @ 2.5% levied at the time of issue of materials to him. The contractor shall also not be entitled to cartage and incidental charges for returning the surplus materials from, and to the above said stores. Where from they were issued.

(ii)	After completion of the work the theoretical quantity of cement to be issued in work shall be calculated on the basis of statement showing quantity of cement to be issued in different items of work provided in Delhi Schedule of Rate, 2007 with upto date correction slip. In case any item is executed for which the standard constants for the consumption of cement are not available in the above mentioned statement or can not be derived from this statement the same shall be calculated on the basis of standard formula to be laid down by the superintending Engineer of the circle concerned Over this theoretical quantity of cement shall be allowed a variation upto 3% plus/ minus for works estimated cost of which as put to tender is not more than Rs. 5 lacs and 2% plus/ minus for works the estimated cost of which put to tender is more than Rs. 5 Lacs. The difference in the quantity of cement actually issued to the contractor and  theoretical quantity including authorised variation if not returned by the contractor shall be recovered at twice the issue rate without prejudice to the provision of the relevant conditions regarding return of materials governing the contract In the event of its being discovered that the quantity of cement used is less than the quality ascertained as here before provided (allowing variation) on the minus side as stipulated above) the cost of quantity of cement not so used shall be recovered from the contractor on the basis of stipulated issued rates and cartage to site. However for the item design mix concrete the cement consumption as per General Specification Clause 3.2 without any minus variation.

(iii)	The provision of foregoing sub-clause shall apply mutatis mutendis in the case of steel sections reinforcement of structural steel section (each diameters/section or category shall be considered separately) except that the theoretical quantity of the steel shall be taken as the quantity required as per design or as authorised by the Engineer-in-Charge including authorised lappages plus 3% wastage due to cutting into pieces. Over this theoretical quantity 2% plus/minus shall be allowed as variation due to wastage being more or less.

(iv)	After the completion of the work, the actual quantity of cables (other than under ground cables)wire conduct/G.I./C.I./S.C.I. pipes G.I/ M.S. sheets used up in the various item of work shall be calculated on the basis of measurements recorded in the measurement books for purpose of payment and for assessing the consumption of material used on works over .this quantity variation of 5 % plus shall be allowed for wastage of materials during execution on case of cables other than under ground cables) wires, conduct pipes GI/CI/SCI pipes and 10% plus in case of GI/MS sheets. The difference in quantity of materials issued to the contractor and the quantity recorded in the MB including authorised variation as stated above if not returned by the contractor shall be recovered at twice the issue rates plus cartage to sites, without prejudice to the provision of the relevant condition regarding return of materials governing the contract.

(v)	After the completion of the work the theoretical quantity of bitumen to be used on works shall be calculated on the basis of CPWD/MOST/MORTH statement showing quantity of bitumen to be used in different items of work provided in the Delhi Schedule of Rates bitumen to be used in different items of the work provided, in the Delhi Schedules of rates 2007 or in respect of agreements which do not provide for or authorised application of Delhi Schedule of rates 2007 with  C.S. upto date theoretical quantity of bitumen to be used in works shall be calculated on the basis of standard formula as laid down by Superintending Engineer of the concerned circle Over the said theoretical quantity of bitumen a variation upto plus (excess) 2-1/2% shall be allowed.

The agreement which provided for supply of bitumen actually issued to the contractor and the theoretical quantity including the above mentioned authorised variation if not returned by the Contractor, shall be recovered at twice the issue rate of bitumen, without prejudice to the relevant conditions in the agreement regarding return of materials governing the contract. In the event of it being discovered that the quantity calculated in the manner aforesaid (no variation) on the lower side shall, be allowed the cost of quantity of bitumen not so used shall be recovered from the contractor on the basis of stipulated issue rate plus cartage there of upto site.

(vi)	The provisions made above are without prejudice to the rights of the Delhi Development Authority to take action against the contractor under the conditions of the contract for not doing the work according to the prescribed specification.

(vii)	The materials shall be issued to the contractors, at the place of delivery as mentioned in the schedule. If these are delivered at any other site the difference due to cartage will be adjusted accordingly. The contractor shall have to cart at his cost the materials to the site of the work as soon as these are issued. The materials shall be issued between the working hours and as per rules of the Delhi Development Authority's Godown as framed from time to time.

(viii)	The contractor shall bear all incidental charges, storage and safe custody of-materials.

(ix)	T.M.T. Round Bars, and Tor steel shall be issued in lengths as available in the stores.; No claim on this account shall be entertained.

(x)	The contractor shall construct suitable godowns at the site of work for storing the materials safe against damages of sun, rain, dampness, fire, theft etc. He shall also employ necessary watch and ward establishment for the purpose.

(xi)	PPC & OPC Cement bags shall be stored in separate godowns as per typical godowns sketch attached, with pucca floor and weather proof roofs and walls. Each godown shall be provided with  single door with two locks. The keys of one lock shall remain with Delhi Development Authority's Junior Engineer-in-Charge of work, and that of the other lock with the authorised agent of the contractor at the site of work, so that the cement is removed from the godown according to the daily requirement with the knowledge of both the parties. The -cement bags shall be stacked on proper floors consisting of two layers of dry bricks laid on well consolidated each at a level of at least one foot above ground level. These stacks shall be in rows of 2 and 10 bag height with a minimum 2'9" clear space around the begs should be placed horizontally continuous in each line as shown in the accompanying sketch. The day to day receipt and issue accounts of cement shall be maintained by the junior Engineer-in-Charge and signed daily by the contractor or his authorised agent (as per specimen of register attached).

Clause 43. Deleted

Compensation during war like situation :-

Clause 44. The work (whether fully constructed or not) and all materials machines, tools and plants scaffolding temporary building and other things connected there with shall be at the risk of contractor until the work has been delivered to the Engineer-in-Charge and the certificate from him to that effect obtained. In the event of the work or any materials properly brought to the site for incorporation for the work being damage or destroyed in consequence of hospitalities or war-like operation, the contractor shall when ordered in writing by the Engineer-in-Charge remove any debris from the site collect and properly stack or remove in the store all serviceable materials salvages from the damage work shall be paid at the contract rate in accordance with provision of this agreement for the work of clearing the site of debris staking or removal of serviceable materials and for the reconstruction of all work ordered by the Engineer-in-Charge such payment being in addition to compensation upto the value of work originally executed before being damaged/or destroyed or paid for the compensation shall be assessed by the Divisional Officer  upto Rs. 5000/- and by the Chief Engineer for a higher amount. The contractor shall be paid for the damage destruction suffered and for storing the materials at the rates based on the analysis of the rates tendered for in accordance with the provision of this agreement. The certificate of the engineer in charge regarding the quality and quantity of materials and the purpose for which they were collected shall be final and binding on all parties to the contract.

Provided always that no compensation shall be payable for any loss in consequence of hospitalities or war like operation unless (a) the contractor has taken all such precautions against air raid as are deemed necessary by the A.R.P, Officer or the Engineer-in-Charge (b) for any materials etc. not on site of the work for any tools and plants machinery scaffolding temporary building and other things not intended for the work

In the event of the contractor having carried out reconstruction as afore said he shall be allowed such extension of times for its completion as is considered reasonable by the Divisional Officer.

Clause 45, The contractor shall deposit royalty and obtain necessary permit for supply of red Bajri, Stone Kankar etc. from local authorities.

Clause 46 Security deposit shall not be refunded till clearance certificate from the labour officer is .obtained by the contractor.

Clause 47 Deleted

Clause 48. The contractor shall comply with the provision of the Apprentice Act, 1961 and the rules and order issued their under and from time to time  the contractor shall also be liable for any pecuniary liability arising on account of any violation by him of the provision of the said   Act.

Clause 49. Anti Malaria Measures.

The contractor shall at his own expenses make necessary arrangement for under taking Anti-Malaria measures including drainage at place such as abandoned Houses, Water tanks, excavated sites etc. where water likely to stagnate and cause mosquito breeding The contractor shall comply with every reasonable directions of the Engineer-in-Charge.

SAFETY CODE

1.	Suitable scaffolds should be provided for workmen for all works that can not safely be done from the ground of from the ground or from solid construction except such short period work as can be safely from ladders. When a ladder is used an extra mazdoor or shall be suitable foot holds and hand holds shall be provided on the ladder and the ladder shall be given an inclination not steeper than 1/4 to I (1/4 horizontal and 1 vertical).

2.	Scaffolding or staging more than twelve feet above the ground or floor swung or suspended from an overhead support or erected with stationary support shall have a guard rail properly attached or support or erected with stationery support shall have a guard rail properly attached bolted, braced and otherwise secured at least 3 feet high above the floor or platform of such scaffolding or staging and extending along the entire length of the outside and ends thereof with only such opening as may be necessary for the delivery of materials Such scaffolding or staging shall be so fastened as to prevent it from swaying from the building or structure.

3.	Working platform gangways and stairways should be so constructed they should not sagunduly or unequally and if the height of the platform or gangway or the stairway is more than 12 feet above ground level or floor level they should be closely boarded should have adequate width and should be suitably fastened as described in (2) above.

4.	Every opening in' the floor of a building or to all working platform be provided with suitable means to prevent the fall of person or materials by the providing suitable fencing or railing whose minimum height shall be 3'-0" (90cm.)

5.	Safe means of access shall be provided to all working platform and other working places. Every ladder shall be securely fixed. No portable single ladder shall be over 30 feet (9 mtr) in length while the width between side rails in hug ladder shall in no case be less than 11 1/2" (29 cm) for ladder upto and including 3.05 mtr in length. For longer ladder this widths should be increased at least 6mm for each additional foot of length. Uniform step spacing shall not exceed 30 cm Adequate precautions shall be taken to prevent danger from electrical equipment The materials on any of the sites of work shall not be stacked or placed as to cause danger or inconveniencing to any person or Public. The contractor shall provide all necessary fencing and lights to protect the public from accident and shall be. bound to bear the expenses of defence of every suit action or other proceeding at law that may be brought by any person for injury sustained owing to neglect of the above precaution and to pay and damages and cost which may be awarded in any such suit, action or proceedings to any such person or which may with the consent of the contractor be paid to compensate any claim by any such person.

6.	Excavation and Trenching : All trenches four feet or more in depth shall at all times be supplied with at least at one ladder for each 30 mtr. in length or fraction thereof Ladder of the ground The side of the trenches least to at 90 cm above the surface of the ground The side of the trenches which are or more in depth shall be stepped back to give suitable stop or securely held by timber branching so as to avoid to danger of sides to collapse. The excavation materials shall not be placed within 1.50 mtr of the edges of the trench or half of the depth of the trench whichever is more. Cutting shall be done from top to bottom.  Under no circumstances under mining or under cutting shall be done.

7.	Demolition Before any demolition work is commenced and also during the process of the work.

(a)	All roads are open areas adjacent to the work site shall either be closed or suitably protected..

{ b)	No electric cable or apparatus which is liable to be sources of danger over a cable or apparatus used by the operator shall remain electrically charged.

(c)	All practical steps shall taken to prevent danger to person employed from risk of fire or explosion or folding No floor roof or other part of the building shall be so overloaded with debris or materials as to render it unsafe.

8.	All necessary personal safely equipment as considered adequate by the Engineer-in-Charge should be kept available for the use of the person employed on the site and maintained in a condition suitable for immediate use and the contractor should take adequate steps to ensure proper use of equipment by those concerned the following safety equipments immediately be provided.

(a)	Workers employed on mixing asphaltic materials cement and lime mortars shall be provided with protective footwear and" protective goggles.

(b)	Those engaged in white washing and mixing or stacking of cement bags or any materials which is injuries to the eyes shall be provided with protective goggles.

(c)	Those engaged in welding works shall be provided-with welder's protective eye shields.

(d)	Stone breakers shall be provided with protective goggles and protective clothing and seated at sufficiently safe intervals.

(e)	When workers are employed in sewers and storm water pipe drains and manholes which are in active use the contractor shall ensure that the following safety measure as adhered to.

[i]	Entry for workers into the line shall not be allowed except under supervision of the JE or any other higher officer.

[ii]	At least 5 to 6 manholes upstream and downstream should be kept open for at least 2 to 3 hours before any man is allowed to enter into the manholes for working inside.

[iii]	Before entry, presence of Toxic gasses should be tested by inserting wet lead acetate paper, which changes colour in the presence of such gases and gives indication of their presence.

[iv]	Presence of Oxygen should be verified by the lowering a detector into the manholes. In case no oxygen is found inside the sewer line workers should be sent only with Oxygen kit.

[v]	Safely belt with rope should be provided to the workers. While working inside the manholes such rope should be handled by two men standing outside to enable him to be pulled out • during emergency.

[vi]	The area should be barricaded of cordoned or by suitable means to avoid mishaps of any kind Proper warning signs should be displayed for the safety of the public whenever cleaning works undertaken during night or day.

[vii]	The malba obtained on account of cleaning of blocked manholes and sewer lines should be immediately removed to avoid accidents on account of slippery nature of the malba.

[viii]	No smoking or open flames shall be-allowed near the blocked manholes being cleaned.

[ix] 	Workers should not be allowed to work inside the manholes continuously. They should be given rest intermittently The Engineer In Charge may decide the time up to which a worker may be allowed to work continuously inside the manhole.

[x]	Gas masks with oxygen Cylinder should be kept at site for use in emergency.

[xi]	Gas masks with oxygen Cylinder should be kept or fresh air through manholes whenever called for. Portable air blowers are recommended for ventilating the manholes The motors for these shall be vapour proof and of totally enclosed type. Non sparkling gas engine also could be used but they should be placed at least 2 meters away from the opening and on the lowered side protected from wind so that they will not be source of friction on any inflammable gas that might be present.

[xii]	The workers engaged for cleaning the manholes sewers should be proper trained before allowing to work in the manhole.

[xiii]	The worker shall be provided with Gumboots or non-sparking shoes bump helmets and gloves non-sparking tools safety lights and gas masks supplied with barrier cream for anointing the limbs before working inside the sewer lines.

[xv]	If a man has received a physical injury, he should be brought out of the sewer immediately and adequate medical aid should be provided to him.

[xvi]	The extent to which these precautions are to be taken depend on individual situation but the decision of the Engineer-in-Charge regarding the steps to be taken in an individual case will be final.

9. 	The contractor shall not employ men below the age of 18 years and women on the work of planting with products containing lead in any form. Wherever men above the age of 18 years are employed on the work of lead painting the following precaution should be taken :-

i. 	No paint containing lead products shall be used except in the form of paste or ready made paint.

ii. 	Suitable face masks should be supplied for use by the workers when paint is applied in the form of spray or a surface having lead paint dry rubbed and scrapped.

iii.	Overalls equipments(all safety equipments) all the safety equipment shall be supplied by the contractors to the workmen when paint is applied in the form of spray or a surface having lead paint dry rubbed and scrapped.

iii(a). 	Overalls all the safety equipment shall be supplied by the contractors to the workmen and adequate ' facilities shall be provided to enable .the working painters to wash during the execution of works.

iv	(a)	White lead sulphate of lead or product containing these pigment shall not be used in painting  operation except in the form of pastes or of paint ready for use.

(b)	Precautionary Measure shall be taken whenever required in order to prevent danger arising from the application of a plant in the form of spray.

(c)	Precautionary Measure shall be taken whenever required in order to prevent danger arising from dust caused by dry rubbing down and scrapping.

v. 	(a)	Adequate facilities shall be provided to enable working painters to wash during and on cessation of work.

(b)	Overall shall be worn up by working painters during the whole of the working period.

(c)	Suitable arrangements shall be made to prevent clothing put of during working hours being spoiled by painting materials.

vi 	(a)	Cases of lead poisoning and suspected lead poisoning shall be notified and shall be subsequence verified by a medical man appointed by the competent Authority of DDA.

(b)	The DDA may require-when necessary medical examination of workers.

(c)	Instructions with regard to special hygienic precautions to be taken in the painting trade shall be disturbed to working painters.

10.	When the work is done near any place where there is risk of drowning all necessary equipments should be provided and kept ready for all necessary steps taken prompt rescue of any 'person in danger and adequate provision should be made for prompt first aid treatment of all injuries likely to be sustained during the course of work.

11.	Use of hoisting machines and tackle including their attachments anchorage and supports shall conform to the following standard or conditions

1. 	(a) 	These shall be of good mechanical construction, sound material and adequate strength and free from patent defect and shall be kept in good condition and in good working order.

(b) 	Every rope used in hoisting or lowering materials or as a means of suspension shall be of durable quality and adequate strength and free from patent defects.

2.	Every crane driver or hoisting appliance operator shall be properly qualified and not person under the age of 21 years should be in charge of any hoisting machine including any scaffolding which give signals to operator.

3.	In case of every hoisting machine and of every chain ring hook, shackle swivel and pulley block used in hoisting or as means of suspension the safe working load shall be plainly marked with the safe working load. In case of a hoisting machine having a variable safe working load, each safe working load and the conditions under which it is applicable shall be clearly indicated. No. part of any machines or any-gear referred to above in this paragraph .shall be loaded beyond the safe working load except for the purpose of testing.

In case of departmental machines, the safe working load shall be notified by the Electrical Engineer-in-Charge. As regards contractors machines the contractors shall notify the safe working load of the machine to the Engineer-in-Charge whenever he brings any machinery to site of work and get it verified by the Electrical Engineer concerned.

12.	Motors gearing, transmission, electric wiring and other dangerous parts of hoisting appliances should be provided with efficient safeguards, hoisting appliances should be provided with such means as will reduce to the minimum the risk of accidental descent of the load adequate precautions should be taken to reduce to the minimum the risk of any part of the suspended load becoming accidentally' displaced. When workers

employed on electrical installations which are already energised, insulating mats, wearing appear/ such as gloves sleeves and boots as may be necessary should-be provided. The worker should not wear any rings, watches, and carry keys or other materials which are good conductors of electricity.

13.	All scaffolds, ladders and other safety devices mentioned or described herein shall be maintained in safe conditions and no scaffold, ladder or equipment shall be altered or removed while it is in use. Adequate washing facilities should be provided at or near places or works.

14.	These safety provisions should be brought to the notice of all concerned by display on notice board at a prominent place of work spot. The person responsible for the compliance of the safety code shall be named therein by the contractor.

15.	To ensure effective enforcement of the rules and regulations to safety precautions, the arrangements made by the contractor shall be open to inspection by the Labour Officer Engineer-in- Charge of the Authority or their representative.

16.	Not withstanding the above Clause from (1) to (15) there is nothing in these to exempt the .contractor from the operations of the other Act or rules in force in the Republic of India.

MODEL RULES FOR THE PROTECTION OF HEALTH AND SANITARY ARRANGEMENTS FOR WORKERS EMPLOYED BY D.D.A OR ITS CONTRACTORS.

1:	Application:

These rules shall apply to all building and construction works in charge of Delhi Development . . Authority.

2.	Definitions:

1.	Work place" means a place which an average, fifty or more workers are employed in connection with construction work.

"Large work place" means a place at which, at an average 500 or more workers are employed in connection with .construction work.

3.		First Aid:

- At every work place, there shall be provided and maintained in an easily accessible place first aid appliance including an adequate supply of sterlised dressing and sterlised cotton wool. The appliance shall be kept in good order and, in large work place they shall be placed under the charge of a responsible, person who shall be readily available during working hours.

- At large work place, where hospital facilities are not available with in easy distance of the works, First Aid posts shall be established and be run by a trained compounder.

- Where large work places are remote from regular hospitals, an indoor ward shall be provided with one bed for every 250 employees.

- Where large work places are situated in cities, town or in their suburbs and no beds, are considered necessary owing to the proximity of city or town hospitals, suitable transport shall be provided to facilitate removal of urgent cases to the hospitals. At other work places, some conveyance-facilities, shall as a car, shall be kept readily available to take injured person or persons suddenly taken serious to the nearest hospital.

4.	Drinking water:

CONDITION NO. 4 OF MODEL RULES

The contractor shall supply only potable water in the labour camp sample of water shall be drawn from the source of water supply in the labour camps every months and got tested from the MCD lab by the contractor .Wherever drinking water is supplied to the labour camps through tankers. Samples shall be drawn from the tankers and got tested. Water storage tanks "chlorine tablets shall be added from time to time as per requirement so that potability of water remain intact.  No extra payment shall be made on this account.

- In every work place, there shall be provided and maintained at suitable places, easily accessible to labour, a sufficient supply of cold water fit for drinking.

- Where drinking water is obtained from an intermittent public water supply each work place shall be provided with storage where such drinking water shall be stored.

- Every water supply of storage shall be a distance of not less than 15 metre  from any latrine, drain or other source of pollution. Where water has to be drawn from an existing well which is within such proximity of latrine, drain or any other source of pollution, the well shall be properly chlorinated before water is drawn from it for drinking. All such wells shall be entirely closed-in and be provided with a trap-doors which shall be dust and water proof.

- A reliable pump shall be fitted to each covered well, the trap-door shall be kept locked and opened only for cleaning or inspection which shall be done at least once a month.

(e)      The contractor shall supply only potable water in the labour camp sample of water shall be drawn from the source of water supply in the labour camps every months and got tested from the MCD lab by the contractor. Wherever drinking water is supplied to labour camps through tankers. Samples shall be drawn from the tankers and got tested. Water storage tanks chlorine tablets shall be added from time as per requirement so that potability of water remains intact no extra payment shall be made on this account.

5.Washing and Bathing place:

(i)	Adequate washing and bathing place shall be provided, separately for men and women.

(ii)	Such places shall be kept in clean and in dried condition.

6.	Scale of Accommodation in Latrine and urinals:

These shall be provided within the premises of every work place latrines and urinals in an accessible for each of them shall not be less than the following scale.

No. of seats

- Where the number of persons does not exceeds 50,	2

- Where the number of persons exceeds 50, but does not exceed 100	3

- For every additional 100 persons	3 per 100

In particular cases the Executive Engineer shall have the powers to vary the scale where necessary.

7.	Latrines and urinals for women:

If women are employed, separate latrines and urinals, screened from those for men and marked in the vernacular in conspicuous letter "For women only" shall be provided on the scale laid in rule 6. Those for men shall be similarly marked "For men only". A poster showing the figure of a man and a woman shall also be exhibited at the entrance of latrines, for each sex. There shall be adequate supply of water close to the urinals and latrines.'

8.	Latrines and urinals:

Except in work places provided with water flushed latrines, connected with a water borne sewage system all latrines shall be provided with receptacles on dry each system which shall be cleaned at least four times daily and at least, twice during working hours and kept in a strictly sanitary condition. The receptacles shall be tarred inside and outside at least once a year.

9.	Construction of Latrines :

The inside well shall be constructed of masonry of some suitable heat resisting non-absorbent material and shall be cement washed inside and outside at least once a year. The dates of cement washing shall be noted in a register maintained for this purpose and kept available for inspection. Latrine will .not be of a standard lower than borehole system and should have thatched roofs.

10.	Disposal of Excreta:

Unless otherwise arranged for by the local sanitary authority, arrangements for proper disposal-of excreta by incineration at the work place shall be made by means of a suitable incinerator approved by the Assistant Director of Public Health or the Municipal Medical Officer of Health, as the case may be. in whose jurisdiction the work place is situated. Alternatively, excreta may be disposed off by putting a layer of night soil at the bottom of pucca tank prepared for the purpose and covering it with 6" layer of waste or refuse and then covering it up with a layer of earth for a fortnight (when layer of waste or refuse and then covering it up with a layer of each for a fortnight (when it will turn into manure).

11.	Provision of shelter during rest:

At every work place there shall be provided free of cost two suitable sheds, one for meals and the other for rest separately for men and women for the use of labour. The height of each of the shelters shall not be less then 11 feet (3.35 m) from the floor level to the lowest part of the roof. The sheds should be roofed with at least thatch and mud flooring will be provided with a dwarf wall around not less than 2-1/2 feet (76 cm). Sheds should be kept clean and the space should be on the basis of at least 5 square feet (0.46 sqm) per head.

12.	Creches:

(a)	At every work place at which 50 or more "women workers are ordinarily employed there shall be provided two tents for the use of children under the age of 6 years, belonging to such women. One tent should be used for infants games and play and the other as their bed room. The tents shall not be constructed on a lower standard than the following.

(i) Thatched roof

(ii) mud floor, planks spread over the mud floor and covered with matting;

The huts shall be provided with suitable and sufficient opening for light and ventilation. There shall be provided with suitable and sufficient opening for light and ventilation. There shall be adequate provisions of sweeper to keep the places clean. There shall be two Dais in attendance. Sanitary utensils shall be provided to the satisfaction of the Health Officer of the area concerned. The use of the tent shall be "restricted to children, their attendants and mother of the children.

- Where the number of women workers is more than 25 but less than 50, the contractor shall provide at least one tent and one Dais to look after the children of women workers.

- The size of creche shall vary according to the number of women workers,

- The creche or creches shall be properly maintained and necessary equipment like toys etc. shall be provided.

13.	Canteen:

A cooked food canteen on a moderate scale shall be provided for the benefit of workers wherever it is considered expedient.

14.	The above rules shall be incorporated in the contract and in the notice inviting tenders and shall form integral part of the contracts.

CONTRACTORS LABOUR REGULATIONS

Short title:

These regulations, may be called the "Delhi Development Authority contractor's Labour Regulations."

1. Definition- ln these regulations, unless otherwise expressed or indicated, the following words and expressions shall have the meaning hereby assigned to them respectively that is to say.

i) 	"Labour" means workers employed by a Delhi Development Authority Contractor directly or indirectly through a sub-contractor or other persons or by an agent on his behalf on a payment not exceeding Rs. 400/- per month and will not include supervisory staff like Overseers etc. and will not be less . than minimum rates of wages fixed by the latest Delhi Govt. and plus upto date variable dearness allowance on applicable for minimum wages/on the basis of cost vide notification by Delhi Administration time to time for the class of employee engaged on the same type of work circulated vide number F12(142)/04/MW/LAB/238 dt. 31.8.05

ii) 	"Fair Wages" means wages whether for time or pieces work notified at the time of inviting tenders 'for the work and where such wages have not been so notified, the wages prescribed by the D.D.A. for the District in which the work is done. It will notified as prescribed the D.D.A. in consultation with the officer or the industrial Relations Machinery located in the respective areas and will not be less than minimum rates of wages fixed by the latest Delhi Govt. and plus upto date variable dearness allowance as applicable for minimum wages on the basis of cost vide notification by Delhi Administration time to time for that class of employed engage  on the same type of work.

iii) 	"Contractor" shall include every person whether a subcontractor or head man or agent employing labour on the work taken on contract.

iv) 	"Wages" shall have the same meaning as defined in the payment of wages Act and includes time and piece rate wages.

2.	(a) Normally working hours of an adult employee should not exceed 8 hours a day and incase of a child 4-1/2 hours a day. Working day shall be so arranged that inclusive of interval for rest, it shall not spread more than 12 hours on any day.

(b)	When an adult worker is made to work for more than 9 hours any day or for more than 48 hours in any week, he shall be overtime for the extra hours put in by him at double the ordinary rate wages. Children shall not be made to work extra hours.

(c)	Every worker shall be given a weekly holiday normally on Sunday in accordance with the provision of the minimum wages (Central) Rules 1950 as amended from time to time irrespective of whether such worker is governed by the Minimum Wages Act 1948 or not."

3.	Display of notice regarding wages etc. The Contractor shall:

(a)	Before he commences his work on contract display and correctly maintain and continue to display and correctly maintain in a clean and legible condition in-conspicuous places on the work notice in English and in the Local Indian Language spoken by the majority of the workers giving the rate of wages which have been certified by the Executive Engineer, the Chief Engineer or Regional Labour Commissioner as fair wages and the hours of work for which such wages are earned and; the actual wages being paid.

(b) 	Send a copy of such notices to the certifying Officer i/e E.E./C.E. and Regional Labour Commissioner.

(4) 	Payment of wages :-

i)	Wages due to-every worker shall be paid to him directly or through

other person authorized on this behalf.

ii) 	All wages shall be paid in current coin or currency or in both.

iii) 	Arrears claimed after 3 months after the completion of the work shall not be entertained.

5. 	Fixation of wage periods:

The Contractor shall fix the wage periods in respect of which the wages shall be payable.

i) No wages period shall exceed one month.

ii)	Wages of every worker employed on the contract shall be paid (a) in case of establishment in which wages period is one week,, within three days from the end of the wage period and (b) in the case of other establishments before the expiry of 7th day or 10th day from the end of the wage period according as the number of workers employed in such establishment does not exceed 1000.

iii)	When the employment of any worker is terminated by or on behalf of the contractor the wages earned by him shall be paid before the expiry of the day succeeding the one on which his employment is terminated.

iv)	All payments of wages shall be made, on a working day except when the work is completed before the expiry of the wage period in which case final payment shall be made with 48 hours of the last working day at work site and during the working time.

Note: 	The term" Working day” means a day on which the work on which the labour employed is in progress.'

6.	Wage book and wage slips etc.

i) 	The contractor shall maintain a Wage Book of each worker in such form as may be convenient at the place of work but the same shall include the following particular:-

(a)	Name of worker.

(b)	Rate of daily or monthly wages.

(c)	Nature of work on which employed.

(d)	Total number of days worked during each wage period.

(e)	Dates and period for which worked overtime.

(f)	Gross wages payable for the work during wage period.

(g)	All deductions made from the wage with an indication. In each case of the ground for which the deductions is made.

(h)	Wage actually paid for each wage period.

ii) 	Signature of thumb impression of the worker.

iii) 	The Contractor shall also issue a wage slip containing the aforesaid particulars to each worker employed by him on the work at least a day prior to the day of disbursement of wages.

iv) 	The contractor shall issue an Employment Card in the prescribed form III to each worker on the day of work or entry into his employment. If the worker has already any such card with from the previous employer, the contractor shall merely endorse that Employment Card with relevant entries. On termination of employment Card shall again be endorsed by the contractor and returned to the worker.

v) 	"The Contractor shall issue an Attendance cum Wage Card as per Form IV enclosed. to each worker on the day of work or entry into his employment"

7.	Register of unpaid wages:

The contractor shall maintain a Register of unpaid wages in such form as may be convenient at the place .of work but the same shall include the following particulars :

- Full particulars of the labourers whose wages have not been paid.

- Reference number of the muster roll and wages register.

- Rate of wages.

- Wage period.

- Total amount not paid.

- reason for not making payment

- How the amount of unpaid wages was utilised.

- Acquittance with date.

8.	Register of Accidents :

The contractor shall maintain a register of accidents in such form as may be convenient at the work place but the same shall include the following particulars :-

a)	Full particulars of the labourers who met with accident.

b)	Rate of wages.

c)	Sex

d)	Age

e)	Nature of accident and cause of accident.

f)	Time and date of accident. "

g)	Date & time when admitted in hospital.

h)	Date of Discharge from the hospital.

i)	Period of treatment and result of treatment.

j)	Percentage of loss of earning capacity and disability as assessed by Medical Officer.

k)	Claim required to be paid under Workmen's Compensation Act.

l)	Date of payment of details of the person to whom the same was paid

m)	Amount paid with details of the person to whom the same was paid

n)	Authority by whom the compensation was assessed

o)	Remarks.

9.	Fines and Deductions which may be made from Wages :-

i) 	The wages of workers shall be paid to him without any deductions of any kind except the following.

a) 	Fines. List of Acts and Omission, for which, fine can be imposed :-

1)	Will full in subordination or disobedience, whether alone or in combination with another

2)	Theft, fraud or dishonesty in connection with contractor's business or property of the D.D.A.

3)	 Taking or giving bribes or any illegal gratification.

4)	Habitual late attendance.

5)	Drunkenness, fighting, riotious or disorderly or indecent behaviour.

6)	Smoking near or around the area where combustible or other materials are stacked.

7)	Habitual negligence.

8)	Habitual indiscipline.

9)	Causing damage to work in progress or to property of the D.D.A. or the contractor.

10)	Sleeping on duty.

11)	Malingering or slowing down work.

12)	Giving false information regarding name, age, father's name etc.

13)	Habitual loss of wage cards supplied by the Employers.

14)	Unauthorised use of employer's property or manufacturing or making of unauthorised articles at the work places.

15)	Bad workmanship in constructions and maintenance by skilled workers which is not approved by the Department and for which contractors are compelled to undertake rectification.

16)	Making false complaints and or misleading statements.

17)	Engaging in trade with in the premises of the establishment.

18)	Any unauthorised divulgence of business affairs of the employees.

19)	Collection or canvassing for the collection of any money, within the premises of any establishment unless authorised by the employers.

20)	Holding meeting inside the premises without previous sanction of the employers.

21)	Threatening or intimidating any workman or employee during the working hours within the premises.

b)	Deduction for absence from the duty i.e. from the place or places where by the terms of his employment he is required to work. The amount of deduction shall be in his employment he is required to work. The amount of deduction shall be in proportion to the period for which he was absent.

c)	Deduction for damage to or loss of goods expressly entrusted to the employed person for custody, or for loss of money or any other deduction, which he is required to account, where such damages or losses are directly attributable to his neglect or default.

d)	Deduction for recovery of advances or for adjustment or over payment of wages advance granted shall be entered in a register.

e)	(i) Any other deduction, which the Central Government may from time to time allow.

ii) 	No fine should be imposed on a worker in respect of such acts and omission on his part as have been approved of by the Chief Labour Commissioner.

iii) 	No fine shall 'be imposed on a worker and no deduction for damage or loss shall be made from his wages until the worker has been given an opportunity of showing cause against such fine or deductions.

iv) 	The total amount of fine which may be imposed in any one wage period on a worker shall not exceed an amount equal to three naye paise in a-rupee of the wages payable to him in respect of that period.

v) 	No fine imposed on any worker shall be recovered from him by installment or after the expiry of sixty days from the date on which it was-imposed.

vi)	Every fine shall be deemed to have been imposed on the day of omission of fact in respect of it which was imposed.

10.	Register of fines, etc.

i)	The contractor shall maintain a register of fines and a register of deduction for damage of loss in Form Nos.1 and 2 respectively which should be kept at the place of work.

ii)	The Contractor shall maintain in both, English and the local Indian Language a list approved by the Chief Labour Commissioner clearly stating the act and omission for which penalty or fine may be imposed on a workman and display it in a good condition in a conspicuous place on the work.

11.	Preservation of Registers : The wage book, the wages, slips, the register of unpaid wages, the registers of accidents, the registers of fines, reductions required to be maintained under these regulations required, to be maintained under these regulations shall be preserved for 12 months after the date of last entry made in them and shall be made available for inspection by the-Engineer-in- Charge, to labour Welfare Officer or any other officer authorised by Ministry of W.H. & S. on the behalf.

12. 	Power of Labour Welfare Officer to make Investigations of Enquiry.

The Labour Welfare Officer or any other person authorised by the Central Government on their behalf shall have power to make enquiry with a view to ascertaining and enforcing due and proper observance of. the fare wages clauses and the provisions of regulations. He shall investigate into any complaint regarding the default made by the contractor or subcontractor in regard to such provisions.

13. 	Report of Labour Welfare Officer --The Labour Welfare Officer or other persons authorised as aforesaid shall submit a report of the result of his investigation or enquiries to the Executive Engineer concerned indicating the extent, if any to which the default has been committed, with a note that necessary deduction from the contractor's bill be made and the wages and other dues be paid to the labourers concerned in case an appeal is made by the contractor under Clause 14 of these regulations actual payment to labourers will be made by the Executive Engineer after the Regional Labour Commissioner has given his decision on such appeal.

a)	The Executive Engineer shall arrange payment to the Labourer concerned within 45 days from the receipt of the Report from the Labour Welfare Officer or the Regional Labour —commissioner as the case may be.

14.	Appeal against the decision of Labour Welfare Officer.

Any person aggrieved by the decision and recommendations of the Labour Welfare Officer or other person so authorised may appeal against such decision to the Regional Labour Commissioner concerned within 30 days from the date of decision, forwarding simultaneously a copy of his appeal to the Executive Engineer concerned but subject to such appeal the decision the Officer shall be final and binding upon the contractor.

15.	Prohibition regarding Representation

i) 	A workman shall be entitled to be represented in any investigation or enquiry under these regulations by

a)	An officer of a federation of trade union of which he is a member. .

b)	An officer of a federation of trade union to which the trade unions referred to in clause (a) is affiliated.

c)	Where the employer is not a member of any registered trade unions, by an officer of a registered trade union connected with or by any other workman employed in the industry in which the worker is employed.

ii)	An employer shall be entitled to be represented in any investigation or enquiry under these regulations by :-

a)	An officer of an association of employer of which he is a member.

b)	An officer of a federation of employer to which the trade unions referred to in clause (a) is affiliated.

c)	Where the employer is not a member of any association of employer connected with or by an any other employer engaged in the industry in which the employer is engaged.

iii) 	No party shall be entitled to be represented by legal practitioner in any investigation or enquiry under these regulations.

- Inspection of books and slips-The contractor shall allow inspection of the wages books and the wages slips, the register of unpaid wages, the register of accident, and the register of fines and deductions to any of his workers or to his agent at a convenient time and place after the due notice is received from the Labour Welfare Office or any other person authorised by the Central Government on his behalf.

- Submission of Return :

The contractor shall submit periodical return as may be specified from time to time.

18.	Amendments:

The Central Government may from time to time add to or amendment the regulations and on any question as to the application interpretation or effect of those regulations to the decisions of the Chief Labour Commissioner or Deputy Chief Labour Commissioner to the Government of India or any other person authorised by the Central Government on that behalf shall be final.

Annexure to Additional condition 34(i) showing quantities of materials of areas of road roller of surfacing to be considered for working out the minimum period for which hire charge are to be recovered.

S. No.

Materials of surfacing                                                       	Quantities of Area

1.	Consolidation of earth sub-grade	1860 sq. m.

2.	Consolidation of sub base with 90-45 graded stone metal	42 cu. m.

3.	Consolidation of wearing coat of stone ballast 7.5 cm to 11.5 cm thick	30 cu.m.

4:	Consolidation of wearing coat of brick ballast 10 cm thick.	60 cu. m.

5.	Spreading and Consolidation of red bajri 6 mm	1860 sq. m.

6.	Painting one coat using stone aggregate 12.5 mm nominal size

a) @ 1.65 m3 per 100 m2 and paving bitumen A-90 or

S-90 @ 2.25 Kg. per m2 or	930 sq. m.

b) @ 1.5 m3 per 100m2 and bitumen emulsion or road tar @ 2.25 Kg. per m2

7.	Painting two coats using --

a) For first stone aggregate 12.5 mm nominal size- .

i) @ 1.5 m3 per 100 m2 with paving bitumen A-90 or S-90 @ 2 Kg. /sq m.

or ii) @ 1.35 m3 per 100m2 with bitumen emulsion @ 2Kg./sq.m. or

iii) @1.5m3 per 100m2 with road tar @ 2.25 Kg./sq. m.	600 sq. m.

b)	For 2nd coat, stone aggregate 10mm nominal size 0.9 cu m per 100 sq: m. with

i) 1 Kg. of paving bitumen A-90 or S-90, or bitumen emulsion per sq. m. or

ii) 1.25 Kg. of bitumen emulsion per sq. m.	' 1670 Sq m.

8.	Re-painting with stone aggregate 10 mm nominal size 0.9 cu m per 100 sq.m. with—

- 1Kg. of paving bitumen A-90 or S-90 sq.m. or

- 1.25 Kg. of bitumen emulsion per sq.m.	1670 Sq.m.

- 2cm premix carpet surfacing using 2.4m3 of stone aggregate 10rnm nominal size per 100m2 and binder including tack coat the binder being paving Bitumen's S-90 or hot cut back bitumen or bitumen emulsion in specified quantities.	930 sq .m.

- 2.5cm thick premix carpet surfacing using 3m3 of stone aggregate 10 mm nominal size per 100m2 and binder including tack coat, the binder being paving bitumen S-90 orhot cut back bitumen emulsion in specified quantities..	930 sq .m.

- 4cm thick premix carpet surfacing using stone aggregate 3.8 cum. (60%20) mm nominal size and 40% 12.5mm nominal size per.100m2 and coarse sand 2.4 cu m. Per 100 sq m. and hot cut back bitumen over a tack coat of hot cut back bitumen	370 sq.m.

- 5cm thick bitumen concrete surfacing using stone aggregate 4.8 cu m. (60%40mm nominal size and 40% 20mm nominal size) per 100m 2 and coarse sand 1.9 cu m. per 100 sq. m. and hot cut back bitumen over a tack coat of hot cut back bitumen.	370sqm

- 6cm thick bitumen concrete surfacing using stone aggregate 5.8 cu m. (60% 25 mm nominal size and 40 % 25 mm nominal size) per 100 sq. m. and coarse sand 2.9 cu m per 100 sq. m. and hot cut back bitumen over a tack coat of hot cut back bitumen.	280 sq m.

14.	7.5mm thick bitumen concrete surfacing using stone aggregate 7.3 cu m. (60% 50 mm nominal size and 40 % 40 mm nominal size) per 100 sq. m. and hot cut back bitumen over a tack coat of hot cut back bitumen over a tack coat of hot cut back bitumen and coarse sand 3.6 cum/100 m2 	230 sq m..

15.	2.5 cum. bitumastic sheet using stone aggregate 1.65 cu m. (60% 12.5 mm nominal size and 40% 10 mm nominal size) per 100 sq. m. and coarse sand 1.65 cu. M per 100sqm. and hot cut' back bitumen over a tack coat of hot cut back bitumen.			750 sq m.

16.	4 cm bitumastic sheet, using stone aggregate 2.6 cu m. (60% 12.5 mm nominal size and 40% 10 mm nominal size) per 100 sq. m. and coarse sand 2.5 cu m per 100 sq. m. and hot cut back bitumen over a tack coat of hot cut back bitumen.

560 sq m.

17.	Laying full rolled surface using stone aggregate 40mm nominal size 6.10 cu.m. per 100 sq.m. with binder, binding with 20mm to 12.5 nominal size stone grit 1.83cum. per 100 sq.m. and seal coat of binder and stone grit 10mm nominal size 1.07 cu.m. per 100 sq.m. the binder being hot bitumen or tar as specified.

460 sq m.

18.	Laying full rolled surface using stone aggregate 50 mm nominal size 9.14 cu.m. per 100 sq.m. with binder binding with stone grit 20 mm to 12.5 mm nominal size 1.83 cu.m. per 100 sq.m. and seal coat of binder and stone grit 10mm nominal size 1.07 cu.m./100 sq.m. the binder being hot bitumen or tar

370 sq.m.

19.	4 cm thick premix macadam surfacing using stone aggregate 25 mm nominal size 4.57 cu.m. per 100.sq.m. and hot bitumen binding with stone aggregate 12.5mm nominal size 1.52cu.m. per 100sq.m. nominal size, 1.07 cu.m. per 100 sqm.

560 sq m.

20.	5 cm thick premix macadum surfacing with stone aggregate 25mm nominal size 6.10cu.m. per 100 sq.m. and hot bitumen, binding with stone aggregate 12.5 nominal size 1.52 cu.m per 100 sq.m. seal coat of hot bitumen stone aggregate 10mm nominal size 1.07 cu.m/100sq.rn	460 sq m.

21.	Seal coat to premixed and with paving bitumen S-90 using 128 Kg. of "bitumen square metre of road surface.	18.60 sq m.

22.	Consolidation of granular subbase courses with power vibratory roller 80 to 100.

133 Cum.

23.	Consolidation of C.C. 1:4:8 base course with power vibratory roller 80 to 100.

133 Cum.

SPECIFICATION AND CONDITIONS

GENERAL:

1.	The contractor must get acquainted with the proposed site for the works and study specifications and conditions carefully before tendering. The work shall be executed as per programme approved by the Engineer-in-Charge. If part of site is not available for any reason or there is some unavoidable delay in supply of materials stipulated by the Department, the programme of construction shall be modified accordingly and the contractor shall have no claim for any extras or compensation on this account.

2.	Periphery of works areas shall be the area shown in the layout plan of the scheme.

Specification :

3.1 Specification to be followed for execution of work shall be :-

3.1.1	The entire work shall be done as per CPWD specification 1996 Vol-1 to VI upto date correction slip, most specification and Revised CPWD specification 2002 for cement, concrete, RCC and cement mortar

However in case of any discrepancy in the description of any rtem as given in the schedule of quantities appended with the tender and the specification relating to the relevant item as per CPWD specifications relations 1996 vol-1 to VI and CPWD specification 2002 for cement, concrete, RCC and cement mortar or  with upto date C.S.. The former shall prevail the specifications for any items are not available in the CPWD Specifications referred above, relevant B.l.S. Specifications shall be followed In case B.I.S. Specification are also not available, the decision of the Engineer-in Charge shall be final. Whenever any reference to any Indian Standard Specifications occurs in the documents relating to the contract the same shall be inclusive of all the amendments issued there to or revisions thereof if any, upto the date of receipt of tenders.

3.1.2	Samples of all building materials doors and windows fittings sanitary wares and other articles required for execution of works shall be got approved from Engineer-in-Charge Article manufactured by Firms of repute and approved by the Engineer - in- Charge shall only be used. Articles classified as first quality by the manufacturer shall be used unless otherwise specified.

Preference shall be given to those articles which bear I.S.I Certification mark. In case articles bearing I.S.I. Certification mark are not available, the quality of samples brought by the contractor shall be judged by the standard laid down in the relevant I.S.I. Specifications All material and articles brought by the contradictor to the site for use shall confirm to the samples approved which shall be preserved till the completion of the work.

3.1.3. The work will be carried out in the manner complying in all respects with the requirement of relevant by laws of the local body under the Jurisdiction of which the work is to be executed or as directed by the Engineer-in-charge and nothing extra will be paid on this account.

3.1.4	The contractor shall have a performance tests for the entire installations as per standards/ specifications before the work is finally accepted and nothing whatsoever shall be payable to the contractor without such test.

3.1.5	The junior Engineer should maintain the Register for cement paint and other Registers as required by the Engineer-in-Charge and these should be signed by the contractor or his authorised agent and the Junior Engineer-in-Charge of the work.

3.1.6	The contractor shall leave such recesses, holes, openings etc. as may be required for the electric and sanitary works by providing P.V.C. scrubs at appropriate level and direction and nothing extra shall be paid on the work.

3.1.7	The work of electrification, horticulture and other internal and external services may be carried out simultaneously by other agencies with the work being tendered for against the enclosed contract documents The contractor shall afford necessary facilities for the same.

3.1.7A No claim in the matter shall be entertained and nothing extra over the agreement rates shall be paid for the same1»r fixing, laying/burying in the works pipes, cables conduits clamps boxes or hooks for fan clamps etc.

3.1.8	The contractor shall make his own arrangement for temporary electric connection if required and make necessary payment for it direct to the department concerned.

3.1.9	The contractor shall be required to do the work of development before taking upto building work, as per the direction of the Engineer-in-Charge.

3.2	Specific provisions in the wording of items in the schedule of quantities shall have precedence over 3.1.1 and 3.1.2.

3.3	The bricks brought by the contractor including those classified as first class in the local market shall be classified accordingly CPWD specification referred above irrespective at the classification shown in the permit (where there is a permit system) under which the contractor might obtain the material.

3.4 (a)	Material bearing B. I.S Marks shall be given first preference for incorporation in the work. Whenever ISI marked materials are available the same only shall be used. In case where articles of different makes and designs bearing B.I.S mark are available in the market the decision of the Engineer-in-Charge about a particular make and design to be used in the work shall be final and binding. In case where articles with B.I.S mark are not available in the market, the quality shall have to conform to relevant B.I.S specification.

3.4(b)	Materials for which B.I.S. has licensed use of B.I.S certification mark only material bearing B.I.S. certification mark only material bearing ISI certification mark are available the decision of the Engineer-in-Charge about the design to be used in the work shall be final and binding on the contractor where articles with B.I.S. certification mark are not available the quantity shall confirm to the relevant CPWD specification/I SI specification or as approved by the Engineer-in-Charge.

3.5	Immediately after the award of works, the contractor shall produce samples of all materials be used and incorporated in the works for approval  only apporoved samples shall used in the works.

3.6	The structural and architectural drawings shall, at all times, be properly correlated for executing any work Architecture requirement shall be fully satisfied where specific mention is made of Architects Design. Architects approval etc. Samples shall be prepared for approval before starting the work on any item specified by the engineer-in-charge.

3.7	For all precast concrete work on an unyielding platform with smooth finished surface shall be made. The member shall have to be cast in approved rigid moulds. Use of bricks, loose plank sand battens and similar non-rigid sides of moulds shall not be permitted. Vibrators must be used for compaction of concrete. All faces of the members must come out smooth. Curing shall be either under water or by covering with wet gunny bags for minimum 14 days. For all types of cement work with Hopper mixer shall be used in the work.

(a) For all type of Cement work, Hopper mixture shall be used in the work.

3.8	The hinges of door shutters shall be welded to angle iron frames for full length and eyes and hooks shall be provided to such frames as per requirement. Nothing extra shall be paid for this work or for providing wooden padding for fixing the fitting to shutters to suit angle iron frames.

3.9	Rates for steel windows shall be fully deemed to exclude the cost of providing M.S. Stays and windows fasteners of approved type each. The rate of M.S. Grills shall cover all grill work provided. No distinction shall be made between plain and ornamental grills for payment. The grill should be welded along the full length of connected up to door and windows m.s. frame,

3.10	Rates for flooring item shall be inclusive of providing sunk flooring in bath room and kitchen. However rounding the junction as provided in agreement item shall be paid for.

3.11	For various fitting in internal services, the dimensions given in the following table shall be maintained.

| ITEM | Height above | Distance from |
| --- | --- | --- |
|  | Floor level (mm) | Face of wall (mm) |
| BATH ROOM |  |  |
| Bib Cock | 800 | 200 |
| Shower Rose | 2100 | 500 |
| Stop Cock for Shower Rose | 1100 |  |
| W.C. |  |  |
| Bib Cock | 250 | 100 |
| Flushing Cistern | 1950 |  |
| Bottom (Top of bracket) |  |  |
| Other Fittings |  |  |
| Wash basin Front Edge | 800 | - |
| Mirror: Bottom | 1200 | - |
| Top | 1800 | - |
| Glass Shelf | 1050 | - |
| Towel Rail | - | - |
| Kitchen Sink | 800 | - |
| Kitchen | 500 | 200 |

3.12	Welding wherever required in the structure like grill railing and truss shall be done for full length tuck welding is not allowed.

3.13	Unless otherwise specified Rates quoted by the contractor shall hold for work at all heights and depths. The contractor shall not be paid on any thing extra for maintaining in good condition all the work executedtill completion of the entire work; nor on account of damage to the works caused by rains or other natural phenomenon during the execution of works.

3.14	The G.I. fitting shall be of same specification as G.I. B class pipe.

(a)	The G.I. fittings shall be of same specification of G.I.B class pipe.

(b)	Course sand (badarpur) will be used after washing in case silt contents is beyond permissible limit.

(c)	Short pipe nipple used in work should be of same grade and specification as prescribed for G.I. Pipe.

(d)	Full welding of steel section of grills along the contract area with frames but hings to be welded with frames.

3.15	Collection and stacking of materials shall include all leads. The rates quoted by the contractor shall hold good irrespective of the source from which the materials are brought so long as they conform to the specification.Closure of particulars quarry will not entitled to any revisions in rates.

3.16	The contractor shall be responsible for watch and ward of shutters and material issued to him/handed over to him by the department and nothing shall be paid extra to him for this.

3.17(a) The rates to be quoted by the agency for stone cladding and other exterior items shall include the cost of centring and shuttering scaffolding for execution of work and nothing extra shall be payable on this account,

3.18	The M.S. Flats clamps 6mm thick for bolting arrangement are be provided and welded as per site condition. The rate of angle iron-door/windows frames is inclusive of the cost of such clamp. The door and windows fittings like hinges hooks and eyes are be welded to the M.S. Frames as required and nothing extra will be paid on this account and no deduction for not providing the eyes, hooks, bolts and sliding bolts etc. due to provisions of such clamps shall be made.

3.19	The flush door shutter shall be with B.I.S. Specification mark and shall be obtained from suppliers on the approval list of C.P.W.D./D.D.A. Coarse Sand will be washed before use.

3.20	The panel door shutters will be provided by the contractor themselves from the manufacturers only who will be in the approved list of DDA.

All times to be used for manufacture of doors, windows and ventilators shall be kiln seasoned to the required specified standards and approved kiln and the contractor shall produce a satisfactory proof of the name in writing the engineer in charge whose decision shall be final & binding.

4.1	The contractoTshall carry out the work of sewer lines in close co-ordination with works of the services in the area. The contractor shall have no financial or other claims arising out of lack of co-ordinate.

4.2	No payment shall be made for the excavation for sewer lines for the portion covered by excavation from construction of manholes.

4.3	Earth excavation for trenches shall be stacked at a distance from the top edge of excavation equal to depth of the trench below ground level or equal to 5m whichever is greater.

4.4	S.F.R.C7 R.C.C. Covers must have been engraved with the mark of DDA and year of manufacture and B.I.S. certification I.S.I mark.

Work Under Sub-Soil Water

4.4.1	The sub Soil water level shall be determined and recorded at each manhole position before any de-watering is d§*ne and when there is at least of 25cm depth of water in the trench. The average of the two levels will be taken as sub soil water level for the length between the two manholes.

4.4.2	The depth below subsoil water level shall be measured to invert level of the pipe or the bottom of the concrete for relevant item.

4.4.3	Nothing extra shall be paid for the work under sun-soil water level in case of manhole for all depth.

4.5	The contractor shall carry out disc test on all sewer lines and satisfied the Engineer-in-Charge that the lines are absolutely clear. Any obstruction shall be removed by the contractor without any claim for extras. Decision of the Engineer-in-Charge with regard to disc test and cleaning of the lines shall be final.

4.6	The contractor will not be required to carry out testing of joints in the R.C.C. pipes laid below sub soil water level. In such case C.C. 1:2:4 shall be provided all round joint of such pipes for length of 225mm on either side of joints and nothing extra shall be paid.

Service

The contractor shall employ licensed plumbers for water supply and sanitary installation work and shall satisfy all the requirements including disc and ©ther test, of the municipal Corporation of Delhi in respect of the same. The contractor shall make his own arrangement for supply of Electricity and water required for the works.

5.1	Cutting of hofes in walls, floors, chajjas, R.C.C Slabs etc.

The tendered shall include the cost of cutting holes wherever required and making good the same and nothing extra shall be paid for this.

5.2	Wherever necessary the S.C.I pipes and G.I. pipes shall be fixed in R.C.C. columns beams etc. with scrub plugs and nothing extra shall be paid for it.

5.3	The contractor shall be responsible for all the protection of sanitary water supply fitting and fixtures against pilferage and breakage during the period of installation until the completion of this work.

5.4	G.I. pipes as stipulated in the schedule of materials can be issued in metres or ties equivalent metric size as contractor will remain the same.

5.5	The contractor will  not be paid extra on this account and nothing will be deducted for using metric size of G.I. Pipes used from Central Stores Division and the item will be paid as per agreement rate for the same item.

5.6	The rates of baseties is included in the item of M.S. door frame and nothing extra shall be paid.

6.	Appliances

The contractor shall at no extra cost, provide at site appliances such as weighing scale graduated cylinder standard service slump cones, CI or MS test tube moulds, calliper tapes etc. for site testing of materials and works.

7.	Bricks

The contractor will make his own arrangement for the entire quantity of bricks required for the work and  quality of bricks shall be judged as per specification and bricks work so to be done with F.P.S. Bricks.

8.	Labour  huts

The contractor shall put up the tents for labour as per the conditions of contract, only in the area indicated on the plan and demarcated on the ground by the Engineer-in-Charge. The final bill shall not be paid unless all the  huts are cleared from the site.

9.	Shops

Restaurants hops or kiosks shall not be allowed to be put up by the contractor in the works area in the labour tents area. Temporary, kiosks put up by the Engineer-in-Charge shall be taken by the contractor on lease to be terminated on the date of completion of termination of contract whichever is earlier and at the e rate or Rs. 30/- per kiosks per month to be recovered from the bills paid. On the date of completion of the work or termination of contract which is earlier the kiosks shall be vacated by the contractor and vacant possession given over to the Engineer-in-Charge failing with penalty shall be levied on the contractor at the rate of Rs. 150/- per day of delay involved.

10.	Drawings

The drawings referred to the tender documents are available for inspection or intending tenders in the office of the Executive Engineer Tenders shall be desired to have based their rates on these drawing which shall be included as part of the Agreement with the tender based whose tender is finally accepted The contractor shall have no claim with reference to these drawing in respect of any of the rates after acceptance of the tender.

11.	Testing of Materials

For the tests conducted in D.D.A. labs the testing charges will not be borne the agency however when tests are conducted from Lab other than DDA the testing charges shall be borne by the agency. The packing, transportation, cost of material will be borne by the agency/contractor any testing charges of field tests done at site will be borne by the agency. Water testing charges if any shall be borne by the contractor. This supersedes all other conditions regarding testing of material.

12.	Safety Codes

Safety pertaining to construction work such as excavation trenching blasting demolition provision of scaffolds ladder, working platform gangways mixing of asphaltic materials electric are and gas welding use of hoisting and construction machinery shall be governed by the relevant provision of C.P.W.D. safely call (agreement form) or as directed by Engineer-in-Charge Contractor shall put corrugated sheeting duly painted with red and white strips around the area any digging work or another work for laying pipes cables etc. is to be carried out on the roads Warning sign board should be installed to inform users about the work being carried out. Contractor will installed warning lights in order to give proper warning to the vehicle and pedestrians at night.

12.(a) The excavated earth shall be dumped at a place as per the direction of the Engineer-in-Charge for which he will not have any extra claim on this account.

13.	Additional Conditions

G.I. Pipes of various size as specified will be issued by the department from DDA stores only for the item of water supply and sanitary installation subhead. For other item involving the use of G.I. Pipes and M.S. pipes of various sizes such as hand rails rain water pipes spouts & flush pipe etc. the contractor shall make his own arrangement and no extra claim on this account will be enlisted by the Department. Short pipe nipples provided by the contractor in G.I. pipe lines shall be of G.I. pipe.

14.	Fire Hydrant shall conform to ISI 909-1992

15.	The Contractor shall be required to submit the detailed programme for completion of work within the stipulated period in the form of a Bar Chart, covering all major modification to the Engineer-in-Charge with the 15 days from the date of start of work of modification suggested by the Engineer-in-Charge shall be incorporated in the Bar Chart. It will be ensured by the contractor that the time schedule will laid down the aforesaid Bar Chart id adhered to. In case of any slippage the time lost will be made good by the contractor by speeding up the activities. In such cases he shall be bound to follow the revised programme decided by the Engineer-in-Charge.

16.	The rate of all item of work shall be clearly specified  and unlessspecified otherwise include the cost of all material labour etc. involved in execution of the items.

17.	The surface will be finished rough sponge and with the uniform texture samples of such plaster should be prepared by the contractor and got approved by the Engineer-in-Charge before undertaking mass work.

18.	The contractor shall be required to use only mechanical mixer(s) with lifting hopper (s) for mixing cement concrete required for R.C.C. works/Cements concrete work.

19.	The material will be issued to the contractor at the place of delivery as mentioned in the Schedule of materials. If these are delivered any other site the difference due to cartage will be adjusted accordingly. The contractor shall have the cart at his cost the materials to the site of work as soon as these are issued The materials will be issued between the working hours and as per rules of DDA godowns as framed from time of time.

20.	The contractor shall bear all incidental charges for cartage, storage and safe custody of materials.

21.	All materials obtained from DDA stores or otherwise shall be got checked by the Engineer-in-Charge of the works on receipt of the same on  site before use.

22.	No payment will be made to the contractor for damage caused by rains and other natural calamities  during the execution of work and no such claims on this account will be entertained.

23.	The water will be tested with regard to its suitability for use in R.C.C. works and nothing extra shall be paid on this accord.

24.	The contractor will submit to the Engineer-in-Charge PERT chart within ten days of the date of start of the work for completing the same within the stipulated period. The contractor shall follow the PERT chart strictly and no deviation whatsoever shall be allowed there from If the contractor fails to submit the PERT chart, the Engineer-in-Charge shall be get it prepared at the risk and cost of the Contractor.

25.	The scaffolding for doing the brick work for all external walls shall be done from outside. The support shall be sound and strong, tied together will be horizontal pieces. The holes for horizontal scaffolding pole shall be provided only in the header course. The holes in the masonry work for supporting the scaffolding shall be filled and made good before plastering The contractor shall be responsible for providing and maintaining sufficiently strong scarf folding so as to withstand-all loads likely to come upon it. Nothing extra is payable on this account.

Due cares shall be taken by the contractor to ensure the execution of brick masonry walls in plumbs. The outer face of the building should be kept as true face.

26-the contractor shall complete one sample house in all respect within 90 days of the start of the work . one complete block of houses selected by Engineer- In-Charge  shall be completed within 180 days of the start of the work as directed by the Engineer- in –Charge.

27.	The item of external plastering shall be taken after getting the approval of the Engineer-in-Charge. The item of external finishing if got executed from another agency may need a close co-ordination between the items of external plastering and finishing for which the contract or shall have to work in close liaison with the second agency as per direction of Engineer-in-Charge.

The contractor shall be responsible for any activity, authorised or unauthorised going on with in the site area handed over to him by the department for construction going development maintenance or for any other purpose the contractor shall also be responsible for informing the Engineer-in-Charge in writing wherever their supervision is essential. Further this shall not be ground for seeking time extension in completion of the work and/or for claiming any not be ground for seeking time extension in completion of the work and/or for claiming any loss and/or damage by the contractor at all as the cause of prolongation of completion of work.

28. 	Levy of taxes

(i) 	“Tendered rates are inclusive of all taxes and levies payable under the respective statutes. However pursuant to the constitution act, 1982, if any further tax or levy is imposed by after date of receipt of tenders and the contractors thereupon necessarily and properly pays such taxes/levies the contractor shall be reimbursed the amount so paid provided such payment if any, is not.-in the opinion of Superintending Engineer (whose decision shall be final and binding) attribute to delay in execution of work within the control of the contractor.

(ii) 	The contractor shall keep necessary books of account and other document for the purpose of this condition as may be duly authorised representative of Govt. and further shall furnish such other information/documents as the Engineer-in-Charge may require.

(iii) 	The contractor shall within a period of 30 days of imposition of any further tax or levy, the pursuant to the constitution Act 1982 give a written notice thereof to the Engineer-in-Charge that the same is given pursuant to this condition together with all necessary information relating thereto.

29.	Steel section/steel windows shall be obtained from the approved manufactures.

30.	Sand Castiron pipes and A. C. Pipes.

Only ISI marked sand cast iron pipes and fittings A. C. pipes and accessories shall be allowed to be used in the work.

SPECIAL CONDITION

Water Storage Tanks

The H.D.P.E. water storage tanks should be F.D.A. (Fopd Drug Addition) approved tested by C.B.R.I. Roorkee and Public Health Engineering Laboratory. If necessary The Engineer-in-. Charge will be at liberty to get the tanks tested for the various tests laid down from test house approved by the Engineer-in-Charge to ensure their strength and suitability for storing potable water. The testing and other incidental charges shall, however be born by the Contractor the con¬tractor shall also provide the guarantee covered duly endorsed to the D.D.A. with manufactures’s guarantee for all the above materials.

Barricading of excavated trenches on both side of the trench to the heights of 1.60 mtr. with galvanised steel plain sheet of 1.00mm thick (Class-1) fixed on 100mm dia. Sal Balliee 3m apart with nails etc. will be done by contractor as a safety measure and nothing extra will be paid for. He will also provide red strips on sheet with aluminium paint 75mm vide alternatively on outside of sheets vertically and no extra payment will be made on this account.

Any permission if required from police authorities or other departments for closing or cutting of the road will be obtained by the contractor at his own. He will have not claim for any financial loss or extension of the time on this account.

The agreement item provides for white glazed tiles Coloured tiles, however, be used as per the direction <of Engineer-in-Charge if these tiles are available at the rate of white tiles. In such cases no extra payment shall be admissible.

The rate of all item of work shall be unless already specified otherwise include cost of all labour material and other issues involved in the execution of item.

ADDITIONAL CONDITIONS

1.	The contractor shall give a performance test of the Entire installations as per standard specification before the work is finally accepted and nothing extra whatsoever shall be payable to the contractor for the test.

2.	Mild steel and cold twisted deformed bars shall be payable to the contractor for the test where stipulated will be issued in lengths shapes and sizes available in the stores. No claim of extra payment etc. on this account shall be entertained.

3.	Any cement slurry added over base surface for continuation of concreting for better bond is deemed to have been included in the item (unless otherwise specially stated) and nothing extra shall be payable for extra cement consumption on this account.

4.	In case there is any discrepancy in frequency of testing as given in the list of mandatory tests and that in individual sub-heads of work as per C.P.W.D. specification 1996 I to VI with upto date correction slip and Revised CPWD specification 2002 for cement, concrete, RCC and cement mortar with upto date C.S. (Vol-1 to 15), nothing  Extra shall be payable to the contractor on this account.

5.	Weep holes and expansion joints wherever required in S.W. Drains may be provided at suitable intervals as per specification. Nothing extra shall be paid on this account.

GENERAL RULES ADDITIONAL CONDITIONS AND SPECIFICATIONS

The following shall be read in conjunction with and constructed in reference to and in context of the General Rules Specification of Tender Documents and the conditions herein before contained and the requirements to fulfilled without any extra charges and the contractor shall take all these into account while quoting the rates.

5(a) 	The field staff shall keep the record of initial levels and final levels of all low lying area,

b) 	The field staff shall ensure that the quantity of excavation earth disposed off by mechanical transport is dumped in the areas certified by EE. as low laying area shown on the enclosed layout.

(A) GENERAL;

1.	APPLICATION OF SPECIFICATIONS

These specification form part of the contract and shall be read in conjunction with other documents forming the contract, viz the General Condition of Contract, special Condition, Tender Form, Scheduled Quantities and drawings.

2.	WORKS INCLUDED

The rates for all items must cover the cost of all materials, labour, tools machinery, plant, pumps, Explosives, scaffolding, staging, shores, props, bamboos, ropes, templates, pegs and all application and operations whatsoever necessary for efficient and proper execution of the work, in accordance with specifications.

3.	EXECUTION OF WORKS

The contractor is responsible for the correct execution of the work in accordance with the drawings provided to him. He is also responsible for all mistakes due to working to wrong levels or centre lines, When levels, centre lines and bench mark of reference, have been once intimated to him in writing by Engineer-in-Charge, it is his responsibility to record, project and maintain the said makes, and to work to the same, and no complaints shall afterwards be admitted for excess work done as a consequence of such levels not having been kept up and maintained by the contractor.

4.	In case the contractor requires any clarification, conditions, drawings etc. the Engineer-in-Charge shall be contacted.

(a)	The field staff shall kept the record of initial levels and final levels of all low lying area.

(b)	The field staff shall ensure that the quantity of excavation earth disposed off by mechanical transport is dumped in the areas certified by EE, as low laying area shown on the enclosed layout.

(c)	Before execution of work it is very essential to record the levels in the level book of the original ground duly test checked by the J.E. incharge, A.E. incharge and E.E. These levels are also to be accepted and signed by the agency.

(d)	The levels of the ground of the land from where the earth is to be procured to the site of work by the agency are also required to be recorded in the level book to be test checked by the field staff. These levels are also to be accepted and signed by the agency. There after the levels of the proposed ground are also required to be taken duly test checked by the field staff. E. E. and to be signed by the agency. So that quantity of earth supplied/executed may be calculated and payment may be made accordingly.

(e)	E.E must ensure at the start of work that proper care must be taken if there is loose pocket/ ditch coming under sewer line or manhole” that the sewer line /manhole are laid on the firm soil by adopting suitable method as per site requirements.

5.	ACCESS TO SITE

The contractor is to include in his rates the cost for forming access to the site with all temporary roads and gangways require for the works.

6.	ACCESS FOR INSPECTION

The contractor is to provide, at all times during the progress of the works and the maintenance period, proper means of access, with ladders, gangways etc. and other necessary attendant to move and adopt as directed for the inspection or measurement of the words by the Engineer-in-Charge or his authorised representatives.

7.	SPECIALISED WORK

The following specialised works shall be carried out by specialist persons or manufactures with the written approval of the Engineer-in-Charge.

(i)	Stone and Marble work.

(ii)	Steel doors, windows and rolling shutters.

(iii)	Terrazzo tile flooring/mosaic flooring/glazed tiles and ceramic tiles/exposed aggregate finished plaster.

(iv)	Flush doors/fire doors.

(v)	Painting and polishing.

(vi)	Water proofing treatment of roofs, terraces of balconies, sunken portion of toilets in all floors, water tank etc.

8. 	Where the contractor is required to provide materials of certain sizes or weights which may have gone out of market due to change over to metric standards- substitutes conforming to the nearest equivalents on the higher side, as approved by the Engineer-in-Charge, shall be used. No claim of extra payment shall be entertained on this account.

INSTRUMENT AND EQUIPMENT

9.	The contractor shall make the following available readily and in good working condition at site to ensure proper quality of work :

Theodolite, Dumpy level with staff, steel tapes, stop watch, platform type weighing machine of 200 Kgs. capacity, steel balance with weights, Spring balance, slumpcone with tamping rod, 15 cm cube moulds 24 Nos. Plumb Bob, spirit level Vernier/Micrometer Calibrated cylinders, Hammers, thermometers and standard compression testing machine for concrete cubes. “

10.	The layout alignment and the orientation of the different members of the structural works should be carried out after thoroughly checking the drawings and obtaining clarification, if any, from the Engineer-in-Charge. The setting out work should be carried out by the precision surveying instrument and got approved from the Engineer-in-Charge. The contractor shall arrange the necessary equipment and instruments.

1. 	PROVISION OF GROOVES

The Engineer-in-Charge shall require (where he deems so necessary) to provide grooves of approved pattern between various surfaces such as timber/plaster, exposed aggregate plaster/concrete/ exposed concrete/brick work, ceiling/walls, Skirting/plaster, between various-concerning operation of same or different members (particularly) in the exposed concrete work) or as regulated etc. such groves shall be provided without extra charges and the contractor “s rates for various items are deemed to include the cost of all labour, tools and materials required for making such grooves.

12. 	Large sized details shall take precedence over small sized drawings. The contractor shall verify all dimensions at site.

13.	STORAGE OF MATERIALS

The contractor shall store all materials in proper manner so as to avoid contamination and deterioration. The places at site where materials are to be stored shall be subject to the approval of the Engineer-in-Charge. Store the place where the materials are stored by the contractor be required by the Engineer-in-Charge. for any other purpose, the contractor shall make arrangements to clear the space within such time as may be instructed by the Engineer-in-Charge.

14.	PERMANENT BENCH MARKS

Where directed by the Engineer-in-Charge, the contractor shall provide permanent bench marks. Likewise, any other levels or lines or points specifically required by the Engineer-in-Charge shall be built in. The contractor shall carefully protect and preserve such important mark during execution of the work.

15.	TESTING OF MATERIALS

The tests shall be carried out by the contractor in laboratories approved by the Engineer-in-Charge and as often as he may consider them necessary. Engineer-in-Charge may ask the contractor to install testing equipment at site for such tests which he may like to get tested at site himself. The Contractor shall ensure and certify the calibration of the equipment so installed and shall maintain the same in working order throughout the period of construction. The contractor shall also provide necessary trained staff for carrying out such tests and using such equipment. All tests shall be carried out under the supervision of Engineer-in-Charge.

16. 	The levels, measurement and other information concerning the existing site as shown in the drawings or as described are supposed to be correct but the contractor shall verify them for himself, as no extra claim whatsoever shall be entertained on account of any change in such matters or on account of the descriptions turning out to be different from what was expected.

17. 	The rate of different items are for all heights, depths and widths unless otherwise specified in the items of Schedule of Quantities.

18.	BAILING OUT WATER

The rates shall, include cost of bailing out water, rainwater, as well as subsoil water, and keeping the working place dry and nothing extra on this account shall be paid.

19.	ROYALTY

Royalty for earth, boulders, metal, sand etc. shall be borne by the contractor and nothing extra on this account shall be paid to him.

20.	SAFETY MEASURES

The contractor shall provide necessary barriers, warning signals and other safety measures while cutting roads or laying pipe lines etc. or wherever otherwise necessary, so as to avoid accidents. He shall also indemnify the employer against claims for compensation arising out of negligence in this respect. These provisions are in addition to the safety measures already mentioned in the P.W.D.8.

21. 	All soil, filth or other matter of an offensive/obnoxious nature, taken out of any trench, sewer, drains cess pool or other place, shall not be deposited on the surface, but shall at once be carted away by the contractor to some pit or place provided to him and as approved by the Engineer-in-Charge.

22.	WATER FOR CONSTRUCTION PURPOSES

The water to be used for construction shall have to satisfy the requirements as per the Bureau at Indian Standard codes. As soon as the Contractor has decided OF located source of water, he shall be required to send samples of water for testing to laboratory approved by the Engineer-in-Charge. Water shall be allowed for use for construction purposes only if it satisfies the requirements of bureau Indian Standard codes. In case, the water is found unsuitable for construction purposes, the contractor shall have to arrange water from alternative source. The samples for water have to be tested at least once in every three months or earlier the testing charges shall be borne by the contractor.

23.	APPROVAL OF SAMPLES OF MATERIALS

Attention of the contractor is again drawn specifically to condition 3-5 of “Specifications and Conditions” in the printed tender document regarding approval of samples of materials to be used in the work. Before placing a build order for any material or bringing any material to site, the contractor shall have to bring a sample first and get it approved from the Engineer-in-Charge. Any material brought to site in contravention of this condition shall be rejected forthwith and no payments made.

24.	BAR CIHART/CPM CHART

Within 15 days from the date of award of work, the contractor shall have to submit a bar chart/pert chart/ CPM chart to the Engineer-in-Charge indicating that how the contractor proposes to complete the work within the stipulated time as per the contract. This bar chart/PERT/CPM chart should clearly indicate the various construction as well as various finishing and sanitary item in the proper sequence of constructions Once this programme of construction has been submitted by the contractor and approved by the Engineer-in-Charge the contractor shall have to abide it and shall have to employ labour and bring materials with the progress indicated in the chart

25.	INSPECTION OF WORKS

The work during the progress can also be inspected by the Chief Technical Examiner/Technical Examiner from the Central Vigilance Commission or by the officer of the Quality Control/Vigilance cell of the Delhi Development Authority on behalf of the Engineer-in-Charge.

26.	FORM WORK FOR EXPOSED CONCRETE

Wherever directed by Engineer-in-Charge with a view to obtain exposed face concrete by itself, form work shall have to be provide in specific pattern as required and instructed. A sample of the exposed face finish shall be mad e by the contractor and the same shall be got approved before the work is started. Due care shall be taken while removing the form work. The time allowed for such shuttering shall be as per decision of Engineer-in-Charge. On removal of work, the surface shall be rubbed with carborandum stone, so as to give a smooth finish and to match the surrounding surface. No patching up with cement plaster or otherwise shall be allowed. If however, any honey combs, broken edges, or ugly off sets; etc. are found, the contractor shall have to redo the work without any extra charges. The materials used for shuttering for exposed concrete shall be oonly timber with freshly sawn surfaces or as approved by the Engineer-in-Charge

27-T.M.T. bars and MS round bars for steel reinforcement  shall be issued only for reinforced cement concrete wors releted to building portion including site development ,land scapaing water supply and sanitary  installation and drainage work to be delivered to DDA .

28- SCI pipe G.I. pipe and (class LA ) pipes shall be issuied only for water supply sewerage and drainage works to be delivered to DDA .

29.	WATERPROOFING	.

All areas where water proofing is to be done the water proofing shall be got done through firm specialised in water proofing work.

Building works of schedule of quantities pertaining to the building works shall be guaranteed against seepage/leakage for a period of ten years. The contractor shall have to execute a performance bond in the prescribed proforma enclosed on page no 84 of tender documents water proofing compound of approved.

30.	The proportion of the water proofing compound of approval mark to be used in cement shall be 2% by weight i.e. 1 Kg of chemical approval quality and manufacture shall be mixed with 100 Kg of cement or in the proportion recommended by the manufactures.

31.	COORDINATION WITH OTHER AGENCIES

The work of internal/external electrical installation lifts fire fighting installations etc. shall to be carried out by the Department through other agencies with whom proper work co-ordination as per direction of the Engineer-in-Charge shall be carried out.

32.	STEELWORK

In item of steel door frames (pressed steel or T-iron frames) the rate include cost of base tie or threshold and nothing extra is to be paid for the same.

33.	RATES FOR SIMILARITIES IN DIFFERENT SECTION

For the convince of execution and payment the schedule of quantities is divided into different section viz A Building B Site Development and Landscaping Works and C Sanitary Installation Water Supply and Drainage Works.

Some item of work are repeated in the different section The lowest rate quoted by the contractor for such item of work in any section/subhead of schedule of quantities shall be considered as the quoted rate for the item in all the different section subhead for payment.

(B) 	SANITARY INSTALLATION WATER SUPPLY AND DRAINAGE WORKS

1.	The contractor shall be responsible for getting the necessary test certifies from the concerned departments of Municipal Corporation and also to get the connection for the drainage and water supply from the concerned department of Municipal Corporation.

2.	The work shall be done by licensed plumber of Municipal Corporation and they must produce the copy and licensed as and when required before execution of work.

3.	HOLES AND CHASES FOR CONCEALED PIPING

The cost of cutting holes, making chases and making good the same for concealed piping providing bricks pipers for laying-the internal sewer pipe to gradient etc. shall be included in the various item of work and nothing extra shall be paid on this account.

4.	DAMAGE TO EXISTING WORK

Any damage done by the Contractor to any existence work during the course of execution of his work shall be made good by him at his own cost.

5.	PRIOR APPROVAL OF SAMPLES

The samples of sanitary fitting pipes and fitting etc. shall be deposits with the Engineer-in-Charge (which will be returned to the contractor at time of the completion of work and got approved by him before using the work. Any material rejected by the Engineer-in-Charge shall be removed from the site of work.

6.	The work shall be executed as per the programme drawn or approved by the Engineer-in-Charge and it shall be so arranged as to have full co-ordination with the building work. No claim for idle labour shall be entertained nor shall any claim on account of the delay in completion for the building work

7.	TESTING OF LINES

All pipes lines laid by the contractor shall be tested as required under the specification to the entire satisfaction of the Engineer-in-Charge The work shall not be treated as completed unless the lines are so tested.

8.	All ferrule connections for water supply as well as meter connections shall be arranged by the contractor and payment of fees thereof if any shall also be made by him The D.D.A. shall, however reimburse to the contractor such payments of fees paid to Government/Municipal Corporation on presentation of bills.

9.	WATCH and ward of fittings

The contractor shall be responsible for the watch and ward of all fitting until the work is fully completed and handed over to the Engineer-in-charge. No claim on this account will be entertained.

10.	The levels measured and other information concerning the existing site as shown on the drawings or as described are supposed to be correct but the contractor shall verify them for himself and no extra claim, whatsoever shall be entertained on account of any discrepancy or omission in such matters or on account of the description turning out to be different from what was expected.

11.	COORDINATION WITH OTHER WORKS

The work shall be done In conformity with the plans and within the requirement of the general Architecture Air-Conditioning Electrical and Structural Plans This work shall be properly coordinated with the work of the other Trade Hangers and sleeves structured opening shall be furnished in time for their installation as other work proceeds.

12. a.	The plumbing drawings are diagrammatic but shall be followed as closely as actual construction and work permits.

b.	The Architecture drawing shall be correlated with the plumbing drawings to all dimension as shall be followed.

13.a.	The recommended positions of the fittings, fixture control valves is tanks etc. as shown on the drawings will be adhered to as far as possible

b. 	Should there be any discrepancy due to incomplete description/ambiguity or omission in the drawings and other documents, whether original or supplementary, forming the contract, either found on completion or during currency of the installation work, the contractor shall immediately, on discovering the same, draw the attention of the Engineer-in-Charge’s decision shall be final and binding on the contractor.

14.	COMPLETION DRAWINGS

The contractor shall submit one complete set of originals and further two copies of additional drawings to the Engineer-in-Charge after completion of the work The drawing must be give in the following information:	.

(a)	Run of all piping and diameter on all floor and the vertical snacks.

(b)	Location and sizes of all control values, access panel and other equipments

(c)	I.L. of all manholes including I.L. at out falls No completions certificate will be issued until the drawing are submitted.

15.	TESTING OF WORK MATERIALS

The contractor shall preferably arrange the equipment and testing instruments in a testing room.

(a)	All testing shall be done as and when directed before the work is accepted.

(b)	Upon notification that the work has been completed, the contractor shall make arrangements under the directions and in the presence of the Engineer-in-Charge or their representative for inspection and tests as shall be considered necessary to determine whether or not the full intents of the requirements of the specifications have been meet with. Any further tests if considered necessary shall be carried out by the contractor at his own expense.

(c)	Contractor shall provide all testing equipments labour and operating services required for these tests.

(d)	The above tests shall be carried out by the contractor without extra charge.

(e)	The contractor shall also provide all equipment instrument Labour and such other allied assistance required by the Engineer-in-Charge for measurement of the works, materials etc.

16.	Any materials supplied by the employer if damaged in any way during cartage or execution of any works or otherwise shall be made good by the contractor at his own cost.

17.	RECESSED FITTINGS

Wherever recessed fitting are required to be provided the contractor shall be responsible for keeping necessary recessed in the building work before hands failing which he will have to make the cheeses and recesses and make good the same with the general finish at his own cost for which nothing extra shall be paid by the employer.

18.	The contractor shall obtain for himself on his own responsibility and at his own expenses, all the information which may be necessary for the purpose of making the tender of entering into a contract and must examine and study the specification drawings the design of the sanitary installations and also inspect the site, the surroundings of the work and plans of the buildings.

19.	MAINTENANCE OF INSTALLATIONS

During the progress of work completed portion of the building may be occupied and put to use by the D.D.A. but the contractor shall remain fully responsible for maintenance of installations till the entire work covered by the contract is satisfactorily completed .the contractor shall also covered the D.D.A. with the manufacture guarantee for all the above materials.

20.	It is obligatory on the part of the contractor to remove/shift the labour immediately after the work has been completed and the final payment shall be released only thereafter. No claim in finalisation of Contractor’s bill shall be entertained on account of above.

21.(a)	Separate godowns shall be provided for OPC & PPC storage.

(b)	No PPC should be used in RCC frame structures specially the exposed portion like chajjas balconies open terraces top roofs extended beams open stairs cases and slab beams in toilets.

(c)	Separate account should be maintained in cement register for receipt/issue of OPC quantities of cement.

(d)	In the register of cement concrete cubes testing record type of cement used must be specified.

(e)	The contractor shall be responsible for any activity, authorised or unauthorised going on within the site area handed over to him by the department for construction development maintenance or for any other purpose. The contractor shall also be responsible for informing the Engineer-in-Charge in writing wherever their supervision is essential Further this shall not be ground for seeking time extension in completion of the work and/ or for claiming any loss and/or damage by the contractor if at all this slawse prologation of completion of work.

It is obligatory on the part of the contractor to remove/shift the labour immediately after the work has been completed and the final payment shall be released only there after no claim in finalisation of contractors bill shall be entertained of account.

1.	ADJUSTMENT OF TAX CONSEQUENT UPON AMENDMENT TO CONSTITUTION

Tendered rates are inclusive of all taxes and levies payable under the respective statutes However pursuant to the constitution (Forty sixth amendment) Act 1982 if any further tax or levy is imposed by statuet after the date of receipt of tender item and the contractor shall be reimbursed the amount so paid provided such payment if  any is attributable to delay in execution of work within the control of the contractor

(i) 	The contractor shall keep necessary books of account and other documents for the purpose of this condition as may be necessary and shall allowed inspection of the same by a duly authorised representative of Govt. and further shall furnish such other information/documents as the Engineer-in-Charge may require.

(ii) 	The contractive shall within a period of 30 days of imposition of any further tax or levy pursuant to the constitution Forty six amendment Act 1982 given a written notice together will all necessary information relating thereto.

EXTRA ADDITIONAL CONDITIONS.

1.	Course sand (badarpur) will be used after washing In case the silt contents is beyond permissible limit.

2.	Short pipe nipple used in work should be of same grade and specification as prescribed for G.I. pipe.

3.	Full welding of steel section of grills along the contact area and with frames but hings to be welded with frames.

4.	In case of any ambiguity in the unit and nomenclature of any item in the agreement, unit/nomenclature in the DSR applicable will be final.

SIGNATURE OF CONTRACTOR

PROFORMA FOR PERFORMANCE BOND

The agreement made this………..……..day of………………..……..one thousand Nine hundred and…………………between Son of…………..….one part) and the Chairman Delhi Development Authority Hereinafter called the Delhi Development Authority of the other part.) WHEREAS This agreement is supplementary to a contract hereinafter called the Contractor dated	 and made between the GUARANTOR OF THIS ONE part and the Delhi Development Authority of the other part whereby the contractor interalia undertook to a contract (hereinafter called the Contractor) dated……………………….. and made between the Guarantor of this one part and the Delhi Development Authority of the other part whereby the contractor interalia, undertook to render the buildings and structured in the said contract received completely water and leak-proof.

AND WHEREAS THE Guarantor agreed to give a guaranteed to the effect that the said structure will , remain water proofing treatment

NOW THE GUARANTOR hereby guarantees that water proofing treatment given-by him will render the structure completely leak-proofing and the minimum life of such water proofing treatment shall be ten years to be reckoned from the date after the maintenance period prescribed in the contract. Provided that the guarantor will not be responsible for leakage caused by earthquake or structural defects or misuse of roof or alteration and for such purpose.

(a)	Misuse of rule shall means any operation which will damage water proofing treatment like chopping of fire wood and things of the same nature which might caused damage to roof.

(b)	Alteration shall mean construction of an additional story or a part of the root or construction adjoining to existing roof where by water proofing treatment is removal in part.

(c)	The decision of the Engineer-in-Charge calling upon him to rectify the defects failing which the work shall be got done by the department by some other contractor at the GUARANTOR cost and risk. The decision of the Engineer-in-Charge as to the cost payable by the guarantor shall be final and binding. That if Guarantor fails to execute the water proofing or commits-breach there under then the Guarantor will immediately the Principle and his successors against all loss damage cost expense or otherwise which may be incurred by him by reason of any default on the part of the GUARANTOR in performance and observance of this supplementary agreement As to the amount of loss and/or damage and/or cost incurred by the Delhi Development Authority the decision of the Engineer-in-Charge will be final and binding on the parties.

In witness whereof these presents have been executed by the Obligor…………………… and by…………………………….. and for and on behalf of the Delhi Development Authority on the day month and year first above written.

Signed Sealed and Delivered by OBLIGOR in the presence of

1. …………………………………….

2. …………………………………….

SIGNED FOR AND ON BEHALF OF THE DELHI DEVELOPMENT AUTHORITY BY

…………………………………….…………………………………….in the presence of

1. …………………………………….

2. …………………………………….

ANNEXURE-I

FORM OF PERFORMANCE SECURITY

BANK GUARANTEE BOND

1.	In consideration of the Lt. Governor of Delhi (hereinafter called “The DDA”) having agreed under the terms and conditions of agreement no………………..…….dated.................made between…………………………. and ……………………… (hereinafter called “the said contractor (s)”)For the work(hereinafter called “the said agreement”) having agreed to production of a irrevocable Bank Guarantee for ………….(Rupees ………………………………. only) as a security / guarantee from the contractor (s) for compliance of his obligations in accordance with the terms & conditions in the said agreement, we ……………………………………… (hereinafter referred to as “the Bank”) { indicate the name of the Bank) here undertake to pay to the DDA an amount not exceeding Rs …………. (Rupees …………………….. only) on demand by the DDA. .

2.	We ……………………………. do hereby undertake to pay the amounts due and payable under this Guarantee (indicate the name of the Bank). without any demure, merely on a demand from the DDA stating that the amount claimed is required to met the recovery due or likely to be due from the said contractor(s). Any such demand made on the Bank shall be conclusive as regards the amount due and payable by the bank under this Guarantee. However, our liability under this guarantee shall be restricted to an amount not exceeding Rs………………… (Rupees …………………………………. only).

3.	We, the said bank further undertake to pay to the DDA any money so demanded not withstanding any dispute or disputes raised by the contractor(s) in any suit or proceeding pending before any court or Tribunal relating thereto, out liability under this present being absolute and unequivalent.

The payment so made by us under this bond shall be a valid discharge of our liability for payment thereunder and the contractor(s) shall have no claim against us for making such payment.

4.	We further agree that the guarantee herein contained shall remain in full force (indicate the name of the Bank) and effect during the period that would be taken for the performance of the said agreement and that it shall continue to be enforceable till all the dues of the DDA under or by virtue of the said agreement have been fully paid and its claim satisfied or discharged or fill Engineer-in-Charge on behalf of the DDA certified that the terms and conditions of the said agreement have been fully and properly carried out by the said contractor(s) and accordingly discharge this guarantee.

5.	We…………………………………. further agree with the DDA that the DDA shall have (indicate the name of the Bank) the fullest liberty without our consent and without effecting in any manner our obligations hereunder to vary any of the terms and conditions of the said agreement or to extend time of performance by the said contractor (s) from time to time or to postpone for any time or from time to time any of the powers exercisable by the DDA against the said contractor(s) and to for bear or enforce any of the terms and conditions relating to the said agreement and we shall not be relieved from our liability by reason of any such variation, or extension being granted to the said contractor (s) or for any forbearance, act of omission on the part of the DDA or any indulgence by the DDA to the said contractor(s) or by any such matter or thing whatsoever which under the law relating to sureties would, but for this provisions, have effect of so relieving us.

6.	This guarantee will not be discharged due to the change in the constitution of the Bank or the contractor(s).

7.	We…………………………………. lastly undertake not to revoke this guarantee except with the (indicate the name of the Bank) previous consent of the DDA in writing.

8.	This guarantee shall be valid upto…………………………………. Unless extended on demand by DDA Notwithstanding anything mentioned above, our liability against this guarantee is restricted to Rs. ……………………… (Rupees…………………………………. only) and unless a claim in writing is lodged with us within six months of the date of expiry or the extended date of expiry of this guarantee all our liabilities under this guarantee shall stand discharged.

Dated the…………………………………. day of……………………………for

…………………………………. (indicate the name of the bank).

Annexure - II

TABLE OF MILE STONE (S)

| Sr. No. | Description of Milestone (Physical) | Time allowed in days (from date of start) | Amount to be withheld in case of Non achievement of milestone |
| --- | --- | --- | --- |
| 1. |  |  |  |
| 2. |  |  |  |
| 3. |  |  |  |
| 4. |  |  |  |

OR

| Sr. No. | Financial Progress | Time allowed in days (from date of start) | Amount to be withheld in case of Non achievement of milestone |
| --- | --- | --- | --- |
| 1. | l/8th (of the whole work) | l/4th (of the whole work) | In the event of not achieving the necessary progress as assessed from the running payment, 1% of the tendered value of work will be withheld for failure of each milestone. |
| 2. | 3/8th (of the whole work) | l/2th (of the whole work) |  |
| 3. | 3/4th (of the whole work) | 3/4th (of the whole work) |  |
| 4. | Full | Full |  |

ANNEXURE – ‘A’

CRITERIA FOR DEPOSIT OF EARNEST MONEY

| DDA | Page | Para | Existing | Amended/New Introduced Clause |
| --- | --- | --- | --- | --- |
|  |  |  | As per circular No. 516dated 16-01-1998 (i) The earnest money is 2 Vi of the estimated cost for the works costing upto Rs. 40 lacs, costing more than Rs. 25 Crores. earnest (ii) and Rs. 1 lac (one Iac)+ 1/2% of the amount by which cost exceeds Rs. 40 lacs. subject to maximum of rs. 2.00 lacs | The earnest money should be (a).2% of the estimated cost put to tender for all works costing upto Rs. 25 Crores and for work money should be Rs. 50 Lacs plus 1% of the excess over Rs. 25 Crores. Earnest money may be deposited with each tender separately. Earnest money shall be deposited in any of the following manner: Cash/Currency receipt challan/Deposit at call receipt/Demand Draft of Schedule Bank Guaranteed by the Reserve Bank of India in favour of A.O. CAU/……….DDA. |

SCHEDULE OF QUANTITY

Name of work	:	M/o Completed Scheme of N/A-II under SZ

Sub-Head:	Bio-remediation of Smiriti van Pond at Vasant Kunj.

| S. No. | Description of items | Qty./No. | Per Unit | Rate(Rs.) | Amount(Rs.) |
| --- | --- | --- | --- | --- | --- |
| 1. | Elimination of abnoxious odours, algae, reduction in BOD, COD, TSS, pH, nitrates, Phosphates, turbidity levels in Smiritivan Pond by Biological Treatment or Bio-remediation process by using PERSNICKETY-713, biozyme and Pond clear in liquid or powder form as per the direction of the manufacturer at different points in the pond by using shock and maintenance dose time to time. This includes the cost of the material, taxes, labour and equipment needed for the treatment. The product should be non-pathogenic and should not have any adverse affect on the aquatic life and agriculture. | 180 days | Per day |  |  |

EE/SWD-2