Schedule of Quantity

NOW:- M/O RSKP, Pitampura.

SH:- Repair/Renovation of Capacitors Panel at RSKP, Pitampura

| S.No. | Description of item | Qty. | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Supply replacement of microprocessor based APFC relay with digital display of power factor STANDARD/EPCOS make including dismantling of defective relay. | 01 Job | Each |  |  |
| 2. | Control wiring of APFC relay with 1.5mm sq. multistrand copper wire and lugs etc. as required at site. | 01 Job | Each |  |  |
| 3. | Supply & replacement of Heavy duty EPCOS/STANDARD make capacitors rated at 415V, 50Hz, 3 phase complete with discharge device and terminal cover in various rating as required at site. | 100 KVAr. | Per KVAr. |  |  |
| 4. | Power wiring of capacitor with multistrand copper wire of suitable capacity as per rating of capacitors with lugs etc. as required at site. | 1 Job | Each |  |  |
| 5. | Supply & fixing of Induction lamps RED, Yellow, Blue colour as required. | 6 Jobs | Each |  |  |
| Total |  |  |  |  |  |