Schedule of Quantity

NOW:- M/O RSKP, Pitampura.

SH:- Providing and replacement of CT’s & IDMT relay in HT panel  at RSKP, Pitampura

| S.No. | Description of item | Qty. | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Providing and replacement of CT’s of ratio 25/5 + 5A of class 0.5/5P10 burden:15VA set of 3nos in HT panel connection, testing etc. as reqd. | 1 job | Job |  |  |
| 2. | Supplying & replacement of electric IDMT relay comprising 2nos. o/c and 1 no. E/f element in the existing enclosure i/c connection, testing & commissioning etc. as reqd. | 1 set | Set |  |  |
| Total |  |  |  |  |  |