DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO. 4, ROHINI, DELHI – 110085

## NOTICE INVITING TENDER NO. 26 & 28/ EE/ED-4/DDA/2007-08

(In Lieu of Form PWD 6)

Sealed Item rate tenders are invited for the following works by the Executive Engineer(E), Electrical Division No. IV, DDA, Rohini, Delhi - 85 upto 3.00 p.m. on behalf of DDA approved contractors of appropriate class of DDA, CPWD, MES, Civil Wing of P&T and Railways which shall be opened on the same day at 3.30 p.m. at Ground Floor, Vikas Minar, D.D.A. office, I.P. Estate, New Delhi in the presence of intending purchasers or their authorized representatives.

The documents can be had on any working day from CAU Rohini / Sales Counter, Ground Floor, Vikas Minar, New Delhi between 10.00 a.m. to 3.00 p.m. on payment of amount mentioned against each work (non refundable) on production of valid ITCC and registration certificate. Contractor must produce valid certificate of registration with works contract cell of sales tax deptt. of GNTCD and the Tax clearance certificate in Form XI (under rule 8(2) of Delhi Sales Tax of works contracts rule (1999) issued by the said cell. Sale of tender forms will be stopped Four days (including date of opening) before the date fixed for the opening of tenders.

The manner of submission of tender, opening of same and entry of contractor’s / their authorized representatives to the place of opening shall be provided in clause three 3(a)(b) and (c) of PWD-6 forming part of the tender documents.

The earnest money should accompany the application form of call of deposit receipt or demand draft of schedule bank Guaranteed by the Reserve Bank of India in favour of Sr. A.O. / CAU (Rohini)/DDA.

| # S.No. | NIT No. | Name of work | Estt. Cost / Earnest money / Cost of tender | Time Allowed | Date of Sale Date of opening of tender |
| --- | --- | --- | --- | --- | --- |
| 1. | 26 | M/o Schemes under Nazul A/c-II, Rohini. SH : Annual Repair & Maintenance of sub. pump set, monoblock pumpset & Panel Board / Feeder Pillar in Park / green of various sectors Rohini Ph. I & III | ##### Rs. 4,89,476.00 ##### Rs. 9,790.00 ##### Rs. 500.00 | 12 Months (Twelve Months) | 20.08.2007 24.08.2007 |
| 2. | 28 | M/o Schemes under Nazul A/c-II, Rohini. SH : Annual Repair & Maintenance of submersible pump set & monoblock pumpset & Panel Board / Feeder Pillar in Parks / Greens of various Sectors Rohini Ph. II | ##### Rs. 3,66,719.00 ##### Rs. 7,334.00 ##### Rs. 500.00 | 12 Months (Twelve Months) | 20.08.2007 24.08.2007 |

EXECUTIVE ENGINEER (E)

Electrical Division No. IV, DDA,

In Lieu of PWD-8

OFFICE OF THE EXECUTIVE ENGINEER (E)

ELECTRICAL DIVISION NO. 4/DDA

ROHINI OFFICE COMPLEX, OLD BARRACKS

NEAR SARASWATI VIHAR, ROOM NO. 110

DELHI – 110085

Issued to M/s : __________________________________

Date of Sale of Tender : ___________________________

Name of Work : M/o Schemes under Nazul A/c-II, Rohini.

SH : Annual Repair & Maintenance of sub. pump set, monoblock pumpset & Panel Board / Feeder Pillar in Park / green of various sectors Rohini Ph. II

Estimated Cost Rs. 3,66,719/- 			Earnest  Money Rs. 7,334/-

Cost of Tender Rs. 500/- 				Time Allowed 12 Months

Last date for receipt of tender   24.08.2007   upto 3.00 p.m.

I /We have seen and studied the NIT in the office of the Executive Engineer (E), Electrical Division 4 on form PWD-8 with correct slips and conditions attached with it. I / We are counting our item rates on the basis of these terms and conditions and if my / our offer is accepted the regular agreement with all terms and conditions  as contained in the N.I.T. will be a part of the agreement to be executed for the due performance of the work.

Tendered amount Rs. ____________________

Date the _____________________ day of ___________________ 2007.

# Signature of Contractor

Signature of witness to contractor’s

Signature

Address :

Occupation

Note : Earnest money should be deposited in the form of call deposit receipt or Demand draft drawn on a Scheduled Bank guaranteed by the Reserve Bank of India, in favour of AO/CAU(R)/DDA. Earnest Money in cash will not be accepted.

A –

C –

D –

OW – O

EXECUTIVE ENGINEER (El.)

Electrical Division No. IV, DDA,

## Rohini, Delhi – 110085

## DELHI DEVELOPMENT AUTHORITY

## ELECTRICAL DIVISION NO.4,

## ROHINI, NEW DELHI – 110085

# Name of Work	 :-	 M/o schemes under Nazul A/c-II Rohini.

SH. 	 : -   Annual repair & maintenance of submersible pump set & mono block pump set & Panel Board / Feeder Pillar in 		       parks / greens of various sections, Rohini Ph. II

| S.No. | Description of items | Qty. | Rate | Unit | ### Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Lifting of the submersible pump set from the existing borewell along with the G.I. pipe, bend, submersible cable i/c dismantling the G.I. pipe & pump set etc. complete as reqd. | 15 Job |  | Job |  |
| 2. | Lowering of submersible pump set in the exsiting borewell along with G.I. pipe, submersible cable, wire rope upto required depth i/c making water proof cable joint connection, testing etc. as reqd. | 15 Job |  | Job |  |
| 3. | Repairing of submersible pump set (6” dia) 3 phase 415 volt i/c supplying & replacement of the following defective parts of motor & pump i/c reassembling painting, testing etc. complete as reqd. |  |  |  |  |
|  | MOTOR SIDE |  |  |  |  |
|  | - Rewinding of submersible motor – 7.5 HP | 1 No. |  | Each |  |
|  | - Rewinding of submersible motor – 6 / 5 HP | 5 No. |  | Each |  |
|  | - Rewinding of submersible motor – 4 / 3 HP | 4 No. |  | Each |  |
|  | - Rotor Sleeve | 20 No. |  | Each |  |
|  | - Gun Metal Bearing Bush | 40 No. |  | Each |  |
|  | - Water Seal | 20 No. |  | Each |  |
|  | - Thrust Bearing | 6 No. |  | Each |  |
|  | - Thrust Plate | 6 No. |  | Each |  |
|  | - Sand guard | 6 No. |  | Each |  |
|  | - ‘O’ ring set | 10 No. |  | Each |  |
|  | - Coupling sleeve with key | 10 No. |  | Each |  |
|  | - Repairing of stamping | 4 No. |  | Each |  |
|  | - Balancing of rotor | 4 No. |  | Each |  |
|  | - Rotor sleeve turning & grinding | 8 No. |  | Each |  |
|  | - Rotor end repairing & key way making | 6 No. |  | Each |  |
|  | PUMP SIDE |  |  |  |  |
|  | - Gun metal Impellor | 20 No. |  | Each |  |
|  | - Remetalling of gun metal impeller | 20 No. |  | Each |  |
|  | - Guide Bush | 40 No. |  | Each |  |
|  | - Distance sleeve | 30 No. |  | Each |  |
|  | - Sand guard | 6 No. |  | Each |  |
|  | - Neck ring | 40 No. |  | Each |  |
|  | - Pump shaft for one stage | 5 No. |  | Each |  |
|  | - Pump shaft for additional stage | 20 No. |  | Each |  |
|  | - NRV body | 2 No. |  | Each |  |
|  | - NRV repairing | 4 No. |  | Each |  |
|  | - Stage bowl C.I. | 4 No. |  | Each |  |
|  | - Suction chamber | 4 No. |  | Each |  |
|  | - Upper Bush | 5 No. |  | Each |  |
|  | - Upper sleeve | 5 No. |  | Each |  |
| 4. | Repairing of submersible pump set 4” dia 3 phase 415 volts i/c supply and replacement of the following defective material motor and pump i/c reassembling painting testing etc. as reqd. |  |  |  |  |
|  | MOTOR SIDE |  |  |  |  |
|  | - Rewinding of submersible motor – 3 HP | 4 No. |  | Each |  |
|  | - Gun Metal Bearing Bush | 10 No. |  | Each |  |
|  | - Water Seal | 10 No. |  | Each |  |
|  | - Rotor sleeve | 12 No. |  | Each |  |
|  | - Thrust Bearing | 4 No. |  | Each |  |
|  | - Thrust Plate | 4 No. |  | Each |  |
|  | - Sand guard | 4 No. |  | Each |  |
|  | - Coupling sleeve with key | 5 No. |  | Each |  |
|  | - Rotor sleeve turning & grinding | 4 No. |  | Each |  |
|  | - Repairing of stamping | 2 No. |  | Each |  |
|  | - Balancing of rotor | 1 No. |  | Each |  |
|  | - Rotor end welding & key way making | 2 No. |  | Each |  |
|  | PUMP SIDE |  |  |  |  |
|  | - E.P. Impeller | 20 No. |  | Each |  |
|  | - E.P. stage bowl | 8 No. |  | Each |  |
|  | - Upper bush | 5 No. |  | Each |  |
|  | - NRV Body | 3 No. |  | Each |  |
|  | - Inlet Ring | 20 No. |  | Each |  |
|  | - Suction Chamber | 2 No. |  | Each |  |
|  | - Pump shaft for one stage | 3 No. |  | Each |  |
|  | - Additional stage pump shaft | 10 No. |  | Each |  |
| 5. | Supply & Replacement of DOL starter suitable for 7.5 HP pump set on the exsiting panel board / feeder pillar i/c connection, testing etc. complete as reqd. | 12 No. |  | Each |  |
| 6. | Supply & replacement of water proof submersible cable of size 1 x 3 x 2.5 sq.mm. i/c making connection, testing etc. as reqd. | 200 mtr. |  | Mtr. |  |
| 7. | Supplying and fixing of the following size of G.I. pipe B class threaded type with necessary pipe fitting bend etc. as reqd. |  |  |  |  |
|  | - 65mm dia | 12 mtr. |  | Mtr. |  |
|  | - 50mm dia | 12 mtr. |  | Mtr. |  |
| 8. | Supply and replacement of following parts in the exsiting panel board i/c connection, testing etc. complete as reqd. |  |  |  |  |
|  | - Over load relay (9 to 14 amp.) | 12 No. |  | Each |  |
|  | - Operating coil | 12 No. |  | Each |  |
|  | - Contact kit (DOL starter) | 12 No. |  | Each |  |
|  | - Voltmeter – 0 – 500V sq. type 96mm x 96mm | 12 No. |  | Each |  |
|  | - Ammeter 0 –15 / 30 Amp. Sq. type 96mm x 96mm | 12 No. |  | Each |  |
|  | - Single phasing preventor current sensing type | 8 No. |  | Each |  |
|  | - 32 Amp. TP & N MCB (C series) | 12 No. |  | Each |  |
|  | - 32 Amp. TP MCB ( C-series) | 12 No. |  | Each |  |
|  | - 16 Amp DP MCB (B series) | 6 No. |  | Each |  |
| 9. | Dismantling of submersible pump set upto 10 HP capacity for checking & assessment of parts to the replaced / repaired i/c cartage etc. as reqd. |  |  |  |  |
|  | - Motor side | 12 No. |  | Each |  |
|  | - Pump Side | 12 No. |  | Each |  |
| 10. | Rewinding of induction motor of the following capacity operated on 3 phase 400/440V 50 C/S A.C. supply i/c dismantling, reassembling & refixing the same etc. as reqd. |  |  |  |  |
|  | - 10 HP | 2 No. |  | Each |  |
|  | - 7.5 HP | 7 No. |  | Each |  |
|  | - 5 HP | 1 No. |  | Each |  |
| 11. | Repairing of monoblock pump set of 10 HP capacity i/c replacement of the following parts testing etc. as reqd. |  |  |  |  |
|  | - Gun metal bush | 2 No. |  | Each |  |
|  | - Ball bearing 6206 | 2 No. |  | Each |  |
|  | - Ball bearing 6308 | 2 No. |  | Each |  |
|  | - Impeller Key | 2 No. |  | Each |  |
|  | - C.I. Impeller | 1 No. |  | Each |  |
|  | - Gland dori, packing sheet, nut, bolt & grease | 2 Job |  | Job |  |
|  | - Gland plate and stud | 1 No. |  | Each |  |
| 12. | Repairing of monoblock pump set of 7.5 HP capacity i/c replacement of following parts testing etc. as reqd. |  |  |  |  |
|  | - Gun metal bush | 7 Nos. |  | Each |  |
|  | - Ball bearing 6305 | 7 Nos. |  | Each |  |
|  | - Ball bearing 6308 | 7 Nos. |  | Each |  |
|  | - Impeller Key | 7 Nos. |  | Each |  |
|  | - C.I. Impeller | 2 Nos. |  | Each |  |
|  | - Gland dori, packing sheet nuts, bolts & grease | 7 Nos. |  | Each |  |
|  | - Gland plate & stud | 3 Nos. |  | Each |  |
| 13. | Repairing of monoblock pump set of 5 HP capacity i/c replacement of following parts testing etc. as reqd. |  |  |  |  |
|  | - Gun metal bush | 1 No. |  | Each |  |
|  | - Ball bearing 6204 | 1 No. |  | Each |  |
|  | - Ball bearing 6307 | 1 No. |  | Each |  |
|  | - Impeller Key | 1 No. |  | Each |  |
|  | - C.I. Impeller | 1 No. |  | Each |  |
|  | - Gland dori, packing sheet nuts, bolts & grease | 1 No. |  | Each |  |
|  | - Gland plate & stud | 1 No. |  | Each |  |
| 14. | Supply & replacement of C.I. foot valve 65mm dia screw type testing etc. complete as reqd. | 1 No. |  | Each |  |
| 15 | Supply & replacement of C.I. non return valve 65mm dia flange type complete with rubber pack nuts & bolts washer testing etc. as reqd. | 1 No. |  | Each |  |
| 16 | Supplying & replacement of 65mm dia C.I. sluice valve flange type complete with rubber packing nuts bolts & washer testing etc. as reqd. | 1 No. |  | Each |  |
| 17 | Dismanlting of monoblock pump set upto 10 HP from the site and refixing the same after being repaired i/c cartage testing | 10 Job |  | Job |  |
|  |  |  |  | ##### Total |  |

| S.No. | ###### Location of parks / pumps | Submersible P/Set |  |  |  |  |  |  |  |  |  | Monoblock P/Set |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 0.75 HP | 1 HP | 1.5 HP | 2HP | 3HP | 4HP | 5HP | 6HP | 7.5 HP | 10 HP | 5HP | 7.5 HP | 10 HP | 15 HP |
| 1 | Swaran Jayanti park Sector-10 | - | 1 | 1 | - | 7 | - | 2 | - | 7 | 10 | - | 6 | - | - |
| 2 | Sector-11, Nursery | - | - | - | - | - | - | - | - | - | - | - | 3 | - | - |
| 3 | Sector-11, Green Belt Block A | 1 | - | - | - | 1 | - | - | - | - | - | - | - |  |  |
| 4 | Sector-11, 480 SFS Flat Green belt | - | - | - | - | 1 | - | - | - | - | - | - | 1 | - | - |
| 5 | Sector-13 Patel Apptt. | - | - | - | - | 1 | - | - | - | - | - | - | - | - | - |
| 6 | Sector-13 Jhang Apptt. | 1 | - | - | - | 2 | - | - | - | - | - | - | - | - | - |
| 7 | Sector-13 Dhruv Apptt. | - | - | - | - | - | - | - | - | - | - | - | 1 | - | - |
| 8 | Sector-14 Park No. 38 park | - | - | - | - | - | - | - | 2 | - | - | - | - | - | - |
| 9 | Sector-14 Mandir wala park | - | - | - | - | - | 1 | - | - | 1 | - | - | 1 | - | - |
| 10 | Sector-14 Maheshwari Apptt. Park | - | - | - | - | - | - | - | - | - | - | - | 1 | - | - |
| 11 | Sector-14 Distt. Park | - | - | - | - | - | - | - | - | - | - | 1 | 1 | 3 | 1 |
| 12 | Sector-15 Nursery & NHP Block G | - | - | - | - | 2 | - | - | - | - | - | - | - | - | - |
| 13 | Sector-16 Play Field | - | - | - | - | - | 1 | - | - | - | - | - | - | - | - |
| 14 | Sector-14 CC-7 | - | - | - | - | 1 | - | - | - | - | - | - | - | - | - |
| 15 | Sector-17 Block A Park | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| 16 | Sector-18 Block H | - | - | - | 1 | - | - | - | - | - | - | - | - | - | - |
| 17 | Sector-19 Babawala Bagh | - | - | - | - | - | - | - | - | - | - | - | - | 1 | - |
| 18 | Sector-19 Jaildev Wala park | - | - | - | - | - | - | - | - | - | - | - | 2 | - | - |
| 19 | Sector-19 Mangat Wali Bagichi | - | - | - | - | - | 1 | - | - | - | - | - | - | - | - |
| 20 | Sector-19 Ganpat Wala Bagh | - | - | - | - | - | - | 1 | - | - | - | - | - | - | - |
| 21 | Sector-26 1840 Janta Flat | - | - | 2 | - | - | - | - | - | - | - | - | - | - | - |
|  |  | 2 | 1 | 3 | 1 | 15 | 3 | 4 | 2 | 8 | 10 | 1 | 16 | 4 | 1 |

# ADDITIONAL CONDITION

- The work shall be carried out as per CPWD specifications and terms & conditions of the agreement.

- No T& P shall be issued by the department to the contractor. Contractor shall make its own arrangement for hire & transportation of T&P etc. for which nothing extra shall be paid.

- The work shall be carried out as per the entire satisfaction of Engineer in charge.

- The rates are inclusive of all taxes, duties, cartage etc.

- The contractor shall return back dismantled material to the department.

- The responsibility of watch & ward of pump set shall remain with the agency till the installation completed at site.

- All repair works shall be attended immediately, if the same is not attended the contractor shall have to be imposed penalty of Rs. 500/- per day max. ceiling upto Rs.2000/- i.e. only for case the repair of the pump set is not undertaken even upto four days otherwise the same shall be got carried out on the risk and cost of the contractor.

- Any damage to the building of installation during execution shall have to be made good by the contractor within the quoted cost.

- After dismantling of the pump set, contractor shall intimate to department for assessment of repair needed and make list of spare part / accessories to be replaced / repaired. The same shall be got approved from Engineer in charge before use.

- Contractor shall submit the guarantee certificate for smooth operation of pump set after carrying out repairs for six months. During the guarantee period any defect / break down occurs, the same shall be rectified by the agency free of cost including lowering and lifting of pump sets.

- Any consumable material like soap, old dhoti, duster, M.seal, rubber insert / gasket, nuts, bolts, washer shall be provided within contract amount.

- The time period of contract may be extend /reduced at the discretion of Engineer-in-charge without giving prior notice / intimation.

- The contract if for period of 12 months from the date of start, however the contract may be terminated at any time within the contract period without assigning any reason/ notice. No compensation whatsoever shall be payable by the department.

- The bore well shall be tightly closed with the suitable size of M.S. cover just after lifting the pump set from the bore well.

- Spare part of pump set which shall be required to replaced at site shall be of similar construction. The following make of material shall be used :

a) Submersible Cable 	:	Finolex / Plaza / Safex

b) G.I. Pipe (ISI marked)	:	TATA, Jindal (Hissar) / Surya

c) Ball Bearing 	:	Tata / SKF / NBC

d) DOL Starter 	:	L&T / Siemens / Cutler Hammer

e) Overload relay 	:	L&T / Siemens / Cutler Hammer

f) Contactor kit 	:	L&T / Siemens / Cutler Hammer

g) Voltmeter / Ammeter 	;	Havells / AE / UEL / IMP

h) Single Phasing preventor 	:	L&T / Minilac

(Current sensing type)

i) MCB 	:	L&T/MDS/Indokopp/Standard/Action