SCHEDULE OF QUANTITIES

Name of work: 	Construction of Commonwealth Games Village.

SH: 	Demarcation of layout at site to facilitate handing over of site of utilities to DJB, BSES, Project Developer & 				Police etc.

| S.NO. | Description of item | Qty. | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Demarcation of various proposed structures of Commonwealth Games Village site such as residential block, roads, swimming pool, indoor hall, transport mall, WTP, STP etc. all complete as per approved master/concept plan and as directed by Engineer-in-charge with total station surveying instrument. | 146.42 Acre | Acre |  |  |
| 2. | Providing and fixing 15x15x60 cm. boundary stone of hard stone with top 30 cm. Chiesel dressed on all four sides and on top (cost of excavation, refilling and concrete etc. to be paid separately). | 1500 Nos. | Each |  |  |
| 3. | Earth work in excavation in foundation trenches or drains (not exceeding 1.5m in width or 10 sqm. on plan) including dressing of sides and ramming of bottoms, lift upto 1.5m i/c getting out the excavated soil and disposal of surplus excavated soil as directed with-in a lead of 50m. a) All kinds of soil. | 18.00 Cum. | Cum. |  |  |
| 4. | Filling available excavated earth (excluding rock) in trenches plinth sides of foundations etc. in layers not exceeding 20 cm. in depth consolidating each deposited layer by ramming and watering, lead upto 50m. and lift upto 1.5m. | 7.87 Cum | Cum. |  |  |
| 5. | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade. i) Two or more coats on new work. | 303.75 Sqm. | Sqm. |  |  |

Sd/-

Executive Engineer

CWG-Divn. No.I/ DDA