SCHEDULE OF QUANTITIES

Name of work :	 Construction of Commonwealth Games Village .

Sub Head  :        	Providing and fixing indication boards for different facilities.

| S.No . | Description of Item | Qty . | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Earth work in excavation in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm. on plan ) including dressing of sides and ramming of bottoms lift upto 1.5m including getting out the excavated soil and disposal of surplus excavated soil as directed within a lead of 50m . (a) All kinds of soil . | 2.70m3 | Cum . |  |  |
| 2. | Providing and laying in position cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20mm nominal size ) excluding the cost of centering and shuttering. All work upto plinth level . | 2.70m2 | Cum |  |  |
| 3. | Structural steel work in single section i/c MS tube fixed without connecting plate including cutting, hoisting, fixing in position and applying a priming cost of approved steel primer all complete. | 1042.02kg | Kg. |  |  |
| 4. | Welding by electric plant including transportation of electric welding plant at site etc. complete. | 20464.80cms | Cm length |  |  |
| 5. | Providing and fixing MS sheet 2mm thick of required size, welded to MS frame of sign board i/c cutting, fixing in position and applying a priming cost of approved primer all complete as per direction of Engineer-in-Charge ( welding change to be said separately ) | 508.68kg | Kg. |  |  |
| 6. | Painting with synthetic enamel paint of approved brand and manufacturer to give an even shade. i) Two or more coats on new work | 50.55m2 | Sqm. |  |  |
| 7. | Providing and position ( pasting by …. Sensitive method ) sheeting/ letters / monograms with high intensity retro reflective Engineering grade tap on sign board i/c computer designing, cutting of letters / monogram by computerized machine etc. complete as per direction of Engineer-in-Charge | 16.20m2 | Sqm. |  |  |

Material :  Cement 0.60MT @4600/- ( Rs. Four thousand six hundred only)

per MT will be issued from any DDA store at Delhi / New Delhi

Executive Engineer

CWG-Divn. No.I/ DDA

SCHEDULE OF QUANTITIES

Name of work :	 Construction of Commonwealth Games Village .

Sub Head  :        	Redevelopment of two nos. tube wells.

| S.No . | Description of Item | Qty . | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Redevelopment of tube well to obtain sand free stabilized discharge with air compressor of capacity 210 cft./ minute as per IS: 2500-1991 complete as per direction of Engineer-in-Charge. | 200.00hours | Hour |  |  |
| 2. | Providing and filling surrounding the bore with pea-gravel of size 2mm to 4.75mm uniform size as per IS: 460-1962 | 11.31cum | Cum |  |  |

Executive Engineer

- CWGD-1/ DDA