DELHI DEVELOPMENT AUTHORITY                                    ESTIMATED COST RS: 65721

ELECTRICAL DIVISION NO. 8                                            EARNEST MONEY 1314/-

SCHEDULE OF WORK                                                 DATE OF SALE 03.09.2002

DATE OF OPENING 07.09.2002

COST OF TENDER 150/-

TIME ALLOWED 1 MONTH

Name of Work	:-	M/o Various office building under NZ – (SH : Rewiring of 3 Nos. office barracks and repairing of compound lights at office complex near T.V. Tower. Pitampura)

| S. No. | Description of Item | Qty. | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Rewiring for light point/fan point/exhaust fan point/call bell point with 1.5 sq.mm. PVC insulated copper conductor cable in existing surface/recessed steel conduit i/c dismentalling etc. as reqd. (Gr.A). | 82 Pts. | Each |  |  |
| 2. | Supply & fixing of 5/6 Amps tumbler/piano type switch on the existing switch box cover i/c connections etc. as reqd. | 98 Nos. | Each |  |  |
| 3. | Supply & fixing of 3 pin 6 Amps socket outlet on the existing switch box cover i/c connection etc. as reqd. | 16 Nos. | Each |  |  |
| 4. | Supply & fixing of 3 pin 15/16 Amps tumbler/piano type switch on the existing switch box cover i/c connection etc. as reqd. | 15 nos. | Each |  |  |
| 5. | Supply & fixing of 3 pin 15/16 Amps socket outlet on the existing switch box/cover i/c connections, testing etc. as reqd. | 15 Nos. | Each |  |  |
| 6. | Supply & fixing of phenolic laminated sheet cover 3 mm thick in the existing metal box i/c cutting etc. as reqd. | 6000 sq.m | 1000 Sq.cm |  |  |
| 7. | Supplying & drawing of following size of PVC insulated copper conductor single core cable in the existing surface /recessed PVC/steel conduit i/c connection, testing etc. as reqd. |  |  |  |  |
| a. | 2x1.5 sq.mm. | 123 Mtr | Mtr |  |  |
| b. | 2x4 sq. mm. | 185 Mtr | Mtr |  |  |
| c. | 4 x 4 sq. mm. | 40 Mtr | Mtr |  |  |
| 8. | Supplying & fixing of 5 Amps to 32 Amps rating ‘B’ series MCB of the following poles in the existing MCB DB eomplete With connections , testing & commissioning etc. as reqd. |  |  |  |  |
| a. | Single pole & neutral MCB (32 Amps) –‘B’ series. | 3 Nos. | Each |  |  |
| b. | Single pole MCB 10/16 Amps ‘B’ series. | 26 Nos. | Each |  |  |
| 9. | Supplying & drawing of 2.24 mm dia copper conductor wire for loop ear thing in the existing surface/recess steel conduit/PVC capping along with other wires etc. as reqd. | 800 Mtr | Mtr |  |  |
| 10. | Supplying & errection of 2x 16 sq . mm PVC insulated PVC sheathed aluminum conductor single core wire of 1.1KV grade along with 6 SWG GI wire i/c hard wood strips 15 mm thick of suitable length & proper binding , testing etc. complete as reqd. | 360 Mtr | Mtr |  |  |
| 11. | Supplying & replacement of following way single pole and neutral sheet steel MCB s distribution board 240 V on surface/recess complete with tinned copper bus bar, neutral link, earth bar, din bar, detachable gland plate, interconnections, i/c painting, ear thing etc. complete as reqd. |  |  |  |  |
| a. | 8 way | 1 No. | Each |  |  |
| b. | 12 way | 2 Nos. | Each |  |  |
| 12. | Supplying & fixing of connection box of size (150x100x75) mm. deep made of 1.6 mm thick M.S. sheet having hinged gasketed cover with locking arrangement 4 way connector, 16 amps, kit kat on the existing pole i.e. just below the existing fitting i/c painting, testing etc. complete as reqd. | 11 Nos. | Each |  |  |
| 13. | Supplying & fixing of the following item accessories in the existing 70 watt HPSV fitting i/c connections, testing etc. complete as reqd. |  |  |  |  |
| a. | 70 watt lamp. | 11 Nos. | Each |  |  |
| b. | Ballast suitable for 70 watt HPSV fittings. | 9 Nos. | Each |  |  |
| c. | Ignitor suitable for 70watt HPSV fittings. | 8 Nos. | Each |  |  |
| d. | Capacitor suitable for HPSV fittings. | 8 Nos. | Each |  |  |
| 14. | Rebate against dismentalled material of existing wiring such as :- |  |  |  |  |
| a. | 2x4/2 x 1.5 sq mm PVC insulated Al. cond . and 2.24 mm. dia bare al. cond . wire. |  |  |  |  |
| b. | 5/16 amps switch & sockets. | For 3Nos. Barracks |  |  |  |
| c. | Old SDB’s |  | Each |  |  |

Executive Engineer(E)

Elect. Divn. No. 8/DDA