DELHI DEVELOPMENT AUTHORITY

RASHTRIYA SWABHIMAAN KHEL PARISAR

PITMAPURA SPORTS COMPLEX

## NOTICE INVITING QUOTATION NO.17 / 2007-08

Sealed quotations are invited by the Secretary, RSKP, on behalf of the Delhi Development Authority (Sports Wing) from the Manufacturers / Suppliers for the supply of the following items.   The quotations should reach in the office of the undersigned on or before 3.00 P.M. on 27.08.2007.  The sealed quotations shall be opened on the same day at 3.30 P.M. in the presence of intending Quotationers or their Authorized Representatives. The required items are :-

Name of Work : M/o RSKP, Pitampura.

SH : Supply of T-5 Street fittings & accessories

| S.N | Description of Item | Qty. | Unit |
| --- | --- | --- | --- |
| 1. | Supply of T-5, 54-watt lamp suitable for single phase AC supply as required. | 50 nos. | Each |
| 2. | Supply of T-5, 54 watt electronic ballast suitable for single phase AC supply. | 20 nos. | Each |
| 3. | Supply of 2’-2x24 watt street light fitting complete with lamp etc as required. | 20 nos. | Each |

##### TERMS & CONDITIONS:-

1.         The materials should be supplied at site in good conditions as per specifications.

2.	No extra charges shall be paid for transportation.

3.        The entire material ordered shall have to be supplied in one lot at RSKP and no part supply shall be accepted.

4.         Sales Tax shall be paid extra as applicable if not already included in the rates.

5.	THAT the decision of the Secretary of the Complex respecting the Quality of the supplies received shall be final and binding on the supplier and shall not be called in question before any Forum.

6.      If the entire ordered goods are not supplied within the stipulated time of 20 days from the date of receipt of the order, the order shall automatically lapse and it shall be sole discretion of the Secretary/RSKP to accept the supply on such terms as the Secretary deems fit and proper. The decision of the Secretary in this behalf shall be final and shall not be called in question before any Forum.

7.         Necessary statutory deductions will be made as applicable.

8.         Prices quoted shall be firm and inclusive of all Taxes.

9.       The payment will be made after entire satisfaction of JE(Elect) / Secretary / RSKP, DDA.

10.       No advance payment will be made to the agency

11.       No minor labour shall be engaged at site.

12.       Conditional quotation will not be accepted.

Contd…P/2

-2-

13.    The tenderer / quotationer should be registered with the Department of Trade & Taxes, Govt. of NCT Delhi and supposed to furnish a copy of VAT registration at the time of making the request for issue of tender or to attach the same along with the quotation as the case may be.   The quotationer / tenderer should also submit an undertaking or proof of filing the return / proof of last payment made to the Deptt of Trade and Taxes.   The quotationer / tenderer will be solely responsible for making any outstanding payment payable to the Deptt of Trade & Taxes and DDA shall not be responsible.

14.      Debarred agency/ or individual shall not be permitted to participate in the tendering process.

15.	Any individual who has been debarred is not permitted to take part in any negotiations or represent an agency even if he holds a power of attorney on the agencies behalf. Any agency engaging debarred persons is also liable to debarring.

16.	The experience of agencies shall be taken into account rather than individuals incorporated with the agencies which does not include proprietorship.

17.    Director (Sports) reserves the right to accept or reject any bid / quotation without assigning any reason.

18.	In case of rates of different quotationers / contractors are at par then DDA may select any agency based on the criteria like its reputation, turnover etc.

19.	Lamps and fittings shall be any of make from Asians, Philips, Crompton.

20.	The street light fitting shall be suitable for mounting on pole having 50 mm dia opening.

(S.C. Gupta)

Secretary/ RSKP.

No. F 7(39)/2007/RSKP/DDA/519				Dated : 17/08/2007

Copy to:

1.	Director (System)-through E-mail.

2.	Director (Sports), DDA.

2.	Sr. AO (Sports)/DDA.

3.	All Secretaries of the DDA Sports Complexes i/c Secretary(Coordn.).

4.	The Secretary, DDA Contractor’s Association, Vikas Kutir, New Delhi.

5.	The Secretary, DDA Contractor’s Welfare Association, F-18, Vikas Kutir, New Delhi.

6.	AAO/RSKP, DDA.

7.	J.E. (Elect) / RSKP, DDA.

8.	Notice Board

SECRETARY/RSKP/DDA