ADDITIONAL CONDITION

- The work shall be carried out to the entire satisfaction of Engineer-in-charge.

- No T & P shall be issued to the contractor.

- Ball bearing shall be of SKF/NBC make only.

- Contractor shall submit the guarantee for six month for rewinding and the smooth operation of pump set.

- The rates quoted shall be inclusive of all taxes and duties etc.

- Nothing extra shall be paid on account of cartage.

- Parts to be replaced shall be of  the original make.

Estimated Cost : Rs. 26,911/-

Earnest Money : Rs. 538/-

Last Date of sale 29.08.2008

Date of Opening :- 02.09.2008

SCHEDULE OF WORK

Name of work:	M/o Pump set at various colonies under North Zone (Nazul A/c-II) SH: ARMO clear water booster pump set, sub-pump set, D.G. Set & Sewage pump set at 560 SFS houses cat-II  in block C & D at Shalimar Bagh (Repairing / rewinding of sewage sub. pump set.

| S. No. | Description of items | Qty | Rate (Rs.) | Unit | Amount (Rs.) |
| --- | --- | --- | --- | --- | --- |
| 1 | Repairing & rewinding of WV 20 L/40 “Darling” make waste/sewage water sub. pump set i/c making connection/testing etc complete as required will replacement of following accessories – - Rewinding Kit of Motor – 1 kit - Mechanical seal – 1 set - Impeller key – 1 No. - Oil - ‘O’ Ring set – 1 set - Top bearing – 1 No. - Bottom bearing – 1 No. | 1 Job |  |  |  |

| 2 | Pump House No. 2 Repairing & rewinding of WV-20L/40 “Darling” make waste/sewage water sub. pump set i/c making connection / testing etc complete as required with replacement of following accessories – a. Rewinding Kit of Motor – 1 kit b. Mechanical seal – 1 set c. Impeller key – 1 No. d. Oil – L/S (as required) e. ‘O’ Ring set – 1 set f. Cable grommet – 1 No. g. Top bearing – 1 No. h. Bottom bearing – 1 No. | 1 Job |  |  |  |
| --- | --- | --- | --- | --- | --- |