DELHI DEVELOPMENT AUTHORITY

MAJOR DHYAN CHAND SPORTS COMPLEX

ASHOK VIHAR, DELHI - 110 052.

INVITING QUOTATIONS NOTICE NO.   31       /2008-09

Sealed quotation are hereby invited by the Secretary/MDCSC, Ashok Vihar, Delhi – 52 on behalf of Delhi Development Authority (Sports Wing) for the following works from the eligible contractor / agencies.  The quotation should reach in the office of the undersigned on or before 30/9/2008 upto 3.00 PM and the same shall be opened on the same date at 3.30 PM in the office of the Secretary/MDCSC of the complex in the presence of the quotationer or their authorized representatives.  The schedule of the quantity specifications/terms & conditions/ approved makes and any information needed can be obtained from Major Dhyan Chand Sports Complex Office on any working day.

M/o MDCSC, Ashok Vihar.

SH: Supply & Laying of L.T. Cable for path lighting near Reception Office.

| S. No. | Description of Item | Qty. | Unit |
| --- | --- | --- | --- |
| 1 | Supply of 2x10 sq. mm PVC insulated, PVC sheathed of conductor armouled cable of 1.1 KV glade i/c testing etc. as required. | 400 Mtrs. | Mtrs. |
| 2 | Laying of one number PVC insulated PVC sheathed/XLPE power cable of 1.1 KV glade of size not exceeding 25 sq. mm direct in ground including excavation, sand cushioning, protective emceeing & refilling the trench etc. as required. | 350 Mtrs. | Mtrs. |
| 3 | Laying & one number PVC insulated PVC sheathed/ELPE power cable of 1.1 KV glade of size not exceeding 25 sq mm in existing RCC metal pipe as required. | 50 Mtrs. | Mtrs. |
| 4 | Providing & fixing 6 SWG G.I wire on surface or in recess for loop earthing alongwith with existing surface/recover conduit wiring/cable as required. | 400 Mtrs. | Mtrs. |

Terms & Conditions:-

- The supply shall be completed within 15days from the date of issue of the order.

- Payment shall be made only after the supply is received in its entirety and is to the satisfaction of the JE (Elect.)/Secretary of the complex.

- That the decision of the Secretary of the complex in respect of quality of the supplies received shall be final and binding on the supplier and shall not be called in question before any forum.

Contd..P/2..

::2::

- If the Items is not supplied within the stipulated time of 15days from the date of issue of the order, the order shall automatically lapse and it shall be sole discretion of the Secretary of MDCSC to accept the supply on such terms as the Secretary deems fit and proper. The decision of the Secretary in this behalf shall be final and shall not be called in question before any forum.

- Necessary statutory deductions will be made as applicable.

- The quotationer should be registered with the Department of Trade & Taxes, Govt. of NCT and supposed to furnish a copy of VAT registration and clearance certificate along with the quotation.

- Debarred agency or individual shall not be permitted to participate in the tendering process.  Any individual who has been debarred is not permitted to take part in any negotiations or represent an agency even if he holds a power of attorney on the agencies behalf. Any agency engaging debarred persons is also liable to be debarred.

- The experience of agencies shall be taken into account rather than individuals incorporated with the agencies which does not include proprietorship.

- The entire material ordered shall be supplied in one lot at MDCSC & no part supply is accepted.

- The PVC insulated of conductor armouled cable shall be from any of make from Skytone, ECKO, National C.C with ISI mark.

- Nothing extra on A/c of cartage shall be paid to the agency.

- No T & P shall be issued to the contractor by the deptt.

- The work shall be carried out as per CPWD specification amended upto date & to the entire satisfaction of Secretary, JE (Elect.)/MDCSC.

- The contractor shall stand guarantee for a period of 6 months for the work exerted.

Wg. Cdr. (Retd.) R. Mohla

Secretary /MDCSC/DDA.

## No. F1 (28)/Elect./MDCSC/2007-08/	274	                                    	Dated: 20/09/2008

Copy to:-

- Director (Sports) DDA.

- Director (System), DDA though E-mail ddatender@dda.org.in.

- Sr. A.O. (Sports) DDA.

- The Secretaries, All Sports complexes with the request to display this N.I.Q. at the Notice Board of their respective complexes.

- J.E..(Elect.)/, MDCSC, DDA.

- AAO, MDCSC, DDA.

- The Secy, DDA Contractors Welfare Association Vikas Kuteer, New Delhi.

- The Secy, DDA Contractors Association E-18 Vikas Kuteer, New Delhi.

- Notice Board, MDCSC, DDA.

Secretary/ MDCSC/DDA.