# Delhi Development Authority

SAKET SPORTS COMPLEX

SAKET, NEW DELHI – 110017

No. F5(255)/SSC/DDA/08-09/Elect/4758     	                                       Dated : 05/09/2008

#### Notice inviting quotation no. _30

The Delhi Development Authority invites sealed quotations from Professional Agencies having an experience of executed at least two similar types of works, mentioned herein below. The quotations should reach the office of the Secretary of Saket Sports Complex, by 3.00 P.M. on 11/09/.2008. The sealed quotations shall be opened on the same day at 3.30 P. M. in the office of the Secretary of the Complex. The quotationers or their authorized representatives may be present at the time of the opening of the sealed quotations.

Name of work : M/o  Saket Sports Complex  DDA

SH.  :  Electrification & Internal wiring in Fitness Centre at Saket.

| ##### SL | DESCRIPTION | QTY. | UNIT | RATE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 1. | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sqm FR PVC insulated copper conductor single core cable in surface/ recessed PVC conduit with modular switch, modular plate, suitable G.I. box and casting the point with 1.5 sqmm FR imulated copper conductor single core cable etc. as required. | 52 Pt. | Per Pt. |  |  |
| 2. | Wiring for light / power plug with 2x4 sqmm FR PVC insulated copper conductor single core cable in surface / recessed PVC conduit alongwith 1 No. 4 sqmm FR PVC imulated copper conductor single core cable for loop earthling as required. | 235 mtrs. | Per Mtr. |  |  |
| 3. | Wiring for circuit / submain wiring alongwith earth wire with the following sizes of PVC imulated Copper conductor single core cable in surface / recessed PVC conductor etc as required. 2x2.5 sqmm + 1x2.5 Sqmm eath wire | 195 mtrs. | Per Mtr. |  |  |
| 4. | Supplying & fixing suitable size G. I. Box with modulor plate and cover in front on surface or in recess including providing &n fixing 6 pin, 15/16 Amp & 5/6 Amp modular Socket and let and 15/16 Amp modulor switches, connection, testing etc. as required. | 35 Pcs | Per Pc. |  |  |
| 5. | Supply & fixing of following sizes of PVC conduct alongwith accessories in surface/ recess including testing, the wall and making get the same in case of required conduct as required 25 mm. | 100 mtrs. | Per Mtr. |  |  |

PTO

Contd. from pre-page

### TERMS CONDITIONS: -

1.	Nothing extra shall be paid on a/c of octroi, cartage etc.

2.	The validity of the quotation is 60 days from the date of opening of the sealed quotations.

- No T & P shall be issued through departmentally.

- The work should be carried out as per speciation.

- No extra charges shall be paid for transportation and fixing the items.

- The work shall be completed within 7 days from the date of issue of the work order.

- THAT the decision of the Secretary of the Complex respecting the quality of the supplies received shall be final and binding on the supplier and shall not be called in question before any Forum.

- Necessary statutory deductions will be made as applicable.

- The tenderer/ quotationers should be registered with the Department of trade & Taxes, Govt. of NCTD and suppose to furnish a copy of VAT registration at the time of making the request for issue of tender or to attach the same along with the quotation as the case may be. In case, the quotationers/tenderer is not registered with the Vat Department, he may give an undertaking stating therein the period for which return has been filed, date of filing and the demand outstanding, if any, and liable to pay the same.

10.        Debarred agency/ or individual shall not be permitted to participate in the tendering    process.

11.     Any individual who has been debarred is not permitted to take part in any negotiations or represent an agency even if he holds a power of attorney on the agencies behalf. Any agency engaging debarred persons is also liable to debarring.

- The experience of agencies should be taken into account rather than individuals incorporated with the agencies, which does not include proprietorship

13.     No waste/malba of any sort will be left at the work site/any where within the Perimeter fencing of the complex.

## 14.    The contractor will be fully responsible during execution of work. If any damage do at site surrounding, the   same shall be made good with in quoted rates.

15.	The fittings should be Philips/ Decon Make Only.

## Lt. Col.(Retd.) V. Mathur

## Secretary, SSC

Copy to: -

- Director (Sports), DDA – for information please.

- Director System for DDA Web site. Further it is supplemented through E-mail also.

- Sr. A. O. (Sports), DDA

- The Secretaries, All Sports Complexes.

- J. E. (Elect.), SSC

- AAO (SSC)

- The Secretary, DDA Contractor Welfare Association, Vikas Minar, I.P. Estate, ND

- The Secretary, Builder Association, E-18, Vikas Kuteer, ND

- Notice Board, SSC

###### Secretary, SSC