DELHI DEVELOPMENT AUTHORITY

CHILLA SPORTS COMPLEX

NIQ No.        43/CSC/DDA/2008-09

No. F23 (16) CSC/DDA/2008/317							Date. 08.09.2008

Sealed quotations are invited from the experienced agencies up to 3:00 PM on dt. 15.09.2008 on behalf of DDA. Quotation will be opened on the same day in the presence of agencies/representatives of the agencies at 3:30 PM in the room of Secretary/Chilla Sports Complex, Dallupura, Delhi. The schedule can be obtained from Assistant Cashier, Chilla Sports Complex Main office on any working day.

Name of Work    :   	Maintenance of Chilla Sports Complex

SH		    :	Laying the water line near Multigym at CSC.

General Terms & Conditions:-

- The agency should have valid D-VAT clearance certificate/copy of the latest Challan deposited the D-VAT.  (Copy enclosed with the quotation)

- The rate should be inclusive of all overhead charges.

- The work should be completed within 10 days after issue of Work Order.

- No Tools and Plants will be issued to the agency.

- Nothing extra will be paid.

- The payment shall be released after the work has been executed as per specification given in work order and satisfaction of engineer in charge and Secretary/CSC about the quality in regards.

- Conditional quotation will not be accepted.

- Statutory deduction will made as per Act.

- The tenderer / quotationer should be registered with the Department of Trade & Taxes, Govt. of NCTD and suppose to furnish a copy of VAT registration at the time of making the request for issue of tender or to attach the same along with the quotation as the case may be. In case the quotationer / tenderer registered with the VAT department, he may give an undertaking stating therein the registration no., date of registration, period for which return has been filed, date of filing and the demand outstanding, if any, and liable to pay the same. In case, the quotationer / tenderer is not registered with the VAT Department, then he will require to submit an undertaking in the specified Performa.

-Sd-

(J. Kaushik)

Lt. Col. (Retd.)

Secretary/CSC

Copy to:

- Director (Sports), DDA

- Director (System), DDA (through email to dirsystem@dda.org.in)

- Sr. A.O. (Sports), DDA

- All Secretary of the DDA Sports Complexes i/c Secretary (Coordn.)

- The Secretary, DDA Contractor’s welfare Association, Barrack No. 1, Vikas Kutir, New Delhi.

- The Secretary, DDA Contractor Association, E-18 Vikas Kutir New Delhi..

- AAO/CSC/DDA.

- J.E. (Civil)/CSC/DDA

- Asstt. Cashier/CSC/DDA

- Notice Board

- Guard File.

- www.dda.org.in (through email to ddatender@dda.org.in)

-Sd-

Secretary/CSC

NIQ No.        43/CSC/DDA/2008-09

Schedule of Quantities

Name of Work: -		M/o Chilla Sports Complex.

SH:				Laying the water line near Multigym at CSC.

| S. No. | Items | Qty. | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1.. | Excavating trenches of required width for pipes, cables etc. including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth including consolidating each deposited layer by ramming, watering etc. and disposing of surplus excavated soil as directed, within a lead of 50 m: All kinds of soil. - Pipes, cables etc. not exceeding 80 mm dia. - Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia. | 15.00 75.00 | Metre Metre |  |  |
| 2. | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete. - 50 to 80 mm nominal size. | 1.00 | Each |  |  |
| 3. | Fixing G.I. pipes of 80 mm dia complete with G.I. fittings (excluding the cost of pipe & fittings). | 20.00 | Metre |  |  |
| 4. | Laying in position centrifugally cast (spun) iron S&S or flanged pipes (excluding cost of pipe). - 100 mm dia pipe | 75.00 | Metre |  |  |
| 5. | Laying in position S&S or flanged C.I. special such as tees, bends, collars, tapers and caps etc. (excluding cost of specials) | 1.50 | Quintal |  |  |
| 6. | Providing and fixing D – Joints (100 mm) of approved quality with rubber, nut, bolts etc. complete. | 7 Nos. | Each |  |  |
| 7. | Providing & fixing gun metal non-return valve horizontal (screwed end) 80 mm dia | 1.00 | Each |  |  |
| 8. | Constructing masonry Chamber 120 x 120 x 100 cm, inside with 75 class designation brick work in cement mortar 1:4 (1 cement : 4 coarse sand) for sluice valve, with C.I. surface box 100 mm top diameter, 160 mm bottom diameter and 180 mm deep (inside) with chained lid and RCC top slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) necessary excavation foundation concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12 mm thick finished with a floating coat of neat cement complete as per standard design: With F.P.S. bricks. | 1.00 | Each |  |  |
| 9. | Constructing masonry Chamber 60 x 45 x 50 cm, inside with 75 class designation brick work in cement mortar 1:4 (1 cement : 4 coarse sand) for water meter complete with C.I. double flap surface box 400 X 200 X 200 mm (inside) with locking arrangement and RCC top slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) necessary excavation foundation concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12 mm thick finished with a floating coat of neat cement complete as per standard design: With F.P.S. bricks. | 1.00 | Each |  |  |
| 10. | Surface dressing of the ground including removing vegetation and in-equalities not exceeding 15 cm deep and disposed of rubbish, lead upto 50 mm and lift upto 1.5 m. All kind of soil | 325.00 | 100 Sqm. |  |  |
|  |  |  |  | Total |  |