DELHI DEVELOPMENT AUTHORITY

NOTICE INVITING TENDER

N.I.T. NO. 20 / EE/SED-4/DDA/08-09

Sealed item rate tenders are invited for the following work from the approved and eligible contractors of DDA, CPWD, MES, Civil Wing of P&T and Railways upto 3.00PM which shall be opened on the same day at 3.30PM at Vikas Minar, DDA office, New Delhi on indicated dates by E.E., S.E.D.4, DDA, in the presence of the contractors / their authorized representatives.

Tender documents can be obtained on any working day from CAU/EZ/Tender Sale counter,Vikas Minar,between 11.00 A.M to 3.00 P.M on payment of cost of tender (non-refundable) Earnest Money  should be deposited in prescribed  manner along with tenders.

| NIT No. | Name & Address of Divn. | Name of work | Estt. Cost Earnest money. Cost of tender/time allowed. | Last date of Sale Date. of opening |
| --- | --- | --- | --- | --- |
| 20/EE/SED-4 / DDA/08-09 | EE, SED4, D.D.A., Sarita Vihar, New Delhi – 76 | D/o land at Jasola SH: C/o boundary wall around green belt /tot-lot in pocket-2 ,at jasola. | Rs.1,94,574/- Rs.3,891/- Rs.500/- 2 (Two) months | 12.9.08 16.9.08 |

Sd/-

EE-SED-IV/DDA

No. F-5 (6)A/SED-IV/DDA/08-09/1055   		 dated 26.8.08

SCHEDULE OF QUANTITY

Name of work     :. D/o land at Jasola

SH: C/o boundary wall around green belt /tot-lot in pocket-2 ,at jasola.

SH:

| Sl.No. | Description of items. | Qty. | Unit |
| --- | --- | --- | --- |
| 1. | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means in foundation trenches or drains(not exceeding 1.5m in width or 10sqm.on plan) including dressing of sites and ramming of bottom lift upto 1.5m including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50m. a) All kinds of soil. | 32.00 | Cum |
| 2. | Filling available excavated earth(excluding rock) in trenches plinth ,sides of foundation etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead upto 50m and lift upto 1.5m | 10.00M3 | Cum |
| 3. | Providing and laying in position cement concrete of specified grade excluding the cost of centring and shuttering -All work upto plinth level. A)1:5:10(1 cement ;5 coarse sand:10 graded stone aggregate 40mm nominal size) | 6.40 M3 | Cum |
| 4. | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments , pillars posts, struts, buttresses, staring or lacing courses, parapets, copings, bed anchor blocks, plain windows sills, fillets etc., upto floor five level excluding the cost of centering shuttering and finishing . a)1:2:4(1 cement:2 coarse sand:4 graded stone aggregate 20mm nominal size) | 1.12 M3 | Cum |

| Sl.No. | Description of items. | Qty. | Unit |
| --- | --- | --- | --- |
| 5. | Centring and shuttering including strutting, propping etc. and removal of for work for: a) Retaining walls, return walls, walls(Any thickness) including attached pilasters, , buttresses, plinth and string courses fillets etc. | 8.60 M2 | Sqm. |
| 6. | Brick work with cement fly ash FPS bricks of class designation 75 with bricks in foundation and plinth a) Cement mortar 1: 6 (1 : cement : 6 coarse sand). | 25.60 M3 | Cum. |
| 7. | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 2232.00 kg. | Kg. |
| 8. | 15 mm cement plaster on the rough side of single or half brick wall of mix: a)1:6 (1 cement:6 find sand. | 53.25 M 2 | Sqm. |
| 9. | Pointing on brick work of brick flooring with cement mortar 1:3(1 cement:3 fine sand); a)Flush/Ruled/struck of weathered pointing | 53.25 M 2 | Sqm. |
| 10. | Finishing wall with water proofing cement pain of required shade. a) New work (two or more coats applied @ 3.84kg/10m2) | 106.50 M2 | Sqm. |
| 11. | Painting with synthetic enamel paint of approved brand manufacture to give an even shade. a) Two or more coats on new work. | 48.00 M2 | Sqm. |

-Sd-                          -Sd-                                                 -Sd-

J.E.(T)               AE(P)/SED-4/DDA                      E.E./SED-4/DDA