DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO.11

PRESS BUILDING: VIKAS SADAN: INA : NEW DELHI

NIT No. 32, 33, 34 & 35 /EE/Elect.Div.No.11/DDA/08-09

NOTICE INVITING TENDER

Sealed Item Rate Tenders are invited for the following works from the approved and eligible contractors of DDA, CPWD, MES, P&T & Railway up to 3.00 P.M. which shall be opened on the same day at 3.30 P.M. at Vikas Minar, ITO New Delhi on the details indicated below:

The tender documents can be obtained on any working day from CAU (SEZ)/Sale Counter Vikas Minar between 11.00 A.M. to 3.00 P.M. on payment of cost of tender (non refundable) as well as amount of earnest money mentioned against each work in the prescribed manner on production of valid Enlistment Certificate. Sale of Tender Forms will be stopped 4 days (including the date of opening) before the date fixed for the opening of tender documents.

The earnest money shall be submitted along with application in the form of CDR/ Demand Draft of scheduled bank guaranteed by Reserve Bank of India in favor of Accounts Officer/CAU (SEZ), DDA.

| Sl.No. | Name of work | ## Estt. Cost Earnest money | ## Cost of Tender Time allowed | ## Last dt. of sale Dt. of opening |
| --- | --- | --- | --- | --- |

- M/O Completed Scheme finishing and furnishing Vikas Sadan. SH: M/O D.G. sets – Repair of OCB and HT end Termination.

NIT No.32/EE/El.D-11/	                          Rs.1,87.968/-     	  Rs.500/-          15.9.08

DDA.08-09		                               Rs.3,759/-                 07 days           19.9.08

- M/O Completed Scheme finishing and furnishing Vikas Sadan. SH:  Supplying and fixing of Emergency light and Signage’s in Basement and B-2 side at Vikas Sadan.

NIT No.33/EE/El.D-11/	                           Rs.1,83,173/-               Rs.500/-       	  15.9.08

DDA.08-09		                                Rs.3,663/-               One month         19.9.08

- M/O Completed Scheme finishing and furnishing Vikas Sadan. SH: Supplying and fixing of Fire Hydrant and accessories at Press Building.

NIT No.34/EE/El.D-11/	                Rs.1,73,231/-           Rs.500/-               15.9.08

DDA.08-09		                                  Rs.3,465/-           One month           19.9.08

- M/O Completed Scheme finishing and furnishing Vikas Sadan. SH: M/O E.I. & fans – Supplying and fixing of Light fittings in EM Office and other electrical works at Vikas Sadan.

NIT No.35/EE/El.D-11/	                            Rs.1,81080/-              Rs.500/-              15.9.08

DDA.08-09	                                             Rs.3,622/-              Two months        19.9.08

Sd/-

Executive Engineer (E)

Elect. Divn.No.11/DDA

NOTE : The work at Sl. No. 1  2 & 3 are  specialized nature of work and require to fulfill the following conditions.  The specialized firms who fulfill the same and eligible can submit their applications to collect the Tender Form from the Divisional Office i.e. EE/El.Div.No.11, Press Bldg., 1st Floor, Vikas Sadan, INA, New Delhi.:

1.	The annual financial turn over (gross) in one of the preceding three financial years shall not be less than 100% of the estimate cost (gross) of the works (duly audited by the Chartered Accountant) on specialized basis (depending upon the time allowed for completion i.e. total estimate value divided by the time of completion).

2.	A certificate of “Satisfactory Completion” of two works of similar nature (to be issued by the organization under whom the work has been executed) during the last five years and each costing not less than 50% of the estimated cost shall be furnished by the intending tenderer at the time of making application for issue of tender documents.

SD/-

EXECUTIVE ENGINEER

ELECTRICAL DIVISION NO.11

NIT NO.32				SCHEDULE OF QUANTITIES

Name of work:-	M/o Completed Scheme finishing and furnishing Vikas Sadan.

SH: M/o Sub. Station & D.G. sets – Repairing of OCB & H.T. end terminations.

| S.NO. | DESCRIPTION OF ITEM | QTY. | UNIT | RATE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 1. | Repairing of OCB and HT termination in H.T. room on H.T. panel as under; - Checking of OCB operation, moving parts for wear & tear, carbon deposits on main contacts, mechanical switching, loose contacts complete as required. - Replacement of end terminal, bushing assembly- 1 No. - Replacement of tulip contact- 2 Nos. - Replacement of circuit spout 1 No. - Termination of 3X240 Sq. mm XLPE cable with HS Kit 1 No. | 1 Job | Per Job |  |  |
| 2.. | Providing and fixing following rating and breaking capacity MCCB in the existing MCCB box, working on 415 volt, 3 phase AC supply & 50 HZ i/c drilling holes in panel, making connection etc. as required. - 630 A – 35 KA | 1 No. | Each |  |  |
| 1 | 2 | 3 | 4 | 5 | 6 |
|  | - 400A – 35 KA - 250A – 35 KA - 125 A – 35 KA | 1 No. 3 Nos. 4 Nos. | Each Each Each |  |  |
|  |  |  |  | TOTAL |  |

Sd/-

EXECUTIVE ENGINEER

ELECTRICAL DIVISION NO.11

TERMS AND CONDITIONS

- The work shall be carried out as per CPWD specifications & entire satisfaction of Engineer-in-charge.

- No T & P shall be issued to the contractor.

- The material shall be got approved from Engineer-in-charge before use at site.

- Repair of OCB done in presence of Engineer-in-charge.

- MCCB shall be standard/Havells/L&T make.

- Time shall be allowed one week only.

- The quoted rates shall be inclusive of all taxes, duties & cartage etc. nothing extra shall be paid.

- Any damage done to the existing installation shall be made good within quoted rates.

Sd/-

EXECUTIVE ENGINEER

ELECTRICAL DIVISION NO.11

NIT NO.33					SCHEDULE OF QUANTITIES

Name of work:-	M/o Completed Scheme finishing and furnishing Vikas Sadan.

SH: Supplying and fixing of Emergency Light & Signage’s in basement and B-2 side Vikas Sadan.

| S.NO | DESCRIPTION OF ITEM | QTY. | UNIT | RATE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 1. | Providing and fixing of LED lit laser etched double sided acrylic signages with reflector ( written on it) for hanging it on the ceiling/wall using minimum 5000 med super bright LED’s (green) having power consumption of less than 3 watt, minimum 5 hours battery back up operating between 80 Volt to 270 volt A.C. current through LED’s under all conditions 20 M.A. +/- voltage access LED’s under all conditions, 3.5 V +/- 10% expected life minimum 100000 hours. International standard SMPS power supplied LPM technology for enhance LED life. DIMENSIONS Length: 350mm Width: 220mm Thickness: 16mm Including connection, testing etc. complete as required. | 11Nos. | Each |  |  |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 2. | Providing & fixing of LED lit emergency/ light with optical lense to be hanging iton the ceiling/wall using minimum 5000 med super bright LED’s( white) having power consumption of less than 3 watts, minimum 5 hours battery backup operating between 80V – 270V A.C. current through LED’s under all conditions 20 MA +/- 20% voltage access LED’s under all conditions 3.5 V +/- 10% excepted life minimum 100000 Hours. International standard 5 MPS power supply having LPM Technology for enhanced LED life. | 12 Nos. | Each |  |  |
|  |  |  |  | TOTAL |  |

Sd-

EXECUTIVE ENGINEER

ELECTRICAL DIVISION NO,11

TERMS AND CONDITIONS

- The work shall be carried out as per specification.

- Current through LED’s under all conditions 20 M.A. +/-.

- Voltage across LED’s under all conditions 3.5 V +/- 10%

- Expected life minimum 100000 Hours.

- International standard SMPS power supplies.

- No T & P shall be issued to the contractor by the department.

- Signage’s shall be of Insta/Sedna Micro system/Luz light only.

- The LED’s used should be Agliant/Niotia limited make only.

- Nothing extra on a/c of cartage shall be paid to agency by the department.

- The work is to be carried out in occupied building if any damage caused to the building or the existing installation shall be made good by the agency within the quoted rates.

- The quoted rates shall be inclusive of Govt. taxes & levies, Nothing extra on a/c of this shall be paid to the contractor by department.

- The contractor shall stand guarantee for a period of one year against the work executed by him.

Sd/-

EXECUTIVE ENGINEER

SELECTRICAL DIVISION NO.11

NIT NO.34			SCHEDULE OF QUANTITIES

Name of work:-	M/o Completed Scheme finishing and furnishing Vikas Sadan.

SH: Supplying and fixing of Fire Hydrant and accessories at Press Building Vikas Sadan.

| S.NO. | DESCRITION OF ITEM | QTY | UNIT | RATE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 1. | Supplying and fixing of 100mm dia ‘C’ class M.S. pipe on surface/under ground for firefighting system i/c welding, testing bending, supporting & testing etc. as required. | 10 Mtrs | Per mtr. |  |  |
| 2. | Supplying and fixing of 63mm dia RR & fire house pipe 15 mtr. Long ISI mark, with G.M. gate valve (Male & female) as per I.S. 636/1188 type including testing etc. as required. | 10 Nos. | Each |  |  |
| 3. | Supplying and fixing 25mm dia ISI marked ball type gate valve for hose reel, commissioning etc. as required. | 1 No. | Each |  |  |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 4. | Supplying and fixing of Hose reel drum complete with mounting, bracket rotating mechanism as per IS 884 connection, testing etc. as required. | 1No. | Each |  |  |
| 5. | Supplying and fixing single way 63mm dia Gun Metal Hydrant valve i/c providing & fixing of nut, bolt, washer, testing & commissioning etc. as required. | 5 Nos. | Each |  |  |
| 6. | Supplying & fixing of 19mm rubberized hose reel, connecting in drum with rubberized Hose reel of 30 mtr. Long including testing etc. complete as required | 1 No. | Each |  |  |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 7. | Supplying and fixing of G.M. Branch pipe of 63mm suitable for hose pipe testing etc. as required. | 1No. | Each |  |  |
| 8. | Supplying And fixing of GM short nozzle for 19/20mm dia rubber hose pipe complete testing etc. as required. | 1 No | Each |  |  |
| 9. | Supplying and fixing of metal box of following size on surface made out of 16 SWG M.S. sheet with locking arrangement and fixing on suitable size of angle iron with suitable size of glass window for emergency use with putty & clamp accommodate the fire equipments i/c fabricating, welding, testing etc. as required. - 1250mmX1000mmX500mm | 1 No. | Each |  |  |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 10 | Supplying and fixing of air vessel of size 1.80 mtr. X 0.45 Mtr. dia with suitable size of thickness of M.S. sheet for bearing 45 Kg./m2 pressure including dismantling the existing air vessel connection, with existing Fire line, painting, testing etc. as required. | 1 No. | Each |  |  |
| 11 | Supplying and fixing of suitable size of pressure release valve of size 25mm dia i/c testing etc. as required | 1 No. | Each |  |  |
| 12 | Supplying and fixing of 4.5 Kg. capacity ISI marked with hose/horn of C02 fire extinguisher i/c testing complete etc. as required. | 1 No. | Each |  |  |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 13 | Supplying and fixing of store pressure A.B.C. powder type fire extinguisher 10 Kg. capacity testing etc. as required. (ISI marked) | 1 No. | Each |  |  |

Sd/-

EXECURTIVE ENGINEER

ELECTRICAL DIVISION NO.11

TERMS AND CONDITIONS

- Work shall be carried out as per specifications.

- No T & P shall be issued to the contractor.

- Supply material should be ISI or as per IS.

- Contractor shall submit test certificate of Hose pipe, Hydrant valve & Hose Reel etc.

- Fire pipe shall be use at site of Jindal, Prakash or Tata make ‘C’ class.

- All the rates are inclusive of all taxes and duties.

- Material shall got approved by the Executive Engineer before installation.

- Contractor will repair/replace the damage item its, original form at the time of execution of work.

- The Air vessel should be tested on 45 Kg./M2 pressure up to 24 hours continuous as per norms, and old vessel shall be returned to the department.

- Hose pipe shall be supplied of the following make:-

- Fire Chief.

- C.R.C.

- New age.

- Fire extinguisher shall be supplied only the following make:

- Steel age Industries.

- Keo Verji Dev di & Co. (Pune)

- Fire Teak ok life Guard.

12) Fire Drum shall be supplied of following make:

a) New Age.

b) Fire Chief.

c) C.R.C.

13) Fire Reel shall be supplied of following make:

a) New Age

b) C.R.C.

c) Fire Chief

14) Each supply item the contractor shall submit test certificate and one year guarantee to the department.

Sd/-

EXECUTIVE ENGINEER

ELECTRICAL DIVISION NO.11

NIT NO.35				SCHEDULE OF QUANTITIES

Name of Work:-		M/o Completed Scheme finishing and furnishing Vikas Sadan.

SH: M/O E.I. & fans – Supplying and fixing of light fitting in EM Office and other electrical works.

| S.NO. | DESCRIPTION OF ITEM | QTY. | UNIT | RATE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 1. | Supplying and fixing 4x14 watt T-5 recess mounted functional and decorative mirror optic luminarie with special louvers with 14 watt T-5 lamp – 4 Nos. i/c connection, testing etc. as required. | 10 Nos. | Each |  |  |
| 2. | Supplying and installation of following size of heavy duty exhaust fans working on 230 volt, 50 HZ, single phase i/c suitable size of slotted angle iron frame &wooden ply board, painting, connections, testing etc. as required. - 380mm (15”), 900 r.p.m. - 300mm (12”), 900 r.p.m. | 10 Nos. 10 Nos. | Each Each |  |  |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 3 | Supplying and installation of pedestal fans 400mm sweep 3 speed complete assembled and connection, testing etc. as required. | 10 Nos. | Each |  |  |
| 4. | Supplying and installation of 1400mm sweep ceiling fans working on 230 volt, 50 HZ single phase A.C. supply with regulator and 60 cm down rod i/c connection, testing etc. as required. | 10 Nos. | Each |  |  |
| 5 | Supplying and installation of all purpose wall fan with on-off switch & low speed i/c connection, testing etc. as required. | 10 Nos. | Each |  |  |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 6 | Wiring for light/power plug with 2x4 Sq.mm. F.R. PVC insulated copper conductor single core cable in surface/recessed PVC conduit along with l No. 4 Sq.mm. FR PVC insulated copper conductor single core cable for loop earthing as required. | 200 Mtrs. | Per mtr. |  |  |
| 7. | Supplying and fixing 20 amp. 240volts SPN industrial type socket out let with 2 pole &earth metal enclosed plug top along with 20 amp. ‘C’ series, SPMCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connection, testing and commissioning etc. as required. | 10 Nos. | Each |  |  |
|  |  |  |  | TOTAL |  |

Sd/-

EXECUTIVE ENGINEER

ELECTRICAL DIVISION NO.11

TERMS AND CONDITIONS

- The work shall be carried out as per specification & to the entire satisfaction of Engineer-in-charge.

- No T & P shall be issued by the department.

- The material shall be got approved from Engineer-in-charge before use at site.

- Rate quoted shall be firm and inclusive of all taxes duties & cartage etc. & nothing extra shall be paid on this account.

- 4X14 watt tube light shall be of Philips, Asian or Bajaj make only.

- Exhaust fans, pedestal fans, ceiling fans shall be of USHA, GEC Crompton Greaves, Almonared make only.

- PVC pipe shall be ISI mark of A.K.G., GEC, Precision make.

- Copper wire shall be ISI mark and Skytone, National ECKO make.

- The material dismantled & stored in store within the quoted rate.

- The material required i.e. hanging rod, nuts, bolts M.S. chain shall be provided within quoted rate.

SD/-

EXECUTIVE ENGINEER

ELECTRICAL DIVISION NO.11