DELHI DEVELOPMENT AUTHORITY

MAJOR DHYAN CHAND SPORTS COMPLEX

ASHOK VIHAR, DELHI - 110 052.

INVITING QUOTATIONS NOTICE NO.   50       /2008-09

Sealed short term quotations are re-invited by Secretary, Major Dhyan Chand Sports Complex, Ashok Vihar, Delhi - 52. on  behalf of the Delhi Development Authority for the following work.  The quotations should reach in the office of undersigned up to 3.00 P.M on 07-01-2009 and shall be opened on the same day at 3.30 PM in the presence of the intending quotationers or their representatives.  Any information needed can be obtained from Major Dhyan Chand Sports Complex office on any working day.

M/o MDCSC, Ashok Vihar.

SH: Repairing of Pressure Filter of Swimming Pool.

| Description | Quantity | Unit |
| --- | --- | --- |
| Repair of existing vertical pressure filter of 2.75 mtr. X 2.60 mtr. After taking out of left out damage gravel & media, wornout MS strainer plate. Painting of internal surface of filter with enamel paint. Supply & fixing of 150 mm dia heavy duty PVC pipe as main header, 50 mm dia PVC pipe as lateral & supply fixing of sufficient number of PVC nozzles, embedding the header & lateral arrangement in 1:2:4 (1 cement, 2 coarse sand, 4 graded stone aggregate) CC flooring & making arrangement for inlet pipe outlet pipe, backwash pipe with filter, supply & laying of natural gravels, pure filter media, testing, commissioning and paint of external surface of the filter etc. as required . | 1 Job | Job |

Terms & Conditions:-

- Only the specialized agencies who have similar experience are to quote.  The proof of the execution of similar work be attached.

- Nothing extra shall be paid on a/c of cartage & taxes.

- Time allowed to carry out work is 30 days.

- Payment shall be made only after the completion of work and is to the satisfaction of the JE (E)/Secretary of the complex.

- No minor labour should be engaged at work site.

- The work shall be carried out as per direction of JE (E)/Secy./MDCSC.

- That the decision of the Secretary of the complex in respect of quality of the work shall be final and binding on the agency and shall not be called in question before any forum.

- The agency shall stand guarantee for a period of 2 years (working seasons) from date of completion of work executed.

- If the entire work is not completed within the stipulated time of 30 days from the date of issue of the order, the order shall automatically lapse and it shall be sole discretion of the Secretary of MDCSC to accept the work on such terms as the Secretary deems fit and proper. The decision of the Secretary in this behalf shall be final and shall not be called in question before any forum.

Contd.. P/2..

::2::

- Necessary statutory deductions will be made as applicable.

- That the quotationer / Contractor should be registered with the Department of Trade & Taxes, Govt. of NCTD and furnish a copy of VAT registration of the time of making the request  for of Schedule of Qty. or attach  the same along with the quotation  as the case may be.

- Debarred agency or individual shall not be permitted to participate in the tendering process.

- Any individual who has been debarred is not permitted to take part in any negotiations or represent an agency even if he holds a power of attorney on the agencies behalf. Any agency engaging debarred persons is also liable to be debarred.

- Validity of quotation is 60 days from the date of opening.

- No T & P shall be issued to the agency.

- The work of repair of pressure filter comprises of the following for which nothing extra shall be paid.

- Isolation of pressure filter from the system by putting dead plate at inlet & outlet of the filter.

- Taking out waste filter media & damaged stainer plate by cutting into pieces without damaging the shell of the pressure filter.

- All arrangement of making filter operational including making new inlet & outlet, if needed.

- Painting of internal & external surface with enamel paint of approved colour.

- Supply & putting new pebbles & media gravels as per specification i.e. upto 900mm from the finished floor of the filter.

- The PVC pipe used shall be of supreme make or equivalent make.

- All the material used at site shall be got approved from the Secretary/JE (Elect)/MDCSC.

- Director (sports) reserves the right to reject the lowest or all the quotations without assigning any reason.

Wg. Cdr. (Retd.) R. Mohla

Secretary /MDCSC/DDA.

## No. F 1 (36)/Elect./MDCSC/2008-09	/435				Dated: 26-12-08

Copy to:-

- Director (Sports) DDA.

- Director (System), DDA through E-mail ddatender@dda.org.in

- Sr. A.O. (Sports) DDA.

- The Secretaries, All Sports complexes with the request to display this N.I.Q. at the Notice Board of their respective complexes.

- JE(E)/, MDCSC, DDA.

- A.A.O, MDCSC, DDA.

- The Secy, DDA Contractors Welfare Association Vikas Kuteer, New Delhi.

- The Secy, DDA Contractors Association E-18 Vikas Kuteer, New Delhi.

- Notice Board, MDCSC, DDA.

Secretary/ MDCSC/DDA.