DELHI DEVELOPMENT AUTHORITY

MAJOR DHYAN CHAND SPORTS COMPLEX

ASHOK VIHAR, DELHI - 110 052.

INVITING QUOTATIONS NOTICE NO.   49        /2008-09

Sealed quotations are invited by Secretary, Major Dhyan Chand Sports Complex, Ashok Vihar, Delhi - 52 on behalf of the Delhi Development Authority for the following work. The quotations should reach in the office of undersigned up to 3 P.M on 07-01-2009 and shall be opened on the same day at 3.30 PM in the presence of the intending quotationers or their representatives.  The schedule of quantity be obtained from MDCSC on any working day and rated be quoted thereon.

M/o MDCSC, Ashok Vihar.

SH: Providing & Fixing GI Pipe around Cricket Ground & Volley Ball Ground  	        at MDCSC, Ashok Vihar.

| S.No. | Description | Qty. | Unit |
| --- | --- | --- | --- |
| 1 | P/F GI pipe complete with GI fittings including trenching and refilling etc. - 40mm dia nominal bore | 336 | Mtrs. |
| 2 | Earth work in rough excavation, banking excavated earth in layers not exceeding 20 cm in depth, breaking clods watering, rolling each layer with ½ tone roller or wooden or steel rammers & rolling every 3rd and top-most layer with power roller of minimum 8 tonnes and dressing up in embankments for roads, flood banks, marginal banks and guide banks or filling up ground depressions, lead up to 50 m and lift upto 1.5 m: - all kinds of soil | 1.66 | Cum |
| 3 | Providing & laying in position cement concrete of specified grade excluding the cost of centering and shuttering – All work up to plinth level: - 1:2:4 (1 cement:2 coarse sand: 4 graded stone aggregate 20 mm nominal size) | 1.66 | Cum |
| 4 | Steel work welded in built up sections/framed work including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. - In gratings, frames, guard bar, ladder, railings brackets gates and similar works. | 33 | Kg. |
| 5 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade: - Two or more coats on new work. | 42.20 | Sqm |

Contd..P/2..

::2::

Terms & Conditions:-

- Nothing extra charges shall be paid for except the quoted rate.

- The work shall be completed within 15 days from the date of issue of the order.

- Payment shall be made only after completion of work to the satisfaction of the Secretary/JE (C) of the complex.

- If the work is not completed within the stipulated time of 15days from the date of issue of the order, the order shall automatically lapse and it shall be sole discretion of the Secretary of MDCSC to accept the execution work on such terms as the Secretary deems fit and proper. The decision of the Secretary in this behalf shall be final and shall not be called in question before any forum.

- Necessary statutory deductions will be made as applicable.

- The quotationer should be registered with the Department of Trade & Taxes, Govt. of NCTD and to furnish a copy of VAT registration at the time of making the request for issue of tender or to attach the same along with the quotation as the case may be.

- Debarred agency or individual shall not be permitted to participate in the tendering process.

- Any individual who has been debarred is not permitted to take part in any negotiations or represent an agency even if he holds a power of attorney on the agencies behalf. Any agency engaging debarred persons is also liable to be debarred.

- The experience of agencies shall be taken into account rather than individuals incorporated with the agencies which does not include proprietorship. The agency should have experience in the field for having the supply of benches made and attach the authentic proof.

- No minor labour shall be engage while executing the works.

- No advance payment shall be made to the agency.

- Validity of quotation is 60 days from the date of opening.

- Conditional quotation shall not be entertained.

- Payment would be made through cheque.

- Director (sports) reserves the right to reject the lowest or all the quotations without assigning any reason.

Wg. Cdr. (Retd.) R. Mohla

Secretary /MDCSC/DDA.

## No. F4 (165)/2008/MDCSC/DDA/434	                          		Dated:  26-12-08

Copy to:-

- Director (Sports) DDA.

- Director (System), DDA though E-mail ddatender@dda.org.in.

- Sr. A.O. (Sports) DDA.

- The Secretaries, All Sports complexes with the request to display this N.I.Q. at the Notice Board of their respective complexes.

- J.E.(Civil.)/, MDCSC, DDA.

- Cashier, MDCSC, DDA.

- The Secy, DDA Contractors Welfare Association Vikas Kuteer, New Delhi.

- The Secy, DDA Contractors Association E-18 Vikas Kuteer, New Delhi.

- Notice Board, MDCSC, DDA.

Secretary/ MDCSC/DDA.