DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO.11/DDA

NIT No.48 & 49/Ex.El.Divn.NO.11/DDA08-09.

Sealed item rate tender Notice are invited for the following works up to 3.00 PM on behalf of DDA from approved contractors of appropriate class of DDA, CPWD,MES, P&T and Railway which shall be opened on the same day at 3.30 PM at Ground Floor, Vikas Minar, IP Estate, New Delhi by the undersigned in the presence of intending purchaser or their authorized representatives.

Tender documents can be had on any working day between 10.00 AM to 3.00 PM on payment of the amount mentioned against the work (non refundable) on production of valid Enlistment Registration Certificate and valid Registration with Works Contract Cell of Sales Tax Deptt. Of NTC and Tax Clearance Certificate issued by Works Contract Cell in Form XI from Centralized Tender Sale Counter ,Vikas Minar & Sr.AO(CAU/South Zone), Shahpurjat ,New Delhi. Sale of tender form will be stopped four days (including the date of opening) before the date fixed for opening of tender. Earnest Money shall be submitted along with tender documents in the form of CDR/Demand Draft of Scheduled Bank Guaranteed by the Reserve Bank of India in favor of Sr.AO/CAU(South Zone)/DDA. The tender of the contractor/agency who does not submit the earnest money on the prescribed manner shall be summarily rejected.

Tender can be submitted on specified date upto 3.00 PM which shall be opened on the same day at 3.30 PM at Ground Floor, Vikas Minar IP Estate, New Delhi by the undersigned in the presence of the contractors /theirs authorized representatives

Sl.No.          Name of Work			      Estt.Cost	            Cost of Tender              Last Dt. of Sale

E/Money	            Time allowed 	Dt. of Opening

- M/o    Completed Scheme finishing

& furnishing Vikas Sadan: M/o E.I.	    Rs.1,74,110/-	              Rs.500/-	                          02.01.09

& Fans-S/I of lighting in newly 	      Rs.3.482/-	      Four Months	                        06.01.09

Renovating office of Pr.Commissioner

(CWG) Director (Housing),in Vikas Sadan.

NITNo.48/EE/Elec.Divn.NO.11/08-09

- M/o Completed Scheme finishing &	    Rs.1,68,530/-	            Rs.500/-	                            02.01.09

Furnishing Vikas Sadan SH: M/o E.I.&	        Rs.3,371/-	        One Month	                            06.01.09

Fans- Rewiring and replacement of light

Fittings in ‘D’Block ground floor

Vikas Sadan.

NIT No.49/EE/Elect.Din.No.11/08-09

______________________________________________________________________________

EXECUTIVE ENGINEER (E)

Electrical Divn.No.11/DDA

2/-

No.F.5 (Misc.)/EE/El.Div. No.11/DDA/08-09/2070		Dated : 23.12.08

Copy to:-

- The Chief Engineer(Elect.), DDA,

- The Suptdg. Engineer (Elect.) Circle-3, DDA.

- The Suptdg, Engineer/Quality Control Cell, DDA.

- Director System, DDA, with the request to put on DDA “Websit.

- Finance Officer, to Chief Engineer Elect. DDA

- Executive Engineer/Western Division No. 5,Vikas Minar, DDA

- Executive Engineer 9Elect.) Div. No. 1,3,4,5,6,78,9,10 &12/DDA.

- Accounts Officer, CAU/SEZ/DDA.

- Asstt. Engineer (Elect.)1,2,3,4 & AE (P)Dv. No.11/DDA.

- Asstt. Accounts Officer, Elect. Div. No. 11 .DDA.

- Head Clerk, Elect. Div. No.11 /DDA.

- The Association of Electrical Contractor (Regd.) Chamber No.103,Laxmi Complex,

B-6, Subhash Chowk, Laxmi Nagar, Delhi

- DDA Contractor Association,. E-18, Vikas Kutteer New Delhi.

- Secretary, Contractor Association. Block-11, 946, Kirti Nagar, Ware Housing Scheme, New Delhi.

- DDA Contractor Welfare Association. Room No. 12, Barrack No.1, Vikas Kutteer, New Delhi.

- N.I.T. Copy.

- Notice Board.

EXECUTIVE ENGINER (E)					                                                                  ELECT.DIVN.NO.11/DDA

NEW DELHI.

NIT No.48/EE/ED-11.			Schedule of    Work				Rs.1,74,110/-

Name of work:- :-  M/O Completed scheme finishing and furnishing Vikas Sadan (SH:E.I. & fans—S/I of lighting in newly innovating office of pr.Commr.(CWG) Director housing in Vikas Sadan.

| S.No. | Description of item | Qty | Unit | Rate | Amt. |
| --- | --- | --- | --- | --- | --- |
| 1. | Rewiring of light/fan point/exhaust fan point/call bell pt. with 1.5sqmm F.R. PVC insulated copper conductor single core cable and 1.5 sqmm F.R. PVC insulated copper conductor single core cable as earth wire in existing surface recessed steel/PVC conduit including dismantling as reqd.(Gr-C) | 150 pt. | p/pt |  |  |
| 2. | Supplying and drawing following sizes of ERPVC insulated copper conductor, single core cable in the existing surface/recessed steel/PVC conduit as reqd. a) 2X1.5 sqmm. b) 3X1.5 sqmm. | 200 mtr. 200 mtr. | p/mtr. p/mtr. |  |  |
| 3. | Providing & fixing following sizes of PVC casing and capping on surface as reqd. a) 25mmX10mm | 200 mtr. | p/mtr. |  |  |
| 4. | Supplying and fixing 5/6 amp piano type switch on the existing switch box/cover i/c connection etc. as reqd. | 100 mtr. | -do- |  |  |
| 5. | Wiring for light/power plug with 2X4 mm FR PVC insulated copper conductor single core cable in surface/recessed PVC conduit alongwith 1 No 4 sqmm PVC insulated copper conductor single core cable for loop earthing as reqd. | 200 mtr. | -do- |  |  |
| 6. | Providing & fixing of 3mm thick phenolic laminated sheet i/c suitable size of cutting the sheet & fixing on the existing M.S. box etc. complete as reqd. | 1000 sq/inch. | p/sq/inch. |  |  |
| 7. | Supplying & fixing 2X28 watt T-5 recess mounting low glass luminaire with mirror optic with suitable for metic flase ceiling type Armstrong/US Gypsum i/c M.S hanging rod, 28 watt T-5 lamp -2 Nos. connections, testing etc. as reqd. | 10 Nos. | Each |  |  |
| 8. | Supplying & fixing 2X28 watt T-5 surface mounted luminaire with 3D lamellare & OLC optic with 2Nos. 28 watt T-5 tube i/c connection, testing etc. as reqd. | 4 Nos. | -do- |  |  |
| 9. | Supplying & fixing 1400 mm sweep celling fan, white in colour dworking on 240 volt, 50 HZ,A.C. single phase with resistance type fan reagulator, 600 mm down rod, canopies & allied accessories i/c connection, testing etc. as reqd. | 10 Nos. | Each -do- |  |  |
| 10. | Dismentalling & reflxing of 2X28 watt existing fitting after repairing i/c connection etc. as reqd. | 50 Nos. | -do- |  |  |
| 11. | Supplying & drawing 15 core tinned copper PVC insulated & PVC sheathed coonducator cable for data transfer in the existing surface/recessed steel/PVC conduit, connection testing etc. as reqd. | 50 mtr.. | p/mtr. |  |  |
| 12. | Supplying and drawing co-axial T.V. cable RG-6 grade solid sopper conductor PVC insulated & PVC sheathed with tine tinned copper braid in the existing surface/recessed/steel PVC conduit i/c connection, testing etc. as reqd. | 50 mtr.. | -do- |  |  |
| 13. | Supplying & fixing of 25 mm sizes of PVC conduit alongwith accessories in surface/recess i/c cutting the wall and making good the same in case of recessed conduit as reqd. | 50 mtr. | -do- |  |  |
| 14. | Supplying & fixing 15 pin connecator for projector & computer i/c connection, soldering etc. as reqd. | 2 Nos. | Each |  |  |
| 15. | Supplying and fixing of 14 watt T-5 rectofite fitting & 14 watts T-5 1 No.lamp i/c connection, testing etc. as reqd. | 20 Nos. | -do- |  |  |

TERMS & CONDITIONS:-

1.	The work shall be carried out as per specification & to the entire satisfaction of Engineer-

In-charge.

2.	No T & P shall be issued by department.

3.	The material shall be got approved from Engineer-in-charge before use at site.

4.	Rates quoted shall be firm inclusive of all taxes & duties.

5.	Copper wire used at site shall be ISI marked and of    SKYTONE, NATIONAL, ECKO,

HAVELLS MAKE.

6.	Tube light fitting (Recessed Mounted ) shall be    Philips Model    TBS    88/228 T-5 of

Equivalent    make of Bajaj, Crompton Geraves and Asian Make.

7.	Tube light fitting (Surface mounted ) shall be Philips, Model TCS- 3982/28    MDGN or

Equivalent make of Crompton Geraves, Bajaj and Asian make.

8.	Fl. Tube T-5 shall be Philips, Osram, GEC make only.

9.	Ceiling Fans shall be of    USHA, Crompton Geraves, Bajaj & Orient make.

10.	Any damage done to be existing installation while carrying out the work the same shall

be made good with in the quoted rate.

11.	Time allowed to complete the work in 4 months.

NIT No.49/EE/Elect.Divn.No.11		Schedule of work		Est.Cost. Rs.1,68,530/-

Name of work:- M/O completed scheme finishing & furnishing Vikas Sadan.(SH: M/O E.I. & fans – Rewiring and replacement of light fittings in ‘D’ block “Ground floor Vikas Sadan”).

| S.No. | Description of item | Qty | Rate | Unit | Amt. |
| --- | --- | --- | --- | --- | --- |
| 1. | Rewiring for light point/fan point/Exhaust fan pt./call bell pt. with 1.5 sqmm F.R. PVC insulated copper conductor single core cable and 1.5 sqmm F.R PVC insulated copper conductor single core cable as earth wire in existing surface/received steel/PVCconduit i/c dismentaling as reqd.(Gr.-C). | 50Nos. |  | Each |  |
| 2.` | Supplying and drawing following sizes of FR PVC insulated copper conductor, single core cable in the existing surface /recessed steel/PVC conduit as reqd. a) 3X1.5 sqmm | 300 mtrs. |  | P/mtrs. |  |
| 3. | Supplying and fixing 2X28 watt. T-5 surface mounted luminaries with 3D lamellare & OLC optic with 2Nos. 28 watt T-5 tube/i/c connection, testing etc. as reqd. | 25 Nos. |  | Each |  |
| 4. | Supplying and fixing 1400 mm sweep ceiling fan, whire in colour working on 240 volts HZ,A.C. single phase with resistance typefan regulator, 600 mm down rod, connopies & allied accessories i/c connection, testing etc. as reqd. | 10 Nos. |  | Each |  |
| 5. | Dismantling the existing M.S duct of different sizes and removal of existing MS suspender, hook etc. complete as reqd. | 70 Mtr. |  | p/mtr. |  |
| 6. | Providing & fixing of 25mmX10 mm size of PVC casing & capping on surface as reqd. | 100 mtr. |  | p/mtr. |  |

TERMS      &    CONDITIONS:-

1.	The work shall be carried out as per specification & to the entire satisfaction of Engineer-in-charge

2.	No    T & P shall be issued by the department.

3.	The material shall be got approved from Engineer-in-charge before use at site.

4.	Rates quoted shall be firm and inclusive of all taxes, duties, cartage etc. & nothing extra 	shall be paid on 	this account.

5.	Copper wire used at site shall be ISI marked and SKYSTONS, NATIONAL,ECKO,HAVELLS    	make.

6.	Tube fitting & shall be of Philips of MODEL TC 5398 2/28 MDGV    or equivalent make of 	Crompton 	Greaves, Asian make only.

7.	Fl lamp shall be of Philips, OSRAM, G.F.

8.	Ceiling fan shall be of Usha, Crompton Greaves, Bajaj Havel’s and Orient make.

9.	Any damage done to the existing installation shall be made good within the quoted rates.

10.	The dismantled material shall be returned and stored at DDA site in Vikas Sadan within 	quoted rates.

11.	All loose wiring, loose pipe and other items shall be fixed properly within the quoted

rates & nothing extra shall be paid on this account..