DELHI DEVELOPMENT AUTHORITY

BHALSWA GOLF COURSE

SHORT  NOTICE INVITING QUOTATIONS NO.  27 /2008-09 2nd-call

Sealed quotations are hereby re-invited on behalf of Delhi Development Authority by the Asstt. Secretary BGC, Bhalswa, Delhi for the work mentioned below. The quotations should reach in the Office of the undersigned on or before    29-12-2008 up to 3.00 pm. and the same shall be opened on the same day at 3.30 pm. in the Office of the Asstt. Secretary of the BGC in the presence of quotationers or their authorized representatives. The Schedule of quantity may be had from Bhalswa Golf Course on any working day. The rates should be quoted in prescribed Schedule of Quantity.

N.O.W:-  M/O Bhalswa Golf Course at Bhalswa

S.H:-  P/F Rain gun irrigation system in fairways No. 9

| S. No. | Description | Quantity | Unit |
| --- | --- | --- | --- |
| 1. 2. 3. 4 5 6 7 8 9 10. 11 | P/F PVC Pipe 90 mm x 6 kg/cm2 as per 15: 4985: 2000 (Solvent welded make: Jain) Rain Gun 162 of 1.5’’ in let M.S. Service saddle 110 mm x 2’’ M.S. Service Saddle 110 mm x 2’’? Quick coupling valve 1.5’’ Quick coupling valve Key 1.5’’ Pvc Ball valve 75 mm (Teflon seal) Valve Box 10’’ Fitting & Accessories Trenching & back filling 1.5’ x 1.0’ Installation charges. | 402.00 mtr. 2.00 Nos. 16 Nos. 1 Nos. 16Nos. 2 Nos. 1 Nos. 1 Nos. 402mtr. L/S | Meter Each Each Each Each Each Each Each L/S Meter L.S. |

Terms & Conditions:-

- No T & P Will be issued to the agency.

- Nothing extra charge shall be paid except for the rates quoted.

- Validity of quotation is 60 days from the date of opening.

- Criteria of eligibility for issue of quotation.

(i)	The annual financial turnover (Gross) in construction works in one of the proceeding three 			financial years shall not be less than 1, 15, 279/- (duly audited by Chartered Accountant) on 			annualized basis.

Cont…….2

-2-

(ii)	The satisfactory completion of at least two works of similar nature / class each cost not less 			than  Rs. 57,640/- in the Central / State Govt. / Public sector under taking/ Govt. 				Autonomous bodies during the last five years.

5.  P/F of full circle impact sprinkler with dual opposing nozzles made of non- corrosive material. 	  	   Sprinkler having one smaller nozzle fitted cover looser area & other inter changeable nozzle (Φ 8 	  	   to 16 mm Φ) for farther area. The sprinkle should have 1.5’’ B.S.P female threaded inlet & having 	   	    radius of through in the range 19.5 m to 34.5 m with a discharge range 1. 37 LPS to 7.17 LPS at 	  	    presume range 2.00 Kg/ cm2 to 6.00 kg/cm2. (Make:- KOMET)

- The work shall be completed in stipulation period i.e. 10 days.

- The work shall be executed as per the specification of manufacturer.

- Conditional quotations will not be entertained.

- Payments shall be made through cheque only.

- For any lapse on the part of the agency, the decision of the Director ( Sports) shall be final and binding upon the quotationers

- Security deposit at the uniform rate of 10% shall be deducted from each running bill and will be refunded after completion of the specified period/ work.

- Necessary statutory deductions will be made as applicable.

- The work shall be completed as per satisfaction of JE (C) and Asstt. Secy BGC.

- Debarred agency/ or individual shall not be permitted to participate in the tendering   process.

- Any individual who has been debarred is not permitted to take part in any negotiations or represent an agency even if he holds a power of attorney on the agencies behalf. Any agency engaging debarred persons is also liable to debarring.

17. That the quotationer / Contractor should be registered with the Department of Trade & Taxes, 	Govt. of 	NCTD and furnish a copy of VAT registration of the time of making the request for of Schedule of Qty. 	or attach  the same along with the quotation as the case may be.

18. Director (sports) reserves the right to reject the lowest or all the quotations without assigning any 	reason.

Sqn. Ldr. R.K. Tiwari (Retd)

Asstt. Secretary BGC/ DDA.

No. F3 (30) / BGC /DDA/2008/255				              Date-   26/12/2008

Copy to:-

1.  Directors (Sports) DDA for information please.

- ddatender@dda.org.in & CC dirsystem@dda.org.in

- Sr. A.O. (Sports) DDA

- The Secretaries, all Sports Complexes with he request to display this N.I.Q. at the Notice board of their respective Complexes.

- A.A.O BGC, DDA.

- J.E(C) BGC/, DDA

- The Secretary DDA Contractors Welfare Association Vikas Kuteer, New Delhi.

- The Secretary DDA Contractors Association E- 18 Vikas Kuteer, New Delhi

9.    Notice Board BGC /DDA.

Asstt. Secretary BGC/ DDA