Schedule of Quantity

Name of Work:- M/O RSKP, Pitampura.

SH:- Repair, rewinding of 5HP submersible pump set.

Pump No.1

| S.No. | Description of Items | Qty. | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Repairing and rewinding of 5HP stage submersible pump set including following jobs and replacement of parts etc as reqd. a) Rewinding of mortor b) G.M. bearing bush c) Water seal d) Neck Ring e) Guide bush f) Distance bush g) Upper bush h) Upper sleeve i) Impeller Key | 1 kit 4 nos. 2 nos. 4 nos. 2 nos. 2 nos. 1 no. 1 no. 5 nos. | Each Each Each Each Each Each Each Each Each 1 job |  |  |
| 2. | a) Rotor sleeve turning & grinding b) Impeller remetalling & turning c) Labour charges d) L/L of sub. Pump set from the tube well i/c. cable jointing, nut bolts, packing material, loading- unloading hire charges of T&P etc. as reqd. | 1 job 3 job 1 job 1 job | Per job Per job Per job Per Job 1 job |  |  |

Schedule of Quantity

Pump No.-2

| S.No. | Description of Items | Qty. | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Repairing and rewinding of 5HP stage submersible pump set including following jobs and replacement of parts etc as reqd. a) Rewinding of mortor b) G.M. bearing bush c) Water seal d) Neck Ring e) Guide bush f) Distance bush g) Upper bush h) Upper sleeve i) Impeller Key | 1 kit 4 nos. 2 nos. 3 nos. 2 nos. 3 nos. 1 no. 1 no. 4 nos. | Each Each Each Each Each Each Each Each Each 1 job |  |  |
| 2. | a) Rotor sleeve turning & grinding b) Impeller remetalling & turning c) Labour charges | 1 job 4 job 1 job | Per job Per job Per job 1 job |  |  |