OFFICE OF THE EXECUTIVE ENGINEER (E)

ELECTRICAL DIVISION -1/D.D.A                                                                                            			                                                                   SHAKAR PUR DELHI-92

TEL.22485735 e-mail- eeeld01dda@gmail.com   STATUS ON 5.12.2012

PRATAP SINGH A.E (E)-9958762626.

V.K. Maheswari J.E (E)-9899299652

STATUS OF ELECT. INSTALLATION INSTALLED UNDER  EL-DIV-1 /EAST NORTH ZONE (HD-7)

| S.No | Location of Park | Area of Park (in Acre) | Status of pump set |  |  |  | Status of Light |  |  | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Total no. | Func- tional | Non Func- tional | Remarks | Total No. | Func- tional | Non Func- tional |  |
|  | SFS Gazipur | 1.10 | 1 | 1 | - |  | 4 | 4 | - | - |
|  | Water Body Gazipur | - | 1 | 1 | - |  | - | - | - | - |
|  | DDA Park Near Aditi Apptt. | 1.73 | 1 | 1 | - |  | - | - | - | - |
|  | DDA park Near Balco Apptt. | - | 1 | 1 | - |  | 14 | - | 14 | Work to be awarded |
|  | DDA Park Near Plato Apptt. | - | 1 | 1 | - |  | 17 | 15 | 2 | =do= |
|  | DDA Park Near Maitry Apptt. | - | - | - | - | New bore- well done | - | - | - | - |
|  | Play field –III , I.P. Extn. | - | 1 | - | 1 | Under repair | 10 | - | 10 | Under Repair |
|  | DDA Park, Near Nav Kranti Apptt | - | - | - | - | New bore- well done | 8 | - | 8 | Work to be awarded |
|  | DDA Park Behind Rly line Parshav Vihar | 3.25 | 2 | 2 | - | - | 2 | 1 | 1 | Under Repair |
|  | Play field –II, I.P. Extn. | - | 1 | 1 | - |  | - | - | - | - |
|  | DDA Park Near Bala Ji Apptt. | 1.45 | 1 | 1 | - |  | - | - | - | - |
|  | DDA Park (Multi Gym) Mandir Wala | - | 1 | 1 | - |  | 8 | 8 | - |  |
|  | DDA Park Near Jai Park | - | 1 | 1 | - |  | 23 | 23 | - |  |
|  | Distt. Park, I.P. Extn. | - | 3 | 3 | - |  | 44 | 44 | - |  |
|  | DDA Park , Near Vidhi Apptt. | - | 1 | 1 | - |  | - | - | - | - |
|  | DDA Park Near Azad Apptt. | - | - | - | - |  | 4 | 4 | - |  |
|  | DDA Park Near Sagar Apptt. | - | 1 | 1 | - |  | 14 | 14 | - |  |
|  | DDA Park Near Utsav Ground I.P. Ext | 6.0 | 1 | 1 | - | - | 41 | 10 | 31 | 31 Nos. pole & lights Damaged/not exist at site & Dy. Dir. (H) / HD-7had advised not to install lights because site is unsafe due to use in public functions |
|  | DDA Park Near Nav Niti | - | 1 | 1 | - |  | - | - | - | - |
|  | DDA Park Near Vandana Apptt. | - | - | - | - | New bore well done | 22 | 18 | 4 | Under major repairs |