## Pump_Sump_13june16
S.No. | Location | Y Coordinate | X Coordinate | Agency | Division | Sub_div | Remark | IIT Remark | Name | Pump_ID | Sump length | Sump width | Sump depth | Outfall | Operation | Sump Capacity | Pump Capacity | Inlet
1 | Azad Bhawan | 28.6259 | 77.2456 | PWD | M-451 | [5 empty] | 0 | 0 | 0 |  |  | 0 | 75 HP V.T. P/Set *1, 75 HP P/Set *3, 40 HP P/Set *1, 32 HP Diesel Engine *1, 180 KVA D.G.Set *1, 12*
2 | ITO | 28.6273 | 77.2478 | PWD | M-451 | [5 empty] | 0 | 0 | 0 |  |  | 0
3 | Tilak Bridge | 28.626 | 77.2456 | PWD | M-451 | [5 empty] | 0 | 0 | 0 |  |  | 0
4 | Rose Garden | 28.6344 | 77.2484 | PWD | M-451 | [5 empty] | 0 | 0 | 0 |  |  | 0 | 75 HP P/Set *6, 50 HP P/Set *1, 125 KV D.G.Set *1, 7.5 HP Dewateroning Pump standby *2, 5 HP Chargi*
5 | Bhairon Road | 28.6118 | 77.2499 | PWD | M-451 | [5 empty] | 0 | 0 | 0 |  |  | 0
6 | Vijay Ghat | 28.6553 | 77.2476 | PWD | M-451 | [5 empty] | 0 | 0 | 0 |  |  | 0 | 75 HP P/Set *3, 75 HP V.T. P/Set *2, Diesell P/Set *1, 5 HP Charging Pump set *1
7 | Lothian Bridge | 28.6627 | 77.2393 | PWD | M-451 | [5 empty] | 0 | 0 | 0 |  |  | 0 | 75 HP P/Set *3, 32 HP Diesel Engine *1, 75 KVA D.G.Set *1
8 | Salim Garh | 28.6622 | 77.2398 | PWD | M-451 | [5 empty] | 0 | 0 | 0 |  |  | 0
9 | Mange Bridge | 0 | 77.2431 | PWD | M-451 | [5 empty] | 0 | 0 | 0 |  |  | 0
10 | Loha Pul | 28.6615 | 77.2451 | PWD | M-451 | [5 empty] | 0 | 0 | 0 |  |  | 0
11 | Minto Bridge | 28.6372 | 77.2223 | PWD | M-451 | [5 empty] | 0 | 0 | 0 |  |  | 0
12 | Kushak Nala | 28.5788 | 0 | PWD | M-451 | [5 empty] | 0 | 0 | 0 |  |  | 0
13 | Badarpur | 28.4985 | 77.2974 | PWD | M-451 | [5 empty] | 0 | 0 | 0 |  |  | 0
14 | Moolchand underpass | 28.5652 | 77.2341 | PWD | M-451 | [5 empty] | 0 | 0 | 0 |  |  | 0
15 | Dhaula Kuan | 28.5975 | 77.1642 | PWD | M-152 | [5 empty] | 0 | 0 | 0 |  |  | 0
16 | Punjabi Bagh | 28.6685 | 77.1359 | PWD | M-152 | [5 empty] | 0 | 0 | 0 |  |  | 0
17 | Outer Ring Road, Behra Enclave, Paschim Vihar | 28.6708 | 77.0932 | PWD | M-152 | [5 empty] | 0 | 0 | 0 |  |  | 0
18 | Nangloi Stand Pump House | 28.617 | 76.9837 | PWD | M-152 | [5 empty] | 0 | 0 | 0 |  |  | 0
19 | Dhansa Stand Pump House | 28.6115 | 76.9781 | PWD | M-152 | [5 empty] | 0 | 0 | 0 |  |  | 0
20 | INDERPRASTHA PUMPING STATION | 28.6209 | 77.2526 | SDMC | CNZ | M-1 |  |  |  |  | 7 | 7 | 5 | Yamuna River |  | 871.31 | 120*2(E),120*3(E),90 (VT)*2(E),75*2(E),15*2(ECharging pump),180*2(DG),500*2(TRANSFORMER) | Ring Road Drains
21 | DELHI SECRETARIAT PUMPING STATION | 28.6282 | 77.251 | SDMC | CNZ | M-1 |  |  |  |  | 8 | 8 | 6 | PWD DRAIN INFRONT OF SE | Operated mainly during rain | 397.375 | 50*2(E),76*1(DEP),125*1(DG) | PWD roads infront of Secretrait
22 | NATIONAL ZOOLOGICAL PARK PUMPING STATION | 28.602 | 77.2507 | SDMC | CNZ | M-1 |  |  |  |  | 13 | 9 | 5 | Drain No 15 | Operated mainly during rain | 533.344 | 75*2(E),50*2(E),5*1(ECharging pump),180*1(DG) | Sunder Nagar and Zoological park
23 | NIZAMUDDIN PUMPING STATION | 28.5891 | 77.2426 | SDMC | CNZ | M-1 |  |  |  |  | 16 | 8 | 5 | Bara Pullah Nallah | Operated through out the year | 700.71 | 75 (VT)*1(E),75*1(E),50*1(E),6*1(DEP Charging pump),180*1(DG) | Internal drains of Nizamuddin basti and Nizamuddin West
24 | NIZAMUDDIN (EAST) PUMPING STATION | 28.5874 | 77.2488 | SDMC | [6 empty] | 4 | 3 | 5 | Bara Pullah Nallah | Operated mainly during rain | 67.533 | 25*2(E),5*1(ECharging pump),62.5*1(DG) | Internal Drains of Nizamuddin East and Mathura Road
25 | NIZAMUDDIN (WEST) PUMPING STATION | 28.5872 | 77.245 | SDMC | [6 empty] | 4 | 3 | 3 | Bara Pullah Nallah | Operated mainly during rain | 37.34 | 25*2(E),5*1(ECharging pump),62.5*1(DG) | Internal drains of Nizamuddin West and Mathura Road
26 | OKHLA PUMPING STATION | 28.5655 | 77.2875 | SDMC | CNZ | M-II |  |  |  |  | 3 | 3 | 6 | Yamuna RIver | Operated mainly during rain | 77.43 | 40*2(E),6*1(DEP) | Rain Water Drains/ Okhla
27 | SIDHARTHA PUMPING STATION | 28.5817 | 77.2597 | SDMC | CNZ | M-1 |  |  |  |  | 13 | 8 | 5 | Bara Pullah Nallah | Operated through out the year | 915.5 | 75*3(E),25*4(E),3*1(ECharging pump),25*1(DEP),28*1(DEP),180*1(DG SET) | Internal drains of Siddhartha Extension Pocket-B, Pocket-C and Manokamna Mandir
28 | SUNHERI NALA PUMPING STATION | 28.586 | 77.233 | SDMC | CNZ | M-1 |  |  |  |  | 0 | 0 | 0 | NDMC DRAIN(LODHI ROAD) |  | 0 | 40*1(electric)
29 | JAITPUR NO 2 PUMPING STATION | 28.508 | 77.32 | SDMC | CNZ | M-III/M-IV |  |  |  |  | 10 | 10 | 3 | jaitpur road nallah |  | 0 | 50*6(electric),125*1(DG) | tajpur village and mohan baba nagar rain water drains
30 | TAJPUR PAHARI PUMPING STATION | 28.494 | 77.305 | SDMC | CNZ | M-III/M-IV |  |  |  |  | 3 | 3 | 3 | jaitpur road nallah |  | 0 | 15*1(E),12.5*1(E),6*1(D) | tajpur pahari drain
31 | JONAPUR PUMPING STATION, WARD 175, AYANAGAR | 28.4673 | 77.1584 | SDMC | SZ | M-IV |  |  |  |  | 4 | 8 | 6 | WATERBODY AT 300M | Operated through out the year | 0 | 40*3(E),5*1(E)
32 | SULTANPUR PUMPING STATION, WARD 174 CHATARPUR | 28.496 | 77.164 | SDMC | SZ | M-IV |  |  |  |  | 7 | 10 | 6 |  |  | 0 | 40*2(E),15*2(E),6*2(D)
33 | TIGRI PUMPING STATION | 28.511 | 77.239 | SDMC | SZ | [5 empty] | 0 | 0 | 0 |  |  | 0 | 25*1(E),15*1(E) ,12*1(D),6*1(D)
34 | Infront of Taj Mahal Hotel , Shahjahan Road | 28.604 | 77.225 | NDMC |  | R2 |  | from sump 2 berrel starts |  |  | 0 | 0 | 0 |  |  | 0
35 | Near Conought Circus, Minto Road | 28.636 | 77.222 | PWD | M413 |  |  | 75,75, 100,100hp pump |  |  | 0 | 0 | 0 |  |  | 0
36 | Feroz Shah Kotla Palace | 28.635 | 77.248 | PWD | M413 |  |  | 40,75,75,75,40 diesel pump |  |  | 0 | 0 | 0 |  |  | 0
37 | Indraprastha Flyover at ITO | 28.628 | 77.247 | PWD | M413 |  |  | lenght 20m, 50,50,20,20 electric pump |  |  | 0 | 0 | 0 |  |  | 0
38 | Azad Bhawan Road | 28.625 | 77.245 | PWD | M413 | [5 empty] | 0 | 0 | 0 |  |  | 0
39 | Bhairon Marg | 28.612 | 77.25 | PWD | [6 empty] | 0 | 0 | 0 |  |  | 0
40 | Inner Ring Road , Delhi | 28.662 | 77.24 | DJB | [6 empty] | 0 | 0 | 0 |  |  | 0
41 | Inner Ring Road , Delhi | 28.662 | 77.239 | NDMC | [6 empty] | 0 | 0 | 0 |  |  | 0
42 | Tilak Bridge, ITO | 28.627 | 77.241 | PWD | M413 | [5 empty] | 0 | 0 | 0 |  |  | 0
43 | Tilak Bridge, ITO | 28.626 | 77.242 | PWD | M413 | [5 empty] | 0 | 0 | 0 |  |  | 0
44 | Connought Place | 28.634 | 77.216 | NDMC |  |  |  | one pump of 25hp or 32 hp |  |  | 0 | 0 | 0 |  |  | 0
45 | Nilothi-MD-I | 0 | 0 | I&FC |  | CD_12 | Used for sewer treated water |  | Keshupur Pump House,MD-I |  | 0 | 0 | 0 |  |  | 0 | 180 HP 4Pumps
46 | Tilngpur Kotla Pumphose,MD-I | 0 | 0 | I&FC |  | CD_12 | Used for sewer treated water |  | Tilngpur Kotla Pumphose,MD-I |  | 0 | 0 | 0 |  |  | 0 | 120 HP ,2Pumps,180 HP,1 Pump
47 | Burari Regulator at RD 1135,jahangirpuri drain | 0 | 0 | I&FC |  | CD-10 | lifting of raw water and dispose off after the gate |  | Burari Regulator at RD 1135,jahangirpuri drain | MD-1/94 | 0 | 0 | 0 |  |  | 0 | 60 hp,elctric pump
48 | Burari Regulator at RD 1135,jahangirpuri drain | 0 | 0 | I&FC |  | CD-10 | lifting of raw water and dispose off after the gate |  | Burari Regulator at RD 1135,jahangirpuri drain | MD-1/95 | 0 | 0 | 0 |  |  | 0 | 60 hp,elctric pump
49 | Burari Regulator at RD 1135,jahangirpuri drain | 0 | 0 | I&FC |  | CD-10 | lifting of raw water and dispose off after the gate |  | Burari Regulator at RD 1135,jahangirpuri drain | MD-1/96 | 0 | 0 | 0 |  |  | 0 | 60 hp,elctric pump
50 | Burari Regulator at RD 1135,jahangirpuri drain | 0 | 0 | I&FC |  | CD-10 | lifting of raw water and dispose off after the gate |  | Burari Regulator at RD 1135,jahangirpuri drain | MD-1/97 | 0 | 0 | 0 |  |  | 0 | 60 hp,elctric pump
51 | Burari Regulator at RD 1135,jahangirpuri drain | 0 | 0 | I&FC |  | CD-10 | lifting of raw water and dispose off after the gate |  | Burari Regulator at RD 1135,jahangirpuri drain | MD-3/113 | 0 | 0 | 0 |  |  | 0 | 60 hp,elctric pump
52 | Burari Regulator at RD 1135,jahangirpuri drain | 0 | 0 | I&FC |  | CD-10 | lifting of raw water and dispose off after the gate |  | Burari Regulator at RD 1135,jahangirpuri drain | MD-3/114 | 0 | 0 | 0 |  |  | 0 | 60 hp,elctric pump
53 | Burari Regulator at RD 1135,jahangirpuri drain | 0 | 0 | I&FC |  | CD-10 | lifting of raw water and dispose off after the gate |  | Burari Regulator at RD 1135,jahangirpuri drain | MD-3/115 | 0 | 0 | 0 |  |  | 0 | 60 hp,elctric pump
54 | Burari Regulator at RD 1135,jahangirpuri drain | 0 | 0 | I&FC |  | CD-10 | lifting of raw water and dispose off after the gate |  | Burari Regulator at RD 1135,jahangirpuri drain | MD-3/116 | 0 | 0 | 0 |  |  | 0 | 60 hp,elctric pump
55 | Burari Regulator at RD 1135,jahangirpuri drain | 0 | 0 | I&FC |  | CD-10 | lifting of raw water and dispose off after the gate |  | Burari Regulator at RD 1135,jahangirpuri drain | MD-3/117 | 0 | 0 | 0 |  |  | 0 | 60 hp,elctric pump
56 | Burari Regulator at RD 1135,jahangirpuri drain | 0 | 0 | I&FC |  | CD-10 | lifting of raw water and dispose off after the gate |  | Burari Regulator at RD 1135,jahangirpuri drain | MD-3/118 | 0 | 0 | 0 |  |  | 0 | 60 hp,elctric pump
57 | Burari Regulator at RD 1135,jahangirpuri drain | 0 | 0 | I&FC |  | CD-10 | lifting of raw water and dispose off after the gate |  | Burari Regulator at RD 1135,jahangirpuri drain | MD-3/119 | 0 | 0 | 0 |  |  | 0 | 60 hp,elctric pump
58 | Burari Regulator at RD 1135,jahangirpuri drain | 0 | 0 | I&FC |  | CD-10 | lifting of raw water and dispose off after the gate |  | Burari Regulator at RD 1135,jahangirpuri drain | MD-3/120 | 0 | 0 | 0 |  |  | 0 | 60 hp,elctric pump
59 | Nandlal Juggi camp | 0 | 0 | I&FC |  | CD-10 | Standing Ideal at gopalpur store near RD 925 m,used during the rain |  | Nandlal Juggi camp | CD-10/64 | 0 | 0 | 0 |  |  | 0 | 7.5 hp,diesel pump
60 | Nandlal Juggi camp | 0 | 0 | I&FC |  | CD-10 | Standing Ideal at gopalpur store near RD 925 m,used during the rain |  | Nandlal Juggi camp | CD-10/66 | 0 | 0 | 0 |  |  | 0 | 7.5 hp,diesel pump
61 | QUADUSIA GHAT | 0 | 0 | I&FC |  | CD-10 | lifting of raw water and dispose off after the gate |  | QUADUSIA GHAT regulator | MD-II/108 | 0 | 0 | 0 |  |  | 0 | 60 hp,elctric pump
62 | QUADUSIA GHAT | 0 | 0 | I&FC |  | CD-10 | lifting of raw water and dispose off after the gate |  | QUADUSIA GHAT regulator | MD-IV/132 | 0 | 0 | 0 |  |  | 0 | 60 hp,elctric pump
63 | Metcalfe House drain regulator | 0 | 0 | I&FC |  | CD-10 | used During high level flood to pump the raw water and dispose off after the gateto avoid back flow |  | Metcalfe House Regulator |  | 0 | 0 | 0 |  |  | 0 | 65 hp,diesel pump
64 | QUADUSIA GHAT | 0 | 0 | I&FC |  | CD-10 | Standing Ideal at Uqadiusia Ghat,used during the heavy rain at the time of water logging |  | QUADUSIA GHAT regulator | CD-X/65 | 0 | 0 | 0 |  |  | 0 | 60 hp,elctric pump
65 | WAZIRABAD STORE | 0 | 0 | I&FC |  | CD-IX | Portable Pump used during heavy rain or water looging areas as and when required |  | WAZIRABAD STORE | CD-IX | 0 | 0 | 0 |  |  | 0 | 1hp,portable pump
66 | WAZIRABAD STORE | 0 | 0 | I&FC |  | CD-IX | Portable Pump used during heavy rain or water looging areas as and when required |  | WAZIRABAD STORE | CD-IX | 0 | 0 | 0 |  |  | 0 | 1hp,portable pump
67 | Mukharji park Sump Well,near pacific mall,tagore garden | 0 | 0 | SDMC |  | WZM-3 | Used for raw storm water accumulated in sump well is lifted and dispose in subhash nagar drain |  | Mukharji park Sump Well |  | 0 | 0 | 0 |  |  | 0 | 20 hp,elctric pump (100/26 discharge capacity)
68 | Mukharji park Sump Well,near pacific mall,tagore garden | 0 | 0 | SDMC |  | WZM-3 | Used for raw storm water accumulated in sump well is lifted and dispose in subhash nagar drain |  | Mukharji park Sump Well |  | 0 | 0 | 0 |  |  | 0 | 20 hp,elctric pump (100/26 discharge capacity)
69 | Mukharji park Sump Well,near pacific mall,tagore garden | 0 | 0 | SDMC |  | WZM-3 | Used for raw storm water accumulated in sump well is lifted and dispose in subhash nagar drain |  | Mukharji park Sump Well |  | 0 | 0 | 0 |  |  | 0 | 20 hp,elctric pump (100/26 discharge capacity)
70 | Sump well at 608 slum quaters ,behind murga market tagore garden | 0 | 0 | SDMC |  | WZM-3 | Used for raw storm water accumulated in sump well is lifted and dispose in PWD drain |  | Sump well at 608 slum quaters at tagore garden |  | 0 | 0 | 0 |  |  | 0 | 20 hp,elctric pump (100/26 discharge capacity)
71 | Mukharji park Sump Well,near pacific mall,tagore garden | 0 | 0 | SDMC |  | WZM-3 | Used for raw storm water accumulated in sump well is lifted and dispose in subhash nagar drain |  | Mukharji park Sump Well |  | 0 | 0 | 0 |  |  | 0 | 20 hp,elctric pump (100/26 discharge capacity)
72 | Sump well at 608 slum quaters ,behind murga market tagore garden | 0 | 0 | SDMC |  | WZM-3 | Used for raw storm water accumulated in sump well is lifted and dispose in PWD drain |  | Sump well at 608 slum quaters at tagore garden |  | 0 | 0 | 0 |  |  | 0 | 20 hp,elctric pump (100/26 discharge capacity)
73 | Sump well at 608 slum quaters ,behind murga market tagore garden | 0 | 0 | SDMC |  | WZM-3 | Used for raw storm water accumulated in sump well is lifted and dispose in PWD drain |  | Sump well at 608 slum quaters at tagore garden |  | 0 | 0 | 0 |  |  | 0 | 20 hp,elctric pump (100/26 discharge capacity)
74 | Sump well at 608 slum quaters ,behind murga market tagore garden | 0 | 0 | SDMC |  | WZM-3 | Used for raw storm water accumulated in sump well is lifted and dispose in PWD drain |  | Sump well at 608 slum quaters at tagore garden |  | 0 | 0 | 0 |  |  | 0 | 20 hp,elctric pump (100/26 discharge capacity)
75 | J-Block Jahangirpuri | 0 | 0 | NDMC |  | EE(E&M) | Round the clock pumping of Domestic and Storm Water |  | J-Block Jahangirpuri |  | 0 | 0 | 0 |  |  | 23 | 25hp*3, 15hp*1(electric pump)and 19.5Bhp,12Bhp(Diessel pump)
76 | EE-Block Jahangirpuri | 0 | 0 | NDMC |  | EE(E&M) | Round the clock pumping of Domestic and Storm Water |  | EE-Block Jahangirpuri |  | 0 | 0 | 0 |  |  | 179 | 125hp*5,50hp*1(electric pump) and 75BhP*2.43*Bhp*2(Diesel), 180KVA(D.G Set)
77 | Dhaka | 0 | 0 | NDMC |  | EE(E&M) | lifting of mix water and dispose off after the flood gate closed |  | Dhaka |  | 0 | 0 | 0 |  |  | 0 | 75hp*4,40hp*1,30hp*1(electric)
78 | Mukherjee Nagar (Old) | 0 | 0 | NDMC |  | EE(E&M) | Round the clock pumping of Domestic and Storm Water |  | Mukherjee Nagar (Old) |  | 0 | 0 | 0 |  |  | 176 | 125hp*2,125Hp VT*1,75hp*2,50hp*1(electric) and 160KVA(DG Set)
79 | Mukherjee Nagar (New) | 0 | 0 | NDMC |  | EE(E&M) | Round the clock pumping of Domestic and Storm Water |  | Mukherjee Nagar (New) |  | 0 | 0 | 0 |  |  | 210 | 90Hp Vt*3,75hp*1(electric)
80 | Gandhi Vihar | 0 | 0 | NDMC |  | EE(E&M) | Round the clock pumping of Domestic and Storm Water |  | Gandhi Vihar |  | 0 | 0 | 0 |  |  | 192.58 | 150hp*3,40hp*2(electric) and 125KVA(DG Set)
81 | Gopal Pur Village | 0 | 0 | NDMC |  | EE(E&M) | Round the clock pumping of Domestic and Storm Water |  | Gopal Pur Village |  | 0 | 0 | 0 |  |  | 0 | 40hp*3(electric)
82 | SFS Flat Mukherjee Nagar-1 | 0 | 0 | NDMC |  | EE(E&M) | Round the clock pumping of Domestic and Storm Water |  | SFS Flat Mukherjee Nagar-1 |  | 0 | 0 | 0 |  |  | 0 | 40hp*2,30hp*1(electric)
83 | RP Bagh | 0 | 0 | NDMC |  | EE(E&M) | Round the clock pumping of Domestic and Storm Water and Sewer |  | RP Bagh |  | 0 | 0 | 0 |  |  | 59 | 90hp VT*1 ,75hp*3,40Hp*1,30hp*1,15hp*3(electric)and 125KVA(DG Set)
84 | Nehru Vihar -I | 0 | 0 | NDMC |  | EE(E&M) | lifting of mix water and dispose off after the flood gate closed |  | Nehru Vihar -I |  | 0 | 0 | 0 |  |  | 30 | 40Hp*2(electric) and 32Bhp*1(Diesel)
85 | Nehru Vihar -II | 0 | 0 | NDMC |  | EE(E&M) | lifting of mix water and dispose off after the flood gate closed |  | Nehru Vihar -II |  | 0 | 0 | 0 |  |  | 60 | 40hp*2 electric
86 | SFS Flat Mukherjee Nagar No -2 | 0 | 0 | NDMC |  | EE(E&M) | Round the clock pumping of Domestic and Storm Water |  | SFS Flat Mukherjee Nagar No -2 |  | 0 | 0 | 0 |  |  | 275 | 60hp*2 , 30hp*2 (electric) and 160KVA DG Set
87 | BP û Block Pitam pura | 0 | 0 | NDMC |  | EE(E&M) | Round the clock pumping of Domestic and Storm Water |  | BP û Block Pitam pura |  | 0 | 0 | 0 |  |  | 71 | 25hp*3 (electric) and12 Bhp*1,6Bhp*1(Diesel)
88 | Jawala Puri | 0 | 0 | NDMC |  | EE(E&M) | as and when required |  | Jawala Puri |  | 0 | 0 | 0 |  |  | 0 | 10hp*1 electric
89 | Shakti Vihar | 0 | 0 | NDMC |  | EE(E&M) | Round the clock pumping of Domestic and Storm Water |  | Shakti Vihar |  | 0 | 0 | 0 |  |  | 7 | 25hp*1 , 15hp*1(Sub), 7.5hp*1(Sub) {electric}
90 | Raja Vihar | 0 | 0 | NDMC |  | EE(E&M) | Round the clock pumping of Domestic and Storm Water |  | Raja Vihar |  | 0 | 0 | 0 |  |  | 16 | 20hp*1, 10hp*1, 5hp(Sub) all electric
91 | 65 Block Karol Bagh | 0 | 0 | NDMC |  | EE(E&M) | In heavy rain when Drain gates are closed |  | 65 Block Karol Bagh |  | 0 | 0 | 0 |  |  | 11 | 70Hp Vt*1 , 60Hp VT*1,20 Hp*3, 15hp(sub)*2 all electric
92 | Kirti Nagar RUB | 0 | 0 | NDMC |  | EE(E&M) | Lifting Storm wateraccumalted in sump well during rain |  | Kirti Nagar RUB |  | 0 | 0 | 0 |  |  | 28 | 7.5 Hp*1(Sub) , 5hp*1(sub) all electric
93 | Rang mahal | 0 | 0 | NDMC |  | EE(E&M) | Round the clock pumping of Domestic and Storm Water |  | Rang mahal |  | 0 | 0 | 0 |  |  | 54 | 25hp*1, 20hp*2 (electric) and 12 Bhp*1, 6Bhp*1(Diesel)
94 | Narela RUB | 0 | 0 | NDMC |  | EE(E&M) | Lifting Storm water accumalated in Sump well during rain |  | Narela RUB |  | 0 | 0 | 0 |  |  | 113.04 | 15hp*1 ,5hp*3 electric
95 | Kamrudin Nagar | 0 | 0 | NDMC |  | EE(E&M) | Round the clock pumping of Domestic and Storm Water |  | Kamrudin Nagar |  | 0 | 0 | 0 |  |  | 218 | 25hp*3 electric , 25KVA(D G Set)
96 | Najafgarh Road | 28.62 | 77.022 | I&FC |  | CD1 | AS PER NEED PUMP DEPLOYED FROM NAJAFGARH STORE |  | KAKRAULA REGULATOR | CD1/8 | 0 | 0 | 0 |  |  | 0
97 | Goyla Khurd | 28.585 | 77.017 | I&FC |  | CD1 | AS PER NEED PUMP DEPLOYED FROM NAJAFGARH STORE |  | GOELA DIARY DRAIN OUTFALL | CD1/9 | 0 | 0 | 0 |  |  | 0
98 | Chawla store on najafgarh drain | 0 | 0 | I&FC |  | CD-I,SD-IV | lifting of raw water and dispose off after the gate ,at stand by condition used as requirment at bijwasan constituency |  | Chawla Store | CD1/6 | 0 | 0 | 0 |  |  | 0 | 5 hp, kerosene pump
99 | Chawla store on najafgarh drain | 0 | 0 | I&FC |  | CD-I,SD-IV | lifting of raw water and dispose off after the gate ,at stand by condition used as requirment at bijwasan constituency |  | Chawla Store | CD1/7 | 0 | 0 | 0 |  |  | 0 | 5 hp, kerosene pump
100 | Bhola Nath Nagar pumping Station,behind parswnat Metro mall, shahdra | 0 | 0 | EDMC |  | EE(E&M) | Used for lifting storm /Mix water to pump in EDMC Drain no 1 |  | Bhola Nath Nagar pumping Station |  | 8 | 8 | 6 | TD-1 | 1pump runs 3hrs daily, peak -all pumps | 0 | 75Hp*2(Electric), 40Hp*2(electric) and 38Bhp*2(Diesel),200 KVA (D.G Set)
101 | K Blok naveen Shahdra pumpin Station,Behind police station shahdra | 0 | 0 | EDMC |  | EE(E&M) | Used for lifting storm /Mix water to pump in EDMC Drain no 1 |  | K Blok naveen Shahdra pumpin Station |  | 8 | 8 | 6 | TD-1 | 1pump runs 6hrs daily, peak -all pumps | 0 | 75Hp*2(Electric), and 50Bhp*1(Diesel),250 KVA (D.G Set)
102 | H Block Naveen Shahdra Punping Station Bird Hospital,naveen Shahdra | 0 | 0 | EDMC |  | EE(E&M) | Used for lifting storm /Mix water to pump in EDMC Drain no 1 |  | H Block Naveen Shahdra Punping Station |  | 10 | 8 | 6 | TD-1 | 2pump runs 6hrs daily, peak -all pumps | 0 | 75Hp*2(Electric), 40Hp*2(electric) and 50Bhp*2(Diesel),200 KVA (D.G Set),160 KVA (D.G,Set)
103 | Shri Ram Nagar Pumping station, near Shahdra Station | 0 | 0 | EDMC |  | EE(E&M) | Used for lifting storm /Mix water to pump in EDMC Drain no 1 |  | Shri Ram Nagar Pumping station |  | 4 | 4 | 4 | TD-1 | 2pump runs 2hrs daily, peak -all pumps | 0 | 25Hp*2(Electric), 40Hp*2(electric), 30Hp*1(Electric),15 Hp*1(Electric) and 50Bhp*1(Diesel)
104 | Masarover Park Pumping Station,DDA flats Mansarover Park | 0 | 0 | EDMC |  | EE(E&M) | Used for lifting storm /Mix water to pump in EDMC Drain no 1 |  | Masarover Park Pumping Station |  | 3 | 3 | 3 | SSBL | 1pump runs 3hrs daily, peak -all pumps | 0 | 10Hp*1(Electric), 30Hp*2(electric) and 38Bhp*2(Diesel)
105 | SDN Hospital pumping Station, | 0 | 0 | EDMC |  | EE(E&M) | Used for lifting storm /Mix water to pump in EDMC SSBL Drain |  | SDN Hospital pumping Station |  | 2 | 2 | 3 | SSBL | 1pump runs 1hrs daily, peak -all pumps | 0 | 20Hp*1(electric), 30Hp*1(Electric)
106 | New Modern Shahdra pumping Station,Near Railway Line | 0 | 0 | EDMC |  | EE(E&M) | Used for lifting storm /Mix water to pump in EDMC SSBL Drain |  | New Modern Shahdra pumping Station |  | 2 | 2 | 3 | SSBL | 1pump runs 3hrs daily, peak -all pumps | 0 | 25Hp*2(Electric),15 Hp*1(Electric) and 28Bhp*1(Diesel)
107 | Modern Shahdra Pumping Station, Near Railway Line | 0 | 0 | EDMC |  | EE(E&M) | Used for lifting storm /Mix water to pump in EDMC SSBL Drain |  | Modern Shahdra Pumping Station (KACHA SUMP WELL) |  | 1 | 1 | 2 | SSBL | 1pump runs 1hrs daily, peak -all pumps | 0 | 6.5 Bhp*1(Diesel)
108 | Nathu Colony Pumping station, Near Railway Line | 0 | 0 | EDMC |  | EE(E&M) | Used for lifting storm /Mix water to pump in EDMC SSBL Drain |  | Nathu Colony Pumping station |  | 2 | 2 | 3 | SSBL | 1pump runs 4hrs daily, peak -all pumps | 0 | 25Hp*2(Electric), 15Hp*2(electric), and 38 Bhp*1(Diesel)
109 | F Pocket GTB enclave Pumping Station | 0 | 0 | EDMC |  | EE(E&M) | Used for lifting storm /Mix water to pump in EDMC SSBL Drain |  | F Pocket GTB enclave Pumping Station |  | 6 | 7 | 6 | SSBL | 1pump runs 3hrs daily, peak -all pumps | 0 | 25Hp*2(Electric)
110 | N Block Sunder Nagari Pumping Station | 0 | 0 | EDMC |  | EE(E&M) | Used for lifting storm /Mix water to pump in EDMC SSBL Drain |  | N Block Sunder Nagari Pumping Station |  | 3 | 4 | 3 | SUNDER NAGARI DRAIN | 1pump runs 3hrs daily, peak -all pumps | 0 | 25Hp*2(Electric), 30Hp*1(electric), and 38 Bhp*1(Diesel), 75 KVA (D.G.Set)
111 | H Block Sunder Nagari Pumping Station | 0 | 0 | EDMC |  | EE(E&M) | Road No 69 Through Pump |  | H Block Sunder Nagari Pumping Station |  | 10 | 7 | 8 | SUNDER NAGARI DRAIN | 3pump runs 8hrs daily, peak -all pumps | 0 | 75Hp*3(Electric), 40Hp*3(electric), and 38 Bhp*1(Diesel), 50 Bhp*1 (Diesel), 200 KVA (D.G.Set)
112 | Bhajanpura Thana Pumping Station | 0 | 0 | EDMC |  | EE(E&M) | Used for lifting storm /Mix water to pump in EDMC Gokalpur Drain |  | Bhajanpura Thana Pumping Station |  | 3 | 3 | 3 | GOKULPUR DRAIN | 2pump runs 3hrs daily, peak -all pumps | 0 | 75Hp*2(Electric), 40Hp*2(electric),25 Hp *1 (Electric) and 38 Bhp*1(Diesel), 160 KVA (D.G.Set)
113 | Kartar Nagar | 28.688 | 77.254 | EDMC |  | EE(E&M) | Used for lifting storm /Mix water to pump in EDMC Gokalpur Drain |  | Kartar Nagar Pumping Station |  | 3 | 3 | 3 | GOKULPUR DRAIN | 1pump runs 1hrs daily, peak -all pumps | 0
114 | Bulan Masjid Pump House | 0 | 0 | EDMC |  | EE(E&M) | Used for lifting storm /Mix water to pump in EDMC Metro Flate Nala |  | Bulan Masjid Pump House (no retention power sump) |  | 3 | 3 | 3 | TD-1 | 1 pump runs continues 24 hrs | 0 | 25Hp*3(Electric),and 6.5 Bhp*1(Diesel)
115 | Kailash Nagar pump House Near mahavir Swami Park | 0 | 0 | EDMC |  | EE(E&M) | Used for lifting storm /Mix water to pump in EDMC Budh Bajar Nala |  | Kailash Nagar pump House |  | 10 | 6 | 10 | DISUSED CANAL | 2 pumps runs continues 24 hrs | 0 | 75Hp*2(Electric), 40Hp*6(electric), and 38 Bhp*2(Diesel), 200*1 KVA (D.G.Set)
116 | Laxmi nagar Pump Housen Near SDM Office | 0 | 0 | EDMC |  | EE(E&M) | Used for lifting storm /Mix water to pump in EDMC Disuse Canal |  | Laxmi nagar Pump House |  | 10 | 8 | 7 | DISUSED CANAL | 2pump runs 8hrs daily, peak -all pumps | 0 | 75Hp*7(Electric), 40Hp*2(electric), and 52 Bhp*2(Diesel), 200*2 KVA (D.G.Set)
117 | I P Extenion Pump ouse Chandra Vihar | 0 | 0 | EDMC |  | EE(E&M) | Used for lifting storm /Mix water to pump in EDMC Drain No 1 |  | I P Extenion Pump ouse Chandra Vihar |  | 10 | 6 | 6 | TD-1 | 2pump runs continues 24hrs | 0 | 75Hp*1(Electric), 40Hp*2(electric), 25*2 (Electric)and 38 Bhp*1(Diesel), 160*1 KVA (D.G.Set)
118 | E Block Krishna Nagar pump House | 0 | 0 | EDMC |  | EE(E&M) | Used for lifting storm /Mix water to pump in EDMC Drain No 1 |  | E Block Krishna Nagar pump House |  | 8 | 6 | 5 | TD-1 | 1pump runs 3hrs daily, peak -all pumps for 6hrs | 0 | 75Hp*1(Electric), 40Hp*2(electric), 38 Bhp*1(Diesel),12.5*1 Bhp(diesel)200*1 KVA (D.G.Set)
119 | Purana quila Road & Mathura road T Junction& NSI club Side | 0 | 0 | NEW DELHI MUNICIPAL COUNCIL |  | EE-R-I | Used for lifting storm water to pump in SDMC Drain No 14 | pumping stormwater into another sump | Purana quila Road & Mathura road T Junction& NSI club Side |  | 3 | 2 | 2 |  |  | 0 | 10Hp*1(Diesel), 5Hp*1(Diesel), Size 3*2 m,Depth 2,25m
120 | AB-11,Purana quila Road & Mathura road T Junction front Side | 0 | 0 | NEW DELHI MUNICIPAL COUNCIL |  | EE-R-I | Used for lifting storm water to pump in SDMC Drain No 14 |  | AB-11,Purana quila Road & Mathura road T Junction front Side |  | 9 | 4 | 2 |  |  | 0 | 12Hp*2(Diesel), 6Hp*1(Diesel), Size 1.20*.9 m,Depth 1.20m
121 | AB-11,Purana quila Road Back Lane | 0 | 0 | NEW DELHI MUNICIPAL COUNCIL |  | EE-R-I | Used for lifting storm water to pump in SDMC Drain No 14 |  | AB-11,Purana quila Road Back Lane |  | 0 | 0 | 0 |  |  | 0 | 6Hp*1(Diesel), Size 1.20*.9 m,Depth 1.20m
122 | AB-9,Purana quila Road Back Lane | 0 | 0 | NEW DELHI MUNICIPAL COUNCIL |  | EE-R-I | Used for lifting storm water to pump in SDMC Drain No 14 |  | AB-9,Purana quila Road Back Lane |  | 1 | 1 | 1 |  |  | 0 | 6Hp*1(Diesel), Size 1.20*.9 m,Depth 1.20m
123 | AB-17,Service Lane along with Mahura Road | 0 | 0 | NEW DELHI MUNICIPAL COUNCIL |  | EE-R-I | Used for lifting storm water to pump in SDMC Drain No 14 |  | AB-17,Service Lane along with Mahura Road |  | 9 | 9 | 1 | outfall in Mathura road d |  | 0 | 12Hp*1(Diesel), Size 1.20*.9 m,Depth 1.20m
124 | Gate of Golf Club at Zakir Hussain Marg | 0 | 0 | NEW DELHI MUNICIPAL COUNCIL |  | EE-R-I | Used for lifting storm water to pump in SDMC Drain No 14 | pumping flyover stormwater into the jakhir drain | Gate of Golf Club at Zakir Hussain Marg |  | 0 | 0 | 0 |  |  | 0 | 12Hp*1(Diesel),6 Hp*1 (Diesel) sump Size 1.20*.9 m,Depth 1.20m
125 | Janpat Mulana Azad road crosing | 0 | 0 | NEW DELHI MUNICIPAL COUNCIL |  | EE-R-II | Used in Heavy rain fall for lifting storm water in R-II Div Drain | pROBLEM REMOVED BY DESILTING | Janpat Mulana Azad road crosing |  | 0 | 0 | 0 |  |  | 0 | 12Hp*2(Diesel),6 Hp*3 (Diesel), 3 Hp*2(Diesel)
126 | Africa avenue under Bridge | 0 | 0 | NEW DELHI MUNICIPAL COUNCIL |  | EE-R-III | Used in Heavy rain fall for lifting storm water in R-III Div Drain,Sump exist at railway under bridge africa aveue |  | Africa avenue under Bridge |  | 3 | 3 | 2 |  |  | 0 | 10Hp*2(Electric),35 Hp*2 (electric), 25 Hp*1(Electric),28 Hp*2(Diesel)
127 | Moti Bagh Under Pass | 0 | 0 | NEW DELHI MUNICIPAL COUNCIL |  | EE-R-III | Used in Heavy rain fall for lifting storm water in R-III Div Drain |  | Moti Bagh Under Pass |  | 3 | 2 | 2 |  |  | 0 | 7.5Hp*2(Electric automatic),
128 | Satya marg, Near Satya sadan Flate(D-I,D-II flates) | 0 | 0 | NEW DELHI MUNICIPAL COUNCIL |  | EE-R-IV | Used in Heavy rain fall for lifting storm water in R-IV Div Drain |  | Satya marg, Near Satya sadan Flate(D-I,D-II flates) |  | 0 | 0 | 0 |  |  | 0 | 12Hp*2(Diesel)
129 | 3 No Nayay Marg,Near malcha marg adjecent | 0 | 0 | NEW DELHI MUNICIPAL COUNCIL |  | EE-R-IV | Used in Heavy rain fall for lifting storm water in R-IV Div Drain |  | 3 No Nayay Marg,Near malcha marg adjecent |  | 0 | 0 | 0 |  |  | 0 | 6Hp*2(Diesel),3 Hp*1
130 | BKS Marg adjoing Mohan singh place | 0 | 0 | NEW DELHI MUNICIPAL COUNCIL |  | EE-R-V | Used in Heavy rain fall for lifting storm water in R-V Div Drain | Pumping stormwater into near sewer | BKS Marg adjoing Mohan singh place |  | 0 | 0 | 0 |  |  | 0 | 12Hp*1(Diesel), 6 Hp*1(Diesel)
131 | Punchkuian rajiv chowk junction,connaught place | 0 | 0 | NEW DELHI MUNICIPAL COUNCIL |  | EE-CP | Used in Heavy rain fall for lifting storm water in R-V Div Drain |  | Punchkuian rajiv chowk junction,connaught place |  | 0 | 0 | 0 |  |  | 0 | 20Hp*3(Diesel) submerssible pump,Size 55000 Lt(6m*2.5m*3m)+(6m*1.m*1.5m)
132 | T Point mandir marg | 0 | 0 | NEW DELHI MUNICIPAL COUNCIL |  | EE-R-V | Used in Heavy rain fall for lifting storm water in R-V Div Drain | pumping footpath water into Panchkuian drain PWD | T Point mandir marg |  | 0 | 0 | 0 |  |  | 0 | 6Hp*2(Diesel)
133 | Junction of khera and dansa road | 0 | 0 | PWD | M-142 |  | Used in Heavy rain fall for lifting storm water in Najafgarh Dansa Road drain |  | Junction of khera and dansa road |  | 0 | 0 | 0 |  |  | 0 | 4 to 8Hp*2(Diesel)
134 | Nangloi Mod Bus Stop | 28.617 | 76.984 | PWD | M-142 |  | Used for lifting storm water to pump iin another PWD Drain on Nagloi road |  | Nagloi stand najafgarh |  | 0 | 0 | 0 |  |  | 0
135 | Naraina Flyover | 28.628 | 77.133 | Delhi Cant |  | Delhi Cantonment Board |  |  | Near Naraina Village | CB sewrage sump | 0 | 0 | 0 |  |  | 0
136 | Ullan Batar Marg | 28.566 | 77.123 | Delhi Cant |  | Delhi Cantonment Board |  |  | Village Mehram Nagar |  | 0 | 0 | 0 |  |  | 0
137 | Pump House Road | 28.75 | 77.188 | I&FC |  | MD-I | Used for Irrigation purpose of treated sewge water |  | Burari pump House |  | 0 | 0 | 0 |  |  | 0
138 | Nilothi MD-1 | 28.654 | 77.072 | I&FC |  | MD-I | Used for Irrigation purpose of treated sewge water |  | Keshupur Pump House |  | 0 | 0 | 0 |  |  | 0
139 | Tilngpur Kotla Pumphouse, MD-1 | 28.648 | 77.033 | I&FC |  | MD-I | Used for Irrigation purpose of treated sewge water |  | Tilangpur Kotla pump House |  | 0 | 0 | 0 |  |  | 0
140 | Sant Nagar Road | 28.73 | 77.198 | I&FC |  | MD-I |  |  | Burari Creeck Inlet | MD-1/81 | 0 | 0 | 0 |  |  | 0
141 | Burari Crossing | 28.73 | 77.198 | I&FC |  | MD-I |  |  | Burari Creeck Inlet | MD-1/82 | 0 | 0 | 0 |  |  | 0
142 |  | 0 | 0 | I&FC |  | MD-I | lifting of raw water and dispose off after the gate durind the flood |  | Linkdrain no 1 | MD-1/78 | 0 | 0 | 0 |  |  | 0
143 | Jagatpur | 28.724 | 77.217 | I&FC |  | MD-I | lifting of raw water and dispose off after the gate durind the flood |  | Linkdrain no 1 | MD-1/88 | 0 | 0 | 0 |  |  | 0
144 | Jagatpur | 28.724 | 77.214 | I&FC |  | MD-I | lifting of raw water and dispose off after the gate durind the flood |  | jharoda Inlet | MD-1/84 | 0 | 0 | 0 |  |  | 0
145 | Burari Village | 28.757 | 77.207 | I&FC |  | MD-I | lifting of raw water and dispose off after the gate during the flood | outfall in yamuna directly during flood | RME at outfall of Burari drain | MD-1/87 | 0 | 0 | 0 |  |  | 0
146 | Nangloi Depot | 28.682 | 77.077 | I&FC |  | MD-I | standing Idol used as per requirment all over Delhi |  | Nagloi Office /Store | MD-1/93 | 0 | 0 | 0 |  |  | 0
147 | New Seemapuri | 28.687 | 77.331 | PWD |  |  |  |  | Pump House |  | 0 | 0 | 0 |  |  | 0
148 | Aradhak Marg | 28.679 | 77.324 | DJB |  |  |  |  | PUMP HOUSE |  | 0 | 0 | 0 |  |  | 0
149 | Seemapuri A Block | 28.682 | 77.33 | PWD |  |  |  |  | PUMP HOUSE |  | 0 | 0 | 0 |  |  | 0
150 | Near Dhram Kanta | 0 | 0 | PWD |  |  |  |  | Loni Road pump House |  | 0 | 0 | 0 |  |  | 0
151 | Krishna Marg | 28.698 | 77.282 | EDMC |  |  |  |  | C-12 Pump House |  | 4 | 4 | 6 | TD-1 | 1pump runs 6hrs daily, peak -all pumps | 0
152 | 5th Pushtha Road | 28.692 | 77.268 | PWD |  |  |  |  | Gamri Pump House |  | 6 | 7 | 6 | TD-1 (TWO SUMP WELL) | 3pump runs 4hrs daily, peak -all pumps | 0
153 | Balbir Nagar Pump House | 28.683 | 77.276 | I&FC |  | MD-2 | Used for lifting storm water through pump in TRUNK DRAIN NO. I |  | Balbir Nagar Pump House | MD-II/104 | 4 | 2 | 2 | TD-1 | During Flood Season | 0
154 | Nand Nagari C Block | 28.69 | 77.305 | EDMC |  |  |  |  | C-Block Pump House |  | 8 | 8 | 6 | SSBL | 2pump runs 2hrs daily, peak -all pumps | 0
155 | Loni Road Crossing | 28.701 | 77.292 | PWD |  |  |  |  | Loni Road Pump House |  | 12 | 8 | 7 | TD-1 | 2pump runs 2hrs daily, peak -all pumps | 0
156 | LF 0RD Sonia Vihar pump House | 0 | 0 | I&FC |  | MD-2 | To Soniya vihar STP |  | LF 0RD Sonia Vihar pump House | MD-II/98 | 9 | 6 | 6 | DJB Haudi | Demand of Residence/civil Division | 0 | 250 HP,Elctric pump
157 | LF 0RD Sonia Vihar pump House | 0 | 0 | I&FC |  | MD-2 | To Soniya vihar STP |  | LF 0RD Sonia Vihar pump House | MD-II/99 | 9 | 6 | 6 | DJB Haudi | Demand of Residence/civil Division | 0 | 250 HP,Elctric pump
158 | LF 0RD Sonia Vihar pump House | 0 | 0 | I&FC |  | MD-2 | To Soniya vihar STP |  | LF 0RD Sonia Vihar pump House | MD-II/100 | 8 | 2 | 3 | DJB Haudi | Operates due to electricity failure | 0 | 250 HP,Elctric pump
159 | LF 0RD Sonia Vihar pump House | 0 | 0 | I&FC |  | MD-2 | To Soniya vihar STP |  | LF 0RD Sonia Vihar pump House | MD-II/101 | 8 | 2 | 3 | DJB Haudi | Operates due to electricity failure | 0 | 250 HP,Elctric pump
160 | LF 0RD Sonia Vihar pump House | 0 | 0 | I&FC |  | MD-2 | standing Idol used as per requirment all over Delhi |  | LF 0RD Sonia Vihar pump House | MD-II/102 | 0 | 0 | 0 |  | operates at Variable sites | 0 | 250 HP,Elctric pump
161 | LF 0RD Sonia Vihar pump House | 0 | 0 | I&FC |  | MD-2 | standing Idol used as per requirment all over Delhi |  | LF 0RD Sonia Vihar pump House | MD-II/103 | 0 | 0 | 0 |  | operates at Variable sites | 0 | 250 HP,Elctric pump
162 | Balbir Nagar Pump House | 0 | 0 | I&FC |  | MD-2 | Used for lifting storm water through pump in TRUNK DRAIN NO. I |  | Balbir Nagar Pump House | MD-II/105 | 4 | 2 | 2 | TD-1 | During Flood Season | 0 | 83 HP,Diesel Pump
163 | Balbir Nagar Pump House | 0 | 0 | I&FC |  | MD-2 | Used for lifting storm water through pump in TRUNK DRAIN NO. I |  | Balbir Nagar Pump House | MD-II/106 | 4 | 2 | 2 | TD-1 | During Flood Season | 0 | 83 HP,Diesel Pump
164 | Dallupura Village | 0 | 0 | I&FC |  | MD-2 | Used for lifting storm water through pump in Ghazipur Drain |  | Dallupura Village | MD-II/109 | 0 | 0 | 0 |  | operates at Variable sites | 0 | 32 HP,Diesel Pump
165 | Kondli(Mulla Colony) | 0 | 0 | I&FC |  | MD-2 | Used for lifting storm water through pump in Ghazipur Drain |  | Kondli(Mulla Colony) | MD-II/110 | 0 | 0 | 0 |  | operates at Variable sites | 0 | 32 HP,Diesel Pump
166 | LF 0RD Sonia Vihar pump House | 0 | 0 | I&FC |  | MD-2 | standing Idol used as per requirment all over Delhi |  | LF 0RD Sonia Vihar pump House | MD-II/108 | 0 | 0 | 0 |  | operates at Variable sites | 0 | 250 HP,Elctric pump
167 | Balbir Nagar Pump house | 28.683 | 77.276 | I&FC |  |  |  |  | Janta Colony Pump House |  | 0 | 0 | 0 |  |  | 0
168 | Molar Bund Pump House | 0 | 0 | I&FC |  | MD-4/III | outfall in agra canal |  | Molar Bund Pump House | MD-IV/121 | 0 | 0 | 0 |  |  | 0 | 32HP, Diesel trolley mounted
169 | Molar Bund Pump House | 0 | 0 | I&FC |  | MD-4/III | outfall in agra canal |  | Molar Bund Pump House | MD-IV/122 | 0 | 0 | 0 |  |  | 0 | 32HP, Diesel trolley mounted
170 | Molar Bund Pump House | 0 | 0 | I&FC |  | MD-4/III | outfall in agra canal |  | Molar Bund Pump House | MD-IV/123 | 0 | 0 | 0 |  |  | 0 | 32HP, Diesel trolley mounted
171 | Molar Bund Pump House | 0 | 0 | I&FC |  | MD-4/III | outfall in agra canal |  | Molar Bund Pump House | MD-IV/124 | 0 | 0 | 0 |  |  | 0 | 32HP, Diesel trolley mounted
172 | Molar Bund Pump House | 0 | 0 | I&FC |  | MD-4/III | outfall in agra canal |  | Molar Bund Pump House | MD-IV/125 | 0 | 0 | 0 |  |  | 0 | 32HP, Diesel trolley mounted
173 | Molar Bund Pump House | 0 | 0 | I&FC |  | MD-4/III | outfall in agra canal |  | Molar Bund Pump House | MD-IV/126 | 0 | 0 | 0 |  |  | 0 | 32HP, Diesel trolley mounted
174 | Molar Bund Pump House | 0 | 0 | I&FC |  | MD-4/III | outfall in agra canal |  | Molar Bund Pump House | MD-IV/130 | 0 | 0 | 0 |  |  | 0 | 32HP, Diesel trolley mounted
175 | Molar Bund Pump House | 0 | 0 | I&FC |  | MD-4/III | outfall in agra canal |  | Molar Bund Pump House | MD-IV/131 | 0 | 0 | 0 |  |  | 0 | 32HP, Diesel trolley mounted
176 | Molar Bund Pump House | 0 | 0 | I&FC |  | MD-4/III | water from molar bund area, pump take it to agar canal |  | Molar Bund Sump | Sump well | 0 | 0 | 0 |  |  | 0 | 32HP, Diesel trolley mounted
177 | Meethapura pump house near Durga Builder | 0 | 0 | I&FC |  | MD-4/II | outfall in Agra Canal |  | Meethapura pump house near Durga Builder | MD-4/134 | 0 | 0 | 0 |  |  | 0 | 32HP Diesel trolley mounted
178 | Meethapura pump house near Durga Builder | 0 | 0 | I&FC |  | MD-4/II | outfall in Agra Canal |  | Meethapura pump house near Durga Builder | MD-4/133 | 0 | 0 | 0 |  |  | 0 | 32HP Diesel trolley mounted
179 | Meethapura pump house near Durga Builder | 0 | 0 | I&FC |  | MD-4/II | colony water coming to sump well, pump take it to agra canal |  | Meethapura Sump house near Durga Builder | Sump well | 0 | 0 | 0 |  |  | 0 | 32HP Diesel trolley mounted
180 | Meethapura pump house | 0 | 0 | I&FC |  | MD-4/III | outfall in Agra Canal |  | Meethapura pump house | MD-4/127 | 0 | 0 | 0 |  |  | 0 | 32HP, Diesel trolley mounted
181 | Meethapura pump house | 0 | 0 | I&FC |  | MD-4/III | outfall in Agra Canal |  | Meethapura pump house | MD-4/128 | 0 | 0 | 0 |  |  | 0 | 32HP, Diesel trolley mounted
182 | Meethapura pump house | 0 | 0 | I&FC |  | MD-4/III | colony water coming to sump well, pump take it to agra canal |  | Meethapura pump house | MD-4/129 | 0 | 0 | 0 |  |  | 0 | 32HP, Diesel trolley mounted
183 | Meethapura pump house | 0 | 0 | I&FC |  | MD-4/III | colony water coming to sump well, pump take it to agra canal |  | Meethapura Sump well | Sump well | 0 | 0 | 0 |  |  | 0 | 32HP, Diesel trolley mounted
184 | Mungeshpur Pump House | 0 | 0 | I&FC |  | MD-4/I | outfall in irrigation land for cultivation |  | Mungeshpur Pump House | MD-4/136 | 0 | 0 | 0 |  |  | 0 | 50 HP, Electric fixed
185 | Mungeshpur Pump House | 0 | 0 | I&FC |  | MD-4/I | outfall in irrigation land for cultivation |  | Mungeshpur Pump House | MD-4/137 | 0 | 0 | 0 |  |  | 0 | 50 HP, Electric fixed
186 | Ashok Vihar | 28.698 | 77.169 | PWD |  |  | Under PAss |  |  |  | 0 | 0 | 0 |  |  | 0
187 | Inder Lok | 28.67 | 77.165 | NDMC | [6 empty] | 0 | 0 | 0 |  |  | 0
188 | shahdra Marginal Band, Shahtri Park | 0 | 0 | EDMC |  | EE(E&M) | Used for lifting storm /Mix water to pump in EDMC Drain No 1 |  | shahdra Marginal Band, Shahtri Park |  | 18 | 10 | 10 | Ansari road Drain | 1pump runs 6hrs daily, peak -all pumps | 0 | 40Hp*5(electric) and 28 Bhp*1(Diesel),75*1 KVA (D.G.Set)
189 | Sarvodaya Bal Vidyalaya no.2 | 28.7 | 77.272 | EDMC |  |  | outfall in Trunk Drain No.1 |  | Yamuna vihar |  | 0 | 0 | 0 | TD-1 |  | 0
190 | Gokulpuri | 28.701 | 77.285 | EDMC |  |  | Sump and pump both present |  | Sump and pump house |  | 8 | 6 | 6 | TD-1 | 1pump runs 3hrs daily, peak -all pumps | 0
191 | Ispat Bhawan | 28.592 | 77.235 | SDMC |  |  | level is not matching, constructing is not ok. | pumping NDMC BERRAL WATER |  |  | 0 | 0 | 0 | Sunhari nallah | during heavy rainfall( c/s is nt gud) | 0
192 | Purana quila Road & Mathura road T Junction& NSI club Side | 28.616 | 77.24 | SDMC |  |  |  | pumping stormwater into system 14. |  |  | 10 | 10 | 2 | outfall in System 14 | during monsoon | 0
193 | Purana Quila Road Back Lane | 28.617 | 77.239 | NDMC | R1 |  |  | pumping water into manhole |  |  | 0 | 0 | 0 |  |  | 0
194 | Burari Crossing | 28.372 | 77.191 | I&FC | CD-6 | [5 empty] | 0 | 0 | 0 | Supplementary drain | during high floods | 0 | 5*5hp pumps
195 | Siddhartha Pumping Station - Sump2 | 28.581 | 77.259 | SDMC | CNZ | M-1 |  |  |  |  | 4 | 5 | 4 |  |  | 0
196 | Siddhartha Pumping Station- Sump 3 | 28.581 | 77.259 | SDMC | CNZ | M-1 |  |  |  |  | 11 | 5 | 4 |  |  | 0
197 | Okhla - Sump 2 | 28.5655 | 77.2875 | SDMC | CNZ | M-II |  |  |  |  | 2 | 2 | 3 |  |  | 0
198 | Indraprastha Pumping Station - Sump 3 | 77.2526 | 28.6209 | SDMC | CNZ | M-1 |  |  |  |  | 7 | 7 | 6 |  |  | 0
199 | Indraprastha Pumping Station - Sump 2 | 77.2526 | 28.6209 | SDMC | CNZ | M-1 |  |  |  |  | 7 | 7 | 6 |  |  | 0
200 | Pump at slf ground in hastsaal village pond | 0 | 0 | SDMC | M IV | WZ | 1_july16_by harsha |  |  | 0 | 3 | 3 | 3 | Pankha road drain | throughout the year | 0 | 40*2 &25*1 hp
201 | BIZWASAN DRAIN(KAPAS HERA SIDE) | 3158106.4 | 700474.3 | SDMC | WEST ZONE(PROJECT 1) |  |  |  | BIZWASAN DRAIN |  | 4 | 3 | 3 | NAJAFGARH CHAWLA DRAIN | STORM WATER DRAIN | 0
202 | BIZWASAN DRAIN(KAPAS HERA SIDE) | 3158106.4 | 700474.3 | SDMC | WEST ZONE(PROJECT 1) |  |  |  | BIZWASAN DRAIN |  | 5 | 3 | 3 | NAJAFGARH CHAWLA DRAIN | STORM WATER DRAIN | 0
203 | BIZWASAN DRAIN NAJAFGARH SIDE | 3158060.2 | 700511.5 | SDMC | WEST ZONE (PROJECT 1) | [5 empty] | 13 | 3 | 2 | NAJAFGARH CHAWLA DRAIN |  | 0