Schedule of Quantity

NOW:- M/O RSKP, Pitampura

SH:- Replacement of false ceiling in Squash Court.

| S.No. | Description | Qty. | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Supply of 6mm thick ply wood ISI marked at site | 140 sqm. | Sqm. |  |  |
| 2. | Centring and shuttering i/c. strutting, propping etc. and removal of form for - Suspended floors, roofs, landings, balconies and access platform | 127.40 sqm. | Sqm. |  |  |
| 3. | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade. | 127.40 sqm. | Sqm. |  |  |
| 4. | Dismentling of damaged false ceiling and relaying the same with 6mm thick plywood i/c. material reqd. i.e. fevicol, nails etc. complete(the 6mm thick ply wood will be supplied free of cost) | 127.40 sqm | Sqm. |  |  |
| Total |  |  |  |  |  |