SCHEDULE OF QUANTITY

N.O.W. :-Maintenance of Rashtriya Swabhimaan Khel Parisar.

SH.:- Repairing and replacement of defective damaged parts of incomer main panel of Sub. Station equipment of RSKP.

| S.No. | Description of Item | Qty | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Supply and replacement of defective voltmeter/ ammeter selector switch complete with replacement of defective control wiring of existing LT panel as under:- Volt meter AEE make 0 to 500 Amper meter 0 to 400 Amper meter 0 to 300 Selector switch | 2 nos. 1 no. 1 no. 1 no. | Each Each Each Each |  |  |
| 2. | Repairing of 800A 3 pole Crompton make ACB & metal enclosure along with repairing of all make female contacts of switching area and the main contacts if not serviceable and also to set right the operating mechanism by oiling greasing included replacing tripping or closing coils, setting of charging mechanism complete in all respects to bring it in service condition with low contact resistance to avoid the hot spots on ACB or ACB metal enclosure bus bar linkings. | 1 Job | Job |  |  |
| Total |  |  |  |  |  |