OFFICE OF THE EXECUTIVE ENGINEER (E)

ELECTRICAL DIVISION No.1, DDA

NIQ NO.05 /EE/ELD-1/DDA/2012-13

SHORT NOTICE FOR INVITING QUOTATIONS

The Executive Engineer, Electrical Division-I, DDA on behalf of Delhi Development Authority invites online item rate  Quotation  from approved and eligible contractors of DDA, CPWD and those of appropriate list of M.E.S., BSNL, Railway for the following work:-

| 1 | NIQ No. | : | 05/EE/ELD-1/DDA/2012-13 |
| --- | --- | --- | --- |
| 2. | Name of work | : | C/o Community hall at Sukh Vihar.. (SH :- Providing & fixing internal & external electric installations i/c fittings, fans GI poles & light fittings in & out side the community hall- Providing steel conduit pipes in the roof of the Community Hall.) |
| 3. | Estimated Cost | : | Rs. 80,950.00 |
| 4. | Earnest Money | : | Rs. 1,619.00 |
| 5. | Security Deposite | : | Rs. 10 % of quoted / accepted amount |
| 6. | Period | : | 30 Days |
| 7. | Last date & Time for submission of applications | : | 27.02.2013 up to 2.00 PM |
| 8. | Last date & Time for submission of quotations | : | 27.02.2013 up to 3.00 PM |
| 9. | Time and date of opening of Quotation . | : | 27.02 .2013 at 3.30 PM |

- The applicant shall submit the following documents in support of their eligibility for issue of schedule of work and additional condition upto the last date of submission of applications.

i)	Documents  of earnest money deposited through RTGS/NEFT mode.

ii)	Enlistment order of the contractor.

Certificate of  Registration for Sale Tax/Vat and Service Tax .

- The deptt. reserves the right to reject any prospective application without assigning any reason and restrict the list of qualified contractor to any number deemed suitable by it, if too many bids are received satisfying the laid down criteria .

- Schedule of work / quantities and additional condition shall be issued only to the agency who will submit the above documents.

- Earnest money shall be deposited through RTGS/NEFT mode only in the Bank Account of Sr. A.O. CAU (EZ) having account No. 90502010071527 with syndicate Bank E-355 opp. Laxmi Nagar Distt. Centre Delhi- 110092 branch (IFSC. SYNB0009050 (CBS) code.

- Schedule of work / quantities and additional conditions duly filled up shall be placed in separate sealed envelope superscripted as “ Quotation” with name of work and due date of opening of the bid and proof of  deposite of Earnest money  through  RTGS/ NEEFT should also be placed in separate sealed envelope superscripted as “ Earnest Money” with name of work and due date of opening of the bid

- Notice for inviting quotations shall also be placed on DDA’s website www.dda.org.in

Sd/-

EE (E),ELD-1,DDA

No. F. No.14 (132)/EE/El. Div-1/DDA/2012-13/336			                          Date :-  23.02.2013

Copy to:-

- Chief Engineer (E) DDA

- AO (CAU) EZ, DDA

- AO works-III/DDA

- S.E.(E) Circle-3/DDA

- EE/Elect.Divn.-2 to 12/DDA

- FO to CE(E)/DDA

- AE (P) Elect. Divn-I/DDA

- Head Clerk/Electrical Division No-I/DDA

- A Cashier/Electrical Division No-I/DDA

- Notice Board

- DDA web site i.e. ddatender@dda.org.in

- Agreement copy

- The association Elect, Contractor (Regd.) Chamber No. 103, Laxmi Complex, B-6 Subash Chowk, Laxmi Nagar, Delhi-110092.

- DDA Contractor Association (Regd.) E-18, Vikas Kuteer, New Delhi.

- DDA Builders Associations (Regd.), C-29 Panchsheel Enclave, Delhi.

- Elect. Engg. & Contractors Association 2362 Maharaja Complex Main Road Patel Nagar, Dlehi-18

- Trans Yamuna DDA Contractor Association (Regd,) 11-12 Vir Savarkar Marg (Budh Bazar) Gandhi Nagar, Delhi-31.

- Delhi Contractor and Builders Association (Regd.) H No, 5503 Choudhary Prem Raj Bhavan, New Chandrawal Ch, Bhim Singh, Delhi-07.

- Delhi Contractor Welfare Association (Regd.) Kali Masjid, Delhi.

- The Director (System) DDA Vikas Sadan, New Delhi.

EXECUTIVE ENGINEER (E)

ELECTRICAL DIVISION NO.1

DDA

NIQ NO-05/EE/ELD-1/DDA/2012-13

Estimate Cost :-  Rs. 80,950.00

SCHEDULE OF WORK

Name of Work: - C/o Community Hall at Sukh Vihar.

SH   : - Providing & fixing internal & external electric installations i/c 			         fittings, fans & GI poles & light fittings in & out side the 				         Community hall – Providing steel conduit pipes in the roof of 			         the  community hall.

| S.No. | Description of item | Qty. | Rate | unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. a) b) | Supplying & fixing of following size of steel conduit along with accessories in surface/recess i/c painting in case of surface conduit or cutting the wall and making good the same in case of recess conduit as required: 20 mm dia. 25 mm dia. | 400 200 |  | Mtr. Mtr. |  |
| 2. | Supplying and fixing M.S fan box (Hexaganoal type) as per drawing attached with 75 mm side, 75mm deep made of 16 SWG galvanized M.S.Sheet having 6 Nos knock out of Size 20/25 mm for conduit entry i/c fan hook made of 12 mm galvanized M.S rod with bottom cover of 3mm thick Phenolic laminated sheet, painting etc. as required. | 30 |  | Each |  |
|  |  |  |  | Total |  |

Terms and condition

- The work, as indicated in the schedule of work shall be carried out as per the specification indicated below:

a) CPWD specifications for electrical works Part-I (Internal) 2005 and Part-II           (External) 1994 with amendments up to the date of opening to tender.

b) Indian Electricity Rules 2005 as amended up to date.

2.  Make of the conduit shall be following –

BEC/ AKG/ NIC and VIKAS.

3.  Only material bearing ISI/BIS certifications mark shall be used in the work. 	Where articles of different design/makes bearing ISI/BIS certification mark 	are available, the decision of the Engineer- in-charge about the 	design/make to be used in the work shall be final & binding on the 	contractor.

4.  Chase/recess cut in the masonry for embedding the conduit, boxes and 	DB’s etc. shall be in proper line and to the required depth by chase cutting 	machine. Any consequential damages shall be made good to the 	satisfaction of Engineer –in-charge. After the conduit/boxes etc. are 	fixed 	the chases/recess shall be filled with cement mortar 1:4 (1 cement: 	4coarse sand) and made flush with masonry surface and cured adequately.

5.  After plastering by civil agency, the edges for switch/fan boxes and 		   		junction boxes etc. shall be neatly finished by electrical contractor with 1:4 			cement mortar.

6.  The contractor shall ensure that conduit laid is free from any concrete 	slurry or building material etc. and for this purpose thorough checking will 	be carried out soon after the conduits are laid/shuttering is removed to 	avoid difficulty at a later stage in wiring and possible damage to the 	roof/slab/walls. After checking, GI fish wire of 1.6/1.2 mm dia (16/18 SWG)

shall be drawn which shall be removed at the time of wiring. No payment to 	the contractor shall be released for conduit work till the fish wire is drawn 	properly.

7. Security /safety of the installation/material shall be the responsibility of the  	agency.