OFFICE OF THE EXECUTIVE ENGINEER (ELECT.)

ELECTRICAL DIVISION NO.-IV, DDA,

Zonal Office Building Madhuban Chowk, IInd. Floor,

Sector-14, near Rohini Courts, Rohini, Delhi-110085.

E MAIL ID: ed4dda@gmail.com, Ph. No. 011-27902449 (O), 27557109, 9968428642

No. ED-IV/A.E(P)/F-16 (Report File)/DDA/2013/                                   Dated:-04.02.13

To,

The Executive Engineer (E)HQ

Electrical Circle-2, DDA,

Vikas Minar, New Delhi

Subject:-   Senior Officer meeting held under the chairmanship of V.C, DDA

Please refer to your office endorsement no. F1(9)SE(E0C-2/DDA/335 dated 04.12.12 vide which report of pumps and lights in the DDA parks has been sought. The above report is enclosed in the prescribed proforma for Rohini Zone parks which are being maintained by this division.

This is for your information please.

Encl: - Report as above

--Sd--

(Er. Dharam Pal Sharma)

Executive Engineer (Elect.)

Electrical Division No. –IV, DDA

Copy to:-

- A. E(E)-1/El. D-IV/DDA w.r.t report given by him.

Executive Engineer (Elect.)

Electrical Division No. –IV, DDA

DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO-IV, ROHINI, DELHI-110085.

Zone:- ROHINI ZONE

STATUS OF ELECTRICAL WORKS IN PARKS AS ON 04.02.2013

Name of Work: A.E(E): Sh. Vijai Singh           Telephone No. : 9350563281

Name of J.E(E): Sh. S.K Singhal ( for lights) Telephone No. :    9899236538

Sh. B.S Rana (for pumps)    Telephone No. : 9868909970

| Sl. No. | Name of Park | ELECTRICAL INVENTORY |  |  |  |  |  | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Light Fittings |  |  | Tubewells |  |  |  |
|  |  | Total nos. | Functional | Not functional | Total nos. | Functional | Not functional |  |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 |
| 1. | Sector-1, Distt. Park Avantika, Rohini | 45 | 40 | 5 | 6 | 5 | 1 | 1 no. bore dry. Redevelopment work of above bore is under process after call of tenders. |
| 2. | Sector-1, NHP, Rohini | 8 | 8 | 0 | 1 | 1 | 0 |  |
| 3. | Park Mangol Pur Village, Sector -2, Rohini | 11 | 11 | 0 | 1 | 1 | 0 |  |
| 4. | Sector-3, Pond Area, Rohini | 30 | 26 | 4 | 1 | 1 | 0 |  |
| 5. | Sector-3, Remal Wala Park, Rohini | 18 | 16 | 2 | 2 | 1 | 1 | 1 no. bore redeveloped. Lowering of Pump in above bore is under process of call of tenders. |
| 6. | Sector-3, Multigym Wala Park, Rohini | 4 | 4 | 0 | 1 | 1 | 0 |  |
| 7. | Sector-3, Pocket H-32, Rohini | 18 | 13 | 2 | 2 | 1 | 1 | 1 no. bore filled up with stones, as such one more bore to be drilled after call of tenders. |
| 8. | Sector-3, Pocket B-9, Rohini | 9 | 8 | 1 | 1 | 1 | 0 |  |
| 9. | Sector-3, Kali Mata Mandir, Rohini | 0 | 0 | 0 | 1 | 1 | 0 |  |
| 10. | Sector-5, Rithala Water Body, Rohini | 23 | 17 | 6 | 3 | 3 | 0 | 6 nos. lights damaged by miscreants. |
| 11. | Sector-5, Play Field, Rohini | 6 | 6 | 0 | 1 | 1 | 0 |  |
| 12. | Sector-7, Pocket D-16, Rohini | 25 | 22 | 3 | 1 | 1 | 0 |  |
| 13. | Sector-7, Play Field, Rohini | 4 | 4 | 0 | 1 | 1 | 0 |  |
| 14. | Sector-8, Mandir Wala Park Rohini, | 12 | 11 | 1 | 1 | 1 | 0 |  |
| 15. | Sector-8, Play Field, Rohini | 12 | 8 | 4 | 1 | 1 | 0 | Cable under repairs |
| 16. | Sector-8,Green Belt C-8, Rohini | 7 | 4 | 3 | 1 | 1 | 0 |  |
| 17. | Sector-8, Green Belt B-5, Rohini | 10 | 9 | 1 | 1 | 1 | 0 |  |
| 18. | Sector-8, Green Belt A-3, Rohini | 9 | 8 | 1 | 1 | 1 | 0 |  |
| 19. | Sector-8,Green Belt A-1, Rohini | 0 | 0 | 0 | 1 | 0 | 1 | (----do----) |
| 20 | Sector-11, Nursery, Rohini | 24 | 22 | 2 | 4 | 4 | 0 |  |
| 21. | Sector-11,Green Belt Pkt –A, Rohini | 0 | 0 | 0 | 2 | 2 | 0 |  |
| 22. | Sector-11,Green Belt near 480 SFS | 0 | 0 | 0 | 2 | 1 | 1 |  |
| 23. | Sector-13, Children Park Rohini, | 4 | 3 | 1 | 2 | 2 | 0 |  |
| 24. | Sector-13,Near Patel Apptt., Rohini | 4 | 0 | 4 | 1 | 1 | 0 | Tenders for repairs of lights have been called. |
| 25. | Sector-13,Dhruva Apptt., Rohini | 7 | 6 | 1 | 1 | 1 | 0 |  |
| 26. | Sector-13, Jhang Apptt., Rohini | 7 | 6 | 1 | 2 | 2 | 0 |  |
| 27. | Sector-13, G.S Park near Aman Apptt., Rohini | 6 | 4 | 2 | 1 | 1 | 0 |  |
| 28. | Sector-14, Distt. Park, Rohini (Chitragupta Park) | 71 | 50 | 21 | 5 | 5 | 0 | Due to cable fault from NDPL side( 440 volts), many lamps have fused. Fused lamps being replaced now. |
| 29. | Sector-14, M.D Park, Rohini | 4 | 2 | 2 | 1 | 1 | 0 | Lights under repairs. |
| 30. | Sector-14, Green Belt near Rohini Courts | 0 | 0 | 0 | 1 | 1 | 0 |  |
| 31. | Sector-14,Park No. 38, Rohini | 12 | 11 | 1 | 2 | 1 | 1 | One bore dry. Tenders for redevelopment of bore are under process. |
| 32. | Sector -15, Near Gas Go-down | 0 | 0 | 0 | 1 | 1 | 0 |  |
| 33. | Sector -15, Nursery, Rohini | 23 | 22 | 1 | 1 | 1 | 0 |  |
| 34. | Sector -15,NHP, Rohini | 12 | 8 | 4 | 1 | 1 | 0 | 4 nos. lights damaged by miscreants this week. |
| 35. | Sector -16,Play Field, Rohini | 37 | 33 | 4 | 2 | 2 | 0 |  |
| 36. | Sector -18, Block –H (behind Data Ram Society) | 0 | 0 | 0 | 3 | 3 | 0 |  |
| 37. | Sector -19, Baba Wala Bagh | 7 | 6 | 1 | 2 | 2 | 0 |  |
| 38. | Sector -19,Mangat Wala Bagh, Rohini | 0 | 0 | 0 | 1 | 1 | 0 |  |
| 39. | Sector -19,Ganpat Wala Bagh | 2 | 0 | 2 | 1 | 1 | 0 |  |
| 40. | Sector-19, Jaildar Wala Bagh | 16 | 8 | 8 | 2 | 2 | 0 |  |
| 41. | Sector-19, Ram Sahaiwala Bagh | 0 | 0 | 0 | 2 | 0 | 2 | Pumps installed. Electric Connection is being applied. |
| 42. | Sector-20, Distt. Park | 43 | 30 | 13 | 3 | 2 | 1 | 13 lights damaged by miscreants. |
| 43. | Sector-20, Pooth Kalan Lake, Rohini | 31 | 28 | 3 | 2 | 2 | 0 |  |
| 44. | Sector-22, Green Belt, Rohini | 0 | 0 | 0 | 1 | 0 | 1 | Bore become dry. For redevelopment of bore tender is processed. |
| 45. | Sector-23, Nursery, Rohini | 16 | 12 | 4 | 1 | 1 | 0 |  |
| 46. | Sector-23, Park No.2, Rohini | 0 | 0 | 0 | 1 | 0 | 1 |  |
| 47. | Sector-23, Park No.4, Rohini | 17 | 15 | 2 | 0 | 0 | 0 |  |
| 48. | Sector-23, Park No.5, Rohini | 15 | 10 | 5 | 1 | 1 | 0 |  |
| 49. | Sector-23, Mange Ram Park, Rohini | 4 | 4 | 0 | 1 | 0 | 1 |  |
| 50. | Sector-23, Command Tank, Rohini | 0 | 0 | 0 | 1 | 1 | 0 |  |
| 51. | Sector-24, NHP-8 | 8 | 4 | 4 | 1 | 0 | 1 | Bore water salty as such bore abandoned. Sewage treated effluent is available in Sector 24 Rohini. |
| 52. | Sector-24, NHP-11, Rohini | 8 | 4 | 4 | 1 | 0 | 1 | (---do---) |
| 53. | Sector-24, NHP-13, Rohini | 8 | 4 | 4 | 1 | 0 | 1 | (---do---) |
| 54. | Sector-24, NHP-17, Rohini | 8 | 4 | 4 | 1 | 0 | 1 | (---do---) |
| 55. | Sector-24, N HP-3, | 0 | 0 | 0 | 1 | 0 | 1 | (---do---) |
| 56. | Sector-25, Green Belt, Rohini | 3 | 0 | 3 | 1 | 0 | 1 | (---do---) |
| 57. | Sector-25, NHP-3 Rohini, | 0 | 0 | 0 | 1 | 0 | 1 | (---do---) |
| 58. | Sector-25, NHP-5, Rohini | 0 | 0 | 0 | 1 | 0 | 1 | (---do---) |
| 59. | Sector-25, Green Belt JJ, Rohini | 0 | 0 | 0 | 1 | 0 | 1 | (---do---) |
| 60 | Sector-26, 1840 Janta Flats, Rohini | 0 | 0 | 0 | 2 | 2 | 0 |  |
|  | Grand Total | 648 | 529 | 119 | 90 | 72 | 18 | 9 nos. bores abandoned as the bore water is salty. Treated sewage effluent is available. |