OFFICE OF THE EXECUTIVE ENGINEER (E)

ELECTRIC DIVN.NO.12: DDA: DWARKA

NOTICE INVITING QUOTATION No.5

Executive Engineer, Electrical Division No.12/DDA on behalf of DDA invites sealed quotations from approved and eligible contractors of DDA,CPWD and those enlisted contractors of appropriate class of M.E.S. BSNL, Railway .  The  quotations should reach in the office  of the Executive Engineer, Electrical Divn.No.12 on or before 06.02.2013  up to 3.00 P.M.  The sealed quotations shall be opened on the same day at 3.30 P.M. The quotationers  or  his authorized representatives may be present at the time of the opening of the sealed quotations.

Name of work: :- M/o Pump sets & EI at various places of Dwarka.

SH  :-I.E.I. of toilet blocks constructed at parks of pocket-6 & Pocket-

21A, Nasirpur and Store wala park at Sec.5 Dwarka.

Estt.Cost   Rs. 99545/-

Sd/-

EXECUTIVE ENGINEER (E)

ELECTRICAL DIVN.12: DDA

No. F.  97(1)A/c/EE/El.D.12/ DDA/10-11 						Dated:

Copy to:-

- The S.E.(E)-I/Elect. Cirl.-I/DDA

- The E.E.(E)/QCC/DDA

- Sr. A.O. (CAU)/Dwarka, DDA

- EE/ED-2,4,12,6,7,8,9,10,11, CWGD-1,2,3 DDA

- AE-1,2,3,4 / Electrical Division No. 12, DDA

- AE(P)/ED-12, DDA

- The Electrical Engineers Contractor Association, 2362/1, Maharaja Complex, Mina Road, Patel Nagar, New Delhi.

- The association of Electrical Contractor, Chamber No. 103, Laxmi Nagar, Laxmi  Complex, Subhash Chowk, Delhi-110092.

- The DDA Contractor Welfare Association, Near entrance of barrack No. 1, Vikas Kuteer, I.P. Estate, New Delhi.

- The Delhi Contractor Builder Association, H. No. 5503, New Chandrawal Ch. Bhim Singh Road, Delhi-110007.

The CPWD Contractor Association, ‘Y’ Shape Building, I.P. Estate, New Delhi.

- The DDA Builder Association, C-29, Panchsheel Enclave, New Delhi.

- The Contractor Association, 40A, E-18, Vikas Kuteer, I.P. Estate, New Delhi.

- The DCP, Darya Ganj, New Delhi for information and necessary action.

- All DDA & MCD Contractor Welfare Association (Regd.) 253, Pratap Khand, Vishwakarma Nagar, Delhi – 110092.

- Notice Board, Electrical Division No. 12, DDA

- Tender  clerk CAU (Dwk), DDA, New Delhi.

- Dy. Director (System), DDA, Vikas Sadan with request to check the E-mail at ddatender@dda.org.in

- Delhi Govt. Contractors Welfare Association (Regd.), 179, Trivani Apartment near Police Station, Vivek Vihar, Delhi – 110095.

- AAO/ED-12 ensured to E-mail at ddatender@dda.org.in

EXECUTIVE ENGINEER(E)

ELECTRICAL DIVN.NO.2

DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO.12

NAME OF WORK:- M/o Pump sets & EI at various places of Dwarka.

SH  :-I.E.I. of toilet blocks constructed at parks of pocket-6 & Pocket-21A, Nasirpur and Store wala park at Sec.5 Dwarka.

| S. No | Description of Item | Qty. |  | Unit | Amount (Rs.) |
| --- | --- | --- | --- | --- | --- |
| 01 | Wiring for light point / fan point /exhaust fan point / call bell point with 1.5 sq. mm FR PVC insulated copper conductor single core cable in the surface / recessed steel conduit , with modular switch , modular plate ,suitable G.I. box and earthing the point with 1.5 sq. mm FR PVC insulated copper conductor single core cable etc. as required. - Group C | 15 pts. |  | Point |  |
| 02 | Wiring for circuit / sub main wiring along with earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface / recessed steel conduit as required. - 2 x 2.5 sq mm +1 x 2.5 sq mm earth wire. | 30 Pt. |  | Point |  |
| 03 | Supplying and fixing stepped type electronic fan regulator on the existing modular plate, switch box i/c connections but excluding modular plate etc. as required. | 3 Nos. |  | Each |  |
| 04 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface / recess, complete with, tinned copper busbar, neutral link,bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/ Isolator) - 2 + 4 way single door. | 3 Nos. |  | Each |  |
| 05 | Supplying and fixing 5 amp to 32 amps rating 240/415 volts ‘C’ curve, MCB suitable for inductive load of following poles in the existing MCB DB complete with connection , testing and commissioning etc as required. - Single Pole. - Single pole & nentral | 6 No. 3 Nos. |  | Each each |  |
| 06 | Earthing with G.I. earth pipe 4.5 mtr. long, 40 mm dia. i/c accessories, and providing masonary enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/coke and salt as required. | 3 set |  | Set |  |
| 07 | Providing & Fixing of 25mm x 5mm GI strip on surface or in recess for connection etc. as reqd. | 20 mtr. |  | Mtr. |  |
| 08 | Providing & Fixing of 25mm x 5mm GI strip in 40mm dia GI pipes from earth electrode including connection with G.I. nut ,bolt, spring, washer excavation & refilling etc.as requrired | 5 |  | Mtr. |  |
| 09 | Supplying and fixing 48” ceiling fan with double ball bearing i/c wiring the down rods with 1.5 sq. mm FR PVC insulated copper conductor single core cable, i/c providing and fixing phenolic laminated sheet cover on the fan box etc. complete as required. | 3 Nos |  | Each |  |
| 10 | Supplying and installation of heavy duty 300 mm Exhaust fan of 1400 RPM with louvers/shutter suitable for operation on 230V/240 V, 50 Hz. A.C. supply i/c testing etc. complete as required | 6 Nos. |  | Each |  |
| 11 | Supplying and fixing of 1 x 28 watt , T-5 surface mounting luminarie with Al reflector, Al in built electronic control gear with decorative end cups complete with T-5 lamps testing etc. as required. | 15 Nos. |  | Each |  |

## TERMS & CONDITIONS

- The work shall be carried out as per CPWD specifications & to the entire satisfaction of Engineer in charge.

- The watch & ward and any breakage during transportation / handling of the material shall be the responsibility of contractor.

- No T&P shall be issued by the department.

- The contractor shall guarantee for a period of 6 months from the date of completion for the entire work carried by him.

- The quantity shown in schedule of work are tentative. The same may increase / decrease as and when required during the execution period.

- All material to be used at site shall be got approved from Engineer-in-charge before installation.

- Any injury / mishap to any person during the execution of work shall be the liability of the contractor.

- The work should be carried as per instruction of Engineer – in – Charge.

- The rates quoted shall be inclusive of all taxes, lavies and duties and cartage etc. Nothing extra shall be paid on this account.

- Time allowed to carry out work is 15 days..

EXECUTIVE ENGINEER

ELECT. DIV.12/D.D.A.

Governing specification

| S.No. | ITEM | Make & reference to IS | Governing specification |
| --- | --- | --- | --- |
|  | XPLE Insulated Alm. Conductor power cable | Skytone/ Havell’s/ Asian Cable/Unistar/ Ecko | IS: 7098 Pert-I |
|  | MCBS | Standard/Indo Kopp/ L&T Hagger / Action/Havell’s | IS: 8828 |
|  | G.I. PIPE | Jindal(Hissar)/ TATA/ Surya | IS: 1239 |
|  | AMMETER/ VOLT METER | AE/ Toshniwal/ UEL/ IMP | IS: 1248 |
|  | PVC Insulated FRLS Copper Wire | Skytone/ Havell’s/ Notional/ ECKO | IS: 694 |
|  | Lighting Luminaries | Philips/ Bajaj/ Crompton/ Havell’s/Osram /Surya | IS: 10322 (Part-I to V) and as per technical specification |
|  | Lamps/ Tube Lights | Philips/ Bajaj/ Osram Crompton/Havell’s/ Surya |  |
|  | Fire Extinguishers | Steelage industries/ Vijay Fire Protection/ Safex/ FireGo | ISI Marked |
|  | Ceiling Fans / Exhaust Fans | Bajaj/ Crompton/ Havell’s/ Orient |  |
|  | Exhaust Fan | Bajaj/ Crompton/Usha/Orient |  |
|  | M.S. conduit | BEC/AKG/Vikas/NIC | IS: 9537 part-II |
|  | MCCB | L&T Siemens/ Alstom(Areva) |  |
|  | Other Material |  | ISI Marked /AS per ISI |

EXECUTIVE ENGINEER

ELECTRICALDIVISION-12