Schedule of Quantity

NOW:- Up-gradation of RSKP, Pitampura/DDA

SH:- Renovation of filteration plant of swimming pool at RSKP, DDA.

| S.No. | Description of items | Qty. | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Removing of filter media from the M.S. pressure filter of size 2.5m x 5.0 m i/c. opening the main hole with the help of bucket & rope etc as complete as required. | 2 jobs | Each |  |  |
| 2. | Reparing of filter bed after removing of cement mortor, PVC nozzles and replace of defective PVC pipe and repairing the same after complete the work etc. as complete as reqd. | 2 jobs | Each |  |  |
| 3. | Supply and fixing of PVC umbrella type nozzles suitable for existing pressure filter i/c commissioning, testing etc. as reqd. | 265 nos. | Each |  |  |
| 4. | Supply of filter media / gravells of different size for additional requirement etc. as required. | 240 cft. | Per cft. |  |  |
| 5. | Painting the inner portion of pressure filter with synthetic rubber paint i/c. rubbing, clearing etc. as complete as reqd. | 2 jobs | Each |  |  |
| 6. | Putting the existing and additional filter media / gravells after washing clearing etc. as complete with the help of bucket & rope and closing the main hole after complete the work. | 2 jobs | Each |  |  |
| 7. | Supply & fixing the drain key made with 50mm dia C.I. pie i/c. welding etc. as complete as reqd. | 1 no. | Each |  |  |
| 8. | Painting of complete plant room accessories as M.S/C.I. Pipeline, outer surface of both pressure filter, sluice valve, pumpsets, succession sweeper machine, canopy of D.G. set, plant room shutter etc. as complete with two or more coats of superior quality enamel plaint i/c. rubbing, cleaning as reqd. & white wash in plant room. | 1 job | Each |  |  |
| 9. | Supply & fixing of following size C.I. sluice valve, non rising spindle i/c. nut bolt, rubber packing etc. as complete as reqd. - 150 mm dia - 65 mm dia | 2 nos. 1 no. | Each Each |  |  |
| 10. | Supply & welding of following type / size M.S. pipe complete with M.S. flange, Nut bolt, rubber packing etc. as complete as reqd. - 150 mm dia M.S. pipe - 65 mm dia M.S. pipe for Air release | 3 meter 4 meter | Per mtr. Per mtr. |  |  |
| 11. | Supply & fixing of DOL starter suitable for 5HP pumpset / succession sweeper machine i/c. connection testing et. as complete as reqd. | 2 nos. | Each |  |  |
| Total |  |  |  |  |  |