ESTIMATE

NOW:- M/O RSKP, Pitampura.

SH:- Water filling, filteration & cleaning of water i/c. Repairing and Overhauling of Plant Room Accessories of Swimming Pool at RSKP, Pitampura, DDA.

| S.No. | Description of Item | Qty. | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Chemically cleaning of water body of swimming pool of the size 21m x 50m and toddler pool including cleaning of balancing tank, scum channel with the help of acid and other cleaning material complete as required. | 1 Job | Job |  |  |
| 2. | Water filling, filteration of water with the help of existing filteration plant of capacity 60,000 gallaon per hour (both filter) for treating the water of swimming pool and doses of chemicals required to achieve the result as per IS :3328-1993 and their relevant codes. The above chemical will also include the chemical such as chlorine gas as and when required to make the quality of water as per above stated standards and operation of 30KVA D.G. set etc. as required. | 1 Job | Job |  |  |
| 3. | Servicing and overhauling of 15HP squirrel cage induction motor Crompton Greaves make i/c. repair/replacement of bearing, studs, connection plate i/c. dismantling & reassembling the same as complete as required. | 3 Job | Job |  |  |
| 4. | Servicing and overhauling of horizontal split casing centrifugal pump set Becon make i/c. repair/ replacement of ball bearing, gland plate, studs, gland dori & making the gland bush etc. as required i/c. dismantling turning the shaft and reassembling the same after repairing etc. as complete as required. | 3 Job | Job |  |  |
| 5. | Servicing overhauling of suction sweeper pump set coupled with 3 phase 5HP A.C. motor i/c. repair/replacement of defective parts as bearing, gland plate, studs, rubber tyre dismantling & reassembling the same etc. as required. | 2 Job | Job |  |  |
| 6. | Servicing & overhauling of dewatering pump set coupled with 5HP/ 2HP 3 phase A.C. motor i/c. repair/replacement of defective parts as bearing, gland dori, studs etc. as required. | 3 Job | Job |  |  |
| 7. | Servicing & overhauling of 30KVA D.G. set including replacement of Mobil oil, oil filter, diesel filter and repairing of battery charging alternator etc. as complete as required. | 1 Job | Job |  |  |
| 8. | Servicing and greasing of different type sluice wall, football and NRB i/c. filling of gland, nut bolt and rubber packing etc. as required. | 1 Job | Job |  |  |
| 9. | Servicing & overhauling of 15HP oil immersed Star Delta etc. as complete i/c. top up of starter oil as required. | 2 Job | Job |  |  |