Schedule of Quantity

NOW:- M/O RSKP, Pitampura.

SH:- Supply and fixing of fountain nozzles, lights, sluice valve, i/c. rewinding of open well pump set  at RSKP.

| S.No. | Description of item | Qty. | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Supply and fixing of S.S/brass umbrella type fountain nozzles i/c. commissioning , testing etc. as complete as reqd. | 6 jobs | Each |  |  |
| 2. | Supply and fixing of LED light fittings i/c. Connection, testing etc as complete as reqd. - PAR Multicolour light fittings having 36nos. LED - 13watt LED flood light fittings | 1 no. | Each |  |  |
| 3. | Supply & fixing of 5.0H.P. 3 phase sub. pump panel i/c. connection testing etc. as complete as reqd. | 1 no. | Each |  |  |
| 4. | Supply and fixing of 3core 2.5 sqmm sub cable i/c. connection testing in 25mm PVC pipe etc. as reqd. | 25 mtr. | Per mtr. |  |  |
| 5. | Rewinding of 5.0HP open well pump set i/c. both side cartage and replacement of defective parts etc. as complete as reqd. | 1 job | Each |  |  |
| 6. | Supply and fixing of 80mm dia non fixing spindle sluice valve i/c. Nut bolt, rubber packing etc. as complete as reqd. | 1 job | Each |  |  |
| 7. | Making provision for fixing of 10HP monoblock pump set i/c. M.S. Fleuge G.I. Pipe, Nut bolt, rubber packing etc. as complete as reqd. | 1 job | Each |  |  |
| Total |  |  |  |  |  |