Schedule of Quantity

NOW:- M/O RSKP, Pitampura.

SH:- Providing & fixing security lights fittings at RSKP.

| S.No. | Description of item | Qty. | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Supply & fixing of broadway street light luminaire with aesthetically designed die cast aluminium housing, pot optics reflector and toughened flat glass (IP-65) suitable for 70att SON-T lamp with 1No. 70 lamp i/c. connection, testing etc. as complete s required. | 45 nos. | Each |  |  |
| 2. | Dismantling of existing unserviceable / damaged very old light fittings and shift into the stock yard of complex etc. as complete as required. | 45 nos. | Each |  |  |
| Total |  |  |  |  |  |