OFFICE OF THE EXECUTIVE ENGINEER (E)

ELECTRIC DIVN.NO.12: DDA: DWARKA

CENTRAL NURSERY DWARKA:SEC.5.

NIQ NO.4 .

Executive Engineer, Electrical Division No.12/DDA on behalf of DDA re- invite sealed  quotations from agencies for the following work.  The  quotations should reach in the office  of the Executive Engineer, Electrical Divn.No.12 on or before 07.01.2013  up to 3.00 P.M. in the office of under signed.   The sealed quotations shall be opened on the same day at 3.30 P.M. The quotationers or  his authorized representatives may be present at the time of the opening of the sealed spot quotations.

Schedule of work, term& condition & makes are enclosed.

- Name of work:   C/o 1811 DU’s (947 HIG, 504 MIG & 360 LIG) in Sector-18-B, Dwarka Ph-

- II i/c internal development of land, Electrical works, Street light &                          Horticultural works.

- SH     : Supplying & installation of submersible pump set, power cable, accessories etc. at Pkt-I & II, Sec-18 B Dwarka.

Estt.Cost   Rs.281073/-

EXECUTIVE ENGINEER (E)

ELECTRICAL DIVN.12: DDA

ADDITIONAL CONDITIONS & SPECIFICATIONS

CONDITIONS

- The work shall be carried out as per the satisfaction to the Engineer-in –charge.

- The rates quoted by the contractor, shall be firm and should be inclusive of all central / state govt., taxes, duties and levies etc.

- The installation shall be covered by the conditions that the whole installation or any part thereof found defective within the guarantee period should be replaced by the contractor free of charge in a reasonable time.

- Guarantee period of 12 months shall be counted from the date of handing over of installation to the department.

- Contractor shall provide the manufacturer test certificate in respect of all major items.

- The contractors shall be fully responsible for watch and ward of the material brought / work executed at site till the same is complete and taken over by the department.

- The submersible cable from panel T.W. bore shall be laid in 40mm dia. G.I. ‘B’ class pipe, the cost of which is included in the item of panel board.

SPECIFICATIONS

- The work shall be carried out as per specifications given below:-

  - CPWD specifications for Electrical Works at Delhi Part-I (Internal) 2005 and Part-II (External) 1994 with amendments upto the date of tenders.

  - Indian Electricity Rules 2005 as amended upto date.

  - A table including the makes, governing specifications and other details in respect of some of the important materials to be used in the work is attached. These specifications shall have preference over those indicated in 14(i) above.

  - Only material bearing ISI/BIS certifications mark shall be used in the work. Where articles of different designs / make bearing ISI/BIS certification mark are available, the decision of Engineer-in-charge about the design / make to be used in the work shall be final and binding on the contractor.

  - Where material bearing ISI/BIS certification marks are not available, material conforming to relevant BIS/ISI shall be used with prior approval of Engineer-in-charge.

  - If the specifications of any item are not available then the decision of the Engineer-in-charge regarding quality shall be final and binding on the contractor.

- Earthing work i.e. embedding of earth electrode and testing of installations shall be carried out in the presence of the Assistant Engineer (Elect.).

- The lengths of G.I. pipe to be used in the work for installation of the submersible pump set shall not be more than three meters.

- In case of any discrepancy in the description of any item given in the schedule of quantities and the specifications, the former shall prevail. If the specifications of any item are not available, the decision of Engineer-in-charge shall be final.

- Time allowed for completion of work 7 days.

EXECUTIVE ENGINEER

ELECT. DIV.12/D.D.A.

MAKES OF MATERIAL AND GOVERNING SPECIFICATIONS

| S. No. | Item | Governing Specification | Remarks / Makes |
| --- | --- | --- | --- |
| 1. | Submersible Pump set | ---- | K.S.B. / Kirloskar / Crompton Greaves /B.S. |
| 2. | C.I Sluice Valves | IS : 14846 | I.V.C. / Kirloskar |
| 3. | G.I. Pipe | IS : 1239 | Jindal(Hissar) / Surya / Tata |
| 4. | Starter | ---- | L&T / Siemens / Cutler Hammer |
| 5. | Shunt capacitor | ---- | GE / Madhav / Crompton / L&T |
| 6. | Pressure gauge | ---- | ANI / HGI / Fiebig / Praga |
| 7. | Single Phase preventer | ---- | L&T / Minilec |
| 8. | Ammeter & Voltmeter | IS : 1248 | AE / Havells / UEL / IMP |
| 9. | PVC Sheathed, PVC insulated flat submersible copper cable. | IS : 694 | Plaza / Finolex / Safex |
| 10. | PVC insulated FRLS Copper wire | IS : 694 | Skytone / National / Ecko / Havells |
| 11. | MCB | IS : 8828 | Standard / L&T / MDS/Indokopp /ACTION |
| 12. | XLPE insulated, PVC Sheathed 1.1 KV grade Al. cond. Armoured cable | IS : 7098(Part-I&II) | Asian Cable / Unistar / Ecko / Skytone /Havells |
| 13. | Panel Board | ---- | Shall be fabricated as per approval of Engineer-in-charge |
| 14. | Mandatory control panel | --------- | Cutler/ Hummer/ L& T/Bentex/Darling |

EXECUTIVE ENGINEER

ELECT. DIV.12/D.D.A.

No. F.  97(1)A/c/EE/El.D.12/ DDA/10-11 						Dated:

Copy to:-

- The S.E.(E)-I/Elect. Cirl.-I/DDA

- The E.E.(E)/QCC/DDA

- Sr. A.O. (CAU)/Dwarka, DDA

- EE/ED-2,4,12,6,7,8,9,10,11, CWGD-1,2,3 DDA

- AE-1,2,3,4 / Electrical Division No. 12, DDA

- AE(P)/ED-12, DDA

- The Electrical Engineers Contractor Association, 2362/1, Maharaja Complex, Mina Road, Patel Nagar, New Delhi.

- The association of Electrical Contractor, Chamber No. 103, Laxmi Nagar, Laxmi  Complex, Subhash Chowk, Delhi-110092.

- The DDA Contractor Welfare Association, Near entrance of barrack No. 1, Vikas Kuteer, I.P. Estate, New Delhi.

- The Delhi Contractor Builder Association, H. No. 5503, New Chandrawal Ch. Bhim Singh Road, Delhi-110007.

The CPWD Contractor Association, ‘Y’ Shape Building, I.P. Estate, New Delhi.

- The DDA Builder Association, C-29, Panchsheel Enclave, New Delhi.

- The Contractor Association, 40A, E-18, Vikas Kuteer, I.P. Estate, New Delhi.

- The DCP, Darya Ganj, New Delhi for information and necessary action.

- All DDA & MCD Contractor Welfare Association (Regd.) 253, Pratap Khand, Vishwakarma Nagar, Delhi – 110092.

- Notice Board, Electrical Division No. 12, DDA

- Tender  clerk CAU (Dwk), DDA, New Delhi.

- Dy. Director (System), DDA, Vikas Sadan with request to check the E-mail at ddatender@dda.org.in

- Delhi Govt. Contractors Welfare Association (Regd.), 179, Trivani Apartment near Police Station, Vivek Vihar, Delhi – 110095.

- AAO/ED-12 ensured to E-mail at ddatender@dda.org.in

EXECUTIVE ENGINEER(E)

ELECTRICAL DIVN.NO.2