DELHI DEVELOPMENT AUTHORITY

OFFICE OF EXECUTIVE ENGINEER (E)

ELECT.DIVISION No.1, SHAKARPUR DELHI-92

TENDER NOTICE

The Executive Engineer, Electrical Division-I, DDA on behalf of Delhi Development Authority invites online item rate  tenders from approved and eligible contractors of DDA, CPWD and those of appropriate list of M.E.S., BSNL, Railway the following for the following work’s:-

| 1. | NIT No. | : | 103 /EE/ELD-I/DDA/2012-13 |
| --- | --- | --- | --- |
| 2. | Name of work & location | : | M/O Various park under NA-I East Zone . ( SH:-Repairing and replacement of damaged park/path lightings accessories at DDA park Sanjay lake under HD-7/DDA |
| 3. | Estimated Cost put of Tender (in Rs.) | : | Rs. 12,02,474.00 |
| 4. | Earnest Money (in Rs.) | : | Rs. 24,049.00 |
| 5. | Period of Completion | : | Thirty Days |
| 6. | Last date & Time for submission of Tender | : | 21.01.2013 upto 3.00 PM |
| 7. | Period during which EMD, cost of tender document E-tender, processing fee and other documents shall be submitted | : | 22 .01.2013 upto 3.00 PM |
| 8. | Time & Date of opening of Tender | : | 24.01.2013 upto 3.30 PM |

-2-

- The tender document consisting of plans, specification, the schedule of quantities of various type of items to be executed and the set of terms and condition of the contract to be complied with and other necessary documents can be seen from website www.tenderwizard.com/DDA or www.dda.org. in free of cost.

- The enlistment of the contractors should be valid on the last date of submission of tenders. In case only the last date of submission of tender is extended, the enlistment of contractors should be valid on the original date of submission of tenders.

- Those contractors not registered on the website mentioned above, are required to get registered beforehand. The intending bidder must have valid class-II digital signature to submit the bid.

- Earnest money and cost of tender shall be deposited separately through RTGS/NEFT mode only in the Bank Account of Sr. A.O. CAU (EZ) having account No. 90502010071527 with Syndicate Bank E-355 opp. Laxmi Nagar Distt. Centre Delhi-110092 branch (IFSC.SYNB0009050 (CBS) code.

A Part of earnest money is acceptable in the form of bank guarantee also. Earnest Money upto Rs.20.00 lacs will have to be deposited through RTGS/NEFT mode. If the amount of E.M is more than Rs.20.00 lacs then the amount of EM beyond Rs.20.00 Lacs can be deposited in the form of Bank Guarantee also such Bank Guarantee is to be scanned and uploaded to the E-tendering website within the period of tender submission.

- Cost of Tender Document Rs…525/-…

- E-Tendering Process Fee  as applicable (To be deposit through E-mode of in Favour of M/s ITI Ltd. Payable at Delhi)

The unique transaction reference of RTGS/NEFT against EMD Cost of Tender Document and Bank Guarantee shall be placed in single sealed envelope superscripted as “Earnest money Cost of Tender Document” with name of work and due date of opening of the bid mentioned thereon and will submit to tender opening Authority by  22.01.2013

-3-

Copy of Enlistment order and certificate of work experience as required shall be scanned and uploaded  to the E-tendering website within the period of tender submission and certified copy of each shall be deposited in a separate envelop marked as “other documents”

Both the envelopes shall be placed in another envelope with due mention of Name of work, date & time of opening of tenders and to be submitted in the office of Executive Engineer during the period mentioned above

5)  	 Online tender document submitted by intending bidders shall be opened only of those bidders, whose Earnest Money deposit, cost of tender document and E-Tender processing fee and other documents placed in the envelope are found in order.

6)	 List of Documents to be scanned and uploaded within the period of  tender submission:

i)	Documents  of earnest money deposited through RTGS/NEFT mode.

ii)	Documents of tender cost deposited through RTGS/NEFT mode

iii)	 E-tendering processing fee deposited through ‘E’ mode in favour of ITI.

iv)	Enlistment order of the contractor.

7)	Certificate of  Registration for Sale Tax/Vat and Service Tax and   acknowledgement of upto date filed return .

EXECUTIVEENGINEER(E)

ELECTRICAL DIVISIO NO.1

DDA

-4-

F.No.ELD- I/13(37) A/C’s/DDA/82                                                            Date:-   14.01.2013

Copy to:-

- Chief Engineer (E) DDA

- AO (CAU) EZ, DDA

- AO works-III/DDA

- S.E.(E) Circle-3/DDA

- EE/Elect.Divn.-2 to 12/DDA

- FO to CE(E)/DDA

- AE (P) Elect. Divn-I/DDA

- Head Clerk/Electrical Division No-I/DDA

- A Cashier/Electrical Division No-I/DDA

- Notice Board

- DDA web site i.e. ddatender@dda.org.in

- Agreement copy

- The association Elect, Contractor (Regd.) Chamber No. 103, Laxmi Complex, B-6 Subash Chowk, Laxmi Nagar, Delhi-110092.

- DDA Contractor Association (Regd.) E-18, Vikas Kuteer, New Delhi.

- DDA Builders Associations (Regd.), C-29 Panchsheel Enclave, Delhi.

- Elect. Engg. & Contractors Association 2362 Maharaja Complex Main Road Patel Nagar, Dlehi-18

- Trans Yamuna DDA Contractor Association (Regd,) 11-12 Vir Savarkar Marg (Budh Bazar) Gandhi Nagar, Delhi-31.

- Delhi Contractor and Builders Association (Regd.) H No, 5503 Choudhary Prem Raj Bhavan, New Chandrawal Ch, Bhim Singh, Delhi-07.

- Delhi Contractor Welfare Association (Regd.) Kali Masjid, Delhi.

- The Director (System) DDA Vikas Sadan, New Delhi.

EXECUTIVE ENGINEER (E)

ELECTRICAL DIVISION NO.1

DDA

ELECTRICAL DIVISION- 1/ DDA

Schedule of work

Name of work :- M/o various parks under NA-I (EZ)

(SH :-  Repairing and replacement of damaged park/path lights accessories at DDA park Sanjay lake under HD-7/DDA)

| Sr.No | Description of Item | Qty | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Supplying and fixing of 65 mm dia GI pipe B class to increase the height of existing poles i/c threaded and welded providing and fixing of 65 mm dia socket etc completed as reqd. | 20 | Mtr. |  |  |
| 2. | Supplying and drawing following size of P.V.C insulated copper conductor single core cable i/c connection testing etc as required - 3 x 1.5 sqmm | 250 | Mtr. |  |  |
| 3. | Supply and replacement of existing damaged fitting with 300 mm dia PC globe with PC base post top fitting suitable for 65 watt CFL i/e supply and fixing 65 watt CFL Spiral lamp connection testing etc completed as required with less old material. | 61 | Each |  |  |
| 4 | Supplying and replacement of SMC junction box of size 280 mm x 170 mm x 114 mm comprising the following on the existing MS/GI pole i/c making suitable size of hole in the pole for wiring and p/f suitable size of MS clamps nut bolts etc as required. - 16 Amps kit-kat 2 Nos - Connector 4 way 1 Nos | 167 | Each |  |  |
| 5 | Supplying of following size of XLPE aluminium conductor armoured power cable of 1.1 K.V grade i/c testing etc as required. - 2 x 16 sqmm. | 1500 | Mtr. |  |  |
| 6 | Laying of one no P.V.C insulated P.V.C sheathed/XPLE power cable of 1.1 K.V grade of following size direct in ground i/c excavation, sand cushioning, protective covering and refilling the trench etc as required. - Upto 35 sq. mm | 670 | Mtr. |  |  |
| 7 | Laying of one no P.V.C insulated P.V.C sheathed/XPLE power cable of 1.1 K.V grade of following size in the existing R.C.C/Hume/Stone Ware/metal pipe etc as required. - Up to 35 sq.mm | 830 | Mtr. |  |  |
| 8 | Laying of one No P.V.C insulated P.V.C sheathed/XLPE power cable of 1.1 K.V grade of following size direct in ground i/c excavation & refilling the trench etc as required but excluding sand cushioning and protective covering i/c relaying the cable etc complete as required. | 400 | Mtr. |  |  |
| 9 | Supplying and making straight through joints with cast resign compound i/c ferrules and other jointing materials for the following size of P.V.C insulated, P.V.C sheathed/XLPE alu. Conductor cable of 1.1 k.v grade as required. - 2 x 16 sqmm/ 2 x 25 sq.mm | 320 | Each |  |  |
| 10. | Fabrication S/I of wire mesh cover made out of 10 SWGMS wire (nominal) suitable for 400 mm dia PC globe of post top fitting i/c welding, p/f hinges nut bolts, G.I pipe nipple of suitable size, locking arrangement and painted with synthetic enameled paint with two or more coats i/c dismantling the existing fitting from the system and reinstallation the same after fixing the wire mesh cover complete i/c cartage etc as required. | 167 | Each |  |  |
| 11. | Dismantling of CC collar and supplying , fixing & welding 40 mm dia G.I,2 2 Nos pipe ‘B’ class for cable entry i/c welding etc complete as required. | 167 | Job |  |  |
| 12. | Repainting and numbering of following sizes of steel tubular/G.I pole i/c its over hangs with two or more coats of synthetic enameled paint of approved shade after cleaning the surface etc complete as required. - Up to 6 mtr height poles | 167 | Each |  |  |
| 13 | Supply and fixing of galvanized steel bar bed wire around the existing poles of all sizes up to required height as decided by Engineer in charge i/c P/F , nut bolt, welding etc as required. | 850 | Mtr. |  |  |
| 14. | Supplying and replacement of 65 mm dia G.I pole of length 5.0 Mtr. made out of 65mm dia GI pole ‘B’ class duly welded M.S base plate of size 300mm x 300mm x 6mm i/c texting etc. complete as reqd. with less rebate for old material. | 5 | Each |  |  |
| 15. | Erection of metals pole of following length in cement concrete 1 : 3 : 6 (1 cement : 3 course sand : 6 grade stone aggregate 40mm (nominal size) foundation including excavation and following etc. as reqd. - Above 4.5 mtr. & upto 6.5 mtr. | 5 | Each |  |  |
| 16 | Providing and making steel pole collar with cement concrete (1 cement : 3 course sand : 6 stone aggregate etc. 20mm ) of specified size and shape unending form work, plastering of required casing etc. as reqd. (volume of pole /pipe not to be deducted). | 172 | Each |  |  |
| 17. | Providing and fixing 6 SWG dia GI wire on surface or inrecess for loop earthing alongwith existing surface / recessed conduit/ sub main Working / 4 cable as reqd. | 1700 | P/mtr |  |  |

ADDITIONAL CONDITIONS

GENERAL :-

- The intending agencies are advised to inspect the site of work and study site conditions before quoting rates. No reason whatsoever for not visiting the site/ studying site condition shall be entertained thereafter.

- The maintenance work including repair / replacement / reconstruction shall be done as per CPWD General specifications Internal part I & External part II for Electrical works and local bye- laws with due safety and good workmanship . For this , the contractor shall arrange proper tools & tackles,  testing equipments .

- The contractor shall deploy trained and competent staff at 9 am Sharp for execution of work in the parks/ greens.

- No T & P shall be issued to the contractor.

- Nothing extra shall be paid on a/c of cartage etc.

- In case of fault or accident, during the execution of work, the contractor shall be held responsible and there will be no liability of the department. The contractor shall use all safety measures  to avoid such mis- happening at site.

- The material to be used at site shall be got approved by the engineer in charge before use at site. The material of makes as per list enclosed are acceptable.

- The work shall be carried out in different locations of the parks.

- Any damage due to negligence of contractor’s labour,  will be the responsibility of agency and will be made in good condition after repair by the agency free of cost.

- The existing laid cable up to any depth shall be repaired.

- The agency shall carry out the work by taking necessary precautions for the safety of existing plants / trees / shrubs / greenery in parks/ greens.

- The agency shall quote the rates by considering the rebate for old / dismantled / unused material.

- In case of discrepancy in description of any item given the schedule of quantities and specifications, the decision of Engineer in charge shall be final .

- The agency shall submit a guarantee letter  towards manufacturing defect of material / work done for 6 month  after completion of work.

- Numbering of G.I pole/ MCB DB / feeder pillar shall be done within the quoted rates.

- Responsibilities of materials in execution of work/ completed installation shall remain with the agency till the completed installation is handed over to the department after successfully testing and commissioning .

- Wire mesh protection covers shall be fabricated as per the direction of Engineer in charge and the sample  will be got approved prior to use at site and shall be fitted / fixed  with light  fitting properly .

- GI pipe shall be used for preparing the poles / increasing the height of poles in suitable length of different sizes as required at site and as decided by Engineer- in-charge for making the proper sizes / pieces of poles .

Makes of material and governing specifications

| Sr.No | Item | Makes & Models |
| --- | --- | --- |
| 1. | LT cable XLPE insulated | Universal/Poly Cab KEI/Skytone/Rallison/Asian/Unistar/Ecko/Nicco- duly ISI marked |
| 2. | GI pipe B class IS: 1239 | Tata/Jindal(Hissar)/Surya(Prakash) |
| 3. | Junction box | Sintex/Boxmann/Simpex |
| 4. | Lights - Fixture poly carbonate globe with pc base | Glow mac/Hilite/Havells /LordJyoti/Twinkle/Halomax/Decon |
|  | - Lamp | Philips/Osram/Bajaj/Crompton/ Surya |
| 5. | PVC Insulated FRLS Copper Wire | National /Plaza/Skyton/Grandlay/Havells |
| 6. | Enamel Paint | Nerolac/Burger/Asian |